## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20140300037 | 2014-01-30 09:00 | SIMAZINE | 65105LCM60 | 10 |  | . | ng/L |  | 6.84 | False Positive | 2437 | OG | MPO | n | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20160210082 | 2016-01-21 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 15.1 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20150150114 | 2015-01-15 07:00 | SIMAZINE | 65105LCM60 | 10 | 40.53 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | SIMAZINE | 65105LCM60 | 7.2 | 50.4 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | SIMAZINE | 65105LCM60 | 7.2 | 50.4 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110201 | 2015-07-30 08:00 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 1.4932 | 22.1 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 1.6554 | 24.5 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 1.0743 | 15.9 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 0.98649 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 0.93919 | 13.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 0.80405 | 11.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 0.86486 | 12.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 0.67297 | 9.96 | Recoverable Result | 2437 | OG | DME | n | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 0.58851 | 8.71 | Recoverable Result | 2437 | OG | DME | n | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 0.72297 | 10.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 0.77703 | 11.5 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | SIMAZINE | 65105LCM60 | 10 | 14.8 | . | ng/L | 0.50405 | 7.46 | Recoverable Result | 2437 | OG | DME | n | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160350044 | 2016-02-04 08:00 | SIMAZINE | 65105LCM60 | 7.2 | 14.8 | . | ng/L | 1.4932 | 22.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 14.8 | . | ng/L | 1.4595 | 21.6 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | SIMAZINE | 65105LCM60 | 7.2 | 14.8 | . | ng/L | 1.2703 | 18.8 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | SIMAZINE | 65105LCM60 | 7.2 | 14.8 | . | ng/L | 1.2973 | 19.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 14.8 | . | ng/L | 1.2905 | 19.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | SIMAZINE | 65105LCM60 | 7.2 | 14.8 | . | ng/L | 1.277 | 18.9 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152670139 | 2015-09-24 08:30 | SIMAZINE | 65105LCM60 | 10 | 15.1 | . | ng/L | 0.76159 | 11.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | SIMAZINE | 65105LCM60 | 10 | 15.1 | . | ng/L | 1.053 | 15.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | SIMAZINE | 65105LCM60 | 10 | 15.1 | . | ng/L | 0.99338 | 15 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153230142 | 2015-11-19 08:00 | SIMAZINE | 65105LCM60 | 10 | 15.1 | . | ng/L | 0.98013 | 14.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | SIMAZINE | 65105LCM60 | 10 | 15.1 | . | ng/L | 1.2649 | 19.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | SIMAZINE | 65105LCM60 | 10 | 15.1 | . | ng/L | 1.0861 | 16.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160210084 | 2016-01-21 08:00 | SIMAZINE | 65105LCM60 | 7.2 | 15.1 | . | ng/L | 0.82119 | 12.4 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | SIMAZINE | 65105LCM60 | 7.2 | 15.1 | . | ng/L | 1.351 | 20.4 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160560058 | 2016-02-25 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 15.1 | . | ng/L | 1.404 | 21.2 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | SIMAZINE | 65105LCM60 | 7.2 | 15.1 | . | ng/L | 1.1656 | 17.6 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | SIMAZINE | 65105LCM60 | 7.2 | 15.1 | . | ng/L | 1.2583 | 19 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | SIMAZINE | 65105LCM60 | 7.2 | 15.1 | . | ng/L | 0.86093 | 13 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 15.1 | . | ng/L | 0.9404 | 14.2 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | SIMAZINE | 65105LCM60 | 7.2 | 15.1 | . | ng/L | 0.83444 | 12.6 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20141290002 | 2014-05-08 06:00 | SIMAZINE | 65105LCM60 | 10 | 19.995 | E | ng/L | 0.77019 | 15.4 | Estimated Values | 2437 | OG | MPO | c | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | SIMAZINE | 65105LCM60 | 10 | 19.995 | . | ng/L | 0.95024 | 19 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | SIMAZINE | 65105LCM60 | 10 | 19.995 | . | ng/L | 0.7852 | 15.7 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | SIMAZINE | 65105LCM60 | 10 | 19.995 | . | ng/L | 1.2853 | 25.7 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | SIMAZINE | 65105LCM60 | 10 | 20.265 | . | ng/L | 1.1646 | 23.6 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | SIMAZINE | 65105LCM60 | 10 | 20.265 | . | ng/L | 0.95238 | 19.3 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | SIMAZINE | 65105LCM60 | 10 | 20.265 | . | ng/L | 1.0955 | 22.2 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | SIMAZINE | 65105LCM60 | 10 | 20.265 | . | ng/L | 0.76487 | 15.5 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | SIMAZINE | 65105LCM60 | 10 | 20.265 | . | ng/L | 0.78954 | 16 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | SIMAZINE | 65105LCM60 | 10 | 20.265 | . | ng/L | 0.92771 | 18.8 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20163070100 | 2016-11-02 08:30 | SIMAZINE | 65105LCM60 | 7.2 | 24.92 | . | ng/L | 1.0995 | 27.4 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | SIMAZINE | 65105LCM60 | 7.2 | 24.92 | . | ng/L | 0.90289 | 22.5 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163420124 | 2016-12-07 09:00 | SIMAZINE | 65105LCM60 | 7.2 | 24.92 | E | ng/L | 1.3403 | 33.4 | Estimated Values | 2437 | OG | DME | c | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | SIMAZINE | 65105LCM60 | 7.2 | 24.92 | E | ng/L | 1.1557 | 28.8 | Estimated Values | 2437 | OG | DME | c | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20161740281 | 2016-06-22 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 25.2 | . | ng/L | 0.88095 | 22.2 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | SIMAZINE | 65105LCM60 | 7.2 | 25.2 | . | ng/L | 1.0159 | 25.6 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20151900133 | 2015-07-09 08:00 | SIMAZINE | 65105LCM60 | 10 | 29.6 | . | ng/L | 1.0372 | 30.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | SIMAZINE | 65105LCM60 | 10 | 29.6 | . | ng/L | 0.78378 | 23.2 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152460212 | 2015-09-03 07:30 | SIMAZINE | 65105LCM60 | 10 | 29.6 | E | ng/L | 1.6824 | 49.8 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | SIMAZINE | 65105LCM60 | 10 | 29.6 | E | ng/L | 1.9797 | 58.6 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | SIMAZINE | 65105LCM60 | 10 | 29.6 | E | ng/L | 1.973 | 58.4 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | SIMAZINE | 65105LCM60 | 7.2 | 29.6 | . | ng/L | 1.0541 | 31.2 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 29.6 | . | ng/L | 0.85811 | 25.4 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | SIMAZINE | 65105LCM60 | 7.2 | 29.6 | . | ng/L | 0.81757 | 24.2 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | SIMAZINE | 65105LCM60 | 7.2 | 29.6 | . | ng/L | 1.598 | 47.3 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | SIMAZINE | 65105LCM60 | 7.2 | 29.6 | . | ng/L | 1.2973 | 38.4 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152250277 | 2015-08-13 08:00 | SIMAZINE | 65105LCM60 | 10 | 30.2 | . | ng/L | 1.0795 | 32.6 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | SIMAZINE | 65105LCM60 | 10 | 30.2 | . | ng/L | 1.2682 | 38.3 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | SIMAZINE | 65105LCM60 | 10 | 30.2 | . | ng/L | 0.88411 | 26.7 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152390229 | 2015-08-27 08:00 | SIMAZINE | 65105LCM60 | 10 | 30.2 | . | ng/L | 0.62914 | 19 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | SIMAZINE | 65105LCM60 | 10 | 30.2 | . | ng/L | 1.0232 | 30.9 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | SIMAZINE | 65105LCM60 | 10 | 30.2 | . | ng/L | 0.96358 | 29.1 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20153510113 | 2015-12-17 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 30.2 | . | ng/L | 0.8245 | 24.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | SIMAZINE | 65105LCM60 | 7.2 | 30.2 | . | ng/L | 0.84437 | 25.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | SIMAZINE | 65105LCM60 | 7.2 | 30.2 | . | ng/L | 0.88079 | 26.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160630048 | 2016-03-03 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 30.2 | . | ng/L | 0.66556 | 20.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | SIMAZINE | 65105LCM60 | 7.2 | 30.2 | . | ng/L | 1.0199 | 30.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | SIMAZINE | 65105LCM60 | 7.2 | 30.2 | . | ng/L | 0.8543 | 25.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | SIMAZINE | 65105LCM60 | 7.2 | 30.2 | . | ng/L | 1.043 | 31.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | SIMAZINE | 65105LCM60 | 7.2 | 30.2 | . | ng/L | 1.0364 | 31.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20141640081 | 2014-06-12 08:30 | SIMAZINE | 65105LCM60 | 10 | 39.99 | . | ng/L | 0.89022 | 35.6 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | SIMAZINE | 65105LCM60 | 10 | 39.99 | . | ng/L | 0.97274 | 38.9 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | SIMAZINE | 65105LCM60 | 10 | 39.99 | . | ng/L | 1.1253 | 45 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | SIMAZINE | 65105LCM60 | 10 | 39.99 | . | ng/L | 1.0728 | 42.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20150290076 | 2015-01-29 06:00 | SIMAZINE | 65105LCM60 | 10 | 40.26 | . | ng/L | 1.0606 | 42.7 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141910245 | 2014-07-10 07:30 | SIMAZINE | 65105LCM60 | 10 | 40.53 | E | ng/L | 0.88576 | 35.9 | Estimated Values | 2437 | OG | LKK | c | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | SIMAZINE | 65105LCM60 | 10 | 40.53 | . | ng/L | 1.1942 | 48.4 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | SIMAZINE | 65105LCM60 | 10 | 40.53 | . | ng/L | 1.1276 | 45.7 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | SIMAZINE | 65105LCM60 | 10 | 40.53 | . | ng/L | 0.95238 | 38.6 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20163370005 | 2016-11-30 08:00 | SIMAZINE | 65105LCM60 | 7.2 | 49.84 | . | ng/L | 0.88283 | 44 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 49.84 | . | ng/L | 0.88283 | 44 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20162660010 | 2016-09-21 08:30 | SIMAZINE | 65105LCM60 | 7.2 | 63 | . | ng/L | 0.9 | 56.7 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | SIMAZINE | 65105LCM60 | 7.2 | 63 | . | ng/L | 0.90635 | 57.1 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141490204 | 2014-05-29 08:30 | SIMAZINE | 65105LCM60 | 10 | 79.98 | E | ng/L | 0.92648 | 74.1 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20133050048 | 2013-10-31 07:30 | SIMAZINE | 65105LCM60 | 10 | 100 | E | ng/L | 0.706 | 70.6 | Estimated Values | 2437 | OG | LOA | c | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20133580040 | 2013-12-23 08:00 | SIMAZINE | 65105LCM60 | 10 | 100 | . | ng/L | 0.784 | 78.4 | Recoverable Result | 2437 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20140100087 | 2014-01-09 08:00 | SIMAZINE | 65105LCM60 | 10 | 100 | . | ng/L | 1.04 | 104 | Recoverable Result | 2437 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20152810124 | 2015-10-08 07:00 | SIMAZINE | 65105LCM60 | 10 | 118.4 | . | ng/L | 0.87838 | 104 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | SIMAZINE | 65105LCM60 | 10 | 118.4 | . | ng/L | 0.75338 | 89.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | SIMAZINE | 65105LCM60 | 10 | 118.4 | . | ng/L | 0.90372 | 107 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | SIMAZINE | 65105LCM60 | 7.2 | 118.4 | . | ng/L | 0.78885 | 93.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | SIMAZINE | 65105LCM60 | 7.2 | 118.4 | . | ng/L | 0.84122 | 99.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | SIMAZINE | 65105LCM60 | 7.2 | 118.4 | . | ng/L | 0.87838 | 104 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20152610006 | 2015-09-17 09:30 | SIMAZINE | 65105LCM60 | 10 | 120.8 | E | ng/L | 1.0762 | 130 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | SIMAZINE | 65105LCM60 | 10 | 120.8 | E | ng/L | 1.101 | 133 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | SIMAZINE | 65105LCM60 | 10 | 120.8 | E | ng/L | 1.0596 | 128 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20153280162 | 2015-11-24 07:00 | SIMAZINE | 65105LCM60 | 10 | 120.8 | . | ng/L | 0.95199 | 115 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | SIMAZINE | 65105LCM60 | 10 | 120.8 | . | ng/L | 1.0265 | 124 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | SIMAZINE | 65105LCM60 | 10 | 120.8 | . | ng/L | 1.0182 | 123 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20132490346 | 2013-09-06 07:00 | SIMAZINE | 65105LCM60 | 10 | 250 | . | ng/L | 0.76 | 190 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20133470005 | 2013-12-12 08:00 | SIMAZINE | 65105LCM60 | 10 | 250 | . | ng/L | 1.196 | 299 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
20140370079 | 2014-02-06 08:30 | SIMAZINE | 65105LCM60 | 10 | 250 | . | ng/L | 0.82 | 205 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20132630001 | 2013-09-19 08:00 | SIMAZINE | 65105LCM60 | 10 | 250.2 | . | ng/L | 1.0472 | 262 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | SIMAZINE | 65105LCM60 | 10 | 250.2 | . | ng/L | 0.95124 | 238 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20133400005 | 2013-12-05 08:30 | SIMAZINE | 65105LCM60 | 10 | 252 | . | ng/L | 1.2976 | 327 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl