## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20160210084 | 2016-01-21 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | < | ng/L |  |  | False Negative | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | < | ng/L |  |  | False Negative | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | < | ng/L |  |  | False Negative | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20152110202 | 2015-07-30 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | < | ng/L |  |  | False Negative | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20151110018 | 2015-04-16 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 8.04 | < | ng/L |  |  | False Negative | 2437 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20160140036 | 2016-01-14 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12.1 | < | ng/L |  |  | False Negative | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20150150114 | 2015-01-15 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 16.08 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152670139 | 2015-09-24 08:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | E | ng/L | 0.855 | 5.13 | Estimated Values | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | E | ng/L | 0.85667 | 5.14 | Estimated Values | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | E | ng/L | 0.82 | 4.92 | Estimated Values | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153230142 | 2015-11-19 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | . | ng/L | 0.64167 | 3.85 | Recoverable Result | 2437 | OG | DME | n | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | . | ng/L | 0.95167 | 5.71 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | . | ng/L | 0.86 | 5.16 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560058 | 2016-02-25 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | . | ng/L | 0.71833 | 4.31 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | . | ng/L | 0.62833 | 3.77 | Recoverable Result | 2437 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | . | ng/L | 0.68333 | 4.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | . | ng/L | 0.58667 | 3.52 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | . | ng/L | 0.845 | 5.07 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6 | . | ng/L | 0.58167 | 3.49 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20152110201 | 2015-07-30 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | E | ng/L | 0.9405 | 5.69 | Estimated Values | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | E | ng/L | 0.7686 | 4.65 | Estimated Values | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | E | ng/L | 0.80496 | 4.87 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | E | ng/L | 0.79008 | 4.78 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | E | ng/L | 0.70248 | 4.25 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | . | ng/L | 0.86116 | 5.21 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | . | ng/L | 1.1686 | 7.07 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | . | ng/L | 0.80331 | 4.86 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | E | ng/L | 1.4132 | 8.55 | Estimated Values | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | E | ng/L | 0.98512 | 5.96 | Estimated Values | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | E | ng/L | 1.0661 | 6.45 | Estimated Values | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160350044 | 2016-02-04 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | . | ng/L | 0.67438 | 4.08 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | . | ng/L | 0.77851 | 4.71 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | . | ng/L | 0.79008 | 4.78 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | . | ng/L | 0.66942 | 4.05 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | . | ng/L | 0.72893 | 4.41 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 6.05 | . | ng/L | 0.6843 | 4.14 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20141990082 | 2014-07-17 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 7.995 | . | ng/L | 1.1545 | 9.23 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 7.995 | E | ng/L | 1.3634 | 10.9 | Estimated Values | 2437 | OG | CAD | c | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142720026 | 2014-09-25 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 7.995 | . | ng/L | 1.2158 | 9.72 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150650041 | 2015-03-05 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 7.995 | . | ng/L | 1.2458 | 9.96 | Recoverable Result | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150990083 | 2015-04-09 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 7.995 | . | ng/L | 1.0094 | 8.07 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 8.04 | . | ng/L | 1.0547 | 8.48 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142130132 | 2014-07-31 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 8.04 | . | ng/L | 0.93408 | 7.51 | Recoverable Result | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142200170 | 2014-08-07 09:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 8.04 | . | ng/L | 0.91418 | 7.35 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142470035 | 2014-09-03 07:45 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 8.04 | E | ng/L | 1.0945 | 8.8 | Estimated Values | 2437 | OG | CAD | c | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20150570010 | 2015-02-26 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 8.04 | . | ng/L | 0.41418 | 3.33 | Recoverable Result | 2437 | OG | SBH | n | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150850163 | 2015-03-26 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 8.04 | . | ng/L | 0.34453 | 2.77 | Recoverable Result | 2437 | OG | MPO | nd | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20161740281 | 2016-06-22 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 9.8 | . | ng/L | 0.42857 | 4.2 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 9.8 | . | ng/L | 0.46633 | 4.57 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 9.8 | . | ng/L | 0.58673 | 5.75 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 9.8 | . | ng/L | 0.56122 | 5.5 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 9.8 | . | ng/L | 0.37143 | 3.64 | Recoverable Result | 2437 | K | DME | n | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 9.8 | . | ng/L | 0.38776 | 3.8 | Recoverable Result | 2437 | K | DME | n | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 9.8 | . | ng/L | 0.50102 | 4.91 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 9.8 | . | ng/L | 0.52143 | 5.11 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 10.04 | . | ng/L | 0.97908 | 9.83 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 10.04 | . | ng/L | 0.7749 | 7.78 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20152250277 | 2015-08-13 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | E | ng/L | 0.4975 | 5.97 | Estimated Values | 2437 | OG | DME | c | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | E | ng/L | 0.67 | 8.04 | Estimated Values | 2437 | OG | DME | c | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | E | ng/L | 0.89167 | 10.7 | Estimated Values | 2437 | OG | DME | c | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152390229 | 2015-08-27 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.85 | 10.2 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.72167 | 8.66 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.85833 | 10.3 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20153510113 | 2015-12-17 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.51667 | 6.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.56917 | 6.83 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.57083 | 6.85 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160630048 | 2016-03-03 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.6625 | 7.95 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.7625 | 9.15 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.85833 | 10.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.77583 | 9.31 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12 | . | ng/L | 0.68917 | 8.27 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151900133 | 2015-07-09 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12.1 | E | ng/L | 0.67521 | 8.17 | Estimated Values | 2437 | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12.1 | . | ng/L | 0.86777 | 10.5 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152460212 | 2015-09-03 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12.1 | E | ng/L | 0.51983 | 6.29 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12.1 | E | ng/L | 0.46529 | 5.63 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12.1 | E | ng/L | 0.44876 | 5.43 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12.1 | . | ng/L | 0.64711 | 7.83 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12.1 | . | ng/L | 0.64132 | 7.76 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12.1 | . | ng/L | 0.54793 | 6.63 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 12.1 | . | ng/L | 0.5 | 6.05 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20141770144 | 2014-06-26 09:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 15.99 | E | ng/L | 1.1382 | 18.2 | Estimated Values | 2437 | OG | CAD | c | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141910245 | 2014-07-10 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 15.99 | E | ng/L | 1.2758 | 20.4 | Estimated Values | 2437 | OG | LKK | c | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143030096 | 2014-10-30 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 15.99 | E | ng/L | 1.4321 | 22.9 | Estimated Values | 2437 | OG | JLE | c | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 15.99 | . | ng/L | 1.2695 | 20.3 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 15.99 | . | ng/L | 1.1882 | 19 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143520108 | 2014-12-18 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 15.99 | . | ng/L | 1.1132 | 17.8 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142340168 | 2014-08-18 07:15 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 16.08 | E | ng/L | 0.56343 | 9.06 | Estimated Values | 2437 | OG | LKK | @c | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20142760029 | 2014-10-02 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 16.08 | . | ng/L | 0.82711 | 13.3 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20142960085 | 2014-10-23 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 16.08 | E | ng/L | 0.87687 | 14.1 | Estimated Values | 2437 | OG | JLE | c | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20150360050 | 2015-02-05 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 16.08 | . | ng/L | 0.57338 | 9.22 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20161880106 | 2016-07-06 07:45 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 19.6 | . | ng/L | 0.55102 | 10.8 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 19.6 | . | ng/L | 0.41173 | 8.07 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 19.6 | . | ng/L | 0.49745 | 9.75 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 19.6 | . | ng/L | 0.52041 | 10.2 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20163370005 | 2016-11-30 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 20.08 | . | ng/L | 0.93127 | 18.7 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 20.08 | . | ng/L | 0.86653 | 17.4 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20152610006 | 2015-09-17 09:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48 | E | ng/L | 0.75417 | 36.2 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48 | E | ng/L | 0.76667 | 36.8 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48 | E | ng/L | 0.76458 | 36.7 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20153280162 | 2015-11-24 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48 | . | ng/L | 0.65625 | 31.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48 | . | ng/L | 0.71042 | 34.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48 | . | ng/L | 0.70625 | 33.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20152810124 | 2015-10-08 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48.4 | E | ng/L | 0.83058 | 40.2 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48.4 | E | ng/L | 0.77893 | 37.7 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48.4 | E | ng/L | 0.76653 | 37.1 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48.4 | . | ng/L | 0.61983 | 30 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48.4 | . | ng/L | 0.58264 | 28.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 48.4 | . | ng/L | 0.63223 | 30.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20140300037 | 2014-01-30 09:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 1000 | . | ng/L | 0.19 | 190 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20132420005 | 2013-08-29 08:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 1004 | E | ng/L | 0.99602 | 1000 | Estimated Values | 2437 | OG | LOA | c | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133110106 | 2013-11-07 08:30 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 1004 | . | ng/L | 1.0159 | 1020 | Recoverable Result | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | SULFOMETURON-METHYL | 68688LCM60 | 4 | 1004 | . | ng/L | 0.91235 | 916 | Recoverable Result | 2437 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2