## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | TERBUFOS OXON SULFOXIDE | 68702LCM60 | 2016-11-30 08:00 | 20163370005 | 4 | 20.24 | . | 16.8 | ng/L | 0.83004 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | TERBUFOS OXON SULFOXIDE | 68702LCM60 | 2016-11-30 07:30 | 20163370004 | 4 | 20.24 | . | 15.7 | ng/L | 0.77569 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | TERBUFOS OXON SULFOXIDE | 68702LCM60 | 2016-12-07 09:00 | 20163420124 | 4 | 10.12 | . | 16.6 | ng/L | 1.6403 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | TERBUFOS OXON SULFOXIDE | 68702LCM60 | 2016-12-07 08:30 | 20163420125 | 4 | 10.12 | . | 17.8 | ng/L | 1.7589 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | TERBUFOS OXON SULFOXIDE | 68702LCM60 | 2016-11-02 08:30 | 20163070100 | 4 | 10.12 | . | 17 | ng/L | 1.6798 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | TERBUFOS OXON SULFOXIDE | 68702LCM60 | 2016-11-02 08:00 | 20163070099 | 4 | 10.12 | . | 18.2 | ng/L | 1.7984 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl