## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | TRI-ALLATE | 68710LCM60 | 12 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | TRI-ALLATE | 68710LCM60 | 12 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20150150114 | 2015-01-15 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 63.3 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152110201 | 2015-07-30 08:00 | TRI-ALLATE | 68710LCM60 | 16 | 23.5 | . | ng/L | 0.91915 | 21.6 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 23.5 | . | ng/L | 0.80851 | 19 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 23.5 | . | ng/L | 0.91489 | 21.5 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | TRI-ALLATE | 68710LCM60 | 16 | 23.5 | . | ng/L | 0.93617 | 22 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 23.5 | . | ng/L | 0.79149 | 18.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 23.5 | . | ng/L | 0.80426 | 18.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | TRI-ALLATE | 68710LCM60 | 16 | 23.5 | . | ng/L | 0.94043 | 22.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 23.5 | . | ng/L | 0.91489 | 21.5 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 23.5 | . | ng/L | 0.85532 | 20.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 23.5 | E | ng/L | 0.75745 | 17.8 | Estimated Values | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | TRI-ALLATE | 68710LCM60 | 12 | 23.5 | E | ng/L | 1.0128 | 23.8 | Estimated Values | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | TRI-ALLATE | 68710LCM60 | 12 | 23.5 | E | ng/L | 1.0426 | 24.5 | Estimated Values | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | TRI-ALLATE | 68710LCM60 | 12 | 23.5 | . | ng/L | 0.78723 | 18.5 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | TRI-ALLATE | 68710LCM60 | 12 | 23.5 | . | ng/L | 0.99149 | 23.3 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | TRI-ALLATE | 68710LCM60 | 12 | 23.5 | . | ng/L | 0.98298 | 23.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 23.5 | . | ng/L | 1.0468 | 24.6 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | TRI-ALLATE | 68710LCM60 | 12 | 23.5 | . | ng/L | 0.94043 | 22.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | TRI-ALLATE | 68710LCM60 | 12 | 23.5 | . | ng/L | 0.86809 | 20.4 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 24.1 | E | ng/L | 0.98755 | 23.8 | Estimated Values | 2437 | OG | MNO | c | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 24.1 | . | ng/L | 0.87967 | 21.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 24.1 | . | ng/L | 0.83402 | 20.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 24.1 | . | ng/L | 0.82573 | 19.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 24.1 | . | ng/L | 0.58506 | 14.1 | Recoverable Result | 2437 | OG | DME | n | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 24.1 | . | ng/L | 0.62656 | 15.1 | Recoverable Result | 2437 | OG | DME | n | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 24.1 | . | ng/L | 0.66805 | 16.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | TRI-ALLATE | 68710LCM60 | 12 | 24.1 | . | ng/L | 1.2448 | 30 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 24.1 | . | ng/L | 0.9917 | 23.9 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | TRI-ALLATE | 68710LCM60 | 12 | 24.1 | . | ng/L | 0.73029 | 17.6 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | TRI-ALLATE | 68710LCM60 | 12 | 24.1 | . | ng/L | 0.89212 | 21.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 24.1 | . | ng/L | 0.92116 | 22.2 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | TRI-ALLATE | 68710LCM60 | 12 | 24.1 | . | ng/L | 1.0207 | 24.6 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142060046 | 2014-07-24 08:00 | TRI-ALLATE | 68710LCM60 | 16 | 31.65 | E | ng/L | 0.8278 | 26.2 | Estimated Values | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142130132 | 2014-07-31 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 31.65 | E | ng/L | 0.64455 | 20.4 | Estimated Values | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142200170 | 2014-08-07 09:00 | TRI-ALLATE | 68710LCM60 | 16 | 31.65 | E | ng/L | 0.86888 | 27.5 | Estimated Values | 2437 | OG | LKK | c | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142470035 | 2014-09-03 07:45 | TRI-ALLATE | 68710LCM60 | 16 | 31.65 | . | ng/L | 1.0016 | 31.7 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20150570010 | 2015-02-26 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 31.65 | . | ng/L | 0.77093 | 24.4 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150850163 | 2015-03-26 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 31.65 | . | ng/L | 0.84044 | 26.6 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20151110018 | 2015-04-16 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 31.65 | E | ng/L | 0.91943 | 29.1 | Estimated Values | 2437 | OG | JIV | c | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20141990082 | 2014-07-17 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 32.34 | E | ng/L | 0.76067 | 24.6 | Estimated Values | 2437 | OG | LKK | c | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | TRI-ALLATE | 68710LCM60 | 16 | 32.34 | . | ng/L | 0.80396 | 26 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142720026 | 2014-09-25 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 32.34 | . | ng/L | 0.6679 | 21.6 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150650041 | 2015-03-05 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 32.34 | E | ng/L | 0.80087 | 25.9 | Estimated Values | 2437 | OG | DME | c | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150990083 | 2015-04-09 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 32.34 | E | ng/L | 1.1163 | 36.1 | Estimated Values | 2437 | OG | LOA | c | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20133400005 | 2013-12-05 08:30 | TRI-ALLATE | 68710LCM60 | 16 | 37.9 | . | ng/L | 0.65172 | 24.7 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20132630001 | 2013-09-19 08:00 | TRI-ALLATE | 68710LCM60 | 16 | 38.28 | . | ng/L | 0.85684 | 32.8 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | TRI-ALLATE | 68710LCM60 | 16 | 38.28 | E | ng/L | 0.75758 | 29 | Estimated Values | 2437 | OG | LKK | c | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20161740281 | 2016-06-22 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 40 | E | ng/L | 0.1185 | 4.74 | Estimated Values | 2437 | OG | JLE | tc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | TRI-ALLATE | 68710LCM60 | 12 | 40 | E | ng/L | 0.18975 | 7.59 | Estimated Values | 2437 | OG | JLE | nc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | TRI-ALLATE | 68710LCM60 | 12 | 40 | . | ng/L | 1.1325 | 45.3 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | TRI-ALLATE | 68710LCM60 | 12 | 40 | . | ng/L | 1.1175 | 44.7 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | TRI-ALLATE | 68710LCM60 | 12 | 40 | . | ng/L | 1.015 | 40.6 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | TRI-ALLATE | 68710LCM60 | 12 | 40 | . | ng/L | 1.1625 | 46.5 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | TRI-ALLATE | 68710LCM60 | 12 | 40 | E | ng/L | 0.8575 | 34.3 | Estimated Values | 2437 | OG | DME | c | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 40 | E | ng/L | 0.92 | 36.8 | Estimated Values | 2437 | OG | DME | c | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | TRI-ALLATE | 68710LCM60 | 12 | 40.16 | . | ng/L | 0.76693 | 30.8 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | TRI-ALLATE | 68710LCM60 | 12 | 40.16 | . | ng/L | 0.80677 | 32.4 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20152190004 | 2015-08-06 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 1.1106 | 52.2 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 1.0447 | 49.1 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 0.75319 | 35.4 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 0.74894 | 35.2 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 0.85106 | 40 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 0.73404 | 34.5 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 0.85319 | 40.1 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 1.0085 | 47.4 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 0.75319 | 35.4 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 0.71489 | 33.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 0.84255 | 39.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 47 | . | ng/L | 0.92766 | 43.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | TRI-ALLATE | 68710LCM60 | 12 | 47 | E | ng/L | 0.82553 | 38.8 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 47 | E | ng/L | 0.9234 | 43.4 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | TRI-ALLATE | 68710LCM60 | 12 | 47 | E | ng/L | 0.8766 | 41.2 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | TRI-ALLATE | 68710LCM60 | 12 | 47 | . | ng/L | 0.88723 | 41.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | TRI-ALLATE | 68710LCM60 | 12 | 47 | . | ng/L | 0.81489 | 38.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | TRI-ALLATE | 68710LCM60 | 16 | 48.2 | . | ng/L | 0.74274 | 35.8 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | TRI-ALLATE | 68710LCM60 | 16 | 48.2 | . | ng/L | 0.77178 | 37.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 48.2 | . | ng/L | 0.5249 | 25.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 48.2 | . | ng/L | 0.84647 | 40.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 48.2 | . | ng/L | 0.9751 | 47 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | TRI-ALLATE | 68710LCM60 | 12 | 48.2 | . | ng/L | 0.86307 | 41.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | TRI-ALLATE | 68710LCM60 | 12 | 48.2 | . | ng/L | 0.91079 | 43.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | TRI-ALLATE | 68710LCM60 | 12 | 48.2 | . | ng/L | 0.58299 | 28.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 48.2 | . | ng/L | 0.71369 | 34.4 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | TRI-ALLATE | 68710LCM60 | 12 | 48.2 | . | ng/L | 0.71577 | 34.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | TRI-ALLATE | 68710LCM60 | 12 | 48.2 | . | ng/L | 0.8195 | 39.5 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 48.2 | . | ng/L | 0.89627 | 43.2 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | TRI-ALLATE | 68710LCM60 | 12 | 48.2 | . | ng/L | 0.84232 | 40.6 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20142340168 | 2014-08-18 07:15 | TRI-ALLATE | 68710LCM60 | 16 | 63.3 | . | ng/L | 0.3981 | 25.2 | Recoverable Result | 2437 | OG | LKK | @c | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20142760029 | 2014-10-02 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 63.3 | . | ng/L | 0.71248 | 45.1 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20142960085 | 2014-10-23 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 63.3 | E | ng/L | 0.96051 | 60.8 | Estimated Values | 2437 | OG | JLE | c | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20150360050 | 2015-02-05 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 63.3 | . | ng/L | 0.99526 | 63 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20141770144 | 2014-06-26 09:00 | TRI-ALLATE | 68710LCM60 | 16 | 64.68 | . | ng/L | 0.77922 | 50.4 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141910245 | 2014-07-10 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 64.68 | . | ng/L | 0.72511 | 46.9 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143030096 | 2014-10-30 08:00 | TRI-ALLATE | 68710LCM60 | 16 | 64.68 | E | ng/L | 0.81633 | 52.8 | Estimated Values | 2437 | OG | JLE | c | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 64.68 | E | ng/L | 0.81787 | 52.9 | Estimated Values | 2437 | OG | DME | c | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | TRI-ALLATE | 68710LCM60 | 16 | 64.68 | E | ng/L | 0.74521 | 48.2 | Estimated Values | 2437 | OG | DME | c | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143520108 | 2014-12-18 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 64.68 | E | ng/L | 0.74212 | 48 | Estimated Values | 2437 | OG | DME | c | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20161880106 | 2016-07-06 07:45 | TRI-ALLATE | 68710LCM60 | 12 | 80 | . | ng/L | 0.93125 | 74.5 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | TRI-ALLATE | 68710LCM60 | 12 | 80 | . | ng/L | 1.04 | 83.2 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | TRI-ALLATE | 68710LCM60 | 12 | 80 | . | ng/L | 0.8475 | 67.8 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | TRI-ALLATE | 68710LCM60 | 12 | 80 | . | ng/L | 1.0375 | 83 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20163370005 | 2016-11-30 08:00 | TRI-ALLATE | 68710LCM60 | 12 | 80.32 | . | ng/L | 0.9126 | 73.3 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | TRI-ALLATE | 68710LCM60 | 12 | 80.32 | . | ng/L | 0.79806 | 64.1 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20152810124 | 2015-10-08 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 188 | . | ng/L | 0.75532 | 142 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 188 | . | ng/L | 0.80319 | 151 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | TRI-ALLATE | 68710LCM60 | 16 | 188 | . | ng/L | 0.86702 | 163 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | TRI-ALLATE | 68710LCM60 | 16 | 192.8 | . | ng/L | 0.80913 | 156 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | TRI-ALLATE | 68710LCM60 | 16 | 192.8 | . | ng/L | 0.78838 | 152 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | TRI-ALLATE | 68710LCM60 | 16 | 192.8 | . | ng/L | 0.75726 | 146 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | TRI-ALLATE | 68710LCM60 | 16 | 192.8 | . | ng/L | 0.77282 | 149 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | TRI-ALLATE | 68710LCM60 | 16 | 192.8 | . | ng/L | 0.65353 | 126 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | TRI-ALLATE | 68710LCM60 | 16 | 192.8 | . | ng/L | 0.67946 | 131 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8