## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150150114 | 2015-01-15 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 7.8 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 10.08 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 10.08 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110201 | 2015-07-30 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 2.95 | . | ng/L | 0.79661 | 2.35 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 2.95 | . | ng/L | 0.89492 | 2.64 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 2.95 | . | ng/L | 0.88814 | 2.62 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 2.95 | . | ng/L | 0.57966 | 1.71 | Recoverable Result | 2437 | OG | JLE | n | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 2.95 | . | ng/L | 0.83729 | 2.47 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 2.95 | . | ng/L | 0.84407 | 2.49 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 2.95 | . | ng/L | 0.83729 | 2.47 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 2.95 | . | ng/L | 0.91864 | 2.71 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 2.95 | . | ng/L | 0.81356 | 2.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 2.95 | . | ng/L | 0.65085 | 1.92 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 2.95 | . | ng/L | 0.64407 | 1.9 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 2.95 | . | ng/L | 0.56271 | 1.66 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 2.95 | . | ng/L | 0.86102 | 2.54 | Recoverable Result | 2437 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 2.95 | . | ng/L | 0.82373 | 2.43 | Recoverable Result | 2437 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 2.95 | . | ng/L | 0.8678 | 2.56 | Recoverable Result | 2437 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 2.95 | . | ng/L | 1.0034 | 2.96 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 2.95 | . | ng/L | 0.71525 | 2.11 | Recoverable Result | 2437 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 2.95 | . | ng/L | 0.69153 | 2.04 | Recoverable Result | 2437 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3 | . | ng/L | 1.0567 | 3.17 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3 | . | ng/L | 0.79 | 2.37 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3 | . | ng/L | 0.74667 | 2.24 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3 | . | ng/L | 0.78 | 2.34 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3 | . | ng/L | 0.82667 | 2.48 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3 | . | ng/L | 0.86 | 2.58 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3 | . | ng/L | 0.99333 | 2.98 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 3 | . | ng/L | 0.91667 | 2.75 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 3 | . | ng/L | 0.89333 | 2.68 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 3 | . | ng/L | 0.81667 | 2.45 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 3 | . | ng/L | 0.81333 | 2.44 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 3 | . | ng/L | 0.95667 | 2.87 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 3 | . | ng/L | 0.76667 | 2.3 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142060046 | 2014-07-24 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3.9 | . | ng/L | 0.58974 | 2.3 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3.9 | . | ng/L | 0.63333 | 2.47 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3.9 | E | ng/L | 0.93846 | 3.66 | Estimated Values | 2437 | OG | CAD | v | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3.9 | . | ng/L | 0.80769 | 3.15 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3.9 | . | ng/L | 0.60769 | 2.37 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 3.9 | . | ng/L | 0.68718 | 2.68 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 4.05 | . | ng/L | 0.64198 | 2.6 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 4.05 | . | ng/L | 0.68889 | 2.79 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 4.05 | . | ng/L | 0.72346 | 2.93 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 4.05 | . | ng/L | 0.36543 | 1.48 | Recoverable Result | 2437 | OG | LOA | n | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162100011 | 2016-07-27 07:15 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.04 | . | ng/L | 0.61706 | 3.11 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.04 | . | ng/L | 0.66468 | 3.35 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.04 | . | ng/L | 0.8373 | 4.22 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.04 | . | ng/L | 0.76786 | 3.87 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.04 | . | ng/L | 0.65675 | 3.31 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.04 | . | ng/L | 1.0298 | 5.19 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163560022 | 2016-12-21 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.2 | . | ng/L | 0.93846 | 4.88 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.2 | . | ng/L | 0.91923 | 4.78 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152190004 | 2015-08-06 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.74237 | 4.38 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.7 | 4.13 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.68814 | 4.06 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.66102 | 3.9 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.74068 | 4.37 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.67458 | 3.98 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.6 | 3.54 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.65424 | 3.86 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.60847 | 3.59 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.77458 | 4.57 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.77288 | 4.56 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 5.9 | . | ng/L | 0.70169 | 4.14 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.9 | . | ng/L | 0.86949 | 5.13 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.9 | . | ng/L | 0.77119 | 4.55 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.9 | . | ng/L | 0.77966 | 4.6 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.9 | . | ng/L | 0.81186 | 4.79 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 5.9 | . | ng/L | 0.79153 | 4.67 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 6 | . | ng/L | 0.675 | 4.05 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 6 | . | ng/L | 0.81833 | 4.91 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 6 | . | ng/L | 0.84 | 5.04 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 6 | . | ng/L | 0.885 | 5.31 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 6 | . | ng/L | 0.76 | 4.56 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 6 | . | ng/L | 0.75333 | 4.52 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 6 | . | ng/L | 0.765 | 4.59 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 6 | . | ng/L | 0.76333 | 4.58 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 6 | . | ng/L | 0.80167 | 4.81 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 6 | . | ng/L | 0.69833 | 4.19 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 6 | . | ng/L | 0.81 | 4.86 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 6 | . | ng/L | 0.73333 | 4.4 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 6 | . | ng/L | 0.755 | 4.53 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141910245 | 2014-07-10 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 7.8 | . | ng/L | 0.74103 | 5.78 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 7.8 | . | ng/L | 1.0026 | 7.82 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 7.8 | . | ng/L | 0.90256 | 7.04 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 7.8 | . | ng/L | 0.85385 | 6.66 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 7.95 | . | ng/L | 0.68805 | 5.47 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 8.1 | . | ng/L | 0.69012 | 5.59 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 8.1 | . | ng/L | 0.78395 | 6.35 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 8.1 | . | ng/L | 0.74444 | 6.03 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 8.1 | . | ng/L | 0.76049 | 6.16 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20161880106 | 2016-07-06 07:45 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 10.08 | . | ng/L | 0.81052 | 8.17 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 10.08 | . | ng/L | 0.7371 | 7.43 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 10.4 | . | ng/L | 0.65288 | 6.79 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 10.4 | . | ng/L | 0.71827 | 7.47 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 13 | . | ng/L | 0.74538 | 9.69 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2.8 | 13 | . | ng/L | 0.70538 | 9.17 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141490204 | 2014-05-29 08:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 16.2 | E | ng/L | 0.75926 | 12.3 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 23.6 | . | ng/L | 0.7839 | 18.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 23.6 | . | ng/L | 0.65678 | 15.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 23.6 | . | ng/L | 0.7161 | 16.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 24 | . | ng/L | 0.92083 | 22.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 24 | . | ng/L | 0.86667 | 20.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 24 | . | ng/L | 0.89583 | 21.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 24 | . | ng/L | 0.6875 | 16.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 24 | . | ng/L | 0.66667 | 16 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | TRIFLOXYSTROBIN | 66660LCM60 | 2 | 24 | . | ng/L | 0.68333 | 16.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8