## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20162580143 | 2016-09-14 07:30 | ATRAZINE | 65065LCM56 | 19.4 |  | . | ng/L |  | 7.83 | False Positive | 2440 | K | LJC | bt | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20162580144 | 2016-09-14 07:15 | ATRAZINE | 65065LCM56 | 19.4 |  | . | ng/L |  | 8.19 | False Positive | 2440 | K | LJC | bt | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20162930164 | 2016-10-19 07:30 | ATRAZINE | 65065LCM56 | 19 |  | . | ng/L |  | 4.42 | False Positive | 2440 | K | LJC | bt | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20163280003 | 2016-11-21 09:00 | ATRAZINE | 65065LCM56 | 19 |  | . | ng/L |  | 8.33 | False Positive | 2440 | U | MNI | bt | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | ATRAZINE | 65065LCM56 | 19 |  | . | ng/L |  | 6.32 | False Positive | 2440 | U | MNI | bt | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20152110203 | 2015-07-30 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 29 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
20160910144 | 2016-03-31 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 14.5 | . | ng/L | 0.70345 | 10.2 | Recoverable Result | 2440 | U | LJC | n | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | ATRAZINE | 65065LCM56 | 19.4 | 14.5 | . | ng/L | 0.68828 | 9.98 | Recoverable Result | 2440 | U | LJC | bn | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20152250278 | 2015-08-13 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 28.8 | . | ng/L | 0.86806 | 25 | Recoverable Result | 2440 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20152390226 | 2015-08-27 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 28.8 | . | ng/L | 0.72917 | 21 | Recoverable Result | 2440 | U | LJC |  | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20153090116 | 2015-11-05 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 28.8 | . | ng/L | 0.76736 | 22.1 | Recoverable Result | 2440 | K | LJC |  | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
20153440005 | 2015-12-09 07:00 | ATRAZINE | 65065LCM56 | 19.4 | 28.8 | . | ng/L | 0.5 | 14.4 | Recoverable Result | 2440 | U | SLW | n | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160710221 | 2016-03-10 09:00 | ATRAZINE | 65065LCM56 | 19.4 | 28.8 | E | ng/L | 0.84028 | 24.2 | Estimated Values | 2440 | U | LJC | c | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20160980151 | 2016-04-07 06:00 | ATRAZINE | 65065LCM56 | 19.4 | 28.8 | . | ng/L | 0.97222 | 28 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20151410214 | 2015-05-21 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 29 | . | ng/L | 0.72414 | 21 | Recoverable Result | 2440 | U | MNO |  | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
20151550290 | 2015-06-04 06:00 | ATRAZINE | 65065LCM56 | 19.4 | 29 | . | ng/L | 0.73793 | 21.4 | Recoverable Result | 2440 | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20160280057 | 2016-01-28 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 29 | . | ng/L | 0.75862 | 22 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20141360091 | 2014-05-16 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 38.295 | . | ng/L | 0.94007 | 36 | Recoverable Result | 2440 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141770145 | 2014-06-26 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 38.295 | . | ng/L | 0.74161 | 28.4 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142620042 | 2014-09-18 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 38.295 | . | ng/L | 0.65283 | 25 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
20142530091 | 2014-09-10 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 38.295 | . | ng/L | 0.79384 | 30.4 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
20141840099 | 2014-07-02 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 38.7 | . | ng/L | 0.66925 | 25.9 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142130133 | 2014-07-31 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 38.7 | . | ng/L | 0.39276 | 15.2 | Recoverable Result | 2440 | U | MNO | n | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142340169 | 2014-08-18 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 38.7 | . | ng/L | 0.69251 | 26.8 | Recoverable Result | 2440 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
20140930049 | 2014-04-03 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 40 | . | ng/L | 0.8125 | 32.5 | Recoverable Result | 2440 | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
20142760028 | 2014-10-02 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 40.848 | . | ng/L | 0.59734 | 24.4 | Recoverable Result | 2440 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20143030095 | 2014-10-30 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 40.848 | . | ng/L | 0.85194 | 34.8 | Recoverable Result | 2440 | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
20150790013 | 2015-03-19 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 40.848 | . | ng/L | 0.78584 | 32.1 | Recoverable Result | 2440 | U | SLW |  | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20142820152 | 2014-10-09 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 41.28 | . | ng/L | 0.83818 | 34.6 | Recoverable Result | 2440 | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
20142960084 | 2014-10-23 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 41.28 | . | ng/L | 0.70252 | 29 | Recoverable Result | 2440 | U | MNO |  | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
20162380011 | 2016-08-24 07:45 | ATRAZINE | 65065LCM56 | 19.4 | 48.4 | . | ng/L | 0.74174 | 35.9 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 48.4 | . | ng/L | 0.72934 | 35.3 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162800005 | 2016-10-05 09:00 | ATRAZINE | 65065LCM56 | 19 | 48.4 | . | ng/L | 0.81198 | 39.3 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | ATRAZINE | 65065LCM56 | 19 | 48.4 | . | ng/L | 0.75 | 36.3 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162020116 | 2016-07-20 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 48.44 | . | ng/L | 0.73906 | 35.8 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | ATRAZINE | 65065LCM56 | 19.4 | 48.44 | . | ng/L | 0.87325 | 42.3 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162150208 | 2016-08-02 09:00 | ATRAZINE | 65065LCM56 | 19.4 | 48.44 | . | ng/L | 0.69158 | 33.5 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 48.44 | . | ng/L | 0.6441 | 31.2 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162440106 | 2016-08-31 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 48.44 | . | ng/L | 1.0467 | 50.7 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | ATRAZINE | 65065LCM56 | 19.4 | 48.44 | . | ng/L | 1.0446 | 50.6 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162660012 | 2016-09-21 09:30 | ATRAZINE | 65065LCM56 | 19 | 48.44 | . | ng/L | 0.82783 | 40.1 | Recoverable Result | 2440 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | ATRAZINE | 65065LCM56 | 19 | 48.44 | . | ng/L | 0.87325 | 42.3 | Recoverable Result | 2440 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500007 | 2016-12-14 09:00 | ATRAZINE | 65065LCM56 | 19 | 48.44 | . | ng/L | 0.98472 | 47.7 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | ATRAZINE | 65065LCM56 | 19 | 48.44 | . | ng/L | 0.96408 | 46.7 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20152460209 | 2015-09-03 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 57.6 | . | ng/L | 0.7309 | 42.1 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20152810122 | 2015-10-08 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 57.6 | . | ng/L | 0.71181 | 41 | Recoverable Result | 2440 | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
20160210081 | 2016-01-21 06:30 | ATRAZINE | 65065LCM56 | 19.4 | 57.6 | . | ng/L | 0.69618 | 40.1 | Recoverable Result | 2440 | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
20160560046 | 2016-02-25 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 57.6 | . | ng/L | 0.7934 | 45.7 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20151820109 | 2015-07-01 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 58 | . | ng/L | 0.75172 | 43.6 | Recoverable Result | 2440 | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
20152040179 | 2015-07-23 07:00 | ATRAZINE | 65065LCM56 | 19.4 | 58 | . | ng/L | 0.71034 | 41.2 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20153280157 | 2015-11-24 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 58 | . | ng/L | 0.62241 | 36.1 | Recoverable Result | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
20161130022 | 2016-04-21 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 58 | . | ng/L | 0.70172 | 40.7 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20161130023 | 2016-04-21 06:00 | ATRAZINE | 65065LCM56 | 19.4 | 58 | . | ng/L | 0.82241 | 47.7 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20141290006 | 2014-05-08 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 76.59 | . | ng/L | 0.71028 | 54.4 | Recoverable Result | 2440 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
20141570089 | 2014-06-05 09:00 | ATRAZINE | 65065LCM56 | 19.4 | 76.59 | . | ng/L | 0.92049 | 70.5 | Recoverable Result | 2440 | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20141710105 | 2014-06-19 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 76.59 | . | ng/L | 0.76381 | 58.5 | Recoverable Result | 2440 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
20150230027 | 2015-01-22 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 76.59 | . | ng/L | 0.90612 | 69.4 | Recoverable Result | 2440 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150430093 | 2015-02-12 07:00 | ATRAZINE | 65065LCM56 | 19.4 | 76.59 | . | ng/L | 0.76772 | 58.8 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
20141990083 | 2014-07-17 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 77.4 | . | ng/L | 0.87985 | 68.1 | Recoverable Result | 2440 | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
20142270003 | 2014-08-14 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 77.4 | . | ng/L | 0.6292 | 48.7 | Recoverable Result | 2440 | K | MNO |  | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
20143180049 | 2014-11-13 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 77.4 | . | ng/L | 0.69897 | 54.1 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20143300051 | 2014-11-26 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 77.4 | . | ng/L | 0.76744 | 59.4 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20143650002 | 2014-12-31 07:00 | ATRAZINE | 65065LCM56 | 19.4 | 77.4 | . | ng/L | 0.86176 | 66.7 | Recoverable Result | 2440 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20150570011 | 2015-02-26 07:00 | ATRAZINE | 65065LCM56 | 19.4 | 77.4 | . | ng/L | 0.79845 | 61.8 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150850164 | 2015-03-26 07:00 | ATRAZINE | 65065LCM56 | 19.4 | 77.4 | . | ng/L | 0.8708 | 67.4 | Recoverable Result | 2440 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
20151140150 | 2015-04-23 06:30 | ATRAZINE | 65065LCM56 | 19.4 | 77.4 | . | ng/L | 0.99483 | 77 | Recoverable Result | 2440 | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20163150008 | 2016-11-09 09:30 | ATRAZINE | 65065LCM56 | 19 | 96.8 | . | ng/L | 0.7376 | 71.4 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | ATRAZINE | 65065LCM56 | 19 | 96.8 | . | ng/L | 0.7345 | 71.1 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163070102 | 2016-11-02 09:30 | ATRAZINE | 65065LCM56 | 19 | 96.8 | . | ng/L | 0.73967 | 71.6 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | ATRAZINE | 65065LCM56 | 19 | 96.8 | . | ng/L | 0.7624 | 73.8 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20161880102 | 2016-07-06 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 96.88 | . | ng/L | 0.89802 | 87 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 96.88 | . | ng/L | 0.87737 | 85 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162230166 | 2016-08-10 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 96.88 | . | ng/L | 0.77622 | 75.2 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | ATRAZINE | 65065LCM56 | 19.4 | 96.88 | . | ng/L | 0.7597 | 73.6 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20152950084 | 2015-10-22 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 115.2 | . | ng/L | 0.75087 | 86.5 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20160430109 | 2016-02-11 08:30 | ATRAZINE | 65065LCM56 | 19.4 | 115.2 | . | ng/L | 0.83333 | 96 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
20152670140 | 2015-09-24 07:30 | ATRAZINE | 65065LCM56 | 19.4 | 116 | . | ng/L | 1.0948 | 127 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152610009 | 2015-09-17 07:00 | ATRAZINE | 65065LCM56 | 19.4 | 116 | . | ng/L | 0.93966 | 109 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
20153160007 | 2015-11-10 08:00 | ATRAZINE | 65065LCM56 | 19.4 | 116 | . | ng/L | 0.82241 | 95.4 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20163630039 | 2016-12-28 08:00 | ATRAZINE | 65065LCM56 | 19 | 121 | E | ng/L | 0.86777 | 105 | Estimated Values | 2440 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20163630038 | 2016-12-28 07:30 | ATRAZINE | 65065LCM56 | 19 | 121 | E | ng/L | 0.85124 | 103 | Estimated Values | 2440 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl