## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20162930164 | 2016-10-19 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 |  | . | ng/L |  | 0.27 | False Positive | 2440 | K | LJC | bt | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20160770097 | 2016-03-17 07:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.23 | < | ng/L |  | 20 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160910144 | 2016-03-31 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.23 | . | ng/L | 0.90401 | 7.44 | Recoverable Result | 2440 | U | LJC | n | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20141220012 | 2014-05-01 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.2575 | . | ng/L | 0.84529 | 6.98 | Recoverable Result | 2440 | U | MNO | n | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141640080 | 2014-06-12 09:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.2575 | . | ng/L | 0.6043 | 4.99 | Recoverable Result | 2440 | U | MNO | n | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141910244 | 2014-07-10 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.2575 | . | ng/L | 0.70845 | 5.85 | Recoverable Result | 2440 | U | LJC | n | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
20142530091 | 2014-09-10 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.2575 | . | ng/L | 0.70724 | 5.84 | Recoverable Result | 2440 | U | LJC | n | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
20141840099 | 2014-07-02 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.325 | . | ng/L | 0.76877 | 6.4 | Recoverable Result | 2440 | U | LJC | n | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142130133 | 2014-07-31 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.325 | . | ng/L | 0.72793 | 6.06 | Recoverable Result | 2440 | U | MNO | n | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142470036 | 2014-09-03 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.325 | . | ng/L | 0.63063 | 5.25 | Recoverable Result | 2440 | U | SLW | n | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
20142960084 | 2014-10-23 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.808 | . | ng/L | 0.70277 | 6.19 | Recoverable Result | 2440 | U | MNO | n | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
20142760028 | 2014-10-02 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.88 | . | ng/L | 0.54167 | 4.81 | Recoverable Result | 2440 | U | LJC | n | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20143370092 | 2014-12-03 07:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.88 | . | ng/L | 0.87725 | 7.79 | Recoverable Result | 2440 | U | MNO | n | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
20150290075 | 2015-01-29 06:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.88 | . | ng/L | 0.78604 | 6.98 | Recoverable Result | 2440 | K | LJC | n | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20150790013 | 2015-03-19 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.88 | . | ng/L | 0.59572 | 5.29 | Recoverable Result | 2440 | U | SLW | n | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20150990082 | 2015-04-09 07:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 8.88 | . | ng/L | 0.46734 | 4.15 | Recoverable Result | 2440 | U | LJC | n | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20140930049 | 2014-04-03 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 10 | . | ng/L | 0.718 | 7.18 | Recoverable Result | 2440 | K | LJC | noc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
20151410214 | 2015-05-21 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.46 | . | ng/L | 0.66221 | 10.9 | Recoverable Result | 2440 | U | MNO | n | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
20151550290 | 2015-06-04 06:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.46 | . | ng/L | 0.76549 | 12.6 | Recoverable Result | 2440 | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20152110203 | 2015-07-30 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.46 | E | ng/L | 0.54313 | 8.94 | Estimated Values | 2440 | U | SLW | nc | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
20160280057 | 2016-01-28 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.46 | . | ng/L | 0.77764 | 12.8 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20141290006 | 2014-05-08 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.515 | . | ng/L | 0.75689 | 12.5 | Recoverable Result | 2440 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
20141420139 | 2014-05-22 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.515 | . | ng/L | 0.82349 | 13.6 | Recoverable Result | 2440 | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
20141710105 | 2014-06-19 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.515 | . | ng/L | 0.76294 | 12.6 | Recoverable Result | 2440 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
20142200171 | 2014-08-07 09:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.515 | . | ng/L | 0.73872 | 12.2 | Recoverable Result | 2440 | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
20143180049 | 2014-11-13 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.515 | . | ng/L | 0.85982 | 14.2 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20143650002 | 2014-12-31 07:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.515 | . | ng/L | 0.85982 | 14.2 | Recoverable Result | 2440 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20150650042 | 2015-03-05 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.515 | . | ng/L | 0.8901 | 14.7 | Recoverable Result | 2440 | U | LJC |  | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
20151140150 | 2015-04-23 06:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.515 | . | ng/L | 1.0536 | 17.4 | Recoverable Result | 2440 | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20152250278 | 2015-08-13 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.54 | . | ng/L | 0.73761 | 12.2 | Recoverable Result | 2440 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20152390226 | 2015-08-27 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.54 | . | ng/L | 0.8948 | 14.8 | Recoverable Result | 2440 | U | LJC |  | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20153090116 | 2015-11-05 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.54 | . | ng/L | 0.80411 | 13.3 | Recoverable Result | 2440 | K | LJC |  | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
20153440005 | 2015-12-09 07:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.54 | . | ng/L | 0.62273 | 10.3 | Recoverable Result | 2440 | U | SLW | n | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160710221 | 2016-03-10 09:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.54 | E | ng/L | 0.73761 | 12.2 | Estimated Values | 2440 | U | LJC | c | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20160980151 | 2016-04-07 06:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.54 | . | ng/L | 0.93108 | 15.4 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20142270003 | 2014-08-14 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.65 | . | ng/L | 0.58078 | 9.67 | Recoverable Result | 2440 | K | MNO | n | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
20142720025 | 2014-09-25 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.65 | . | ng/L | 0.64865 | 10.8 | Recoverable Result | 2440 | U | LJC | n | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
20142890076 | 2014-10-16 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.65 | . | ng/L | 0.77477 | 12.9 | Recoverable Result | 2440 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
20143110110 | 2014-11-06 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.65 | . | ng/L | 0.72072 | 12 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
20150430093 | 2015-02-12 07:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 16.65 | . | ng/L | 0.8048 | 13.4 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
20162380011 | 2016-08-24 07:45 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.48 | E | ng/L | 0.64774 | 17.8 | Estimated Values | 2440 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.48 | . | ng/L | 0.63319 | 17.4 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162800005 | 2016-10-05 09:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.48 | . | ng/L | 0.78239 | 21.5 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.48 | . | ng/L | 0.78239 | 21.5 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162020116 | 2016-07-20 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.68 | . | ng/L | 0.59249 | 16.4 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.68 | . | ng/L | 0.72616 | 20.1 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162150208 | 2016-08-02 09:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.68 | . | ng/L | 0.72616 | 20.1 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.68 | . | ng/L | 0.68642 | 19 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162440106 | 2016-08-31 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.68 | . | ng/L | 0.7948 | 22 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.68 | . | ng/L | 0.8237 | 22.8 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162660012 | 2016-09-21 09:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.68 | . | ng/L | 0.86344 | 23.9 | Recoverable Result | 2440 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.68 | . | ng/L | 0.95014 | 26.3 | Recoverable Result | 2440 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500007 | 2016-12-14 09:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.68 | . | ng/L | 1.0549 | 29.2 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 27.68 | . | ng/L | 1.0224 | 28.3 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20151820109 | 2015-07-01 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 32.92 | . | ng/L | 0.85055 | 28 | Recoverable Result | 2440 | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
20152040179 | 2015-07-23 07:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 32.92 | . | ng/L | 0.73208 | 24.1 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20153280157 | 2015-11-24 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 32.92 | . | ng/L | 0.7503 | 24.7 | Recoverable Result | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
20161130022 | 2016-04-21 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 32.92 | . | ng/L | 0.68044 | 22.4 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20161130023 | 2016-04-21 06:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 32.92 | . | ng/L | 0.77764 | 25.6 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20152460209 | 2015-09-03 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 33.08 | . | ng/L | 0.69528 | 23 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20152810122 | 2015-10-08 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 33.08 | . | ng/L | 0.68924 | 22.8 | Recoverable Result | 2440 | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
20160210081 | 2016-01-21 06:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 33.08 | . | ng/L | 0.84039 | 27.8 | Recoverable Result | 2440 | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
20160560046 | 2016-02-25 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 33.08 | . | ng/L | 0.75574 | 25 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20163150008 | 2016-11-09 09:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 54.96 | . | ng/L | 0.77147 | 42.4 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 54.96 | . | ng/L | 0.76055 | 41.8 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163070102 | 2016-11-02 09:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 54.96 | . | ng/L | 0.83151 | 45.7 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 54.96 | . | ng/L | 0.81878 | 45 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20161880102 | 2016-07-06 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 55.36 | . | ng/L | 0.90318 | 50 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 55.36 | . | ng/L | 0.94473 | 52.3 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162230166 | 2016-08-10 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 55.36 | . | ng/L | 0.8237 | 45.6 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | CARBAMAZEPINE | 67441LCM56 | 11 | 55.36 | . | ng/L | 0.80744 | 44.7 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20152670140 | 2015-09-24 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 65.84 | . | ng/L | 0.69259 | 45.6 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152610009 | 2015-09-17 07:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 65.84 | . | ng/L | 0.75942 | 50 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
20153160007 | 2015-11-10 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 65.84 | . | ng/L | 0.81865 | 53.9 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152950084 | 2015-10-22 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 66.16 | . | ng/L | 0.8026 | 53.1 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20160430109 | 2016-02-11 08:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 66.16 | . | ng/L | 0.77993 | 51.6 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
20163630039 | 2016-12-28 08:00 | CARBAMAZEPINE | 67441LCM56 | 11 | 68.7 | E | ng/L | 0.84425 | 58 | Estimated Values | 2440 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20163630038 | 2016-12-28 07:30 | CARBAMAZEPINE | 67441LCM56 | 11 | 68.7 | E | ng/L | 0.78166 | 53.7 | Estimated Values | 2440 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl