## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20142960084 | 2014-10-23 07:30 | FADROZOLE | 68012LCM56 | 7.32 |  | . | ng/L |  | 0.52 | False Positive | 2440 | U | MNO | bt | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
20152250278 | 2015-08-13 08:30 | FADROZOLE | 68012LCM56 | 7.32 |  | . | ng/L |  | 11.2 | False Positive | 2440 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20152330041 | 2015-08-20 07:00 | FADROZOLE | 68012LCM56 | 7.32 | 21.6 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
20152390226 | 2015-08-27 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 10.8 | . | ng/L | 0.56204 | 6.07 | Recoverable Result | 2440 | U | LJC | n | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20152530083 | 2015-09-10 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 10.8 | . | ng/L | 0.59722 | 6.45 | Recoverable Result | 2440 | U | SLW | n | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
20153230140 | 2015-11-19 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 10.8 | . | ng/L | 0.76389 | 8.25 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20160630051 | 2016-03-03 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 10.8 | . | ng/L | 0.44907 | 4.85 | Recoverable Result | 2440 | U | LJC | n | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20160840084 | 2016-03-24 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 10.8 | . | ng/L | 0.72778 | 7.86 | Recoverable Result | 2440 | U | LJC |  | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20160710221 | 2016-03-10 09:00 | FADROZOLE | 68012LCM56 | 7.32 | 10.8 | E | ng/L | 0.61759 | 6.67 | Estimated Values | 2440 | U | LJC | nc | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20160980151 | 2016-04-07 06:00 | FADROZOLE | 68012LCM56 | 7.32 | 10.8 | . | ng/L | 0.84074 | 9.08 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20161260154 | 2016-05-05 06:30 | FADROZOLE | 68012LCM56 | 7.32 | 10.8 | . | ng/L | 0.4787 | 5.17 | Recoverable Result | 2440 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20161260153 | 2016-05-05 06:00 | FADROZOLE | 68012LCM56 | 7.32 | 10.8 | . | ng/L | 0.53611 | 5.79 | Recoverable Result | 2440 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20151410214 | 2015-05-21 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 11.0418 | . | ng/L | 0.58505 | 6.46 | Recoverable Result | 2440 | U | MNO | n | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
20151690193 | 2015-06-18 07:00 | FADROZOLE | 68012LCM56 | 7.32 | 11.0418 | . | ng/L | 0.5932 | 6.55 | Recoverable Result | 2440 | K | LJC | n | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
20152110203 | 2015-07-30 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 11.0418 | E | ng/L | 0.44468 | 4.91 | Estimated Values | 2440 | U | SLW | nc | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
20152190007 | 2015-08-06 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 11.0418 | . | ng/L | 0.53705 | 5.93 | Recoverable Result | 2440 | U | LJC | n | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
20153030062 | 2015-10-29 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 11.0418 | . | ng/L | 0.74263 | 8.2 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
20153090116 | 2015-11-05 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 11.0418 | . | ng/L | 0.70913 | 7.83 | Recoverable Result | 2440 | K | LJC |  | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
20141220012 | 2014-05-01 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 14.295 | . | ng/L | 0.6184 | 8.84 | Recoverable Result | 2440 | U | MNO |  | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141360091 | 2014-05-16 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 14.295 | . | ng/L | 0.64568 | 9.23 | Recoverable Result | 2440 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141640080 | 2014-06-12 09:00 | FADROZOLE | 68012LCM56 | 7.32 | 14.295 | . | ng/L | 0.57013 | 8.15 | Recoverable Result | 2440 | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141770145 | 2014-06-26 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 14.295 | . | ng/L | 0.57083 | 8.16 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142470036 | 2014-09-03 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 14.295 | . | ng/L | 0.55754 | 7.97 | Recoverable Result | 2440 | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
20141910244 | 2014-07-10 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 14.7 | . | ng/L | 0.56871 | 8.36 | Recoverable Result | 2440 | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
20142340169 | 2014-08-18 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 14.7 | . | ng/L | 0.7415 | 10.9 | Recoverable Result | 2440 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
20142620042 | 2014-09-18 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 14.7 | . | ng/L | 0.56054 | 8.24 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
20142820152 | 2014-10-09 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 15.248 | . | ng/L | 0.74764 | 11.4 | Recoverable Result | 2440 | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
20150290075 | 2015-01-29 06:30 | FADROZOLE | 68012LCM56 | 7.32 | 15.248 | . | ng/L | 0.58827 | 8.97 | Recoverable Result | 2440 | K | LJC |  | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20150990082 | 2015-04-09 07:00 | FADROZOLE | 68012LCM56 | 7.32 | 15.248 | . | ng/L | 0.72796 | 11.1 | Recoverable Result | 2440 | U | LJC |  | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20143030095 | 2014-10-30 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 15.68 | . | ng/L | 0.68878 | 10.8 | Recoverable Result | 2440 | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
20143370092 | 2014-12-03 07:00 | FADROZOLE | 68012LCM56 | 7.32 | 15.68 | . | ng/L | 0.82908 | 13 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
20162100013 | 2016-07-27 07:45 | FADROZOLE | 68012LCM56 | 7.32 | 18.4 | . | ng/L | 0.52011 | 9.57 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162100012 | 2016-07-27 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 18.4 | . | ng/L | 0.51304 | 9.44 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162150208 | 2016-08-02 09:00 | FADROZOLE | 68012LCM56 | 7.32 | 18.4 | . | ng/L | 0.5413 | 9.96 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 18.4 | . | ng/L | 0.51576 | 9.49 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162380011 | 2016-08-24 07:45 | FADROZOLE | 68012LCM56 | 7.32 | 18.4 | E | ng/L | 0.54293 | 9.99 | Estimated Values | 2440 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 18.4 | . | ng/L | 0.51576 | 9.49 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20163280003 | 2016-11-21 09:00 | FADROZOLE | 68012LCM56 | 13 | 18.4 | . | ng/L | 0.5163 | 9.5 | Recoverable Result | 2440 | U | MNI | n | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | FADROZOLE | 68012LCM56 | 13 | 18.4 | . | ng/L | 0.49891 | 9.18 | Recoverable Result | 2440 | U | MNI | n | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20162300274 | 2016-08-17 10:00 | FADROZOLE | 68012LCM56 | 7.32 | 18.44 | . | ng/L | 0.46746 | 8.62 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162300275 | 2016-08-17 09:30 | FADROZOLE | 68012LCM56 | 7.32 | 18.44 | . | ng/L | 0.5282 | 9.74 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162660012 | 2016-09-21 09:30 | FADROZOLE | 68012LCM56 | 13 | 18.44 | . | ng/L | 0.55315 | 10.2 | Recoverable Result | 2440 | K | MNI | n | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | FADROZOLE | 68012LCM56 | 13 | 18.44 | . | ng/L | 0.54772 | 10.1 | Recoverable Result | 2440 | K | MNI | n | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500007 | 2016-12-14 09:00 | FADROZOLE | 68012LCM56 | 13 | 18.44 | . | ng/L | 0.7321 | 13.5 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | FADROZOLE | 68012LCM56 | 13 | 18.44 | . | ng/L | 0.63449 | 11.7 | Recoverable Result | 2440 | U | MNI | n | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20152810122 | 2015-10-08 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 21.6 | . | ng/L | 0.5787 | 12.5 | Recoverable Result | 2440 | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
20153280157 | 2015-11-24 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 21.6 | . | ng/L | 0.46157 | 9.97 | Recoverable Result | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
20151820109 | 2015-07-01 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 22.0835 | . | ng/L | 0.67471 | 14.9 | Recoverable Result | 2440 | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
20151970156 | 2015-07-16 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 22.0835 | . | ng/L | 0.72905 | 16.1 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
20160350045 | 2016-02-04 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 22.0835 | . | ng/L | 0.74263 | 16.4 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
20160210081 | 2016-01-21 06:30 | FADROZOLE | 68012LCM56 | 7.32 | 22.0835 | . | ng/L | 0.67924 | 15 | Recoverable Result | 2440 | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
20161130022 | 2016-04-21 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 22.0835 | . | ng/L | 0.53433 | 11.8 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20161130023 | 2016-04-21 06:00 | FADROZOLE | 68012LCM56 | 7.32 | 22.0835 | . | ng/L | 0.62037 | 13.7 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20141420139 | 2014-05-22 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 28.59 | . | ng/L | 0.67156 | 19.2 | Recoverable Result | 2440 | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
20141570089 | 2014-06-05 09:00 | FADROZOLE | 68012LCM56 | 7.32 | 28.59 | . | ng/L | 0.74851 | 21.4 | Recoverable Result | 2440 | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20142890076 | 2014-10-16 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 28.59 | . | ng/L | 0.67506 | 19.3 | Recoverable Result | 2440 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
20143300051 | 2014-11-26 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 28.59 | . | ng/L | 0.64008 | 18.3 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150570011 | 2015-02-26 07:00 | FADROZOLE | 68012LCM56 | 7.32 | 28.59 | . | ng/L | 0.71703 | 20.5 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20141990083 | 2014-07-17 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 29.4 | . | ng/L | 0.86054 | 25.3 | Recoverable Result | 2440 | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
20142200171 | 2014-08-07 09:30 | FADROZOLE | 68012LCM56 | 7.32 | 29.4 | . | ng/L | 0.64626 | 19 | Recoverable Result | 2440 | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
20142720025 | 2014-09-25 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 29.4 | . | ng/L | 0.63605 | 18.7 | Recoverable Result | 2440 | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
20143110110 | 2014-11-06 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 29.4 | . | ng/L | 0.65646 | 19.3 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
20150230027 | 2015-01-22 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 29.4 | . | ng/L | 0.72109 | 21.2 | Recoverable Result | 2440 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150650042 | 2015-03-05 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 29.4 | . | ng/L | 0.65646 | 19.3 | Recoverable Result | 2440 | U | LJC |  | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
20150850164 | 2015-03-26 07:00 | FADROZOLE | 68012LCM56 | 7.32 | 29.4 | . | ng/L | 1.0646 | 31.3 | Recoverable Result | 2440 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
20161740257 | 2016-06-22 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 36.8 | . | ng/L | 0.55978 | 20.6 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161740283 | 2016-06-22 07:45 | FADROZOLE | 68012LCM56 | 7.32 | 36.8 | . | ng/L | 0.6087 | 22.4 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161880102 | 2016-07-06 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 36.8 | . | ng/L | 0.6413 | 23.6 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 36.8 | . | ng/L | 0.60598 | 22.3 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162580143 | 2016-09-14 07:30 | FADROZOLE | 68012LCM56 | 7.32 | 36.8 | . | ng/L | 0.55707 | 20.5 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20162580144 | 2016-09-14 07:15 | FADROZOLE | 68012LCM56 | 7.32 | 36.8 | . | ng/L | 0.58967 | 21.7 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20163070102 | 2016-11-02 09:30 | FADROZOLE | 68012LCM56 | 13 | 36.88 | E | ng/L | 0.53959 | 19.9 | Estimated Values | 2440 | K | LJC | c | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | FADROZOLE | 68012LCM56 | 13 | 36.88 | E | ng/L | 0.52332 | 19.3 | Estimated Values | 2440 | K | LJC | c | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20152610009 | 2015-09-17 07:00 | FADROZOLE | 68012LCM56 | 7.32 | 43.2 | . | ng/L | 0.6412 | 27.7 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
20160070055 | 2016-01-07 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 43.2 | . | ng/L | 0.58102 | 25.1 | Recoverable Result | 2440 | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
20152750004 | 2015-10-01 08:00 | FADROZOLE | 68012LCM56 | 7.32 | 44.1671 | . | ng/L | 0.67698 | 29.9 | Recoverable Result | 2440 | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
20160430109 | 2016-02-11 08:30 | FADROZOLE | 68012LCM56 | 7.32 | 44.1671 | . | ng/L | 0.7449 | 32.9 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
20162930165 | 2016-10-19 07:45 | FADROZOLE | 68012LCM56 | 13 | 46.1 | . | ng/L | 0.50542 | 23.3 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20162930164 | 2016-10-19 07:30 | FADROZOLE | 68012LCM56 | 13 | 46.1 | . | ng/L | 0.50976 | 23.5 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl