## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20152530083 | 2015-09-10 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 106.6 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
20160910144 | 2016-03-31 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 53.3 | . | ng/L | 0.89681 | 47.8 | Recoverable Result | 2440 | U | LJC | n | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | FLUCONAZOLE | 67478LCM56 | 71 | 53.3 | . | ng/L | 0.71295 | 38 | Recoverable Result | 2440 | U | LJC | bn | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20151550290 | 2015-06-04 06:00 | FLUCONAZOLE | 67478LCM56 | 71 | 106.32 | . | ng/L | 0.83521 | 88.8 | Recoverable Result | 2440 | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20151690193 | 2015-06-18 07:00 | FLUCONAZOLE | 67478LCM56 | 71 | 106.32 | . | ng/L | 0.79947 | 85 | Recoverable Result | 2440 | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
20152190007 | 2015-08-06 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 106.32 | . | ng/L | 0.84368 | 89.7 | Recoverable Result | 2440 | U | LJC |  | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
20152250278 | 2015-08-13 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 106.32 | . | ng/L | 0.95937 | 102 | Recoverable Result | 2440 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20153230140 | 2015-11-19 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 106.32 | . | ng/L | 0.76091 | 80.9 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20160280057 | 2016-01-28 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 106.32 | . | ng/L | 0.7073 | 75.2 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20161260154 | 2016-05-05 06:30 | FLUCONAZOLE | 67478LCM56 | 71 | 106.32 | . | ng/L | 0.73269 | 77.9 | Recoverable Result | 2440 | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20161260153 | 2016-05-05 06:00 | FLUCONAZOLE | 67478LCM56 | 71 | 106.32 | . | ng/L | 0.76279 | 81.1 | Recoverable Result | 2440 | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20153030062 | 2015-10-29 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 106.6 | . | ng/L | 0.73546 | 78.4 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
20153440005 | 2015-12-09 07:00 | FLUCONAZOLE | 67478LCM56 | 71 | 106.6 | . | ng/L | 0.63321 | 67.5 | Recoverable Result | 2440 | U | SLW | n | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160630051 | 2016-03-03 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 106.6 | . | ng/L | 0.90244 | 96.2 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20160840084 | 2016-03-24 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 106.6 | . | ng/L | 0.70638 | 75.3 | Recoverable Result | 2440 | U | LJC |  | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20141360091 | 2014-05-16 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 141.4275 | . | ng/L | 0.93334 | 132 | Recoverable Result | 2440 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141770145 | 2014-06-26 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 141.4275 | . | ng/L | 0.70708 | 100 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142620042 | 2014-09-18 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 141.4275 | . | ng/L | 0.97576 | 138 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
20142530091 | 2014-09-10 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 141.4275 | . | ng/L | 0.95455 | 135 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
20141840099 | 2014-07-02 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 143.25 | . | ng/L | 0.78883 | 113 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142130133 | 2014-07-31 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 143.25 | E | ng/L | 0.50681 | 72.6 | Estimated Values | 2440 | U | MNO | c | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142340169 | 2014-08-18 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 143.25 | . | ng/L | 0.94241 | 135 | Recoverable Result | 2440 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
20142760028 | 2014-10-02 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 150.856 | . | ng/L | 0.85512 | 129 | Recoverable Result | 2440 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20143030095 | 2014-10-30 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 150.856 | . | ng/L | 0.95455 | 144 | Recoverable Result | 2440 | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
20150790013 | 2015-03-19 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 150.856 | . | ng/L | 0.90815 | 137 | Recoverable Result | 2440 | U | SLW |  | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20142820152 | 2014-10-09 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 152.8 | . | ng/L | 1.0209 | 156 | Recoverable Result | 2440 | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
20142960084 | 2014-10-23 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 152.8 | . | ng/L | 0.82461 | 126 | Recoverable Result | 2440 | U | MNO |  | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
20162020116 | 2016-07-20 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 176.52 | . | ng/L | 0.46964 | 82.9 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | FLUCONAZOLE | 67478LCM56 | 71 | 176.52 | . | ng/L | 0.52459 | 92.6 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162150208 | 2016-08-02 09:00 | FLUCONAZOLE | 67478LCM56 | 71 | 176.52 | . | ng/L | 0.82144 | 145 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 176.52 | . | ng/L | 0.77045 | 136 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162440106 | 2016-08-31 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 176.52 | . | ng/L | 0.88942 | 157 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | FLUCONAZOLE | 67478LCM56 | 71 | 176.52 | . | ng/L | 0.95173 | 168 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162660012 | 2016-09-21 09:30 | FLUCONAZOLE | 67478LCM56 | 71 | 176.52 | . | ng/L | 0.88942 | 157 | Recoverable Result | 2440 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | FLUCONAZOLE | 67478LCM56 | 71 | 176.52 | . | ng/L | 0.90641 | 160 | Recoverable Result | 2440 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500007 | 2016-12-14 09:00 | FLUCONAZOLE | 67478LCM56 | 71 | 176.52 | . | ng/L | 1.1047 | 195 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 176.52 | . | ng/L | 1.1104 | 196 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162380011 | 2016-08-24 07:45 | FLUCONAZOLE | 67478LCM56 | 71 | 177.6 | . | ng/L | 0.69257 | 123 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 177.6 | . | ng/L | 0.66441 | 118 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162800005 | 2016-10-05 09:00 | FLUCONAZOLE | 67478LCM56 | 71 | 177.6 | . | ng/L | 0.72635 | 129 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 177.6 | . | ng/L | 0.66441 | 118 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20152040179 | 2015-07-23 07:00 | FLUCONAZOLE | 67478LCM56 | 71 | 212.64 | E | ng/L | 0.74774 | 159 | Estimated Values | 2440 | U | LJC | c | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20152330041 | 2015-08-20 07:00 | FLUCONAZOLE | 67478LCM56 | 71 | 212.64 | . | ng/L | 0.61136 | 130 | Recoverable Result | 2440 | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
20160350045 | 2016-02-04 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 212.64 | . | ng/L | 0.92175 | 196 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
20160560046 | 2016-02-25 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 212.64 | . | ng/L | 0.6772 | 144 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20151970156 | 2015-07-16 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 213.2 | E | ng/L | 0.88649 | 189 | Estimated Values | 2440 | U | LJC | c | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
20152460209 | 2015-09-03 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 213.2 | . | ng/L | 0.67073 | 143 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20141290006 | 2014-05-08 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 282.855 | . | ng/L | 0.76718 | 217 | Recoverable Result | 2440 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
20141570089 | 2014-06-05 09:00 | FLUCONAZOLE | 67478LCM56 | 71 | 282.855 | . | ng/L | 1.0748 | 304 | Recoverable Result | 2440 | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20141710105 | 2014-06-19 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 282.855 | . | ng/L | 0.84849 | 240 | Recoverable Result | 2440 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
20150230027 | 2015-01-22 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 282.855 | . | ng/L | 1.004 | 284 | Recoverable Result | 2440 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150430093 | 2015-02-12 07:00 | FLUCONAZOLE | 67478LCM56 | 71 | 282.855 | . | ng/L | 0.93334 | 264 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
20141990083 | 2014-07-17 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 286.5 | . | ng/L | 1.0436 | 299 | Recoverable Result | 2440 | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
20142270003 | 2014-08-14 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 286.5 | . | ng/L | 0.93892 | 269 | Recoverable Result | 2440 | K | MNO |  | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
20143180049 | 2014-11-13 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 286.5 | . | ng/L | 0.8726 | 250 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20143300051 | 2014-11-26 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 286.5 | . | ng/L | 1.1483 | 329 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20143650002 | 2014-12-31 07:00 | FLUCONAZOLE | 67478LCM56 | 71 | 286.5 | . | ng/L | 1.082 | 310 | Recoverable Result | 2440 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20150570011 | 2015-02-26 07:00 | FLUCONAZOLE | 67478LCM56 | 71 | 286.5 | . | ng/L | 1.0436 | 299 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150850164 | 2015-03-26 07:00 | FLUCONAZOLE | 67478LCM56 | 71 | 286.5 | . | ng/L | 1.1449 | 328 | Recoverable Result | 2440 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
20151140150 | 2015-04-23 06:30 | FLUCONAZOLE | 67478LCM56 | 71 | 286.5 | . | ng/L | 1.0017 | 287 | Recoverable Result | 2440 | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20161880102 | 2016-07-06 08:30 | FLUCONAZOLE | 67478LCM56 | 71 | 353.04 | . | ng/L | 0.76762 | 271 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 353.04 | . | ng/L | 0.78745 | 278 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162230166 | 2016-08-10 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 353.04 | . | ng/L | 0.88375 | 312 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | FLUCONAZOLE | 67478LCM56 | 71 | 353.04 | . | ng/L | 0.82427 | 291 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20163150008 | 2016-11-09 09:30 | FLUCONAZOLE | 67478LCM56 | 71 | 355.2 | . | ng/L | 0.70664 | 251 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | FLUCONAZOLE | 67478LCM56 | 71 | 355.2 | . | ng/L | 0.71227 | 253 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163070102 | 2016-11-02 09:30 | FLUCONAZOLE | 67478LCM56 | 71 | 355.2 | . | ng/L | 0.78547 | 279 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | FLUCONAZOLE | 67478LCM56 | 71 | 355.2 | . | ng/L | 0.81081 | 288 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20152750004 | 2015-10-01 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 425.28 | . | ng/L | 0.8418 | 358 | Recoverable Result | 2440 | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
20152950084 | 2015-10-22 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 425.28 | . | ng/L | 0.73128 | 311 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20152670140 | 2015-09-24 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 426.4 | E | ng/L | 0.42448 | 181 | Estimated Values | 2440 | U | SLW | c | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20153160007 | 2015-11-10 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 426.4 | . | ng/L | 0.7575 | 323 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20160070055 | 2016-01-07 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 426.4 | . | ng/L | 0.75047 | 320 | Recoverable Result | 2440 | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
20163630039 | 2016-12-28 08:00 | FLUCONAZOLE | 67478LCM56 | 71 | 444 | E | ng/L | 1.0135 | 450 | Estimated Values | 2440 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20163630038 | 2016-12-28 07:30 | FLUCONAZOLE | 67478LCM56 | 71 | 444 | E | ng/L | 0.90766 | 403 | Estimated Values | 2440 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl