## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160770097 | 2016-03-17 07:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 5.61 | < | ng/L |  | 20 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20142530091 | 2014-09-10 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 14.34 | < | ng/L |  |  | False Negative | 2440 | U | LJC | c | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
20150990082 | 2015-04-09 07:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 15.76 | < | ng/L |  |  | False Negative | 2440 | U | LJC | c | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20160910144 | 2016-03-31 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 5.61 | . | ng/L | 0.067736 | 0.38 | Recoverable Result | 2440 | U | LJC | bt | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20151550290 | 2015-06-04 06:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.06 | . | ng/L | 0.59042 | 6.53 | Recoverable Result | 2440 | K | SLW | n | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20151690193 | 2015-06-18 07:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.06 | . | ng/L | 0.71971 | 7.96 | Recoverable Result | 2440 | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
20152190007 | 2015-08-06 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.06 | . | ng/L | 0.79385 | 8.78 | Recoverable Result | 2440 | U | LJC |  | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
20152250278 | 2015-08-13 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.06 | . | ng/L | 0.70253 | 7.77 | Recoverable Result | 2440 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20153230140 | 2015-11-19 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.06 | . | ng/L | 0.78029 | 8.63 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20160280057 | 2016-01-28 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.06 | . | ng/L | 0.83635 | 9.25 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20161260154 | 2016-05-05 06:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.06 | . | ng/L | 0.5877 | 6.5 | Recoverable Result | 2440 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20161260153 | 2016-05-05 06:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.06 | . | ng/L | 0.54792 | 6.06 | Recoverable Result | 2440 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20152530083 | 2015-09-10 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.22 | E | ng/L | 0.85116 | 9.55 | Estimated Values | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
20153030062 | 2015-10-29 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.22 | . | ng/L | 0.72014 | 8.08 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
20153440005 | 2015-12-09 07:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.22 | . | ng/L | 0.4795 | 5.38 | Recoverable Result | 2440 | U | SLW | n | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160630051 | 2016-03-03 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.22 | . | ng/L | 0.70053 | 7.86 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20160840084 | 2016-03-24 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 11.22 | . | ng/L | 0.50802 | 5.7 | Recoverable Result | 2440 | U | LJC | n | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20141220012 | 2014-05-01 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 14.34 | . | ng/L | 0.71827 | 10.3 | Recoverable Result | 2440 | U | MNO |  | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141640080 | 2014-06-12 09:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 14.34 | . | ng/L | 0.58856 | 8.44 | Recoverable Result | 2440 | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141910244 | 2014-07-10 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 14.34 | . | ng/L | 0.65342 | 9.37 | Recoverable Result | 2440 | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
20141840099 | 2014-07-02 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 14.775 | . | ng/L | 0.53401 | 7.89 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142130133 | 2014-07-31 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 14.775 | . | ng/L | 0.58342 | 8.62 | Recoverable Result | 2440 | U | MNO |  | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142470036 | 2014-09-03 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 14.775 | . | ng/L | 0.53536 | 7.91 | Recoverable Result | 2440 | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
20140930049 | 2014-04-03 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 15 | . | ng/L | 0.67333 | 10.1 | Recoverable Result | 2440 | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
20142960084 | 2014-10-23 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 15.296 | . | ng/L | 0.43083 | 6.59 | Recoverable Result | 2440 | U | MNO | n | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
20142760028 | 2014-10-02 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 15.76 | . | ng/L | 0.41117 | 6.48 | Recoverable Result | 2440 | U | LJC | n | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20143370092 | 2014-12-03 07:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 15.76 | . | ng/L | 0.86294 | 13.6 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
20150290075 | 2015-01-29 06:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 15.76 | . | ng/L | 0.6599 | 10.4 | Recoverable Result | 2440 | K | LJC |  | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20150790013 | 2015-03-19 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 15.76 | . | ng/L | 0.65355 | 10.3 | Recoverable Result | 2440 | U | SLW |  | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20162020116 | 2016-07-20 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 18.52 | . | ng/L | 0.52484 | 9.72 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | HYDROXYZINE | 68005LCM56 | 7.43 | 18.52 | . | ng/L | 0.61015 | 11.3 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162100013 | 2016-07-27 07:45 | HYDROXYZINE | 68005LCM56 | 7.43 | 18.52 | . | ng/L | 0.5324 | 9.86 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162100012 | 2016-07-27 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 18.52 | . | ng/L | 0.5243 | 9.71 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162300274 | 2016-08-17 10:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 18.52 | . | ng/L | 0.70194 | 13 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162300275 | 2016-08-17 09:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 18.52 | . | ng/L | 0.69654 | 12.9 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162800005 | 2016-10-05 09:00 | HYDROXYZINE | 68005LCM56 | 7.4 | 18.52 | . | ng/L | 0.66955 | 12.4 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | HYDROXYZINE | 68005LCM56 | 7.4 | 18.52 | . | ng/L | 0.71274 | 13.2 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162440106 | 2016-08-31 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 18.84 | . | ng/L | 5.0212 | 94.6 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | HYDROXYZINE | 68005LCM56 | 7.43 | 18.84 | . | ng/L | 4.5276 | 85.3 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20163280003 | 2016-11-21 09:00 | HYDROXYZINE | 68005LCM56 | 7.4 | 18.84 | . | ng/L | 3.965 | 74.7 | Recoverable Result | 2440 | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | HYDROXYZINE | 68005LCM56 | 7.4 | 18.84 | . | ng/L | 4.2834 | 80.7 | Recoverable Result | 2440 | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20152040179 | 2015-07-23 07:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 22.12 | . | ng/L | 0.71429 | 15.8 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20152330041 | 2015-08-20 07:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 22.12 | . | ng/L | 0.70072 | 15.5 | Recoverable Result | 2440 | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
20160350045 | 2016-02-04 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 22.12 | . | ng/L | 0.74141 | 16.4 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
20160560046 | 2016-02-25 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 22.12 | . | ng/L | 0.7821 | 17.3 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20151970156 | 2015-07-16 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 22.44 | . | ng/L | 0.61497 | 13.8 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
20152460209 | 2015-09-03 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 22.44 | E | ng/L | 0.5303 | 11.9 | Estimated Values | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20141290006 | 2014-05-08 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 28.68 | . | ng/L | 0.77406 | 22.2 | Recoverable Result | 2440 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
20141420139 | 2014-05-22 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 28.68 | . | ng/L | 0.64156 | 18.4 | Recoverable Result | 2440 | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
20141710105 | 2014-06-19 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 28.68 | . | ng/L | 0.64156 | 18.4 | Recoverable Result | 2440 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
20142200171 | 2014-08-07 09:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 28.68 | . | ng/L | 0.64854 | 18.6 | Recoverable Result | 2440 | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
20143180049 | 2014-11-13 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 28.68 | . | ng/L | 0.66597 | 19.1 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20143650002 | 2014-12-31 07:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 28.68 | . | ng/L | 0.76709 | 22 | Recoverable Result | 2440 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20150650042 | 2015-03-05 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 28.68 | E | ng/L | 0.89958 | 25.8 | Estimated Values | 2440 | U | LJC | c | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
20151140150 | 2015-04-23 06:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 28.68 | . | ng/L | 0.99024 | 28.4 | Recoverable Result | 2440 | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20142270003 | 2014-08-14 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 29.55 | E | ng/L | 0.67682 | 20 | Estimated Values | 2440 | K | MNO | c | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
20142720025 | 2014-09-25 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 29.55 | . | ng/L | 0.59898 | 17.7 | Recoverable Result | 2440 | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
20142890076 | 2014-10-16 08:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 29.55 | . | ng/L | 0.69374 | 20.5 | Recoverable Result | 2440 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
20143110110 | 2014-11-06 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 29.55 | . | ng/L | 0.64975 | 19.2 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
20150430093 | 2015-02-12 07:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 29.55 | E | ng/L | 0.60575 | 17.9 | Estimated Values | 2440 | U | LJC | c | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
20161740257 | 2016-06-22 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 37.04 | . | ng/L | 0.76134 | 28.2 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161740283 | 2016-06-22 07:45 | HYDROXYZINE | 68005LCM56 | 7.43 | 37.04 | . | ng/L | 0.74784 | 27.7 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20162230166 | 2016-08-10 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 37.04 | . | ng/L | 0.62095 | 23 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | HYDROXYZINE | 68005LCM56 | 7.43 | 37.04 | . | ng/L | 0.63985 | 23.7 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162580143 | 2016-09-14 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 37.68 | . | ng/L | 4.6709 | 176 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20162580144 | 2016-09-14 07:15 | HYDROXYZINE | 68005LCM56 | 7.43 | 37.68 | . | ng/L | 4.3259 | 163 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20163150008 | 2016-11-09 09:30 | HYDROXYZINE | 68005LCM56 | 7.4 | 37.68 | . | ng/L | 3.6624 | 138 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | HYDROXYZINE | 68005LCM56 | 7.4 | 37.68 | . | ng/L | 3.6624 | 138 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20152750004 | 2015-10-01 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 44.24 | . | ng/L | 0.68716 | 30.4 | Recoverable Result | 2440 | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
20152950084 | 2015-10-22 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 44.24 | . | ng/L | 0.71203 | 31.5 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20152670140 | 2015-09-24 07:30 | HYDROXYZINE | 68005LCM56 | 7.43 | 44.88 | E | ng/L | 1.1252 | 50.5 | Estimated Values | 2440 | U | SLW | c | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20153160007 | 2015-11-10 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 44.88 | . | ng/L | 0.77317 | 34.7 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20160070055 | 2016-01-07 08:00 | HYDROXYZINE | 68005LCM56 | 7.43 | 44.88 | . | ng/L | 0.65731 | 29.5 | Recoverable Result | 2440 | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
20163630039 | 2016-12-28 08:00 | HYDROXYZINE | 68005LCM56 | 7.4 | 46.3 | . | ng/L | 0.73002 | 33.8 | Recoverable Result | 2440 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20163630038 | 2016-12-28 07:30 | HYDROXYZINE | 68005LCM56 | 7.4 | 46.3 | . | ng/L | 0.63931 | 29.6 | Recoverable Result | 2440 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20162930165 | 2016-10-19 07:45 | HYDROXYZINE | 68005LCM56 | 7.4 | 47.1 | . | ng/L | 4.31 | 203 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20162930164 | 2016-10-19 07:30 | HYDROXYZINE | 68005LCM56 | 7.4 | 47.1 | . | ng/L | 4.3737 | 206 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl