## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160430109 | 2016-02-11 08:30 | LIDOCAINE | 67462LCM56 | 15.2 |  | . | ng/L |  | 2.17 | False Positive | 2440 | U | MNO | bt | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
20142620042 | 2014-09-18 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 30.375 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
20142820152 | 2014-10-09 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 32.04 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
20143030095 | 2014-10-30 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 32.4 | < | ng/L |  | 46.9 | SACRALT | 2440 | U | MNO | vc | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
20142720025 | 2014-09-25 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 60.75 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
20160910144 | 2016-03-31 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 11.4 | . | ng/L | 0.90351 | 10.3 | Recoverable Result | 2440 | U | LJC | n | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | LIDOCAINE | 67462LCM56 | 15.2 | 11.4 | . | ng/L | 0.72807 | 8.3 | Recoverable Result | 2440 | U | LJC | bn | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20162660012 | 2016-09-21 09:30 | LIDOCAINE | 67462LCM56 | 38 | 37.64 | . | ng/L | 0.93783 | 35.3 | Recoverable Result | 2440 | K | MNI | n | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | LIDOCAINE | 67462LCM56 | 38 | 37.64 | . | ng/L | 0.96174 | 36.2 | Recoverable Result | 2440 | K | MNI | n | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500007 | 2016-12-14 09:00 | LIDOCAINE | 67462LCM56 | 38 | 37.64 | . | ng/L | 1.2062 | 45.4 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | LIDOCAINE | 67462LCM56 | 38 | 37.64 | . | ng/L | 1.1318 | 42.6 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20152530083 | 2015-09-10 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 22.8 | . | ng/L | 0.65351 | 14.9 | Recoverable Result | 2440 | U | SLW | n | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
20153030062 | 2015-10-29 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 22.8 | . | ng/L | 0.78509 | 17.9 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
20153440005 | 2015-12-09 07:00 | LIDOCAINE | 67462LCM56 | 15.2 | 22.8 | . | ng/L | 0.77193 | 17.6 | Recoverable Result | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160630051 | 2016-03-03 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 22.8 | . | ng/L | 0.90351 | 20.6 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20160840084 | 2016-03-24 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 22.8 | . | ng/L | 0.73684 | 16.8 | Recoverable Result | 2440 | U | LJC |  | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20151550290 | 2015-06-04 06:00 | LIDOCAINE | 67462LCM56 | 15.2 | 22.82 | . | ng/L | 0.82384 | 18.8 | Recoverable Result | 2440 | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20151690193 | 2015-06-18 07:00 | LIDOCAINE | 67462LCM56 | 15.2 | 22.82 | . | ng/L | 0.74934 | 17.1 | Recoverable Result | 2440 | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
20152190007 | 2015-08-06 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 22.82 | . | ng/L | 0.91148 | 20.8 | Recoverable Result | 2440 | U | LJC |  | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
20152250278 | 2015-08-13 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 22.82 | . | ng/L | 0.85013 | 19.4 | Recoverable Result | 2440 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20153230140 | 2015-11-19 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 22.82 | . | ng/L | 0.88519 | 20.2 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20160280057 | 2016-01-28 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 22.82 | . | ng/L | 0.81069 | 18.5 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20161260154 | 2016-05-05 06:30 | LIDOCAINE | 67462LCM56 | 15.2 | 22.82 | E | ng/L | 0.64417 | 14.7 | Estimated Values | 2440 | U | LJC | nc | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20161260153 | 2016-05-05 06:00 | LIDOCAINE | 67462LCM56 | 15.2 | 22.82 | E | ng/L | 0.67923 | 15.5 | Estimated Values | 2440 | U | LJC | c | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20140930049 | 2014-04-03 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 30 | . | ng/L | 0.74333 | 22.3 | Recoverable Result | 2440 | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
20141220012 | 2014-05-01 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 30.0375 | . | ng/L | 0.83895 | 25.2 | Recoverable Result | 2440 | U | MNO |  | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141360091 | 2014-05-16 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 30.0375 | . | ng/L | 0.83229 | 25 | Recoverable Result | 2440 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141640080 | 2014-06-12 09:00 | LIDOCAINE | 67462LCM56 | 15.2 | 30.0375 | . | ng/L | 0.7191 | 21.6 | Recoverable Result | 2440 | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141770145 | 2014-06-26 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 30.0375 | . | ng/L | 0.7757 | 23.3 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142470036 | 2014-09-03 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 30.0375 | . | ng/L | 0.66583 | 20 | Recoverable Result | 2440 | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
20141910244 | 2014-07-10 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 30.375 | . | ng/L | 0.64856 | 19.7 | Recoverable Result | 2440 | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
20142340169 | 2014-08-18 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 30.375 | . | ng/L | 0.76049 | 23.1 | Recoverable Result | 2440 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
20150290075 | 2015-01-29 06:30 | LIDOCAINE | 67462LCM56 | 15.2 | 32.04 | . | ng/L | 0.8583 | 27.5 | Recoverable Result | 2440 | K | LJC |  | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20150990082 | 2015-04-09 07:00 | LIDOCAINE | 67462LCM56 | 15.2 | 32.04 | . | ng/L | 0.97066 | 31.1 | Recoverable Result | 2440 | U | LJC |  | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20143370092 | 2014-12-03 07:00 | LIDOCAINE | 67462LCM56 | 15.2 | 32.4 | . | ng/L | 0.94444 | 30.6 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
20162300274 | 2016-08-17 10:00 | LIDOCAINE | 67462LCM56 | 15.2 | 37.64 | . | ng/L | 0.81828 | 30.8 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162300275 | 2016-08-17 09:30 | LIDOCAINE | 67462LCM56 | 15.2 | 37.64 | . | ng/L | 0.82891 | 31.2 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162100013 | 2016-07-27 07:45 | LIDOCAINE | 67462LCM56 | 15.2 | 38.04 | . | ng/L | 0.78076 | 29.7 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162100012 | 2016-07-27 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 38.04 | . | ng/L | 0.76498 | 29.1 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162150208 | 2016-08-02 09:00 | LIDOCAINE | 67462LCM56 | 15.2 | 38.04 | . | ng/L | 0.79127 | 30.1 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 38.04 | . | ng/L | 0.68875 | 26.2 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162380011 | 2016-08-24 07:45 | LIDOCAINE | 67462LCM56 | 15.2 | 38.04 | . | ng/L | 0.80967 | 30.8 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 38.04 | . | ng/L | 0.76761 | 29.2 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20163280003 | 2016-11-21 09:00 | LIDOCAINE | 67462LCM56 | 38 | 38.04 | . | ng/L | 0.72029 | 27.4 | Recoverable Result | 2440 | U | MNI | n | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | LIDOCAINE | 67462LCM56 | 38 | 38.04 | . | ng/L | 0.82808 | 31.5 | Recoverable Result | 2440 | U | MNI | n | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20151970156 | 2015-07-16 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 45.6 | . | ng/L | 0.89912 | 41 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
20152460209 | 2015-09-03 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 45.6 | . | ng/L | 0.78289 | 35.7 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20152040179 | 2015-07-23 07:00 | LIDOCAINE | 67462LCM56 | 15.2 | 45.64 | . | ng/L | 0.72962 | 33.3 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20152330041 | 2015-08-20 07:00 | LIDOCAINE | 67462LCM56 | 15.2 | 45.64 | . | ng/L | 0.92463 | 42.2 | Recoverable Result | 2440 | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
20160350045 | 2016-02-04 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 45.64 | . | ng/L | 0.89395 | 40.8 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
20160560046 | 2016-02-25 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 45.64 | . | ng/L | 0.83918 | 38.3 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20141420139 | 2014-05-22 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 60.075 | . | ng/L | 0.87557 | 52.6 | Recoverable Result | 2440 | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
20141570089 | 2014-06-05 09:00 | LIDOCAINE | 67462LCM56 | 15.2 | 60.075 | . | ng/L | 0.87724 | 52.7 | Recoverable Result | 2440 | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20142890076 | 2014-10-16 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 60.075 | . | ng/L | 1.4415 | 86.6 | Recoverable Result | 2440 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
20143300051 | 2014-11-26 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 60.075 | . | ng/L | 1.0603 | 63.7 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150570011 | 2015-02-26 07:00 | LIDOCAINE | 67462LCM56 | 15.2 | 60.075 | E | ng/L | 0.74906 | 45 | Estimated Values | 2440 | U | LJC | v | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20141990083 | 2014-07-17 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 60.75 | . | ng/L | 0.84938 | 51.6 | Recoverable Result | 2440 | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
20142200171 | 2014-08-07 09:30 | LIDOCAINE | 67462LCM56 | 15.2 | 60.75 | . | ng/L | 0.6749 | 41 | Recoverable Result | 2440 | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
20143110110 | 2014-11-06 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 60.75 | . | ng/L | 0.89877 | 54.6 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
20150230027 | 2015-01-22 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 60.75 | . | ng/L | 0.84609 | 51.4 | Recoverable Result | 2440 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150650042 | 2015-03-05 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 60.75 | E | ng/L | 0.87901 | 53.4 | Estimated Values | 2440 | U | LJC | v | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
20150850164 | 2015-03-26 07:00 | LIDOCAINE | 67462LCM56 | 15.2 | 60.75 | . | ng/L | 1.0486 | 63.7 | Recoverable Result | 2440 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
20163070102 | 2016-11-02 09:30 | LIDOCAINE | 67462LCM56 | 38 | 75.28 | . | ng/L | 0.81695 | 61.5 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | LIDOCAINE | 67462LCM56 | 38 | 75.28 | . | ng/L | 0.84086 | 63.3 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20161740257 | 2016-06-22 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 76.08 | . | ng/L | 1.0003 | 76.1 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161740283 | 2016-06-22 07:45 | LIDOCAINE | 67462LCM56 | 15.2 | 76.08 | . | ng/L | 1.0134 | 77.1 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161880102 | 2016-07-06 08:30 | LIDOCAINE | 67462LCM56 | 15.2 | 76.08 | . | ng/L | 1.0831 | 82.4 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 76.08 | . | ng/L | 1.0226 | 77.8 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162580143 | 2016-09-14 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 76.08 | . | ng/L | 0.82413 | 62.7 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20162580144 | 2016-09-14 07:15 | LIDOCAINE | 67462LCM56 | 15.2 | 76.08 | . | ng/L | 0.87014 | 66.2 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20152670140 | 2015-09-24 07:30 | LIDOCAINE | 67462LCM56 | 15.2 | 91.2 | . | ng/L | 0.82675 | 75.4 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20153160007 | 2015-11-10 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 91.2 | . | ng/L | 0.8125 | 74.1 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20160070055 | 2016-01-07 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 91.2 | . | ng/L | 0.8136 | 74.2 | Recoverable Result | 2440 | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
20152750004 | 2015-10-01 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 91.28 | . | ng/L | 0.89176 | 81.4 | Recoverable Result | 2440 | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
20152950084 | 2015-10-22 08:00 | LIDOCAINE | 67462LCM56 | 15.2 | 91.28 | . | ng/L | 0.88628 | 80.9 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20162930165 | 2016-10-19 07:45 | LIDOCAINE | 67462LCM56 | 38 | 94.1 | . | ng/L | 0.82572 | 77.7 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20162930164 | 2016-10-19 07:30 | LIDOCAINE | 67462LCM56 | 38 | 94.1 | . | ng/L | 0.8406 | 79.1 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl