## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160910144 | 2016-03-31 08:00 | METHADONE | 67500LCM56 | 7.61 | 5.71 | < | ng/L |  | 7.61 | SACRALT | 2440 | U | LJC |  | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | METHADONE | 67500LCM56 | 7.61 | 5.71 | < | ng/L |  | 7.61 | SACRALT | 2440 | U | LJC |  | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20152670140 | 2015-09-24 07:30 | METHADONE | 67500LCM56 | 7.61 | 45.68 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152610009 | 2015-09-17 07:00 | METHADONE | 67500LCM56 | 7.61 | 45.68 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
20151410214 | 2015-05-21 07:30 | METHADONE | 67500LCM56 | 7.61 | 11.42 | . | ng/L | 0.47461 | 5.42 | Recoverable Result | 2440 | U | MNO | n | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
20151550290 | 2015-06-04 06:00 | METHADONE | 67500LCM56 | 7.61 | 11.42 | . | ng/L | 0.55429 | 6.33 | Recoverable Result | 2440 | K | SLW | n | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20152110203 | 2015-07-30 08:30 | METHADONE | 67500LCM56 | 7.61 | 11.42 | E | ng/L | 0.71103 | 8.12 | Estimated Values | 2440 | U | SLW | c | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
20160280057 | 2016-01-28 07:30 | METHADONE | 67500LCM56 | 7.61 | 11.42 | . | ng/L | 0.49212 | 5.62 | Recoverable Result | 2440 | U | MNO | n | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20141220012 | 2014-05-01 08:00 | METHADONE | 67500LCM56 | 7.61 | 15.0225 | . | ng/L | 0.61974 | 9.31 | Recoverable Result | 2440 | U | MNO | v | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141360091 | 2014-05-16 08:30 | METHADONE | 67500LCM56 | 7.61 | 15.0225 | . | ng/L | 0.59244 | 8.9 | Recoverable Result | 2440 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141640080 | 2014-06-12 09:00 | METHADONE | 67500LCM56 | 7.61 | 15.0225 | . | ng/L | 0.55716 | 8.37 | Recoverable Result | 2440 | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141770145 | 2014-06-26 08:30 | METHADONE | 67500LCM56 | 7.61 | 15.0225 | . | ng/L | 0.54918 | 8.25 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142470036 | 2014-09-03 07:30 | METHADONE | 67500LCM56 | 7.61 | 15.0225 | . | ng/L | 0.42004 | 6.31 | Recoverable Result | 2440 | U | SLW | n | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
20142820152 | 2014-10-09 07:30 | METHADONE | 67500LCM56 | 7.61 | 16.024 | . | ng/L | 0.59161 | 9.48 | Recoverable Result | 2440 | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
20150290075 | 2015-01-29 06:30 | METHADONE | 67500LCM56 | 7.61 | 16.024 | . | ng/L | 0.40876 | 6.55 | Recoverable Result | 2440 | K | LJC | n | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20150990082 | 2015-04-09 07:00 | METHADONE | 67500LCM56 | 7.61 | 16.024 | . | ng/L | 0.55167 | 8.84 | Recoverable Result | 2440 | U | LJC |  | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20162020116 | 2016-07-20 08:30 | METHADONE | 67500LCM56 | 7.61 | 18.84 | . | ng/L | 0.6051 | 11.4 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | METHADONE | 67500LCM56 | 7.61 | 18.84 | . | ng/L | 0.6051 | 11.4 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162100013 | 2016-07-27 07:45 | METHADONE | 67500LCM56 | 7.61 | 18.84 | . | ng/L | 0.56794 | 10.7 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162100012 | 2016-07-27 07:30 | METHADONE | 67500LCM56 | 7.61 | 18.84 | . | ng/L | 0.6741 | 12.7 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162300274 | 2016-08-17 10:00 | METHADONE | 67500LCM56 | 7.61 | 18.84 | . | ng/L | 0.59448 | 11.2 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162300275 | 2016-08-17 09:30 | METHADONE | 67500LCM56 | 7.61 | 18.84 | . | ng/L | 0.6104 | 11.5 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162800005 | 2016-10-05 09:00 | METHADONE | 67500LCM56 | 7.6 | 18.84 | . | ng/L | 0.73248 | 13.8 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | METHADONE | 67500LCM56 | 7.6 | 18.84 | . | ng/L | 0.69002 | 13 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162440106 | 2016-08-31 08:00 | METHADONE | 67500LCM56 | 7.61 | 19.44 | . | ng/L | 0.643 | 12.5 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | METHADONE | 67500LCM56 | 7.61 | 19.44 | . | ng/L | 0.69444 | 13.5 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20163280003 | 2016-11-21 09:00 | METHADONE | 67500LCM56 | 7.6 | 19.44 | . | ng/L | 0.80247 | 15.6 | Recoverable Result | 2440 | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | METHADONE | 67500LCM56 | 7.6 | 19.44 | . | ng/L | 0.93621 | 18.2 | Recoverable Result | 2440 | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20151820109 | 2015-07-01 07:30 | METHADONE | 67500LCM56 | 7.61 | 22.84 | E | ng/L | 1.1734 | 26.8 | Estimated Values | 2440 | U | LJC | c | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
20152040179 | 2015-07-23 07:00 | METHADONE | 67500LCM56 | 7.61 | 22.84 | E | ng/L | 1.0639 | 24.3 | Estimated Values | 2440 | U | LJC | c | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20153280157 | 2015-11-24 07:30 | METHADONE | 67500LCM56 | 7.61 | 22.84 | . | ng/L | 0.53415 | 12.2 | Recoverable Result | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
20161130022 | 2016-04-21 08:00 | METHADONE | 67500LCM56 | 7.61 | 22.84 | . | ng/L | 0.52977 | 12.1 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20161130023 | 2016-04-21 06:00 | METHADONE | 67500LCM56 | 7.61 | 22.84 | . | ng/L | 0.63485 | 14.5 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20141420139 | 2014-05-22 08:30 | METHADONE | 67500LCM56 | 7.61 | 30.045 | . | ng/L | 0.62906 | 18.9 | Recoverable Result | 2440 | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
20141570089 | 2014-06-05 09:00 | METHADONE | 67500LCM56 | 7.61 | 30.045 | E | ng/L | 0.79547 | 23.9 | Estimated Values | 2440 | U | LJC | c | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20142890076 | 2014-10-16 08:30 | METHADONE | 67500LCM56 | 7.61 | 30.045 | . | ng/L | 0.67565 | 20.3 | Recoverable Result | 2440 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
20143300051 | 2014-11-26 08:00 | METHADONE | 67500LCM56 | 7.61 | 30.045 | . | ng/L | 0.61241 | 18.4 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150570011 | 2015-02-26 07:00 | METHADONE | 67500LCM56 | 7.61 | 30.045 | . | ng/L | 0.6457 | 19.4 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20161740257 | 2016-06-22 08:00 | METHADONE | 67500LCM56 | 7.61 | 37.68 | . | ng/L | 0.75106 | 28.3 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161740283 | 2016-06-22 07:45 | METHADONE | 67500LCM56 | 7.61 | 37.68 | . | ng/L | 0.71921 | 27.1 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20162230166 | 2016-08-10 07:30 | METHADONE | 67500LCM56 | 7.61 | 37.68 | . | ng/L | 0.74045 | 27.9 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | METHADONE | 67500LCM56 | 7.61 | 37.68 | . | ng/L | 0.6741 | 25.4 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162580143 | 2016-09-14 07:30 | METHADONE | 67500LCM56 | 7.61 | 38.88 | . | ng/L | 0.607 | 23.6 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20162580144 | 2016-09-14 07:15 | METHADONE | 67500LCM56 | 7.61 | 38.88 | . | ng/L | 0.59414 | 23.1 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20163150008 | 2016-11-09 09:30 | METHADONE | 67500LCM56 | 7.6 | 38.88 | . | ng/L | 0.73302 | 28.5 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | METHADONE | 67500LCM56 | 7.6 | 38.88 | . | ng/L | 0.72016 | 28 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20153160007 | 2015-11-10 08:00 | METHADONE | 67500LCM56 | 7.61 | 45.68 | . | ng/L | 0.71147 | 32.5 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20163630039 | 2016-12-28 08:00 | METHADONE | 67500LCM56 | 7.6 | 47.1 | E | ng/L | 1.0446 | 49.2 | Estimated Values | 2440 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20163630038 | 2016-12-28 07:30 | METHADONE | 67500LCM56 | 7.6 | 47.1 | E | ng/L | 0.88323 | 41.6 | Estimated Values | 2440 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20162930165 | 2016-10-19 07:45 | METHADONE | 67500LCM56 | 7.6 | 48.6 | . | ng/L | 0.84362 | 41 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20162930164 | 2016-10-19 07:30 | METHADONE | 67500LCM56 | 7.6 | 48.6 | . | ng/L | 0.84979 | 41.3 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl