## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160910144 | 2016-03-31 08:00 | MORPHINE | 67458LCM56 | 14 | 10.54 | < | ng/L |  | 20 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | MORPHINE | 67458LCM56 | 14 | 10.54 | < | ng/L |  | 20 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20151410214 | 2015-05-21 07:30 | MORPHINE | 67458LCM56 | 14 | 21.08 | < | ng/L |  |  | False Negative | 2440 | U | MNO | c | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
20152110203 | 2015-07-30 08:30 | MORPHINE | 67458LCM56 | 14 | 21.08 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
20160280057 | 2016-01-28 07:30 | MORPHINE | 67458LCM56 | 14 | 21.08 | < | ng/L |  |  | False Negative | 2440 | U | MNO | c | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20140930049 | 2014-04-03 08:30 | MORPHINE | 67458LCM56 | 14 | 28 | < | ng/L |  |  | False Negative | 2440 | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
20152040179 | 2015-07-23 07:00 | MORPHINE | 67458LCM56 | 14 | 42.16 | < | ng/L |  |  | False Negative | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20153280157 | 2015-11-24 07:30 | MORPHINE | 67458LCM56 | 14 | 42.16 | < | ng/L |  |  | False Negative | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
20161130022 | 2016-04-21 08:00 | MORPHINE | 67458LCM56 | 14 | 42.16 | < | ng/L |  |  | False Negative | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20161130023 | 2016-04-21 06:00 | MORPHINE | 67458LCM56 | 14 | 42.16 | < | ng/L |  |  | False Negative | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20152670140 | 2015-09-24 07:30 | MORPHINE | 67458LCM56 | 14 | 84.32 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152610009 | 2015-09-17 07:00 | MORPHINE | 67458LCM56 | 14 | 84.32 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
20162660012 | 2016-09-21 09:30 | MORPHINE | 67458LCM56 | 80 | 34.68 | . | ng/L | 0.84198 | 29.2 | Recoverable Result | 2440 | K | MNI | n | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | MORPHINE | 67458LCM56 | 80 | 34.68 | . | ng/L | 0.74971 | 26 | Recoverable Result | 2440 | K | MNI | n | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500007 | 2016-12-14 09:00 | MORPHINE | 67458LCM56 | 80 | 34.68 | . | ng/L | 2.4048 | 83.4 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | MORPHINE | 67458LCM56 | 80 | 34.68 | . | ng/L | 2.3558 | 81.7 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162800005 | 2016-10-05 09:00 | MORPHINE | 67458LCM56 | 80 | 35.2 | . | ng/L | 0.88352 | 31.1 | Recoverable Result | 2440 | K | MNI | n | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | MORPHINE | 67458LCM56 | 80 | 35.2 | . | ng/L | 0.62216 | 21.9 | Recoverable Result | 2440 | K | MNI | n | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20163150008 | 2016-11-09 09:30 | MORPHINE | 67458LCM56 | 80 | 70.4 | . | ng/L | 0.85369 | 60.1 | Recoverable Result | 2440 | K | LJC | n | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | MORPHINE | 67458LCM56 | 80 | 70.4 | . | ng/L | 0.70455 | 49.6 | Recoverable Result | 2440 | K | LJC | n | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163070102 | 2016-11-02 09:30 | MORPHINE | 67458LCM56 | 80 | 70.4 | . | ng/L | 0.69886 | 49.2 | Recoverable Result | 2440 | K | LJC | n | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | MORPHINE | 67458LCM56 | 80 | 70.4 | . | ng/L | 0.79403 | 55.9 | Recoverable Result | 2440 | K | LJC | n | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20151550290 | 2015-06-04 06:00 | MORPHINE | 67458LCM56 | 14 | 21.08 | . | ng/L | 0.57875 | 12.2 | Recoverable Result | 2440 | K | SLW | n | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20141360091 | 2014-05-16 08:30 | MORPHINE | 67458LCM56 | 14 | 27.8325 | . | ng/L | 0.9162 | 25.5 | Recoverable Result | 2440 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141770145 | 2014-06-26 08:30 | MORPHINE | 67458LCM56 | 14 | 27.8325 | . | ng/L | 0.76889 | 21.4 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142620042 | 2014-09-18 08:00 | MORPHINE | 67458LCM56 | 14 | 27.8325 | . | ng/L | 0.74733 | 20.8 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
20142530091 | 2014-09-10 08:00 | MORPHINE | 67458LCM56 | 14 | 27.8325 | . | ng/L | 0.68266 | 19 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
20142760028 | 2014-10-02 08:00 | MORPHINE | 67458LCM56 | 14 | 29.688 | . | ng/L | 0.53557 | 15.9 | Recoverable Result | 2440 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20143030095 | 2014-10-30 08:30 | MORPHINE | 67458LCM56 | 14 | 29.688 | . | ng/L | 0.75451 | 22.4 | Recoverable Result | 2440 | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
20150790013 | 2015-03-19 07:30 | MORPHINE | 67458LCM56 | 14 | 29.688 | E | ng/L | 0.56925 | 16.9 | Estimated Values | 2440 | U | SLW | c | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20162020116 | 2016-07-20 08:30 | MORPHINE | 67458LCM56 | 14 | 34.68 | . | ng/L | 0.7526 | 26.1 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | MORPHINE | 67458LCM56 | 14 | 34.68 | . | ng/L | 0.80161 | 27.8 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162150208 | 2016-08-02 09:00 | MORPHINE | 67458LCM56 | 14 | 34.68 | . | ng/L | 1.6984 | 58.9 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | MORPHINE | 67458LCM56 | 14 | 34.68 | . | ng/L | 1.609 | 55.8 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162440106 | 2016-08-31 08:00 | MORPHINE | 67458LCM56 | 14 | 34.68 | . | ng/L | 0.80161 | 27.8 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | MORPHINE | 67458LCM56 | 14 | 34.68 | . | ng/L | 0.88812 | 30.8 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162380011 | 2016-08-24 07:45 | MORPHINE | 67458LCM56 | 14 | 35.2 | E | ng/L | 0.68182 | 24 | Estimated Values | 2440 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | MORPHINE | 67458LCM56 | 14 | 35.2 | E | ng/L | 0.56534 | 19.9 | Estimated Values | 2440 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20151820109 | 2015-07-01 07:30 | MORPHINE | 67458LCM56 | 14 | 42.16 | . | ng/L | 0.43643 | 18.4 | Recoverable Result | 2440 | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
20141290006 | 2014-05-08 08:30 | MORPHINE | 67458LCM56 | 14 | 55.665 | . | ng/L | 0.69343 | 38.6 | Recoverable Result | 2440 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
20141570089 | 2014-06-05 09:00 | MORPHINE | 67458LCM56 | 14 | 55.665 | . | ng/L | 1.0815 | 60.2 | Recoverable Result | 2440 | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20141710105 | 2014-06-19 08:30 | MORPHINE | 67458LCM56 | 14 | 55.665 | . | ng/L | 0.82637 | 46 | Recoverable Result | 2440 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
20150230027 | 2015-01-22 07:30 | MORPHINE | 67458LCM56 | 14 | 55.665 | . | ng/L | 0.60002 | 33.4 | Recoverable Result | 2440 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150430093 | 2015-02-12 07:00 | MORPHINE | 67458LCM56 | 14 | 55.665 | . | ng/L | 0.7096 | 39.5 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
20161880102 | 2016-07-06 08:30 | MORPHINE | 67458LCM56 | 14 | 69.36 | . | ng/L | 0.81315 | 56.4 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | MORPHINE | 67458LCM56 | 14 | 69.36 | . | ng/L | 0.74394 | 51.6 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162230166 | 2016-08-10 07:30 | MORPHINE | 67458LCM56 | 14 | 69.36 | . | ng/L | 0.76269 | 52.9 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | MORPHINE | 67458LCM56 | 14 | 69.36 | . | ng/L | 0.67907 | 47.1 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20153160007 | 2015-11-10 08:00 | MORPHINE | 67458LCM56 | 14 | 84.32 | . | ng/L | 0.88591 | 74.7 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20163630039 | 2016-12-28 08:00 | MORPHINE | 67458LCM56 | 80 | 88 | . | ng/L | 0.76477 | 67.3 | Recoverable Result | 2440 | U | MNI | n | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20163630038 | 2016-12-28 07:30 | MORPHINE | 67458LCM56 | 80 | 88 | . | ng/L | 0.77273 | 68 | Recoverable Result | 2440 | U | MNI | n | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl