## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160910144 | 2016-03-31 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 11.31 | . | ng/L | 0.71441 | 8.08 | Recoverable Result | 2440 | U | LJC | bn | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 11.31 | . | ng/L | 0.59682 | 6.75 | Recoverable Result | 2440 | U | LJC | bn | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20162800005 | 2016-10-05 09:00 | NEVIRAPINE | 68017LCM56 | 290 | 37.64 | . | ng/L | 0.85016 | 32 | Recoverable Result | 2440 | K | MNI | t | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | NEVIRAPINE | 68017LCM56 | 290 | 37.64 | . | ng/L | 0.82359 | 31 | Recoverable Result | 2440 | K | MNI | t | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20163280003 | 2016-11-21 09:00 | NEVIRAPINE | 68017LCM56 | 290 | 37.76 | . | ng/L | 1.0593 | 40 | Recoverable Result | 2440 | U | MNI | t | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | NEVIRAPINE | 68017LCM56 | 290 | 37.76 | . | ng/L | 1.0858 | 41 | Recoverable Result | 2440 | U | MNI | t | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163150008 | 2016-11-09 09:30 | NEVIRAPINE | 68017LCM56 | 290 | 75.52 | . | ng/L | 0.71504 | 54 | Recoverable Result | 2440 | K | LJC | t | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | NEVIRAPINE | 68017LCM56 | 290 | 75.52 | . | ng/L | 0.72828 | 55 | Recoverable Result | 2440 | K | LJC | t | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163630039 | 2016-12-28 08:00 | NEVIRAPINE | 68017LCM56 | 290 | 94.1 | . | ng/L | 0.76514 | 72 | Recoverable Result | 2440 | U | MNI | t | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20163630038 | 2016-12-28 07:30 | NEVIRAPINE | 68017LCM56 | 290 | 94.1 | . | ng/L | 0.77577 | 73 | Recoverable Result | 2440 | U | MNI | t | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20162930165 | 2016-10-19 07:45 | NEVIRAPINE | 68017LCM56 | 290 | 94.4 | . | ng/L | 0.83686 | 79 | Recoverable Result | 2440 | K | LJC | t | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20162930164 | 2016-10-19 07:30 | NEVIRAPINE | 68017LCM56 | 290 | 94.4 | . | ng/L | 0.84746 | 80 | Recoverable Result | 2440 | K | LJC | t | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20151410214 | 2015-05-21 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 22.62 | . | ng/L | 0.85765 | 19.4 | Recoverable Result | 2440 | U | MNO |  | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
20151550290 | 2015-06-04 06:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 22.62 | . | ng/L | 0.77807 | 17.6 | Recoverable Result | 2440 | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20152110203 | 2015-07-30 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 22.62 | E | ng/L | 0.67639 | 15.3 | Estimated Values | 2440 | U | SLW | c | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
20160280057 | 2016-01-28 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 22.62 | . | ng/L | 0.78691 | 17.8 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20152250278 | 2015-08-13 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 22.8 | . | ng/L | 0.89035 | 20.3 | Recoverable Result | 2440 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20152390226 | 2015-08-27 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 22.8 | . | ng/L | 0.6886 | 15.7 | Recoverable Result | 2440 | U | LJC |  | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20153090116 | 2015-11-05 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 22.8 | . | ng/L | 0.70175 | 16 | Recoverable Result | 2440 | K | LJC |  | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
20153440005 | 2015-12-09 07:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 22.8 | . | ng/L | 0.70614 | 16.1 | Recoverable Result | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160710221 | 2016-03-10 09:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 22.8 | E | ng/L | 0.73246 | 16.7 | Estimated Values | 2440 | U | LJC | c | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20160980151 | 2016-04-07 06:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 22.8 | . | ng/L | 1.0833 | 24.7 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20141360091 | 2014-05-16 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 30.0525 | . | ng/L | 0.66217 | 19.9 | Recoverable Result | 2440 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141770145 | 2014-06-26 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 30.0525 | . | ng/L | 0.64221 | 19.3 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142620042 | 2014-09-18 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 30.0525 | . | ng/L | 0.64886 | 19.5 | Recoverable Result | 2440 | U | LJC | v | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
20142530091 | 2014-09-10 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 30.0525 | . | ng/L | 0.74536 | 22.4 | Recoverable Result | 2440 | U | LJC | v | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
20141840099 | 2014-07-02 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 30.3 | . | ng/L | 0.76238 | 23.1 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142130133 | 2014-07-31 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 30.3 | . | ng/L | 0.46865 | 14.2 | Recoverable Result | 2440 | U | MNO | n | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142340169 | 2014-08-18 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 30.3 | . | ng/L | 0.88449 | 26.8 | Recoverable Result | 2440 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
20142760028 | 2014-10-02 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 32.056 | . | ng/L | 0.63327 | 20.3 | Recoverable Result | 2440 | U | LJC | v | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20143030095 | 2014-10-30 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 32.056 | E | ng/L | 0.76429 | 24.5 | Estimated Values | 2440 | U | MNO | c | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
20150790013 | 2015-03-19 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 32.056 | E | ng/L | 0.85475 | 27.4 | Estimated Values | 2440 | U | SLW | c | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20142820152 | 2014-10-09 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 32.32 | . | ng/L | 0.91894 | 29.7 | Recoverable Result | 2440 | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
20142960084 | 2014-10-23 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 32.32 | E | ng/L | 0.8323 | 26.9 | Estimated Values | 2440 | U | MNO | c | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
20162020116 | 2016-07-20 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 37.64 | . | ng/L | 0.68278 | 25.7 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | NEVIRAPINE | 68017LCM56 | 15.1 | 37.64 | . | ng/L | 0.85282 | 32.1 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162100013 | 2016-07-27 07:45 | NEVIRAPINE | 68017LCM56 | 15.1 | 37.64 | . | ng/L | 0.69607 | 26.2 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162100012 | 2016-07-27 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 37.64 | . | ng/L | 0.70404 | 26.5 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162300274 | 2016-08-17 10:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 37.64 | . | ng/L | 0.69872 | 26.3 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162300275 | 2016-08-17 09:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 37.64 | . | ng/L | 0.75186 | 28.3 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162440106 | 2016-08-31 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 37.76 | . | ng/L | 0.82892 | 31.3 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | NEVIRAPINE | 68017LCM56 | 15.1 | 37.76 | . | ng/L | 0.79449 | 30 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20151820109 | 2015-07-01 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 45.24 | . | ng/L | 0.7847 | 35.5 | Recoverable Result | 2440 | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
20152040179 | 2015-07-23 07:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 45.24 | . | ng/L | 0.6145 | 27.8 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20153280157 | 2015-11-24 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 45.24 | . | ng/L | 0.76039 | 34.4 | Recoverable Result | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
20161130022 | 2016-04-21 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 45.24 | . | ng/L | 0.70955 | 32.1 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20161130023 | 2016-04-21 06:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 45.24 | . | ng/L | 0.8908 | 40.3 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20152460209 | 2015-09-03 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 45.6 | . | ng/L | 0.6886 | 31.4 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20152810122 | 2015-10-08 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 45.6 | . | ng/L | 0.7193 | 32.8 | Recoverable Result | 2440 | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
20160210081 | 2016-01-21 06:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 45.6 | . | ng/L | 0.73904 | 33.7 | Recoverable Result | 2440 | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
20160560046 | 2016-02-25 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 45.6 | . | ng/L | 0.72149 | 32.9 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20141290006 | 2014-05-08 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.105 | . | ng/L | 0.53573 | 32.2 | Recoverable Result | 2440 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
20141570089 | 2014-06-05 09:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.105 | . | ng/L | 0.82522 | 49.6 | Recoverable Result | 2440 | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20141710105 | 2014-06-19 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.105 | . | ng/L | 0.64387 | 38.7 | Recoverable Result | 2440 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
20150230027 | 2015-01-22 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.105 | . | ng/L | 0.76533 | 46 | Recoverable Result | 2440 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150430093 | 2015-02-12 07:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.105 | . | ng/L | 0.72872 | 43.8 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
20141990083 | 2014-07-17 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.6 | . | ng/L | 0.86634 | 52.5 | Recoverable Result | 2440 | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
20142270003 | 2014-08-14 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.6 | . | ng/L | 0.69802 | 42.3 | Recoverable Result | 2440 | K | MNO |  | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
20143180049 | 2014-11-13 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.6 | . | ng/L | 0.84488 | 51.2 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20143300051 | 2014-11-26 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.6 | . | ng/L | 0.93399 | 56.6 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20143650002 | 2014-12-31 07:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.6 | . | ng/L | 0.94059 | 57 | Recoverable Result | 2440 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20150570011 | 2015-02-26 07:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.6 | . | ng/L | 0.9703 | 58.8 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150850164 | 2015-03-26 07:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.6 | . | ng/L | 1.1238 | 68.1 | Recoverable Result | 2440 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
20151140150 | 2015-04-23 06:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 60.6 | E | ng/L | 1.2013 | 72.8 | Estimated Values | 2440 | K | MNO | c | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20161740257 | 2016-06-22 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 75.28 | . | ng/L | 0.67614 | 50.9 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161740283 | 2016-06-22 07:45 | NEVIRAPINE | 68017LCM56 | 15.1 | 75.28 | . | ng/L | 0.70271 | 52.9 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20162230166 | 2016-08-10 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 75.28 | . | ng/L | 0.72396 | 54.5 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | NEVIRAPINE | 68017LCM56 | 15.1 | 75.28 | . | ng/L | 0.71599 | 53.9 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162580143 | 2016-09-14 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 75.52 | . | ng/L | 0.77728 | 58.7 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20162580144 | 2016-09-14 07:15 | NEVIRAPINE | 68017LCM56 | 15.1 | 75.52 | . | ng/L | 0.817 | 61.7 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20152670140 | 2015-09-24 07:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 90.48 | . | ng/L | 0.74934 | 67.8 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152610009 | 2015-09-17 07:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 90.48 | . | ng/L | 0.81897 | 74.1 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
20153160007 | 2015-11-10 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 90.48 | . | ng/L | 0.8676 | 78.5 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152950084 | 2015-10-22 08:00 | NEVIRAPINE | 68017LCM56 | 15.1 | 91.2 | . | ng/L | 0.81798 | 74.6 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20160430109 | 2016-02-11 08:30 | NEVIRAPINE | 68017LCM56 | 15.1 | 91.2 | . | ng/L | 0.79496 | 72.5 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl