## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160910144 | 2016-03-31 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 8.12 | < | ng/L |  | 20 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 8.12 | < | ng/L |  | 20 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20153440005 | 2015-12-09 07:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 16.26 | < | ng/L |  | 20 | SACRALT | 2440 | U | SLW | c | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160710221 | 2016-03-10 09:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 16.26 | < | ng/L |  | 20 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20162020116 | 2016-07-20 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 27.2 | < | ng/L |  | 80 | SACRALT | 2440 | U | MNO | c | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | NORETHINDRONE | 67434LCM56 | 10.9 | 27.2 | < | ng/L |  | 80 | SACRALT | 2440 | U | MNO | c | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20152040179 | 2015-07-23 07:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 32.48 | < | ng/L |  |  | False Negative | 2440 | U | LJC | vc | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20160560046 | 2016-02-25 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 32.52 | < | ng/L |  |  | False Negative | 2440 | U | LJC | c | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20151410214 | 2015-05-21 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 16.24 | . | ng/L | 0.97291 | 15.8 | Recoverable Result | 2440 | U | MNO |  | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
20151550290 | 2015-06-04 06:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 16.24 | . | ng/L | 0.60591 | 9.84 | Recoverable Result | 2440 | K | SLW | bnc | 2015-06-29 | Abs 051315: 20 µl & Abs 052215: 20 µl
20152110203 | 2015-07-30 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 16.24 | . | ng/L | 0.34729 | 5.64 | Recoverable Result | 2440 | U | SLW | bnc | 2015-08-13 | Abs 050115: 20 µl & Abs 051315: 20 µl
20160280057 | 2016-01-28 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 16.24 | . | ng/L | 0.94828 | 15.4 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20152250278 | 2015-08-13 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 16.26 | . | ng/L | 0.75646 | 12.3 | Recoverable Result | 2440 | U | SLW | c | 2015-09-10 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20152390226 | 2015-08-27 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 16.26 | E | ng/L | 0.57688 | 9.38 | Estimated Values | 2440 | U | LJC | bnc | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20153090116 | 2015-11-05 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 16.26 | . | ng/L | 0.87946 | 14.3 | Recoverable Result | 2440 | K | LJC |  | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
20160980151 | 2016-04-07 06:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 16.26 | . | ng/L | 1.064 | 17.3 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20141910244 | 2014-07-10 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 21.675 | . | ng/L | 0.63668 | 13.8 | Recoverable Result | 2440 | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
20142340169 | 2014-08-18 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 21.675 | . | ng/L | 0.68743 | 14.9 | Recoverable Result | 2440 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
20142620042 | 2014-09-18 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 21.675 | E | ng/L | 0.49827 | 10.8 | Estimated Values | 2440 | U | LJC | nc | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
20141220012 | 2014-05-01 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 21.8175 | . | ng/L | 0.67835 | 14.8 | Recoverable Result | 2440 | U | MNO |  | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141360091 | 2014-05-16 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 21.8175 | . | ng/L | 0.74711 | 16.3 | Recoverable Result | 2440 | U | LJC | v | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141640080 | 2014-06-12 09:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 21.8175 | . | ng/L | 0.73794 | 16.1 | Recoverable Result | 2440 | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141770145 | 2014-06-26 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 21.8175 | . | ng/L | 0.60044 | 13.1 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142470036 | 2014-09-03 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 21.8175 | . | ng/L | 0.48585 | 10.6 | Recoverable Result | 2440 | U | SLW | n | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
20143030095 | 2014-10-30 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 23.12 | E | ng/L | 0.79585 | 18.4 | Estimated Values | 2440 | U | MNO | c | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
20143370092 | 2014-12-03 07:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 23.12 | . | ng/L | 0.7699 | 17.8 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
20142820152 | 2014-10-09 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 23.272 | . | ng/L | 0.51994 | 12.1 | Recoverable Result | 2440 | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
20150290075 | 2015-01-29 06:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 23.272 | . | ng/L | 0.68322 | 15.9 | Recoverable Result | 2440 | K | LJC |  | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20150990082 | 2015-04-09 07:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 23.272 | . | ng/L | 0.379 | 8.82 | Recoverable Result | 2440 | U | LJC | bn | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20162100013 | 2016-07-27 07:45 | NORETHINDRONE | 67434LCM56 | 10.9 | 27.2 | . | ng/L | 0.64706 | 17.6 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162100012 | 2016-07-27 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 27.2 | . | ng/L | 0.62132 | 16.9 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162300274 | 2016-08-17 10:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 27.2 | . | ng/L | 0.65441 | 17.8 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162300275 | 2016-08-17 09:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 27.2 | . | ng/L | 0.69485 | 18.9 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162800005 | 2016-10-05 09:00 | NORETHINDRONE | 67434LCM56 | 20 | 27.2 | . | ng/L | 0.71324 | 19.4 | Recoverable Result | 2440 | K | MNI | n | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | NORETHINDRONE | 67434LCM56 | 20 | 27.2 | . | ng/L | 0.63971 | 17.4 | Recoverable Result | 2440 | K | MNI | n | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162440106 | 2016-08-31 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 27.64 | . | ng/L | 0.767 | 21.2 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | NORETHINDRONE | 67434LCM56 | 10.9 | 27.64 | . | ng/L | 0.72721 | 20.1 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20163280003 | 2016-11-21 09:00 | NORETHINDRONE | 67434LCM56 | 20 | 27.64 | . | ng/L | 0.83936 | 23.2 | Recoverable Result | 2440 | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | NORETHINDRONE | 67434LCM56 | 20 | 27.64 | . | ng/L | 0.82127 | 22.7 | Recoverable Result | 2440 | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20151820109 | 2015-07-01 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 32.48 | E | ng/L | 0.52032 | 16.9 | Estimated Values | 2440 | U | LJC | v | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
20153280157 | 2015-11-24 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 32.48 | . | ng/L | 0.73584 | 23.9 | Recoverable Result | 2440 | U | SLW | c | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
20161130022 | 2016-04-21 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 32.48 | . | ng/L | 0.68042 | 22.1 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20161130023 | 2016-04-21 06:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 32.48 | . | ng/L | 0.84975 | 27.6 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20152460209 | 2015-09-03 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 32.52 | . | ng/L | 1.0547 | 34.3 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20152810122 | 2015-10-08 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 32.52 | . | ng/L | 0.67651 | 22 | Recoverable Result | 2440 | K | LJC |  | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
20160210081 | 2016-01-21 06:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 32.52 | . | ng/L | 0.77491 | 25.2 | Recoverable Result | 2440 | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
20141990083 | 2014-07-17 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.35 | . | ng/L | 0.87659 | 38 | Recoverable Result | 2440 | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
20142200171 | 2014-08-07 09:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.35 | . | ng/L | 0.67128 | 29.1 | Recoverable Result | 2440 | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
20142720025 | 2014-09-25 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.35 | E | ng/L | 0.60669 | 26.3 | Estimated Values | 2440 | U | LJC | c | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
20143110110 | 2014-11-06 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.35 | . | ng/L | 0.71511 | 31 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
20150230027 | 2015-01-22 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.35 | . | ng/L | 0.76586 | 33.2 | Recoverable Result | 2440 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150650042 | 2015-03-05 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.35 | . | ng/L | 0.61592 | 26.7 | Recoverable Result | 2440 | U | LJC |  | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
20150850164 | 2015-03-26 07:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.35 | . | ng/L | 0.76125 | 33 | Recoverable Result | 2440 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
20141420139 | 2014-05-22 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.635 | E | ng/L | 0.7494 | 32.7 | Estimated Values | 2440 | U | MNO | c | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
20141570089 | 2014-06-05 09:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.635 | . | ng/L | 1.0404 | 45.4 | Recoverable Result | 2440 | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20142890076 | 2014-10-16 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.635 | . | ng/L | 0.67835 | 29.6 | Recoverable Result | 2440 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
20143300051 | 2014-11-26 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.635 | . | ng/L | 0.74711 | 32.6 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150570011 | 2015-02-26 07:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 43.635 | . | ng/L | 0.49272 | 21.5 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20161740257 | 2016-06-22 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 54.4 | . | ng/L | 0.84191 | 45.8 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161740283 | 2016-06-22 07:45 | NORETHINDRONE | 67434LCM56 | 10.9 | 54.4 | . | ng/L | 0.85846 | 46.7 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20162230166 | 2016-08-10 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 54.4 | . | ng/L | 0.7114 | 38.7 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | NORETHINDRONE | 67434LCM56 | 10.9 | 54.4 | . | ng/L | 0.57169 | 31.1 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162580143 | 2016-09-14 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 55.28 | . | ng/L | 0.69465 | 38.4 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20162580144 | 2016-09-14 07:15 | NORETHINDRONE | 67434LCM56 | 10.9 | 55.28 | . | ng/L | 0.71093 | 39.3 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20163150008 | 2016-11-09 09:30 | NORETHINDRONE | 67434LCM56 | 20 | 55.28 | . | ng/L | 0.67294 | 37.2 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | NORETHINDRONE | 67434LCM56 | 20 | 55.28 | . | ng/L | 0.58249 | 32.2 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20152670140 | 2015-09-24 07:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 64.96 | . | ng/L | 1.2885 | 83.7 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152610009 | 2015-09-17 07:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 64.96 | . | ng/L | 1.3239 | 86 | Recoverable Result | 2440 | U | SLW | c | 2015-10-03 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
20153160007 | 2015-11-10 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 64.96 | . | ng/L | 0.75277 | 48.9 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152950084 | 2015-10-22 08:00 | NORETHINDRONE | 67434LCM56 | 10.9 | 65.04 | . | ng/L | 0.72878 | 47.4 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20160430109 | 2016-02-11 08:30 | NORETHINDRONE | 67434LCM56 | 10.9 | 65.04 | . | ng/L | 0.84102 | 54.7 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
20163630039 | 2016-12-28 08:00 | NORETHINDRONE | 67434LCM56 | 20 | 68 | E | ng/L | 0.88529 | 60.2 | Estimated Values | 2440 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20163630038 | 2016-12-28 07:30 | NORETHINDRONE | 67434LCM56 | 20 | 68 | E | ng/L | 0.93824 | 63.8 | Estimated Values | 2440 | U | MNI | c | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20162930165 | 2016-10-19 07:45 | NORETHINDRONE | 67434LCM56 | 20 | 69.1 | . | ng/L | 0.8191 | 56.6 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20162930164 | 2016-10-19 07:30 | NORETHINDRONE | 67434LCM56 | 20 | 69.1 | . | ng/L | 0.78148 | 54 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl