## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160910144 | 2016-03-31 08:00 | OXAZEPAM | 67469LCM56 | 140 | 105.116 | < | ng/L |  | 200 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | OXAZEPAM | 67469LCM56 | 140 | 105.116 | < | ng/L |  | 200 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20151550290 | 2015-06-04 06:00 | OXAZEPAM | 67469LCM56 | 140 | 210.232 | < | ng/L |  |  | False Negative | 2440 | K | SLW | c | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20141360091 | 2014-05-16 08:30 | OXAZEPAM | 67469LCM56 | 140 | 279.3675 | < | ng/L |  |  | False Negative | 2440 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141640080 | 2014-06-12 09:00 | OXAZEPAM | 67469LCM56 | 140 | 279.3675 | < | ng/L |  |  | False Negative | 2440 | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
20162580143 | 2016-09-14 07:30 | OXAZEPAM | 67469LCM56 | 140 | 696.8 | < | ng/L |  |  | False Negative | 2440 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20152670140 | 2015-09-24 07:30 | OXAZEPAM | 67469LCM56 | 140 | 840.928 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152610009 | 2015-09-17 07:00 | OXAZEPAM | 67469LCM56 | 140 | 840.928 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
20151410214 | 2015-05-21 07:30 | OXAZEPAM | 67469LCM56 | 140 | 210.232 | . | ng/L | 0.56604 | 119 | Recoverable Result | 2440 | U | MNO | n | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
20152110203 | 2015-07-30 08:30 | OXAZEPAM | 67469LCM56 | 140 | 210.232 | E | ng/L | 0.69923 | 147 | Estimated Values | 2440 | U | SLW | c | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
20160280057 | 2016-01-28 07:30 | OXAZEPAM | 67469LCM56 | 140 | 210.232 | E | ng/L | 0.39337 | 82.7 | Estimated Values | 2440 | U | MNO | nc | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20141220012 | 2014-05-01 08:00 | OXAZEPAM | 67469LCM56 | 140 | 279.3675 | E | ng/L | 0.29352 | 82 | Estimated Values | 2440 | U | MNO | nc | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141770145 | 2014-06-26 08:30 | OXAZEPAM | 67469LCM56 | 140 | 279.3675 | . | ng/L | 0.40091 | 112 | Recoverable Result | 2440 | U | LJC | n | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142470036 | 2014-09-03 07:30 | OXAZEPAM | 67469LCM56 | 140 | 279.3675 | . | ng/L | 0.38659 | 108 | Recoverable Result | 2440 | U | SLW | n | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
20140930049 | 2014-04-03 08:30 | OXAZEPAM | 67469LCM56 | 140 | 282.5 | . | ng/L | 0.80354 | 227 | Recoverable Result | 2440 | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
20142820152 | 2014-10-09 07:30 | OXAZEPAM | 67469LCM56 | 140 | 297.992 | . | ng/L | 0.29162 | 86.9 | Recoverable Result | 2440 | U | LJC | n | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
20150290075 | 2015-01-29 06:30 | OXAZEPAM | 67469LCM56 | 140 | 297.992 | . | ng/L | 0.44968 | 134 | Recoverable Result | 2440 | K | LJC | n | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20150990082 | 2015-04-09 07:00 | OXAZEPAM | 67469LCM56 | 140 | 297.992 | E | ng/L | 0.74163 | 221 | Estimated Values | 2440 | U | LJC | c | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20162100013 | 2016-07-27 07:45 | OXAZEPAM | 67469LCM56 | 140 | 348.4 | . | ng/L | 0.33008 | 115 | Recoverable Result | 2440 | K | MNO | n | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162100012 | 2016-07-27 07:30 | OXAZEPAM | 67469LCM56 | 140 | 348.4 | . | ng/L | 0.32147 | 112 | Recoverable Result | 2440 | K | MNO | n | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162150208 | 2016-08-02 09:00 | OXAZEPAM | 67469LCM56 | 140 | 348.4 | . | ng/L | 0.30712 | 107 | Recoverable Result | 2440 | K | MNO | n | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | OXAZEPAM | 67469LCM56 | 140 | 348.4 | . | ng/L | 0.29851 | 104 | Recoverable Result | 2440 | K | MNO | n | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162380011 | 2016-08-24 07:45 | OXAZEPAM | 67469LCM56 | 140 | 348.4 | E | ng/L | 0.34156 | 119 | Estimated Values | 2440 | K | MNI | nc | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | OXAZEPAM | 67469LCM56 | 140 | 348.4 | E | ng/L | 0.33295 | 116 | Estimated Values | 2440 | K | MNI | nc | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20163280003 | 2016-11-21 09:00 | OXAZEPAM | 67469LCM56 | 226 | 348.4 | E | ng/L | 0.32147 | 112 | Estimated Values | 2440 | U | MNI | mtc | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | OXAZEPAM | 67469LCM56 | 226 | 348.4 | E | ng/L | 0.31573 | 110 | Estimated Values | 2440 | U | MNI | mtc | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20162300274 | 2016-08-17 10:00 | OXAZEPAM | 67469LCM56 | 140 | 352 | . | ng/L | 0.95455 | 336 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162300275 | 2016-08-17 09:30 | OXAZEPAM | 67469LCM56 | 140 | 352 | . | ng/L | 0.88352 | 311 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162660012 | 2016-09-21 09:30 | OXAZEPAM | 67469LCM56 | 226 | 352 | E | ng/L | 1.0483 | 369 | Estimated Values | 2440 | K | MNI | mc | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | OXAZEPAM | 67469LCM56 | 226 | 352 | E | ng/L | 0.97159 | 342 | Estimated Values | 2440 | K | MNI | mc | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500007 | 2016-12-14 09:00 | OXAZEPAM | 67469LCM56 | 226 | 352 | E | ng/L | 1.4119 | 497 | Estimated Values | 2440 | U | MNI | mc | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | OXAZEPAM | 67469LCM56 | 226 | 352 | E | ng/L | 1.1989 | 422 | Estimated Values | 2440 | U | MNI | mc | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20151820109 | 2015-07-01 07:30 | OXAZEPAM | 67469LCM56 | 140 | 420.464 | . | ng/L | 1.0298 | 433 | Recoverable Result | 2440 | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
20152040179 | 2015-07-23 07:00 | OXAZEPAM | 67469LCM56 | 140 | 420.464 | . | ng/L | 0.80863 | 340 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20153280157 | 2015-11-24 07:30 | OXAZEPAM | 67469LCM56 | 140 | 420.464 | . | ng/L | 0.83479 | 351 | Recoverable Result | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
20161130022 | 2016-04-21 08:00 | OXAZEPAM | 67469LCM56 | 140 | 420.464 | E | ng/L | 0.79912 | 336 | Estimated Values | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20161130023 | 2016-04-21 06:00 | OXAZEPAM | 67469LCM56 | 140 | 420.464 | E | ng/L | 0.92755 | 390 | Estimated Values | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20141420139 | 2014-05-22 08:30 | OXAZEPAM | 67469LCM56 | 140 | 558.735 | . | ng/L | 0.5584 | 312 | Recoverable Result | 2440 | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
20141570089 | 2014-06-05 09:00 | OXAZEPAM | 67469LCM56 | 140 | 558.735 | E | ng/L | 0.75528 | 422 | Estimated Values | 2440 | U | LJC | c | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20142890076 | 2014-10-16 08:30 | OXAZEPAM | 67469LCM56 | 140 | 558.735 | . | ng/L | 0.35795 | 200 | Recoverable Result | 2440 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
20143300051 | 2014-11-26 08:00 | OXAZEPAM | 67469LCM56 | 140 | 558.735 | . | ng/L | 0.44028 | 246 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150570011 | 2015-02-26 07:00 | OXAZEPAM | 67469LCM56 | 140 | 558.735 | . | ng/L | 0.46176 | 258 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20161740257 | 2016-06-22 08:00 | OXAZEPAM | 67469LCM56 | 140 | 696.8 | . | ng/L | 0.40614 | 283 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161740283 | 2016-06-22 07:45 | OXAZEPAM | 67469LCM56 | 140 | 696.8 | . | ng/L | 0.45207 | 315 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161880102 | 2016-07-06 08:30 | OXAZEPAM | 67469LCM56 | 140 | 696.8 | . | ng/L | 0.51091 | 356 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | OXAZEPAM | 67469LCM56 | 140 | 696.8 | . | ng/L | 0.4248 | 296 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162580144 | 2016-09-14 07:15 | OXAZEPAM | 67469LCM56 | 140 | 696.8 | . | ng/L | 0.33152 | 231 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20163070102 | 2016-11-02 09:30 | OXAZEPAM | 67469LCM56 | 226 | 704 | E | ng/L | 0.87642 | 617 | Estimated Values | 2440 | K | LJC | mc | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | OXAZEPAM | 67469LCM56 | 226 | 704 | E | ng/L | 0.83949 | 591 | Estimated Values | 2440 | K | LJC | mc | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20153160007 | 2015-11-10 08:00 | OXAZEPAM | 67469LCM56 | 140 | 840.928 | . | ng/L | 0.89306 | 751 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20162930165 | 2016-10-19 07:45 | OXAZEPAM | 67469LCM56 | 226 | 880 | E | ng/L | 0.89773 | 790 | Estimated Values | 2440 | K | LJC | mc | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20162930164 | 2016-10-19 07:30 | OXAZEPAM | 67469LCM56 | 226 | 880 | E | ng/L | 0.91591 | 806 | Estimated Values | 2440 | K | LJC | mc | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl