## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160770097 | 2016-03-17 07:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 29.9 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20152530083 | 2015-09-10 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 59.8 | < | ng/L |  | 80 | SACRALT | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
20160630051 | 2016-03-03 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 59.8 | < | ng/L |  | 97.7 | SACRALT | 2440 | U | LJC | c | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20160840084 | 2016-03-24 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 59.8 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20152250278 | 2015-08-13 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 60.38 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20160280057 | 2016-01-28 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 60.38 | < | ng/L |  | 80 | SACRALT | 2440 | U | MNO | c | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20161260154 | 2016-05-05 06:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 60.38 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20161260153 | 2016-05-05 06:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 60.38 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20163500007 | 2016-12-14 09:00 | PENCICLOVIR | 68021LCM56 | 80 | 99.6 | < | ng/L |  |  | False Negative | 2440 | U | MNI | mc | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | PENCICLOVIR | 68021LCM56 | 80 | 99.6 | < | ng/L |  |  | False Negative | 2440 | U | MNI | mc | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20151970156 | 2015-07-16 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 119.6 | < | ng/L |  | 120 | SACRALT | 2440 | U | LJC | c | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
20152460209 | 2015-09-03 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 119.6 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20160910144 | 2016-03-31 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 29.9 | . | ng/L | 1.4247 | 42.6 | Recoverable Result | 2440 | U | LJC |  | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20153030062 | 2015-10-29 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 59.8 | . | ng/L | 0.76254 | 45.6 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
20153440005 | 2015-12-09 07:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 59.8 | . | ng/L | 0.56187 | 33.6 | Recoverable Result | 2440 | U | SLW | bn | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20151550290 | 2015-06-04 06:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 60.38 | . | ng/L | 1.0335 | 62.4 | Recoverable Result | 2440 | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20151690193 | 2015-06-18 07:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 60.38 | E | ng/L | 1.2007 | 72.5 | Estimated Values | 2440 | K | LJC | c | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
20152190007 | 2015-08-06 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 60.38 | . | ng/L | 0.74362 | 44.9 | Recoverable Result | 2440 | U | LJC |  | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
20153230140 | 2015-11-19 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 60.38 | . | ng/L | 0.59788 | 36.1 | Recoverable Result | 2440 | K | LJC | bn | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20141910244 | 2014-07-10 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 80.25 | . | ng/L | 0.60685 | 48.7 | Recoverable Result | 2440 | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
20142340169 | 2014-08-18 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 80.25 | E | ng/L | 0.53956 | 43.3 | Estimated Values | 2440 | U | LJC | c | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
20142620042 | 2014-09-18 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 80.25 | . | ng/L | 0.59065 | 47.4 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
20140930049 | 2014-04-03 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 81 | . | ng/L | 1.179 | 95.5 | Recoverable Result | 2440 | K | LJC | oc | 2014-04-23 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl
20141220012 | 2014-05-01 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 81.51 | . | ng/L | 1.2268 | 100 | Recoverable Result | 2440 | U | MNO |  | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141360091 | 2014-05-16 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 81.51 | . | ng/L | 1.1226 | 91.5 | Recoverable Result | 2440 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141640080 | 2014-06-12 09:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 81.51 | . | ng/L | 0.92749 | 75.6 | Recoverable Result | 2440 | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141770145 | 2014-06-26 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 81.51 | . | ng/L | 1.0759 | 87.7 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142470036 | 2014-09-03 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 81.51 | . | ng/L | 1.1275 | 91.9 | Recoverable Result | 2440 | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
20143030095 | 2014-10-30 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 85.6 | E | ng/L | 0.70911 | 60.7 | Estimated Values | 2440 | U | MNO | c | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
20143370092 | 2014-12-03 07:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 85.6 | E | ng/L | 0.6986 | 59.8 | Estimated Values | 2440 | U | MNO | c | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
20142820152 | 2014-10-09 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 86.944 | E | ng/L | 1.3342 | 116 | Estimated Values | 2440 | U | LJC | c | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
20150290075 | 2015-01-29 06:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 86.944 | E | ng/L | 1.2652 | 110 | Estimated Values | 2440 | K | LJC | c | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20150990082 | 2015-04-09 07:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 86.944 | E | ng/L | 1.3917 | 121 | Estimated Values | 2440 | U | LJC | c | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20162300274 | 2016-08-17 10:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 99.6 | . | ng/L | 0.34137 | 34 | Recoverable Result | 2440 | K | SBH | bn | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162300275 | 2016-08-17 09:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 99.6 | . | ng/L | 0.43474 | 43.3 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162660012 | 2016-09-21 09:30 | PENCICLOVIR | 68021LCM56 | 80 | 99.6 | E | ng/L | 0.50201 | 50 | Estimated Values | 2440 | K | MNI | mnc | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | PENCICLOVIR | 68021LCM56 | 80 | 99.6 | E | ng/L | 0.49096 | 48.9 | Estimated Values | 2440 | K | MNI | mnc | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162100013 | 2016-07-27 07:45 | PENCICLOVIR | 68021LCM56 | 40.2 | 100.64 | . | ng/L | 0.65481 | 65.9 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162100012 | 2016-07-27 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 100.64 | . | ng/L | 0.63096 | 63.5 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162150208 | 2016-08-02 09:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 100.64 | . | ng/L | 0.65878 | 66.3 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 100.64 | . | ng/L | 0.56439 | 56.8 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162380011 | 2016-08-24 07:45 | PENCICLOVIR | 68021LCM56 | 40.2 | 100.64 | . | ng/L | 0.85354 | 85.9 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 100.64 | . | ng/L | 0.78696 | 79.2 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20163280003 | 2016-11-21 09:00 | PENCICLOVIR | 68021LCM56 | 80 | 100.64 | E | ng/L | 0.71045 | 71.5 | Estimated Values | 2440 | U | MNI | mnc | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | PENCICLOVIR | 68021LCM56 | 80 | 100.64 | E | ng/L | 0.91912 | 92.5 | Estimated Values | 2440 | U | MNI | mc | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20152040179 | 2015-07-23 07:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 120.76 | E | ng/L | 1.0848 | 131 | Estimated Values | 2440 | U | LJC | c | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20152330041 | 2015-08-20 07:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 120.76 | . | ng/L | 1.0103 | 122 | Recoverable Result | 2440 | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
20160350045 | 2016-02-04 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 120.76 | E | ng/L | 0.64591 | 78 | Estimated Values | 2440 | U | MNO | c | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
20160560046 | 2016-02-25 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 120.76 | . | ng/L | 1.0517 | 127 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20141990083 | 2014-07-17 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 160.5 | . | ng/L | 0.64174 | 103 | Recoverable Result | 2440 | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
20142200171 | 2014-08-07 09:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 160.5 | . | ng/L | 0.64174 | 103 | Recoverable Result | 2440 | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
20142720025 | 2014-09-25 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 160.5 | . | ng/L | 0.67913 | 109 | Recoverable Result | 2440 | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
20143110110 | 2014-11-06 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 160.5 | E | ng/L | 0.69159 | 111 | Estimated Values | 2440 | U | MNO | c | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
20150230027 | 2015-01-22 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 160.5 | E | ng/L | 0.76012 | 122 | Estimated Values | 2440 | K | LJC | c | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150650042 | 2015-03-05 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 160.5 | E | ng/L | 0.92835 | 149 | Estimated Values | 2440 | U | LJC | c | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
20150850164 | 2015-03-26 07:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 160.5 | E | ng/L | 1.0343 | 166 | Estimated Values | 2440 | U | LJC | c | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
20141420139 | 2014-05-22 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 163.02 | . | ng/L | 1.1103 | 181 | Recoverable Result | 2440 | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
20141570089 | 2014-06-05 09:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 163.02 | . | ng/L | 1.233 | 201 | Recoverable Result | 2440 | U | LJC |  | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20142890076 | 2014-10-16 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 163.02 | E | ng/L | 1.2821 | 209 | Estimated Values | 2440 | U | LJC | c | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
20143300051 | 2014-11-26 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 163.02 | E | ng/L | 1.0612 | 173 | Estimated Values | 2440 | U | MNO | c | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150570011 | 2015-02-26 07:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 163.02 | E | ng/L | 1.325 | 216 | Estimated Values | 2440 | U | LJC | c | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20163070102 | 2016-11-02 09:30 | PENCICLOVIR | 68021LCM56 | 80 | 199.2 | E | ng/L | 0.376 | 74.9 | Estimated Values | 2440 | K | LJC | mnc | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | PENCICLOVIR | 68021LCM56 | 80 | 199.2 | E | ng/L | 0.3504 | 69.8 | Estimated Values | 2440 | K | LJC | mnc | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20161740257 | 2016-06-22 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 201.28 | . | ng/L | 1.2768 | 257 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161740283 | 2016-06-22 07:45 | PENCICLOVIR | 68021LCM56 | 40.2 | 201.28 | . | ng/L | 1.3265 | 267 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161880102 | 2016-07-06 08:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 201.28 | . | ng/L | 1.2719 | 256 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 201.28 | . | ng/L | 1.3563 | 273 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162580143 | 2016-09-14 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 201.28 | . | ng/L | 0.71542 | 144 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20162580144 | 2016-09-14 07:15 | PENCICLOVIR | 68021LCM56 | 40.2 | 201.28 | . | ng/L | 0.74026 | 149 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20152670140 | 2015-09-24 07:30 | PENCICLOVIR | 68021LCM56 | 40.2 | 239.2 | . | ng/L | 0.6689 | 160 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20153160007 | 2015-11-10 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 239.2 | . | ng/L | 0.63963 | 153 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20160070055 | 2016-01-07 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 239.2 | . | ng/L | 0.72742 | 174 | Recoverable Result | 2440 | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
20152750004 | 2015-10-01 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 241.52 | . | ng/L | 0.86535 | 209 | Recoverable Result | 2440 | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
20152950084 | 2015-10-22 08:00 | PENCICLOVIR | 68021LCM56 | 40.2 | 241.52 | . | ng/L | 0.96058 | 232 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20162930165 | 2016-10-19 07:45 | PENCICLOVIR | 68021LCM56 | 80 | 249 | E | ng/L | 0.36386 | 90.6 | Estimated Values | 2440 | K | LJC | mc | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20162930164 | 2016-10-19 07:30 | PENCICLOVIR | 68021LCM56 | 80 | 249 | E | ng/L | 0.38635 | 96.2 | Estimated Values | 2440 | K | LJC | mc | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl