## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160910144 | 2016-03-31 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 19.4 | < | ng/L |  | 26.3 | SACRALT | 2440 | U | LJC |  | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20152530083 | 2015-09-10 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 38.8 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
20160770097 | 2016-03-17 07:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 19.4 | . | ng/L | 0.49124 | 9.53 | Recoverable Result | 2440 | U | LJC | bt | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20153030062 | 2015-10-29 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 38.8 | . | ng/L | 0.70103 | 27.2 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
20153440005 | 2015-12-09 07:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 38.8 | . | ng/L | 0.65464 | 25.4 | Recoverable Result | 2440 | U | SLW | n | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160630051 | 2016-03-03 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 38.8 | . | ng/L | 0.56186 | 21.8 | Recoverable Result | 2440 | U | LJC | n | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20160840084 | 2016-03-24 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 38.8 | . | ng/L | 0.71134 | 27.6 | Recoverable Result | 2440 | U | LJC |  | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20151550290 | 2015-06-04 06:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 39.5 | . | ng/L | 0.6481 | 25.6 | Recoverable Result | 2440 | K | SLW | n | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20151690193 | 2015-06-18 07:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 39.5 | . | ng/L | 0.69367 | 27.4 | Recoverable Result | 2440 | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
20152190007 | 2015-08-06 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 39.5 | E | ng/L | 0.65316 | 25.8 | Estimated Values | 2440 | U | LJC | nc | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
20152250278 | 2015-08-13 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 39.5 | . | ng/L | 0.77722 | 30.7 | Recoverable Result | 2440 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20153230140 | 2015-11-19 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 39.5 | . | ng/L | 0.71646 | 28.3 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20160280057 | 2016-01-28 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 39.5 | . | ng/L | 0.72405 | 28.6 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20161260154 | 2016-05-05 06:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 39.5 | . | ng/L | 0.42025 | 16.6 | Recoverable Result | 2440 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20161260153 | 2016-05-05 06:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 39.5 | . | ng/L | 0.48101 | 19 | Recoverable Result | 2440 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20141840099 | 2014-07-02 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 51.975 | . | ng/L | 0.53487 | 27.8 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142130133 | 2014-07-31 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 51.975 | . | ng/L | 0.59836 | 31.1 | Recoverable Result | 2440 | U | MNO |  | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142470036 | 2014-09-03 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 51.975 | . | ng/L | 0.55026 | 28.6 | Recoverable Result | 2440 | U | SLW |  | 2014-09-12 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl
20141220012 | 2014-05-01 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 52.6425 | . | ng/L | 0.72185 | 38 | Recoverable Result | 2440 | U | MNO |  | 2014-05-17 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141640080 | 2014-06-12 09:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 52.6425 | . | ng/L | 0.64017 | 33.7 | Recoverable Result | 2440 | U | MNO |  | 2014-06-28 | Abs 041614: 30 µl & Abs 041714: 30 µl
20141910244 | 2014-07-10 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 52.6425 | . | ng/L | 0.51859 | 27.3 | Recoverable Result | 2440 | U | LJC |  | 2014-07-20 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl
20142530091 | 2014-09-10 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 52.6425 | . | ng/L | 0.59648 | 31.4 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
20142760028 | 2014-10-02 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 55.44 | . | ng/L | 0.59524 | 33 | Recoverable Result | 2440 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20143370092 | 2014-12-03 07:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 55.44 | . | ng/L | 0.70527 | 39.1 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl
20150290075 | 2015-01-29 06:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 55.44 | . | ng/L | 0.671 | 37.2 | Recoverable Result | 2440 | K | LJC |  | 2015-02-10 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20150790013 | 2015-03-19 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 55.44 | E | ng/L | 0.65115 | 36.1 | Estimated Values | 2440 | U | SLW | v | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20150990082 | 2015-04-09 07:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 55.44 | . | ng/L | 0.6728 | 37.3 | Recoverable Result | 2440 | U | LJC |  | 2015-04-30 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl
20142960084 | 2014-10-23 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 56.152 | . | ng/L | 0.56988 | 32 | Recoverable Result | 2440 | U | MNO |  | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
20162020116 | 2016-07-20 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 65.88 | . | ng/L | 0.63297 | 41.7 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | PROPRANOLOL | 67516LCM56 | 26.3 | 65.88 | . | ng/L | 0.60565 | 39.9 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162100013 | 2016-07-27 07:45 | PROPRANOLOL | 67516LCM56 | 26.3 | 65.88 | . | ng/L | 0.61627 | 40.6 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162100012 | 2016-07-27 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 65.88 | . | ng/L | 0.49636 | 32.7 | Recoverable Result | 2440 | K | MNO |  | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162300274 | 2016-08-17 10:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 65.88 | . | ng/L | 0.7286 | 48 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162300275 | 2016-08-17 09:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 65.88 | . | ng/L | 0.69976 | 46.1 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162800005 | 2016-10-05 09:00 | PROPRANOLOL | 67516LCM56 | 26 | 65.88 | . | ng/L | 0.72556 | 47.8 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | PROPRANOLOL | 67516LCM56 | 26 | 65.88 | . | ng/L | 0.69672 | 45.9 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162440106 | 2016-08-31 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 66.4 | . | ng/L | 0.875 | 58.1 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | PROPRANOLOL | 67516LCM56 | 26.3 | 66.4 | . | ng/L | 0.87952 | 58.4 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20163280003 | 2016-11-21 09:00 | PROPRANOLOL | 67516LCM56 | 26 | 66.4 | . | ng/L | 0.71386 | 47.4 | Recoverable Result | 2440 | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | PROPRANOLOL | 67516LCM56 | 26 | 66.4 | . | ng/L | 0.78464 | 52.1 | Recoverable Result | 2440 | U | MNI |  | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20151970156 | 2015-07-16 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 77.6 | . | ng/L | 0.83376 | 64.7 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
20152460209 | 2015-09-03 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 77.6 | . | ng/L | 0.67784 | 52.6 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20152040179 | 2015-07-23 07:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 79 | . | ng/L | 0.61646 | 48.7 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20152330041 | 2015-08-20 07:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 79 | . | ng/L | 0.84051 | 66.4 | Recoverable Result | 2440 | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
20160350045 | 2016-02-04 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 79 | . | ng/L | 0.74304 | 58.7 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
20160560046 | 2016-02-25 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 79 | . | ng/L | 0.60253 | 47.6 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20142270003 | 2014-08-14 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 103.95 | . | ng/L | 0.60221 | 62.6 | Recoverable Result | 2440 | K | MNO |  | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
20142720025 | 2014-09-25 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 103.95 | . | ng/L | 0.63877 | 66.4 | Recoverable Result | 2440 | U | LJC |  | 2014-10-11 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl
20142890076 | 2014-10-16 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 103.95 | . | ng/L | 0.74651 | 77.6 | Recoverable Result | 2440 | U | LJC |  | 2014-10-25 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl
20143110110 | 2014-11-06 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 103.95 | . | ng/L | 0.65608 | 68.2 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl
20150430093 | 2015-02-12 07:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 103.95 | . | ng/L | 0.56758 | 59 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
20141290006 | 2014-05-08 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 105.285 | . | ng/L | 0.68766 | 72.4 | Recoverable Result | 2440 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
20141420139 | 2014-05-22 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 105.285 | . | ng/L | 0.62782 | 66.1 | Recoverable Result | 2440 | U | MNO |  | 2014-06-11 | Abs 041614: 60 µl & Abs 041714: 60 µl
20141710105 | 2014-06-19 08:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 105.285 | . | ng/L | 0.63827 | 67.2 | Recoverable Result | 2440 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
20142200171 | 2014-08-07 09:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 105.285 | . | ng/L | 0.57273 | 60.3 | Recoverable Result | 2440 | U | MNO |  | 2014-08-21 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl
20143180049 | 2014-11-13 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 105.285 | . | ng/L | 0.63827 | 67.2 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20143650002 | 2014-12-31 07:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 105.285 | . | ng/L | 0.76174 | 80.2 | Recoverable Result | 2440 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20150650042 | 2015-03-05 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 105.285 | E | ng/L | 0.76079 | 80.1 | Estimated Values | 2440 | U | LJC | v | 2015-03-11 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl
20151140150 | 2015-04-23 06:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 105.285 | . | ng/L | 0.80353 | 84.6 | Recoverable Result | 2440 | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20161740257 | 2016-06-22 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 131.76 | . | ng/L | 0.80449 | 106 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161740283 | 2016-06-22 07:45 | PROPRANOLOL | 67516LCM56 | 26.3 | 131.76 | . | ng/L | 0.78931 | 104 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20162230166 | 2016-08-10 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 131.76 | . | ng/L | 0.73163 | 96.4 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | PROPRANOLOL | 67516LCM56 | 26.3 | 131.76 | . | ng/L | 0.68913 | 90.8 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162580143 | 2016-09-14 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 132.8 | . | ng/L | 0.82831 | 110 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20162580144 | 2016-09-14 07:15 | PROPRANOLOL | 67516LCM56 | 26.3 | 132.8 | . | ng/L | 0.79819 | 106 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20163150008 | 2016-11-09 09:30 | PROPRANOLOL | 67516LCM56 | 26 | 132.8 | . | ng/L | 0.75151 | 99.8 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | PROPRANOLOL | 67516LCM56 | 26 | 132.8 | . | ng/L | 0.76807 | 102 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20152670140 | 2015-09-24 07:30 | PROPRANOLOL | 67516LCM56 | 26.3 | 155.2 | . | ng/L | 0.84407 | 131 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20153160007 | 2015-11-10 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 155.2 | . | ng/L | 0.72809 | 113 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20160070055 | 2016-01-07 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 155.2 | . | ng/L | 0.76675 | 119 | Recoverable Result | 2440 | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
20152750004 | 2015-10-01 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 158 | . | ng/L | 0.68354 | 108 | Recoverable Result | 2440 | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
20152950084 | 2015-10-22 08:00 | PROPRANOLOL | 67516LCM56 | 26.3 | 158 | . | ng/L | 0.75949 | 120 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20163630039 | 2016-12-28 08:00 | PROPRANOLOL | 67516LCM56 | 26 | 164.7 | . | ng/L | 0.8136 | 134 | Recoverable Result | 2440 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20163630038 | 2016-12-28 07:30 | PROPRANOLOL | 67516LCM56 | 26 | 164.7 | . | ng/L | 0.78931 | 130 | Recoverable Result | 2440 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20162930165 | 2016-10-19 07:45 | PROPRANOLOL | 67516LCM56 | 26 | 166 | . | ng/L | 0.83133 | 138 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20162930164 | 2016-10-19 07:30 | PROPRANOLOL | 67516LCM56 | 26 | 166 | . | ng/L | 0.83133 | 138 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl