## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160910144 | 2016-03-31 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 13.8 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 13.8 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20152530083 | 2015-09-10 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.6 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
20153440005 | 2015-12-09 07:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.6 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160630051 | 2016-03-03 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.6 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20160840084 | 2016-03-24 07:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.6 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20152190007 | 2015-08-06 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.68 | < | ng/L |  |  | False Negative | 2440 | U | LJC |  | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
20152250278 | 2015-08-13 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.68 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20160280057 | 2016-01-28 07:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.68 | < | ng/L |  | 80 | SACRALT | 2440 | U | MNO | c | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20163280003 | 2016-11-21 09:00 | TEMAZEPAM | 67471LCM56 | 18 | 48.16 | < | ng/L |  | 80 | SACRALT | 2440 | U | MNI | c | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20163280002 | 2016-11-21 08:30 | TEMAZEPAM | 67471LCM56 | 18 | 48.16 | < | ng/L |  | 80 | SACRALT | 2440 | U | MNI | c | 2016-12-16 | Crescent EN160610015: 40 µl & Abs 061416: 40 µl
20160350045 | 2016-02-04 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 55.36 | < | ng/L |  | 80 | SACRALT | 2440 | U | MNO | c | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
20160560046 | 2016-02-25 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 55.36 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20141570089 | 2014-06-05 09:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 73.74 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20153030062 | 2015-10-29 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.6 | . | ng/L | 0.86232 | 23.8 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
20151550290 | 2015-06-04 06:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.68 | . | ng/L | 0.52746 | 14.6 | Recoverable Result | 2440 | K | SLW | n | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20151690193 | 2015-06-18 07:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.68 | . | ng/L | 0.61416 | 17 | Recoverable Result | 2440 | K | LJC | n | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
20153230140 | 2015-11-19 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.68 | . | ng/L | 0.72254 | 20 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20161260154 | 2016-05-05 06:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.68 | . | ng/L | 1.0079 | 27.9 | Recoverable Result | 2440 | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20161260153 | 2016-05-05 06:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 27.68 | . | ng/L | 0.97905 | 27.1 | Recoverable Result | 2440 | U | LJC |  | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20141360091 | 2014-05-16 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 36.87 | . | ng/L | 0.81367 | 30 | Recoverable Result | 2440 | U | LJC |  | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20141770145 | 2014-06-26 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 36.87 | . | ng/L | 0.80825 | 29.8 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142620042 | 2014-09-18 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 36.87 | . | ng/L | 0.58313 | 21.5 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
20142530091 | 2014-09-10 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 36.87 | . | ng/L | 0.71603 | 26.4 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
20142760028 | 2014-10-02 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 39.328 | . | ng/L | 0.64331 | 25.3 | Recoverable Result | 2440 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20143030095 | 2014-10-30 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 39.328 | . | ng/L | 0.84164 | 33.1 | Recoverable Result | 2440 | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
20150790013 | 2015-03-19 07:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 39.328 | . | ng/L | 0.7145 | 28.1 | Recoverable Result | 2440 | U | SLW |  | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20162300274 | 2016-08-17 10:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 46.4 | . | ng/L | 0.7931 | 36.8 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162300275 | 2016-08-17 09:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 46.4 | . | ng/L | 0.81681 | 37.9 | Recoverable Result | 2440 | K | SBH |  | 2016-09-10 | Abs 060916PHARM: 40 µl & ERA 04281604: 40 µl
20162660012 | 2016-09-21 09:30 | TEMAZEPAM | 67471LCM56 | 18 | 46.4 | . | ng/L | 0.90517 | 42 | Recoverable Result | 2440 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | TEMAZEPAM | 67471LCM56 | 18 | 46.4 | . | ng/L | 0.79526 | 36.9 | Recoverable Result | 2440 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500007 | 2016-12-14 09:00 | TEMAZEPAM | 67471LCM56 | 18 | 46.4 | . | ng/L | 1.1724 | 54.4 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | TEMAZEPAM | 67471LCM56 | 18 | 46.4 | . | ng/L | 1.1552 | 53.6 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162100013 | 2016-07-27 07:45 | TEMAZEPAM | 67471LCM56 | 18.4 | 48.16 | . | ng/L | 0.2201 | 10.6 | Recoverable Result | 2440 | K | MNO | n | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162100012 | 2016-07-27 07:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 48.16 | . | ng/L | 0.20972 | 10.1 | Recoverable Result | 2440 | K | MNO | n | 2016-08-16 | Abs 060916PHARM: 40 µl & Abs 061416: 40 µl
20162150208 | 2016-08-02 09:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 48.16 | . | ng/L | 0.16985 | 8.18 | Recoverable Result | 2440 | K | MNO | bt | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 48.16 | . | ng/L | 0.17047 | 8.21 | Recoverable Result | 2440 | K | MNO | bt | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162380011 | 2016-08-24 07:45 | TEMAZEPAM | 67471LCM56 | 18.4 | 48.16 | E | ng/L | 0.20079 | 9.67 | Estimated Values | 2440 | K | MNI | bnc | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 48.16 | E | ng/L | 0.16902 | 8.14 | Estimated Values | 2440 | K | MNI | btc | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20151970156 | 2015-07-16 07:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 55.2 | . | ng/L | 0.66123 | 36.5 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
20152460209 | 2015-09-03 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 55.2 | E | ng/L | 0.43659 | 24.1 | Estimated Values | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20152040179 | 2015-07-23 07:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 55.36 | . | ng/L | 0.66655 | 36.9 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20152330041 | 2015-08-20 07:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 55.36 | . | ng/L | 0.53107 | 29.4 | Recoverable Result | 2440 | U | SLW |  | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
20141290006 | 2014-05-08 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 73.74 | . | ng/L | 0.77977 | 57.5 | Recoverable Result | 2440 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
20141710105 | 2014-06-19 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 73.74 | . | ng/L | 0.67806 | 50 | Recoverable Result | 2440 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
20150230027 | 2015-01-22 07:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 73.74 | . | ng/L | 0.73501 | 54.2 | Recoverable Result | 2440 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150430093 | 2015-02-12 07:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 73.74 | . | ng/L | 0.754 | 55.6 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
20163070102 | 2016-11-02 09:30 | TEMAZEPAM | 67471LCM56 | 18 | 92.8 | . | ng/L | 0.82328 | 76.4 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | TEMAZEPAM | 67471LCM56 | 18 | 92.8 | . | ng/L | 0.77802 | 72.2 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20161740257 | 2016-06-22 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 96.32 | . | ng/L | 0.26267 | 25.3 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161740283 | 2016-06-22 07:45 | TEMAZEPAM | 67471LCM56 | 18.4 | 96.32 | . | ng/L | 0.27305 | 26.3 | Recoverable Result | 2440 | K | LJC |  | 2016-07-22 | Abs 060916PHARM: 80 µl & Abs 061416: 80 µl
20161880102 | 2016-07-06 08:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 96.32 | . | ng/L | 0.24813 | 23.9 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 96.32 | . | ng/L | 0.27097 | 26.1 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162580143 | 2016-09-14 07:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 96.32 | . | ng/L | 0.23152 | 22.3 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Abs 061416: 80 µl & Crescent EN160610015: 80 µl
20162580144 | 2016-09-14 07:15 | TEMAZEPAM | 67471LCM56 | 18.4 | 96.32 | . | ng/L | 0.21699 | 20.9 | Recoverable Result | 2440 | K | LJC |  | 2016-09-24 | Crescent EN160610015: 80 µl & Abs 061416: 80 µl
20152670140 | 2015-09-24 07:30 | TEMAZEPAM | 67471LCM56 | 18.4 | 110.4 | E | ng/L | 0.29529 | 32.6 | Estimated Values | 2440 | U | SLW | c | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20153160007 | 2015-11-10 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 110.4 | . | ng/L | 0.75181 | 83 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20160070055 | 2016-01-07 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 110.4 | . | ng/L | 0.7971 | 88 | Recoverable Result | 2440 | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
20152750004 | 2015-10-01 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 110.72 | . | ng/L | 0.6828 | 75.6 | Recoverable Result | 2440 | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
20152950084 | 2015-10-22 08:00 | TEMAZEPAM | 67471LCM56 | 18.4 | 110.72 | . | ng/L | 0.68913 | 76.3 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20162930165 | 2016-10-19 07:45 | TEMAZEPAM | 67471LCM56 | 18 | 116 | . | ng/L | 0.82759 | 96 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl
20162930164 | 2016-10-19 07:30 | TEMAZEPAM | 67471LCM56 | 18 | 116 | . | ng/L | 0.80431 | 93.3 | Recoverable Result | 2440 | K | LJC |  | 2016-11-03 | Crescent EN160610015: 100 µl & ERA 04281604: 100 µl