## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20153230140 | 2015-11-19 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 |  | . | ng/L |  | 62.2 | False Positive | 2440 | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20160910144 | 2016-03-31 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 31.15 | < | ng/L |  | 200 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 31.15 | < | ng/L |  | 200 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20152250278 | 2015-08-13 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 62.2 | < | ng/L |  | 80 | SACRALT | 2440 | U | SLW | c | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20152390226 | 2015-08-27 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 62.2 | < | ng/L |  | 80 | SACRALT | 2440 | U | LJC | c | 2015-09-15 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20153090116 | 2015-11-05 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 62.2 | < | ng/L |  | 80 | SACRALT | 2440 | K | LJC | c | 2015-11-25 | Abs 050115: 20 µl & ERA 0406-15-08: 20 µl
20153440005 | 2015-12-09 07:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 62.2 | < | ng/L |  |  | False Negative | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160710221 | 2016-03-10 09:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 62.2 | < | ng/L |  | 200 | SACRALT | 2440 | U | LJC | c | 2016-04-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20160980151 | 2016-04-07 06:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 62.2 | < | ng/L |  | 80 | SACRALT | 2440 | K | LJC | c | 2016-04-27 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl
20152110203 | 2015-07-30 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 62.3 | < | ng/L |  | 80 | SACRALT | 2440 | U | SLW | c | 2015-08-11 | Abs 050115: 20 µl & Abs 051315: 20 µl
20141360091 | 2014-05-16 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 84.7575 | < | ng/L |  |  | False Negative | 2440 | U | LJC | c | 2014-05-30 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142620042 | 2014-09-18 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 84.7575 | < | ng/L |  |  | False Negative | 2440 | U | LJC | c | 2014-10-10 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl
20150790013 | 2015-03-19 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 90.408 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20162020116 | 2016-07-20 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 104.44 | < | ng/L |  |  | False Negative | 2440 | U | MNO | c | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | THEOPHYLLINE | 67494LCM56 | 41.5 | 104.44 | < | ng/L |  |  | False Negative | 2440 | U | MNO | c | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20163500007 | 2016-12-14 09:00 | THEOPHYLLINE | 67494LCM56 | 80 | 104.44 | < | ng/L |  | 200 | SACRALT | 2440 | U | MNI | mc | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | THEOPHYLLINE | 67494LCM56 | 80 | 104.44 | < | ng/L |  | 200 | SACRALT | 2440 | U | MNI | mc | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20152460209 | 2015-09-03 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 124.4 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20152810122 | 2015-10-08 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 124.4 | < | ng/L |  |  | False Negative | 2440 | K | LJC | c | 2015-11-04 | ERA 0406-15-07A: 40 µl & ERA 0406-15-08: 40 µl
20160210081 | 2016-01-21 06:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 124.4 | < | ng/L |  |  | False Negative | 2440 | U | MNO | @c | 2016-02-23 | Abs 050115: 40 µl & ERA 0406-15-08: 40 µl
20153280157 | 2015-11-24 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 124.6 | < | ng/L |  |  | False Negative | 2440 | U | SLW | c | 2015-12-15 | ERA 0406-15-07A: 40 µl & Abs 051315: 40 µl
20141570089 | 2014-06-05 09:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 169.515 | < | ng/L |  | 200 | SACRALT | 2440 | U | LJC | c | 2014-06-22 | Abs 041814: 60 µl & Abs 041614: 60 µl
20163630039 | 2016-12-28 08:00 | THEOPHYLLINE | 67494LCM56 | 80 | 260 | < | ng/L |  |  | False Negative | 2440 | U | MNI | mc | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20151410214 | 2015-05-21 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 62.3 | . | ng/L | 0.85875 | 53.5 | Recoverable Result | 2440 | U | MNO |  | 2015-06-09 | Abs 051315: 20 µl & Abs 050115: 20 µl
20151550290 | 2015-06-04 06:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 62.3 | . | ng/L | 1.1653 | 72.6 | Recoverable Result | 2440 | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20160280057 | 2016-01-28 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 62.3 | . | ng/L | 0.69663 | 43.4 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20141840099 | 2014-07-02 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 83.25 | . | ng/L | 0.73754 | 61.4 | Recoverable Result | 2440 | U | LJC | v | 2014-07-13 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142130133 | 2014-07-31 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 83.25 | E | ng/L | 0.54895 | 45.7 | Estimated Values | 2440 | U | MNO | c | 2014-08-16 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl
20142340169 | 2014-08-18 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 83.25 | . | ng/L | 0.82763 | 68.9 | Recoverable Result | 2440 | U | LJC |  | 2014-08-30 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl
20141770145 | 2014-06-26 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 84.7575 | . | ng/L | 0.81173 | 68.8 | Recoverable Result | 2440 | U | LJC |  | 2014-07-13 | Abs 041814: 30 µl & Abs 041614: 30 µl
20142530091 | 2014-09-10 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 84.7575 | . | ng/L | 0.81645 | 69.2 | Recoverable Result | 2440 | U | LJC |  | 2014-10-10 | Abs 041714: 30 µl & Abs 041814: 30 µl
20142820152 | 2014-10-09 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 88.8 | . | ng/L | 0.94482 | 83.9 | Recoverable Result | 2440 | U | LJC |  | 2014-10-24 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl
20142960084 | 2014-10-23 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 88.8 | . | ng/L | 0.81419 | 72.3 | Recoverable Result | 2440 | U | MNO |  | 2014-11-04 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl
20142760028 | 2014-10-02 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 90.408 | . | ng/L | 0.84838 | 76.7 | Recoverable Result | 2440 | U | LJC |  | 2014-10-11 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20143030095 | 2014-10-30 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 90.408 | . | ng/L | 0.76321 | 69 | Recoverable Result | 2440 | U | MNO |  | 2014-11-04 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl
20162380011 | 2016-08-24 07:45 | THEOPHYLLINE | 67494LCM56 | 41.5 | 104 | . | ng/L | 0.44712 | 46.5 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 104 | . | ng/L | 0.42981 | 44.7 | Recoverable Result | 2440 | K | MNI |  | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162800005 | 2016-10-05 09:00 | THEOPHYLLINE | 67494LCM56 | 80 | 104 | E | ng/L | 0.59808 | 62.2 | Estimated Values | 2440 | K | MNI | mnc | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | THEOPHYLLINE | 67494LCM56 | 80 | 104 | E | ng/L | 0.61635 | 64.1 | Estimated Values | 2440 | K | MNI | mnc | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162150208 | 2016-08-02 09:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 104.44 | . | ng/L | 0.86557 | 90.4 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 104.44 | . | ng/L | 0.71333 | 74.5 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162440106 | 2016-08-31 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 104.44 | . | ng/L | 0.88855 | 92.8 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | THEOPHYLLINE | 67494LCM56 | 41.5 | 104.44 | . | ng/L | 0.92015 | 96.1 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162660012 | 2016-09-21 09:30 | THEOPHYLLINE | 67494LCM56 | 80 | 104.44 | E | ng/L | 1.2352 | 129 | Estimated Values | 2440 | K | MNI | mc | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | THEOPHYLLINE | 67494LCM56 | 80 | 104.44 | E | ng/L | 1.149 | 120 | Estimated Values | 2440 | K | MNI | mc | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20160560046 | 2016-02-25 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 124.4 | . | ng/L | 0.50482 | 62.8 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20151820109 | 2015-07-01 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 124.6 | . | ng/L | 0.86677 | 108 | Recoverable Result | 2440 | U | LJC |  | 2015-07-30 | Abs 050115: 40 µl & Abs 051315: 40 µl
20152040179 | 2015-07-23 07:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 124.6 | . | ng/L | 0.79856 | 99.5 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20161130022 | 2016-04-21 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 124.6 | . | ng/L | 0.7512 | 93.6 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20161130023 | 2016-04-21 06:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 124.6 | . | ng/L | 0.85875 | 107 | Recoverable Result | 2440 | K | LJC | c | 2016-04-27 | Abs 050115: 40 µl & Abs 051315: 40 µl
20141990083 | 2014-07-17 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 166.5 | . | ng/L | 0.9009 | 150 | Recoverable Result | 2440 | U | MNO |  | 2014-07-26 | ERA 0319-14-05: 60 µl & ERA 0318-14-02: 60 µl
20142270003 | 2014-08-14 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 166.5 | . | ng/L | 0.8048 | 134 | Recoverable Result | 2440 | K | MNO |  | 2014-08-28 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl
20143180049 | 2014-11-13 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 166.5 | . | ng/L | 0.83483 | 139 | Recoverable Result | 2440 | U | MNO |  | 2014-12-06 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20143300051 | 2014-11-26 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 166.5 | . | ng/L | 0.91892 | 153 | Recoverable Result | 2440 | U | MNO |  | 2014-12-07 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20143650002 | 2014-12-31 07:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 166.5 | . | ng/L | 0.91291 | 152 | Recoverable Result | 2440 | K | MNO |  | 2015-01-16 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20150570011 | 2015-02-26 07:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 166.5 | . | ng/L | 0.94294 | 157 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150850164 | 2015-03-26 07:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 166.5 | . | ng/L | 1.2252 | 204 | Recoverable Result | 2440 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
20151140150 | 2015-04-23 06:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 166.5 | . | ng/L | 1.1832 | 197 | Recoverable Result | 2440 | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20141290006 | 2014-05-08 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 169.515 | . | ng/L | 0.81999 | 139 | Recoverable Result | 2440 | U | MNO |  | 2014-05-21 | Abs 041714: 60 µl & Abs 041814: 60 µl
20141710105 | 2014-06-19 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 169.515 | . | ng/L | 0.6961 | 118 | Recoverable Result | 2440 | U | LJC |  | 2014-07-12 | Abs 041714: 60 µl & Abs 041814: 60 µl
20150230027 | 2015-01-22 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 169.515 | . | ng/L | 0.90257 | 153 | Recoverable Result | 2440 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150430093 | 2015-02-12 07:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 169.515 | . | ng/L | 0.89668 | 152 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
20163150008 | 2016-11-09 09:30 | THEOPHYLLINE | 67494LCM56 | 80 | 208 | E | ng/L | 0.4476 | 93.1 | Estimated Values | 2440 | K | LJC | mc | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | THEOPHYLLINE | 67494LCM56 | 80 | 208 | E | ng/L | 0.41923 | 87.2 | Estimated Values | 2440 | K | LJC | mc | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163070102 | 2016-11-02 09:30 | THEOPHYLLINE | 67494LCM56 | 80 | 208 | E | ng/L | 0.52885 | 110 | Estimated Values | 2440 | K | LJC | mc | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | THEOPHYLLINE | 67494LCM56 | 80 | 208 | E | ng/L | 0.50481 | 105 | Estimated Values | 2440 | K | LJC | mc | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20161880102 | 2016-07-06 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 208.88 | . | ng/L | 0.97185 | 203 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 208.88 | . | ng/L | 0.96227 | 201 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162230166 | 2016-08-10 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 208.88 | . | ng/L | 1.0245 | 214 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | THEOPHYLLINE | 67494LCM56 | 41.5 | 208.88 | . | ng/L | 0.98621 | 206 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20152950084 | 2015-10-22 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 248.8 | . | ng/L | 0.60691 | 151 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20160430109 | 2016-02-11 08:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 248.8 | . | ng/L | 0.5426 | 135 | Recoverable Result | 2440 | U | MNO |  | 2016-02-23 | Abs 050115: 80 µl & ERA 0406-15-08: 80 µl
20152670140 | 2015-09-24 07:30 | THEOPHYLLINE | 67494LCM56 | 41.5 | 249.2 | E | ng/L | 0.74639 | 186 | Estimated Values | 2440 | U | SLW | c | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20152610009 | 2015-09-17 07:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 249.2 | E | ng/L | 0.91493 | 228 | Estimated Values | 2440 | U | SLW | c | 2015-10-01 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl
20153160007 | 2015-11-10 08:00 | THEOPHYLLINE | 67494LCM56 | 41.5 | 249.2 | . | ng/L | 0.88684 | 221 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20163630038 | 2016-12-28 07:30 | THEOPHYLLINE | 67494LCM56 | 80 | 260 | E | ng/L | 0.58077 | 151 | Estimated Values | 2440 | U | MNI | mc | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl