## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151760207 | 2015-06-25 06:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.12 | . | ug/L | 0.84167 | 0.101 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20152530087 | 2015-09-10 09:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.12 | . | ug/L | 0.89167 | 0.107 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20152950079 | 2015-10-22 08:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.12 | . | ug/L | 0.86667 | 0.104 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.12 | . | ug/L | 0.75833 | 0.091 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160490032 | 2016-02-18 08:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.12 | . | ug/L | 0.83333 | 0.1 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20151970168 | 2015-07-16 06:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.1216 | . | ug/L | 0.9375 | 0.114 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.1216 | . | ug/L | 0.94572 | 0.115 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20160980150 | 2016-04-07 06:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.1216 | . | ug/L | 0.86349 | 0.105 | Recoverable Result | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20141290007 | 2014-05-08 07:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.1593 | . | ug/L | 0.7533 | 0.12 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.1593 | . | ug/L | 0.70308 | 0.112 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.1593 | . | ug/L | 0.7533 | 0.12 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20150570009 | 2015-02-26 06:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.1593 | . | ug/L | 0.7533 | 0.12 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20150850162 | 2015-03-26 06:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.1593 | . | ug/L | 0.91651 | 0.146 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20151140152 | 2015-04-23 06:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.1593 | . | ug/L | 0.95417 | 0.152 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20132690008 | 2013-09-25 07:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | . | ug/L | 0.765 | 0.153 | Recoverable Result | 4433 | B | sgs |  | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20133110109 | 2013-11-07 07:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | . | ug/L | 0.835 | 0.167 | Recoverable Result | 4433 | B | sgs | c | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140160088 | 2014-01-16 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | . | ug/L | 0.7 | 0.14 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140300033 | 2014-01-30 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | . | ug/L | 0.785 | 0.157 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20161400194 | 2016-05-18 06:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | . | ug/L | 0.92 | 0.184 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | . | ug/L | 0.885 | 0.177 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162660006 | 2016-09-21 07:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | . | ug/L | 0.895 | 0.179 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20162860080 | 2016-10-12 07:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | E | ug/L | 0.59 | 0.118 | Estimated Values | 4433 | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163150005 | 2016-11-09 07:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | . | ug/L | 0.87 | 0.174 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163070096 | 2016-11-02 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | . | ug/L | 0.87 | 0.174 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2 | . | ug/L | 0.93 | 0.186 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20132560002 | 2013-09-12 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.201 | . | ug/L | 0.80597 | 0.162 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133260003 | 2013-11-21 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.201 | . | ug/L | 0.83582 | 0.168 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140650080 | 2014-03-06 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.201 | . | ug/L | 0.62687 | 0.126 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.201 | . | ug/L | 0.76617 | 0.154 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20151620180 | 2015-06-11 06:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.24 | . | ug/L | 0.85417 | 0.205 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153510110 | 2015-12-17 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.24 | . | ug/L | 0.82083 | 0.197 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2432 | . | ug/L | 0.9375 | 0.228 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153280156 | 2015-11-24 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2432 | . | ug/L | 0.80592 | 0.196 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2432 | . | ug/L | 0.84293 | 0.205 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.2432 | . | ug/L | 0.85526 | 0.208 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20122210008 | 2012-08-07 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.25 | . | ug/L | 0.648 | 0.162 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.25 | . | ug/L | 0.796 | 0.199 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20121950066 | 2012-07-12 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.252 | . | ug/L | 0.94444 | 0.238 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.252 | . | ug/L | 0.68651 | 0.173 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20141910242 | 2014-07-10 06:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.3186 | . | ug/L | 0.94162 | 0.3 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142480001 | 2014-09-04 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.3186 | . | ug/L | 0.91651 | 0.292 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143300047 | 2014-11-26 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.3186 | . | ug/L | 0.91651 | 0.292 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20162100008 | 2016-07-27 06:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.4 | . | ug/L | 0.845 | 0.338 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20162230167 | 2016-08-10 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.4 | . | ug/L | 0.78 | 0.312 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.4 | . | ug/L | 0.91 | 0.364 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20162930160 | 2016-10-19 06:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.4 | . | ug/L | 0.8725 | 0.349 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20163420127 | 2016-12-07 07:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.4 | . | ug/L | 0.96 | 0.384 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20111260151 | 2011-05-05 08:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.4029 | . | ug/L | 0.88856 | 0.358 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20160140040 | 2016-01-14 08:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.48 | . | ug/L | 0.76458 | 0.367 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20152810121 | 2015-10-08 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.4864 | . | ug/L | 0.91077 | 0.443 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.4864 | . | ug/L | 0.90255 | 0.439 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20123420075 | 2012-12-06 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.5 | . | ug/L | 0.77 | 0.385 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20131290118 | 2013-05-09 07:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.5 | . | ug/L | 0.768 | 0.384 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20161960001 | 2016-07-13 08:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.5 | . | ug/L | 0.88 | 0.44 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20162380005 | 2016-08-24 07:15 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.5 | . | ug/L | 0.866 | 0.433 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20163560020 | 2016-12-21 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.5 | . | ug/L | 0.946 | 0.473 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20122720049 | 2012-09-27 06:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.504 | . | ug/L | 0.76587 | 0.386 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20131020082 | 2013-04-11 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.504 | . | ug/L | 0.75595 | 0.381 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20112380056 | 2011-08-25 11:10 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 0.64 | . | ug/L | 0.90156 | 0.577 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20130590064 | 2013-02-28 07:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 1 | . | ug/L | 0.723 | 0.723 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20131650075 | 2013-06-13 07:30 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 1.0025 | . | ug/L | 0.78603 | 0.788 | Recoverable Result | 4433 | B | sgs |  | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20131920148 | 2013-07-11 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 1.005 | . | ug/L | 0.81692 | 0.821 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20130100068 | 2013-01-10 07:00 | 1,4-DICHLOROBENZENE | 34571GCM99 | 0.08 | 1.008 | . | ug/L | 0.75198 | 0.758 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl