## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20110840109 | 2011-03-24 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 |  | . | ug/L |  | 0.014 | False Positive | 4433 | R | jiv | bt | 2011-04-15 | Abs 090910WW: 50 µl
20111390173 | 2011-05-19 08:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 |  | . | ug/L |  | 0.014 | False Positive | 4433 | R | jiv | bt | 2011-06-28 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 |  | . | ug/L |  | 0.018 | False Positive | 4433 | R | jiv | t | 2011-11-22 | Abs 090910WW: 80 µl
20113340047 | 2011-11-29 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 |  | E | ug/L |  | 0.007 | False Positive | 4433 | R | jiv | btc | 2012-02-01 | ChemService 448-12A: 50 µl
20121110020 | 2012-04-19 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 |  | . | ug/L |  | 0.011 | False Positive | 4433 | E | cli | vbt | 2012-05-22 | ChemService 448-12A: 80 µl
20132210039 | 2013-08-08 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.074 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20152530087 | 2015-09-10 09:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0592 | . | ug/L | 1.1824 | 0.07 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20153030067 | 2015-10-29 08:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0592 | . | ug/L | 0.99662 | 0.059 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160490032 | 2016-02-18 08:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0592 | . | ug/L | 1.0304 | 0.061 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20160840086 | 2016-03-24 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0592 | . | ug/L | 1.0473 | 0.062 | Recoverable Result | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20151210038 | 2015-04-30 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0602 | . | ug/L | 0.96346 | 0.058 | Recoverable Result | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0602 | . | ug/L | 0.94684 | 0.057 | Recoverable Result | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0602 | . | ug/L | 1.0299 | 0.062 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20160280053 | 2016-01-28 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0602 | . | ug/L | 0.84718 | 0.051 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160980150 | 2016-04-07 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0602 | . | ug/L | 0.94684 | 0.057 | Recoverable Result | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20132560002 | 2013-09-12 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.074 | . | ug/L | 0.90541 | 0.067 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133110109 | 2013-11-07 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.074 | . | ug/L | 1.0405 | 0.077 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20132910006 | 2013-10-17 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.074 | . | ug/L | 0.83784 | 0.062 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140160088 | 2014-01-16 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.074 | . | ug/L | 0.7973 | 0.059 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.074 | . | ug/L | 0.77027 | 0.057 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.074 | . | ug/L | 0.91892 | 0.068 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140930054 | 2014-04-03 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.074 | . | ug/L | 0.89189 | 0.066 | Recoverable Result | 4433 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20141290007 | 2014-05-08 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0801 | . | ug/L | 0.799 | 0.064 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0801 | . | ug/L | 0.72409 | 0.058 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0801 | . | ug/L | 0.82397 | 0.066 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20150570009 | 2015-02-26 06:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0801 | . | ug/L | 0.74906 | 0.06 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20150850162 | 2015-03-26 06:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0801 | . | ug/L | 0.89888 | 0.072 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20151140152 | 2015-04-23 06:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0801 | . | ug/L | 0.99875 | 0.08 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20142130131 | 2014-07-31 06:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.081 | . | ug/L | 1.037 | 0.084 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142270002 | 2014-08-14 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.081 | . | ug/L | 1.0864 | 0.088 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20143520107 | 2014-12-18 06:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.081 | . | ug/L | 0.92593 | 0.075 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150990066 | 2015-04-09 06:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.081 | . | ug/L | 1.1111 | 0.09 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20161400194 | 2016-05-18 06:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0976 | . | ug/L | 0.93238 | 0.091 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161600088 | 2016-06-08 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0976 | . | ug/L | 0.94262 | 0.092 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20162150212 | 2016-08-02 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0976 | . | ug/L | 0.93238 | 0.091 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162660006 | 2016-09-21 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.0976 | . | ug/L | 0.86066 | 0.084 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20161880110 | 2016-07-06 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1 | . | ug/L | 0.65 | 0.065 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162440114 | 2016-08-31 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1 | . | ug/L | 0.64 | 0.064 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163150005 | 2016-11-09 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1 | . | ug/L | 0.6 | 0.06 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163500003 | 2016-12-14 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1 | . | ug/L | 0.53 | 0.053 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20152110199 | 2015-07-30 09:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1184 | . | ug/L | 1.0304 | 0.122 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20152250271 | 2015-08-13 09:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1184 | . | ug/L | 0.94595 | 0.112 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153370177 | 2015-12-03 08:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1204 | . | ug/L | 0.96346 | 0.116 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153510110 | 2015-12-17 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1204 | . | ug/L | 0.93854 | 0.113 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20121950066 | 2012-07-12 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.15 | . | ug/L | 1.06 | 0.159 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20122370103 | 2012-08-23 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.15 | . | ug/L | 0.93333 | 0.14 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130460007 | 2013-02-14 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.15 | . | ug/L | 0.78 | 0.117 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130870086 | 2013-03-27 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.15 | . | ug/L | 0.87333 | 0.131 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20141910242 | 2014-07-10 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1602 | . | ug/L | 0.93009 | 0.149 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142480001 | 2014-09-04 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1602 | . | ug/L | 0.89888 | 0.144 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143300047 | 2014-11-26 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1602 | . | ug/L | 0.93633 | 0.15 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20141360095 | 2014-05-16 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.162 | E | ug/L | 0.67901 | 0.11 | Estimated Values | 4433 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141490201 | 2014-05-29 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.162 | . | ug/L | 0.7963 | 0.129 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142470040 | 2014-09-03 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.162 | . | ug/L | 1.0309 | 0.167 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.162 | . | ug/L | 0.83951 | 0.136 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20142960087 | 2014-10-23 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.162 | . | ug/L | 0.99383 | 0.161 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20131290118 | 2013-05-09 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.185 | . | ug/L | 0.93514 | 0.173 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.185 | . | ug/L | 1.0216 | 0.189 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20140030013 | 2014-01-02 06:15 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.185 | . | ug/L | 0.93514 | 0.173 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20162100008 | 2016-07-27 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1952 | . | ug/L | 0.9375 | 0.183 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20163280007 | 2016-11-21 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1952 | . | ug/L | 0.81967 | 0.16 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20163420127 | 2016-12-07 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.1952 | . | ug/L | 0.93238 | 0.182 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20162990149 | 2016-10-25 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.2 | . | ug/L | 0.47 | 0.094 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162930160 | 2016-10-19 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.2 | . | ug/L | 0.605 | 0.121 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20111260151 | 2011-05-05 08:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.20145 | . | ug/L | 1.0722 | 0.216 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20152670134 | 2015-09-24 09:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.2368 | . | ug/L | 1.0557 | 0.25 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20153160002 | 2015-11-10 08:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.2368 | . | ug/L | 1.0473 | 0.248 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20152810121 | 2015-10-08 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.2408 | . | ug/L | 0.94269 | 0.227 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20162380005 | 2016-08-24 07:15 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.25 | . | ug/L | 0.596 | 0.149 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20122720049 | 2012-09-27 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.3 | . | ug/L | 0.82 | 0.246 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.3 | . | ug/L | 0.83 | 0.249 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20130250062 | 2013-01-24 06:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.3 | . | ug/L | 0.78333 | 0.235 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.3 | . | ug/L | 0.93 | 0.279 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20112380056 | 2011-08-25 11:10 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.32 | . | ug/L | 1.1094 | 0.355 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20111750002 | 2011-06-23 08:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.332 | . | ug/L | 0.72892 | 0.242 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.332 | . | ug/L | 0.91265 | 0.303 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.332 | . | ug/L | 0.85843 | 0.285 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.3329 | . | ug/L | 1.0033 | 0.334 | Recoverable Result | 4433 | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.3415 | . | ug/L | 0.97512 | 0.333 | Recoverable Result | 4433 | R | jiv |  | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.3416 | . | ug/L | 0.88993 | 0.304 | Recoverable Result | 4433 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.3416 | . | ug/L | 0.90164 | 0.308 | Recoverable Result | 4433 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.3416 | . | ug/L | 0.99824 | 0.341 | Recoverable Result | 4433 | Y | awh |  | 2012-07-26 | Supelco LB77171: 20 µl
20131920148 | 2013-07-11 07:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.37 | . | ug/L | 0.85676 | 0.317 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20123140092 | 2012-11-08 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.6 | . | ug/L | 0.83167 | 0.499 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20120200071 | 2012-01-19 08:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.83 | . | ug/L | 0.92289 | 0.766 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.83 | . | ug/L | 0.90361 | 0.75 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 0.854 | . | ug/L | 0.94145 | 0.804 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
20112170170 | 2011-08-04 09:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 1.328 | . | ug/L | 0.96386 | 1.28 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 1.328 | . | ug/L | 0.9488 | 1.26 | Recoverable Result | 4433 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 1.328 | . | ug/L | 1.0316 | 1.37 | Recoverable Result | 4433 | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
20111540005 | 2011-06-02 09:00 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 1.3556 | . | ug/L | 0.95164 | 1.29 | Recoverable Result | 4433 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | 1-METHYLNAPHTHALENE | 81696GCM99 | 0.04 | 1.3664 | . | ug/L | 0.84895 | 1.16 | Recoverable Result | 4433 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl