## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.064 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151760207 | 2015-06-25 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.06 | . | ug/L | 1.05 | 0.063 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20152530087 | 2015-09-10 09:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.06 | . | ug/L | 1.0333 | 0.062 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20152950079 | 2015-10-22 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.06 | . | ug/L | 0.98333 | 0.059 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.06 | . | ug/L | 0.91667 | 0.055 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160490032 | 2016-02-18 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.06 | . | ug/L | 1.0167 | 0.061 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20151970168 | 2015-07-16 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.0604 | . | ug/L | 1.0099 | 0.061 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.0604 | . | ug/L | 0.97682 | 0.059 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20160980150 | 2016-04-07 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.0604 | . | ug/L | 0.97682 | 0.059 | Recoverable Result | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20132560002 | 2013-09-12 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.064 | . | ug/L | 1.0312 | 0.066 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133110109 | 2013-11-07 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.064 | . | ug/L | 0.96875 | 0.062 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20132910006 | 2013-10-17 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.064 | . | ug/L | 0.76562 | 0.049 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140160088 | 2014-01-16 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.064 | . | ug/L | 0.8125 | 0.052 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.064 | . | ug/L | 0.76562 | 0.049 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.064 | . | ug/L | 0.89062 | 0.057 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140930054 | 2014-04-03 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.064 | . | ug/L | 0.85938 | 0.055 | Recoverable Result | 4433 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20141290007 | 2014-05-08 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.0798 | . | ug/L | 0.82707 | 0.066 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.0798 | . | ug/L | 0.77694 | 0.062 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.0798 | . | ug/L | 0.82707 | 0.066 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20150570009 | 2015-02-26 06:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.0798 | . | ug/L | 0.73935 | 0.059 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20150850162 | 2015-03-26 06:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.0798 | . | ug/L | 0.92732 | 0.074 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20151140152 | 2015-04-23 06:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.0798 | . | ug/L | 1.0276 | 0.082 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20142130131 | 2014-07-31 06:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.081 | . | ug/L | 0.95062 | 0.077 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142270002 | 2014-08-14 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.081 | . | ug/L | 1.0123 | 0.082 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20143520107 | 2014-12-18 06:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.081 | . | ug/L | 0.87654 | 0.071 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150990066 | 2015-04-09 06:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.081 | . | ug/L | 0.98765 | 0.08 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20161400194 | 2016-05-18 06:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1 | . | ug/L | 0.95 | 0.095 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161600088 | 2016-06-08 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1 | . | ug/L | 0.93 | 0.093 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161880110 | 2016-07-06 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1 | . | ug/L | 0.8 | 0.08 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162150212 | 2016-08-02 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1 | . | ug/L | 0.89 | 0.089 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1 | . | ug/L | 0.81 | 0.081 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20162660006 | 2016-09-21 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1 | . | ug/L | 0.95 | 0.095 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20163150005 | 2016-11-09 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1 | . | ug/L | 0.85 | 0.085 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163500003 | 2016-12-14 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1 | . | ug/L | 0.63 | 0.063 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20151620180 | 2015-06-11 06:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.12 | . | ug/L | 0.96667 | 0.116 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153510110 | 2015-12-17 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.12 | . | ug/L | 0.99167 | 0.119 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1208 | . | ug/L | 1.0099 | 0.122 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153280156 | 2015-11-24 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1208 | . | ug/L | 0.86921 | 0.105 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1208 | . | ug/L | 0.93543 | 0.113 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1208 | . | ug/L | 0.86921 | 0.105 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20141910242 | 2014-07-10 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1596 | . | ug/L | 0.97744 | 0.156 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142480001 | 2014-09-04 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1596 | . | ug/L | 0.90226 | 0.144 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143300047 | 2014-11-26 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.1596 | . | ug/L | 0.95865 | 0.153 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20131290118 | 2013-05-09 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.16 | . | ug/L | 0.88125 | 0.141 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.16 | . | ug/L | 0.925 | 0.148 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20140030013 | 2014-01-02 06:15 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.16 | . | ug/L | 0.94375 | 0.151 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20141360095 | 2014-05-16 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.162 | E | ug/L | 0.64198 | 0.104 | Estimated Values | 4433 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141490201 | 2014-05-29 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.162 | . | ug/L | 0.7716 | 0.125 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142470040 | 2014-09-03 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.162 | . | ug/L | 0.95062 | 0.154 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.162 | . | ug/L | 0.81481 | 0.132 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20142960087 | 2014-10-23 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.162 | . | ug/L | 0.91975 | 0.149 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20162100008 | 2016-07-27 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.2 | . | ug/L | 0.965 | 0.193 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20163280007 | 2016-11-21 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.2 | . | ug/L | 0.9 | 0.18 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20162990149 | 2016-10-25 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.2 | . | ug/L | 0.695 | 0.139 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162930160 | 2016-10-19 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.2 | . | ug/L | 0.76 | 0.152 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20163420127 | 2016-12-07 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.2 | . | ug/L | 0.845 | 0.169 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20111260151 | 2011-05-05 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.20145 | . | ug/L | 1.0524 | 0.212 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20160140040 | 2016-01-14 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.24 | . | ug/L | 0.90417 | 0.217 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20152810121 | 2015-10-08 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.2416 | . | ug/L | 0.93957 | 0.227 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.2416 | . | ug/L | 0.94371 | 0.228 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20162380005 | 2016-08-24 07:15 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.25 | . | ug/L | 0.724 | 0.181 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20112380056 | 2011-08-25 11:10 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.32 | . | ug/L | 1.0906 | 0.349 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20131920148 | 2013-07-11 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.32 | . | ug/L | 0.825 | 0.264 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20122370103 | 2012-08-23 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.498 | . | ug/L | 0.86546 | 0.431 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130870086 | 2013-03-27 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.498 | . | ug/L | 0.84337 | 0.42 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20121950066 | 2012-07-12 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.5 | . | ug/L | 0.982 | 0.491 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.5 | . | ug/L | 0.728 | 0.364 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20110340009 | 2011-02-02 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.56866 | . | ug/L | 0.84937 | 0.483 | Recoverable Result | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.57028 | . | ug/L | 0.82942 | 0.473 | Recoverable Result | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.5802 | . | ug/L | 0.8928 | 0.518 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.5802 | . | ug/L | 0.8342 | 0.484 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.5806 | . | ug/L | 0.83018 | 0.482 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.5806 | . | ug/L | 0.74578 | 0.433 | Recoverable Result | 4433 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.5806 | . | ug/L | 0.99552 | 0.578 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20122720049 | 2012-09-27 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.996 | . | ug/L | 0.76606 | 0.763 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 0.996 | . | ug/L | 0.76305 | 0.76 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20130250062 | 2013-01-24 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 1 | . | ug/L | 0.735 | 0.735 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 1 | . | ug/L | 0.882 | 0.882 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20111890007 | 2011-07-07 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 1.4505 | . | ug/L | 0.7101 | 1.03 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 1.4505 | E | ug/L | 0.55084 | 0.799 | Estimated Values | 4433 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 1.4505 | . | ug/L | 0.84798 | 1.23 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 1.4509 | . | ug/L | 1.0132 | 1.47 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 1.4515 | . | ug/L | 0.95074 | 1.38 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 1.4515 | . | ug/L | 0.84051 | 1.22 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 1.4572 | . | ug/L | 0.89213 | 1.3 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20123140092 | 2012-11-08 07:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 2 | . | ug/L | 0.77 | 1.54 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20111390173 | 2011-05-19 08:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 2.307 | . | ug/L | 0.8496 | 1.96 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 2.3208 | . | ug/L | 0.84885 | 1.97 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 2.3208 | . | ug/L | 0.8747 | 2.03 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | 2,6-DIMETHYLNAPHTHALENE | 62805GCM99 | 0.04 | 2.3224 | . | ug/L | 0.93868 | 2.18 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl