## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20111960036 | 2011-07-14 09:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 |  | E | ug/L |  | 0.01 | False Positive | 4433 | E | jiv | btc | 2011-08-07 | Supelco LB77171: 80 µl
20132210039 | 2013-08-08 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20132560002 | 2013-09-12 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 0.9 | 0.054 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133110109 | 2013-11-07 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 1.0333 | 0.062 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20132910006 | 2013-10-17 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 0.8 | 0.048 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140160088 | 2014-01-16 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 0.8 | 0.048 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 0.81667 | 0.049 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 0.93333 | 0.056 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140930054 | 2014-04-03 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 0.9 | 0.054 | Recoverable Result | 4433 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20152530087 | 2015-09-10 09:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 1 | 0.06 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20153030067 | 2015-10-29 08:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 0.88333 | 0.053 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160490032 | 2016-02-18 08:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 1.0167 | 0.061 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20160840086 | 2016-03-24 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.06 | . | ug/L | 0.91667 | 0.055 | Recoverable Result | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20151210038 | 2015-04-30 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0601 | . | ug/L | 0.99834 | 0.06 | Recoverable Result | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0601 | . | ug/L | 0.9817 | 0.059 | Recoverable Result | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0601 | . | ug/L | 1.015 | 0.061 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20160280053 | 2016-01-28 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0601 | . | ug/L | 0.86522 | 0.052 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160980150 | 2016-04-07 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0601 | . | ug/L | 0.91514 | 0.055 | Recoverable Result | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20141010007 | 2014-04-10 06:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0786 | E | ug/L | 0.73791 | 0.058 | Estimated Values | 4433 | B | sgs |  | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0786 | . | ug/L | 1.0051 | 0.079 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0786 | . | ug/L | 0.90331 | 0.071 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0786 | . | ug/L | 0.76336 | 0.06 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0801 | . | ug/L | 0.77403 | 0.062 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0801 | . | ug/L | 0.83645 | 0.067 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0801 | . | ug/L | 1.0737 | 0.086 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0801 | . | ug/L | 1.1111 | 0.089 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0801 | . | ug/L | 1.0861 | 0.087 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.0801 | . | ug/L | 1.1111 | 0.089 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20161400194 | 2016-05-18 06:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1 | . | ug/L | 0.94 | 0.094 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1 | . | ug/L | 0.9 | 0.09 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20163150005 | 2016-11-09 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1 | . | ug/L | 0.97 | 0.097 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20162660006 | 2016-09-21 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1004 | . | ug/L | 0.93625 | 0.094 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20162860080 | 2016-10-12 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1004 | E | ug/L | 0.57769 | 0.058 | Estimated Values | 4433 | B | sgs | v | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163070096 | 2016-11-02 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1004 | E | ug/L | 0.81673 | 0.082 | Estimated Values | 4433 | B | sgs | v | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1004 | . | ug/L | 0.90637 | 0.091 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20152110199 | 2015-07-30 09:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.12 | . | ug/L | 0.925 | 0.111 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20152250271 | 2015-08-13 09:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.12 | . | ug/L | 0.88333 | 0.106 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153370177 | 2015-12-03 08:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1202 | . | ug/L | 0.93178 | 0.112 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153510110 | 2015-12-17 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1202 | . | ug/L | 0.8985 | 0.108 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20131290118 | 2013-05-09 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.15 | . | ug/L | 0.88 | 0.132 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.15 | . | ug/L | 0.97333 | 0.146 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20140030013 | 2014-01-02 06:15 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.15 | . | ug/L | 0.94667 | 0.142 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20141710103 | 2014-06-19 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1572 | . | ug/L | 0.83969 | 0.132 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1572 | . | ug/L | 0.96056 | 0.151 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1572 | . | ug/L | 0.94784 | 0.149 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1572 | . | ug/L | 0.85878 | 0.135 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1602 | . | ug/L | 0.84894 | 0.136 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1602 | . | ug/L | 0.98002 | 0.157 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.1602 | . | ug/L | 1.0237 | 0.164 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20162100008 | 2016-07-27 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2 | . | ug/L | 0.92 | 0.184 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20162230167 | 2016-08-10 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2 | . | ug/L | 0.805 | 0.161 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2008 | . | ug/L | 0.91135 | 0.183 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20162930160 | 2016-10-19 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2008 | . | ug/L | 0.88645 | 0.178 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20163420127 | 2016-12-07 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2008 | . | ug/L | 0.92131 | 0.185 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20111260151 | 2011-05-05 08:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.20145 | . | ug/L | 1.0474 | 0.211 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20110340009 | 2011-02-02 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.23189 | . | ug/L | 0.83659 | 0.194 | Recoverable Result | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.23455 | . | ug/L | 0.85694 | 0.201 | Recoverable Result | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2366 | . | ug/L | 0.86221 | 0.204 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2366 | . | ug/L | 0.8115 | 0.192 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2388 | . | ug/L | 0.8459 | 0.202 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2388 | . | ug/L | 0.77052 | 0.184 | Recoverable Result | 4433 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2388 | . | ug/L | 1.0595 | 0.253 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20152670134 | 2015-09-24 09:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.24 | . | ug/L | 0.91667 | 0.22 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20153160002 | 2015-11-10 08:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.24 | . | ug/L | 0.88333 | 0.212 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20152810121 | 2015-10-08 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.2404 | . | ug/L | 0.91098 | 0.219 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20161960001 | 2016-07-13 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.25 | . | ug/L | 0.936 | 0.234 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20162380005 | 2016-08-24 07:15 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.251 | . | ug/L | 0.89243 | 0.224 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20163560020 | 2016-12-21 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.251 | . | ug/L | 0.91633 | 0.23 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20131920148 | 2013-07-11 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.3 | . | ug/L | 0.84 | 0.252 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20112380056 | 2011-08-25 11:10 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.32 | . | ug/L | 1.0906 | 0.349 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20121950066 | 2012-07-12 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.5 | . | ug/L | 1.022 | 0.511 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20122370103 | 2012-08-23 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.5 | . | ug/L | 0.872 | 0.436 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130460007 | 2013-02-14 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.5 | . | ug/L | 0.756 | 0.378 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130870086 | 2013-03-27 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.5 | . | ug/L | 0.83 | 0.415 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20111890007 | 2011-07-07 08:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.5915 | . | ug/L | 0.67456 | 0.399 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.5915 | E | ug/L | 0.54776 | 0.324 | Estimated Values | 4433 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.5915 | . | ug/L | 0.84869 | 0.502 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.59676 | . | ug/L | 1.0825 | 0.646 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.597 | . | ug/L | 1.0318 | 0.616 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.597 | . | ug/L | 0.89782 | 0.536 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.59934 | . | ug/L | 0.91101 | 0.546 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20111390173 | 2011-05-19 08:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.94076 | . | ug/L | 0.83231 | 0.783 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.9464 | . | ug/L | 0.87384 | 0.827 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.9464 | . | ug/L | 0.80938 | 0.766 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 0.9552 | . | ug/L | 1.0155 | 0.97 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl
20122720049 | 2012-09-27 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 1 | . | ug/L | 0.771 | 0.771 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 1 | . | ug/L | 0.759 | 0.759 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20130250062 | 2013-01-24 06:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 1 | . | ug/L | 0.763 | 0.763 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 1 | . | ug/L | 0.89 | 0.89 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20123140092 | 2012-11-08 07:30 | 2-METHYLNAPHTHALENE | 30194GCM99 | 0.04 | 2 | . | ug/L | 0.79 | 1.58 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl