## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2014-09-25 06:30 | 20142720001 | 0.32 | 0.642 | E | 0.168 | ug/L | 0.26168 | B | sgs | bmn | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2014-11-13 07:00 | 20143180046 | 0.32 | 1.2798 | E | 0.192 | ug/L | 0.15002 | B | sgs | bmn | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-08-13 09:00 | 20152250271 | 0.32 | 0.956 | E | 0.186 | ug/L | 0.19456 |  | sgs | bmn | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-10-29 08:30 | 20153030067 | 0.32 | 0.478 | E | 0.066 | ug/L | 0.13808 |  | sgs | bmt | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-04-30 07:30 | 20151210038 | 0.32 | 0.48 | E | 0.13 | ug/L | 0.27083 | B | sgs | bmt | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-01-28 08:00 | 20160280053 | 0.32 | 0.48 | E | 0.113 | ug/L | 0.23542 |  | rcr | bmt | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-09-21 07:30 | 20162660006 | 0.32 | 0.8028 | E | 0.063 | ug/L | 0.078475 | B | sgs | bmt | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-08-24 07:15 | 20162380005 | 0.32 | 2.007 | E | 0.073 | ug/L | 0.036373 | B | sgs | bmt | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-10-19 06:30 | 20162930160 | 0.32 | 1.6056 | E | 0.091 | ug/L | 0.056677 | B | sgs | bmt | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2013-09-25 07:30 | 20132690008 | 0.32 | 0.5 | E | 0.146 | ug/L | 0.292 | B | sgs | bmt | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2013-01-10 07:00 | 20130100068 | 0.32 | 3.92 | E | 0.698 | ug/L | 0.17806 | B | sgs | vmc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-05-18 06:00 | 20161400194 | 0.32 | 0.804 | E | 0.066 | ug/L | 0.08209 | B | sgs | bmt | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-07-27 06:30 | 20162100008 | 0.32 | 1.608 | E | 0.041 | ug/L | 0.025498 | B | sgs | bmt | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-11-09 07:30 | 20163150005 | 0.32 | 0.804 | E | 0.049 | ug/L | 0.060945 | B | sgs | bmt | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-01-29 07:00 | 20150290077 | 0.32 | 1.284 | E | 0.211 | ug/L | 0.16433 | B | sgs | bmn | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2014-06-19 07:00 | 20141710103 | 0.32 | 1.2798 | E | 0.182 | ug/L | 0.14221 | B | sgs | vbm | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2013-11-21 07:00 | 20133260003 | 0.32 | 0.488 | E | 0.135 | ug/L | 0.27664 | B | sgs | bmt | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2013-07-25 07:30 | 20132070037 | 0.32 | 4.94 | E | 0.4 | ug/L | 0.080972 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-09-24 09:00 | 20152670134 | 0.32 | 1.912 | E | 0.358 | ug/L | 0.18724 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-03-24 08:00 | 20160840086 | 0.32 | 0.478 | E | 0.164 | ug/L | 0.3431 | V | rcr | bmn | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-12-03 08:30 | 20153370177 | 0.32 | 0.96 | E | 0.141 | ug/L | 0.14687 |  | sgs | bmt | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-08-07 07:00 | 20122210008 | 0.32 | 0.98 | E | 0.114 | ug/L | 0.11633 | R | jiv | bmt | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-10-30 08:00 | 20123040158 | 0.32 | 0.98 | E | 0.245 | ug/L | 0.25 | B | sgs | bmn | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-06-21 07:00 | 20121730124 | 0.32 | 1.96 | E | 0.467 | ug/L | 0.23827 | R | jiv | mc | 2012-07-29 | Crescent 05BB045: 40 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-03-10 07:30 | 20110690080 | 0.32 | 2.8878 | E | 0.226 | ug/L | 0.07826 | R | jiv | bmn | 2011-04-14 | Crescent 06MM136: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-06-23 08:30 | 20111750002 | 0.32 | 2.88 | E | 0.578 | ug/L | 0.20069 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-08-04 09:30 | 20112170170 | 0.32 | 11.52 | E | 1.65 | ug/L | 0.14323 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-09-01 09:00 | 20112450021 | 0.32 | 2.88 | E | 0.301 | ug/L | 0.10451 | R | jiv | mnc | 2011-11-22 | Crescent 06MM136: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-11-03 07:30 | 20113080004 | 0.32 | 11.52 | E | 0.913 | ug/L | 0.079253 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-01-19 08:00 | 20120200071 | 0.32 | 7.2 | E | 0.8 | ug/L | 0.11111 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-02-16 09:00 | 20120470077 | 0.32 | 2.88 | E | 0.343 | ug/L | 0.1191 | B | sgs | mc | 2012-03-07 | Crescent 06MM136: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-03-08 07:30 | 20120690028 | 0.32 | 7.2 | E | 0.627 | ug/L | 0.087083 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-05-17 07:30 | 20121390007 | 0.32 | 11.52 | E | 1.25 | ug/L | 0.10851 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2014-11-26 07:00 | 20143300047 | 0.32 | 1.284 | E | 0.246 | ug/L | 0.19159 | B | sgs | bmn | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-04-09 06:00 | 20150990066 | 0.32 | 0.642 | E | 0.088 | ug/L | 0.13707 | B | sgs | bmt | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-07-30 09:00 | 20152110199 | 0.32 | 0.956 | E | 0.134 | ug/L | 0.14017 |  | sgs | bmt | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-11-10 08:30 | 20153160002 | 0.32 | 1.912 | E | 0.264 | ug/L | 0.13808 |  | sgs | mnc | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-09-10 09:00 | 20152530087 | 0.32 | 0.478 | E | 0.098 | ug/L | 0.20502 |  | sgs | bmt | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-02-18 08:30 | 20160490032 | 0.32 | 0.478 | E | 0.118 | ug/L | 0.24686 |  | rcr | bmt | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2013-10-17 07:30 | 20132910006 | 0.32 | 0.488 | E | 0.098 | ug/L | 0.20082 | B | sgs | bmt | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2013-05-23 07:30 | 20131440104 | 0.32 | 1.25 | E | 0.27 | ug/L | 0.216 | B | sgs | mnc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2013-03-27 07:00 | 20130870086 | 0.32 | 0.98 | E | 0.248 | ug/L | 0.25306 | B | sgs | bmn | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-08-23 07:30 | 20122370103 | 0.32 | 1 | E | 0.148 | ug/L | 0.148 | R | jiv | bmt | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-05-05 08:30 | 20111260151 | 0.32 | 3.2232 | E | 1.31 | ug/L | 0.40643 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-08-25 11:10 | 20112380056 | 0.32 | 5.12 | E | 2.85 | ug/L | 0.55664 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-12-21 07:00 | 20163560020 | 0.32 | 2.007 | E | 0.101 | ug/L | 0.050324 | B | sgs | bmt | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-06-15 08:00 | 20161680360 | 0.32 | 0.804 | E | 0.043 | ug/L | 0.053483 | B | sgs | vbm | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-08-10 07:00 | 20162230167 | 0.32 | 1.608 | E | 0.035 | ug/L | 0.021766 | B | sgs | bmt | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-11-08 07:30 | 20123140092 | 0.32 | 4 | E | 0.826 | ug/L | 0.2065 | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2013-01-24 06:30 | 20130250062 | 0.32 | 2 | E | 0.37 | ug/L | 0.185 | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2014-01-02 06:15 | 20140030013 | 0.32 | 1.22 | E | 0.291 | ug/L | 0.23852 | B | sgs | mnc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2013-02-28 07:30 | 20130590064 | 0.32 | 4 | E | 0.574 | ug/L | 0.1435 | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2014-05-01 06:30 | 20141220026 | 0.32 | 0.6399 | E | 0.172 | ug/L | 0.26879 | B | sgs | bmn | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2014-06-12 06:30 | 20141640077 | 0.32 | 0.6399 | E | 0.17 | ug/L | 0.26567 | B | sgs | bmn | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-03-26 06:00 | 20150850162 | 0.32 | 0.6399 | E | 0.068 | ug/L | 0.10627 | B | sgs | vbm | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2014-05-16 06:30 | 20141360095 | 0.32 | 1.2798 | E | 0.23 | ug/L | 0.17972 | B | sgs | bmn | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2014-10-02 07:00 | 20142760025 | 0.32 | 1.2798 | E | 0.24 | ug/L | 0.18753 | B | sgs | bmn | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-10-08 08:00 | 20152810121 | 0.32 | 1.92 | E | 0.234 | ug/L | 0.12187 |  | sgs | bmn | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-04-07 06:30 | 20160980150 | 0.32 | 0.48 | E | 0.08 | ug/L | 0.16667 | B | sgs | bmt | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-05-21 06:30 | 20151410210 | 0.32 | 0.48 | E | 0.142 | ug/L | 0.29583 | B | sgs | bmt | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-06-25 06:30 | 20151760207 | 0.32 | 0.48 | E | 0.064 | ug/L | 0.13333 |  | sgs | bmt | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2015-12-17 08:00 | 20153510110 | 0.32 | 0.96 | E | 0.204 | ug/L | 0.2125 |  | sgs | bmn | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-09-14 06:30 | 20162580142 | 0.32 | 1.6056 | E | 0.118 | ug/L | 0.073493 | B | sgs | bmt | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2016-07-13 08:00 | 20161960001 | 0.32 | 2.01 | E | 0.036 | ug/L | 0.01791 | B | sgs | bmt | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-03-31 08:30 | 20110910083 | 0.32 | 2.9591 | E | 0.334 | ug/L | 0.11287 | R | jiv | mc | 2011-04-26 | Supelco LB77171: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-06-02 09:00 | 20111540005 | 0.32 | 11.746 | E | 3.48 | ug/L | 0.29627 | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-07-14 09:30 | 20111960036 | 0.32 | 11.84 | E | 0.738 | ug/L | 0.062331 | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-08-18 08:50 | 20112310029 | 0.32 | 2.96 | E | 0.266 | ug/L | 0.089865 | B | sgs | mnc | 2011-10-04 | Supelco LB77171: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-09-15 08:30 | 20112590002 | 0.32 | 7.4 | E | 0.514 | ug/L | 0.069459 | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2011-12-15 08:30 | 20113500022 | 0.32 | 2.96 | E | 0.535 | ug/L | 0.18074 | B | sgs | mc | 2012-03-01 | Supelco LB77171: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-05-03 07:00 | 20121250043 | 0.32 | 2.96 | E | 0.474 | ug/L | 0.16014 | Y | awh | mc | 2012-07-26 | Supelco LB77171: 20 µl
4433 | 3,4-DICHLOROPHENYL ISOCYANATE | 63145GCM99 | 2012-06-07 08:00 | 20121600155 | 0.32 | 1 | E | 0.242 | ug/L | 0.242 | R | jiv | bmn | 2012-07-28 | Supelco LB92782: 20 µl