## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820002 | 2016-06-29 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20160980150 | 2016-04-07 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.394 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20132210039 | 2013-08-08 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.512 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20162860080 | 2016-10-12 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.996 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20111260151 | 2011-05-05 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 1.6116 | E | ug/L | 0.44118 | 0.711 | Estimated Values | 4433 | B | sgs | mtc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20122210008 | 2012-08-07 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 1.98 | E | ug/L | 0.57576 | 1.14 | Estimated Values | 4433 | R | jiv | mnc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 1.98 | E | ug/L | 0.75253 | 1.49 | Estimated Values | 4433 | B | sgs | mnc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20130870086 | 2013-03-27 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 1.98 | E | ug/L | 0.36414 | 0.721 | Estimated Values | 4433 | B | sgs | mtc | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20121600155 | 2012-06-07 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2 | E | ug/L | 0.555 | 1.11 | Estimated Values | 4433 | R | jiv | mnc | 2012-07-28 | Supelco LB92782: 20 µl
20122370103 | 2012-08-23 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2 | E | ug/L | 0.84 | 1.68 | Estimated Values | 4433 | R | jiv | mc | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20151970168 | 2015-07-16 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.394 | E | ug/L | 0.72682 | 1.74 | Estimated Values | 4433 |  | sgs | mc | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.394 | E | ug/L | 0.36383 | 0.871 | Estimated Values | 4433 |  | sgs | mnc | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.4 | E | ug/L | 0.38417 | 0.922 | Estimated Values | 4433 |  | sgs | mnc | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20152530087 | 2015-09-10 09:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.4 | E | ug/L | 0.60417 | 1.45 | Estimated Values | 4433 |  | sgs | mnc | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20152950079 | 2015-10-22 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.4 | E | ug/L | 0.28708 | 0.689 | Estimated Values | 4433 |  | sgs | mtc | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.4 | E | ug/L | 0.65417 | 1.57 | Estimated Values | 4433 |  | rcr | mnc | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160490032 | 2016-02-18 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.4 | E | ug/L | 0.3925 | 0.942 | Estimated Values | 4433 |  | rcr | mnc | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20112380056 | 2011-08-25 11:10 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.56 | E | ug/L | 0.42188 | 1.08 | Estimated Values | 4433 | E | jiv | mnc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20111750002 | 2011-06-23 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.92 | E | ug/L | 0.63014 | 1.84 | Estimated Values | 4433 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.92 | E | ug/L | 0.50685 | 1.48 | Estimated Values | 4433 | R | jiv | mnc | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.92 | E | ug/L | 0.41438 | 1.21 | Estimated Values | 4433 | B | sgs | mnc | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.9279 | E | ug/L | 0.9085 | 2.66 | Estimated Values | 4433 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.9711 | E | ug/L | 0.52842 | 1.57 | Estimated Values | 4433 | R | jiv | mnc | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.972 | E | ug/L | 0.37012 | 1.1 | Estimated Values | 4433 | B | sgs | mnc | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.972 | E | ug/L | 0.60565 | 1.8 | Estimated Values | 4433 | B | sgs | mc | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 2.972 | E | ug/L | 0.51817 | 1.54 | Estimated Values | 4433 | Y | awh | mnc | 2012-07-26 | Supelco LB77171: 20 µl
20141010007 | 2014-04-10 06:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.21 | E | ug/L | 0.15888 | 0.51 | Estimated Values | 4433 | B | sgs | mtc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.21 | E | ug/L | 0.31028 | 0.996 | Estimated Values | 4433 | B | sgs | mnc | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.21 | E | ug/L | 0.35826 | 1.15 | Estimated Values | 4433 | B | sgs | mnc | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.21 | E | ug/L | 0.36137 | 1.16 | Estimated Values | 4433 | B | sgs | mnc | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20141990081 | 2014-07-17 06:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.21 | E | ug/L | 0.36137 | 1.16 | Estimated Values | 4433 | B | sgs | mnc | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142130131 | 2014-07-31 06:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.21 | E | ug/L | 0.3676 | 1.18 | Estimated Values | 4433 | B | sgs | mnc | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142340162 | 2014-08-18 06:45 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.21 | E | ug/L | 0.49844 | 1.6 | Estimated Values | 4433 | B | sgs | mc | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20142720001 | 2014-09-25 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.21 | E | ug/L | 0.32399 | 1.04 | Estimated Values | 4433 | B | sgs | mnc | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20150850162 | 2015-03-26 06:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.21 | E | ug/L | 0.56698 | 1.82 | Estimated Values | 4433 | B | sgs | mc | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20150990066 | 2015-04-09 06:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.21 | E | ug/L | 1.1713 | 3.76 | Estimated Values | 4433 | B | sgs | mc | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20132910006 | 2013-10-17 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.46 | E | ug/L | 0.50867 | 1.76 | Estimated Values | 4433 | B | sgs | mc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20133260003 | 2013-11-21 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.46 | E | ug/L | 0.50578 | 1.75 | Estimated Values | 4433 | B | sgs | mc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.46 | E | ug/L | 0.63006 | 2.18 | Estimated Values | 4433 | B | sgs | mc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.46 | E | ug/L | 0.29769 | 1.03 | Estimated Values | 4433 | B | sgs | mnc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20132690008 | 2013-09-25 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.512 | E | ug/L | 0.48121 | 1.69 | Estimated Values | 4433 | B | sgs | mc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140300033 | 2014-01-30 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.512 | E | ug/L | 0.44134 | 1.55 | Estimated Values | 4433 | B | sgs | mnc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140930054 | 2014-04-03 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.512 | E | ug/L | 0.50114 | 1.76 | Estimated Values | 4433 | B | sgs | mc | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20121730124 | 2012-06-21 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.96 | E | ug/L | 0.82828 | 3.28 | Estimated Values | 4433 | R | jiv | mc | 2012-07-29 | Crescent 05BB045: 40 µl
20161600088 | 2016-06-08 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.996 | E | ug/L | 0.25776 | 1.03 | Estimated Values | 4433 | B | sgs | vmn | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.996 | E | ug/L | 0.60561 | 2.42 | Estimated Values | 4433 | B | sgs | mc | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162150212 | 2016-08-02 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.996 | E | ug/L | 0.64565 | 2.58 | Estimated Values | 4433 | B | sgs | @mc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.996 | E | ug/L | 0.39039 | 1.56 | Estimated Values | 4433 | B | sgs | mnc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163500003 | 2016-12-14 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 3.996 | E | ug/L | 0.44545 | 1.78 | Estimated Values | 4433 | B | sgs | mc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20130250062 | 2013-01-24 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 4 | E | ug/L | 0.57 | 2.28 | Estimated Values | 4433 | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20161880110 | 2016-07-06 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 4 | E | ug/L | 0.72 | 2.88 | Estimated Values | 4433 | B | sgs | mc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20163070096 | 2016-11-02 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 4 | E | ug/L | 0.244 | 0.976 | Estimated Values | 4433 | B | sgs | vmn | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 4 | E | ug/L | 0.4425 | 1.77 | Estimated Values | 4433 | B | sgs | mc | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20152110199 | 2015-07-30 09:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 4.788 | E | ug/L | 0.63074 | 3.02 | Estimated Values | 4433 |  | sgs | mc | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153280156 | 2015-11-24 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 4.788 | E | ug/L | 0.61612 | 2.95 | Estimated Values | 4433 |  | sgs | mc | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 4.788 | E | ug/L | 0.67669 | 3.24 | Estimated Values | 4433 | V | rcr | mc | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 4.788 | E | ug/L | 0.74144 | 3.55 | Estimated Values | 4433 | B | sgs | mc | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20151620180 | 2015-06-11 06:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 4.8 | E | ug/L | 0.52292 | 2.51 | Estimated Values | 4433 | B | sgs | mc | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153510110 | 2015-12-17 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 4.8 | E | ug/L | 0.3375 | 1.62 | Estimated Values | 4433 |  | sgs | mc | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20141360095 | 2014-05-16 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 6.42 | E | ug/L | 0.39564 | 2.54 | Estimated Values | 4433 | B | sgs | mc | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141710103 | 2014-06-19 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 6.42 | E | ug/L | 0.40031 | 2.57 | Estimated Values | 4433 | B | sgs | mc | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20142470040 | 2014-09-03 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 6.42 | E | ug/L | 0.52648 | 3.38 | Estimated Values | 4433 | B | sgs | mc | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 6.42 | E | ug/L | 0.73364 | 4.71 | Estimated Values | 4433 | B | sgs | mc | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20143180046 | 2014-11-13 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 6.42 | E | ug/L | 0.67913 | 4.36 | Estimated Values | 4433 | B | sgs | mc | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20143300047 | 2014-11-26 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 6.42 | E | ug/L | 1.0265 | 6.59 | Estimated Values | 4433 | B | sgs | mc | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20150290077 | 2015-01-29 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 6.42 | E | ug/L | 0.5919 | 3.8 | Estimated Values | 4433 | B | sgs | mc | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20120200071 | 2012-01-19 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 7.3 | E | ug/L | 0.7274 | 5.31 | Estimated Values | 4433 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 7.3 | E | ug/L | 0.70959 | 5.18 | Estimated Values | 4433 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 7.43 | E | ug/L | 0.25976 | 1.93 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
20130100068 | 2013-01-10 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 7.92 | E | ug/L | 0.61237 | 4.85 | Estimated Values | 4433 | B | sgs | mc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20162230167 | 2016-08-10 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 7.992 | E | ug/L | 0.56807 | 4.54 | Estimated Values | 4433 | B | sgs | mc | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20123140092 | 2012-11-08 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 8 | E | ug/L | 0.415 | 3.32 | Estimated Values | 4433 | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20130590064 | 2013-02-28 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 8 | E | ug/L | 0.3475 | 2.78 | Estimated Values | 4433 | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20162580142 | 2016-09-14 06:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 8 | E | ug/L | 0.63125 | 5.05 | Estimated Values | 4433 | B | sgs | mc | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20163280007 | 2016-11-21 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 8 | E | ug/L | 0.56875 | 4.55 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20162990149 | 2016-10-25 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 8 | E | ug/L | 0.39625 | 3.17 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20140030013 | 2014-01-02 06:15 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 8.65 | E | ug/L | 0.76301 | 6.6 | Estimated Values | 4433 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20131440104 | 2013-05-23 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 8.78 | E | ug/L | 0.93622 | 8.22 | Estimated Values | 4433 | B | sgs | mc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20152810121 | 2015-10-08 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 9.576 | E | ug/L | 0.68087 | 6.52 | Estimated Values | 4433 |  | sgs | mc | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 9.576 | E | ug/L | 0.66103 | 6.33 | Estimated Values | 4433 |  | sgs | mc | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20160140040 | 2016-01-14 08:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 9.6 | E | ug/L | 0.67188 | 6.45 | Estimated Values | 4433 |  | rcr | mc | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20163560020 | 2016-12-21 07:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 9.99 | E | ug/L | 0.40641 | 4.06 | Estimated Values | 4433 | B | sgs | mc | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20161960001 | 2016-07-13 08:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 10 | E | ug/L | 0.438 | 4.38 | Estimated Values | 4433 | B | sgs | mc | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20112170170 | 2011-08-04 09:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 11.68 | E | ug/L | 0.65668 | 7.67 | Estimated Values | 4433 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 11.68 | E | ug/L | 0.3399 | 3.97 | Estimated Values | 4433 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 11.68 | E | ug/L | 0.54966 | 6.42 | Estimated Values | 4433 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
20111540005 | 2011-06-02 09:00 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 11.7936 | E | ug/L | 0.79026 | 9.32 | Estimated Values | 4433 | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 11.888 | E | ug/L | 0.5148 | 6.12 | Estimated Values | 4433 | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl
20132070037 | 2013-07-25 07:30 | 3-BETA-COPROSTANOL | 62806GCM99 | 1.6 | 34.86 | E | ug/L | 0.27998 | 9.76 | Estimated Values | 4433 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl