## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.074 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151210038 | 2015-04-30 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.06 | . | ug/L | 1.6667 | 0.1 | Recoverable Result | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.06 | . | ug/L | 1.25 | 0.075 | Recoverable Result | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151970168 | 2015-07-16 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.06 | . | ug/L | 1.2667 | 0.076 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.06 | . | ug/L | 0.98333 | 0.059 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20153030067 | 2015-10-29 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.06 | . | ug/L | 1.0833 | 0.065 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20152950079 | 2015-10-22 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.06 | . | ug/L | 1.0333 | 0.062 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.06 | E | ug/L | 0.98333 | 0.059 | Estimated Values | 4433 |  | rcr | v | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160280053 | 2016-01-28 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.06 | . | ug/L | 0.9 | 0.054 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160840086 | 2016-03-24 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.06 | . | ug/L | 0.88333 | 0.053 | Recoverable Result | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20132560002 | 2013-09-12 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.074 | . | ug/L | 1.0135 | 0.075 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133110109 | 2013-11-07 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.074 | . | ug/L | 0.94595 | 0.07 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20132910006 | 2013-10-17 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.074 | . | ug/L | 0.93243 | 0.069 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140160088 | 2014-01-16 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.074 | . | ug/L | 0.77027 | 0.057 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.074 | . | ug/L | 0.71622 | 0.053 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.074 | . | ug/L | 0.83784 | 0.062 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140930054 | 2014-04-03 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.074 | . | ug/L | 0.74324 | 0.055 | Recoverable Result | 4433 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20141770150 | 2014-06-26 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.0801 | . | ug/L | 0.93633 | 0.075 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20141990081 | 2014-07-17 06:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.0801 | . | ug/L | 1.1236 | 0.09 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142130131 | 2014-07-31 06:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.0801 | . | ug/L | 0.86142 | 0.069 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142340162 | 2014-08-18 06:45 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.0801 | . | ug/L | 1.236 | 0.099 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20142720001 | 2014-09-25 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.0801 | . | ug/L | 1.1236 | 0.09 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20150990066 | 2015-04-09 06:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.0801 | . | ug/L | 1.211 | 0.097 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20141010007 | 2014-04-10 06:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.08025 | E | ug/L | 0.54829 | 0.044 | Estimated Values | 4433 | B | sgs |  | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.08025 | . | ug/L | 0.7352 | 0.059 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.08025 | . | ug/L | 0.85981 | 0.069 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20150850162 | 2015-03-26 06:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.08025 | . | ug/L | 0.88474 | 0.071 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20161400194 | 2016-05-18 06:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1 | . | ug/L | 0.97 | 0.097 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1 | . | ug/L | 1.11 | 0.111 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20163150005 | 2016-11-09 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1 | . | ug/L | 0.79 | 0.079 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20162660006 | 2016-09-21 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1004 | . | ug/L | 1.0159 | 0.102 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20162860080 | 2016-10-12 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1004 | E | ug/L | 0.43825 | 0.044 | Estimated Values | 4433 | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163070096 | 2016-11-02 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1004 | . | ug/L | 0.96614 | 0.097 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1004 | . | ug/L | 1.0757 | 0.108 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20151620180 | 2015-06-11 06:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.12 | . | ug/L | 1.3833 | 0.166 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20152250271 | 2015-08-13 09:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.12 | . | ug/L | 0.7 | 0.084 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153370177 | 2015-12-03 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.12 | . | ug/L | 0.81667 | 0.098 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153280156 | 2015-11-24 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.12 | . | ug/L | 0.85833 | 0.103 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.12 | . | ug/L | 0.89167 | 0.107 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.12 | . | ug/L | 0.70833 | 0.085 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20142470040 | 2014-09-03 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1602 | . | ug/L | 0.9613 | 0.154 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20143300047 | 2014-11-26 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1602 | . | ug/L | 0.60549 | 0.097 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20150290077 | 2015-01-29 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1602 | . | ug/L | 0.93009 | 0.149 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141360095 | 2014-05-16 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1605 | E | ug/L | 0.17445 | 0.028 | Estimated Values | 4433 | B | sgs | nc | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141710103 | 2014-06-19 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1605 | . | ug/L | 0.90966 | 0.146 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20142760025 | 2014-10-02 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1605 | . | ug/L | 0.8785 | 0.141 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20143180046 | 2014-11-13 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.1605 | . | ug/L | 1.19 | 0.191 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20131290118 | 2013-05-09 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.185 | . | ug/L | 0.95135 | 0.176 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.185 | . | ug/L | 1.1135 | 0.206 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20140030013 | 2014-01-02 06:15 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.185 | . | ug/L | 0.97297 | 0.18 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20162100008 | 2016-07-27 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.2 | . | ug/L | 1.01 | 0.202 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20162230167 | 2016-08-10 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.2 | . | ug/L | 0.68 | 0.136 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.2008 | . | ug/L | 0.83665 | 0.168 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20162930160 | 2016-10-19 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.2008 | . | ug/L | 1.0259 | 0.206 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20163420127 | 2016-12-07 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.2008 | . | ug/L | 1.1803 | 0.237 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20111260151 | 2011-05-05 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.20145 | . | ug/L | 1.2708 | 0.256 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20152670134 | 2015-09-24 09:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.24 | . | ug/L | 1.1208 | 0.269 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20160140040 | 2016-01-14 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.24 | . | ug/L | 0.90417 | 0.217 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20110340009 | 2011-02-02 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.24267 | . | ug/L | 0.93953 | 0.228 | Recoverable Result | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.24477 | . | ug/L | 0.89472 | 0.219 | Recoverable Result | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.2476 | . | ug/L | 0.84814 | 0.21 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.2476 | . | ug/L | 0.8441 | 0.209 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.2492 | . | ug/L | 0.89888 | 0.224 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.2492 | E | ug/L | 0.80257 | 0.2 | Estimated Values | 4433 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.2492 | . | ug/L | 0.96308 | 0.24 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20161960001 | 2016-07-13 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.25 | . | ug/L | 0.888 | 0.222 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20162380005 | 2016-08-24 07:15 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.251 | . | ug/L | 0.91235 | 0.229 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20163560020 | 2016-12-21 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.251 | . | ug/L | 1.1235 | 0.282 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20112380056 | 2011-08-25 11:10 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.32 | . | ug/L | 1.1062 | 0.354 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20131920148 | 2013-07-11 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.37 | . | ug/L | 0.52162 | 0.193 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20121950066 | 2012-07-12 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.5 | . | ug/L | 0.916 | 0.458 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20122370103 | 2012-08-23 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.5 | . | ug/L | 0.986 | 0.493 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130460007 | 2013-02-14 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.5 | . | ug/L | 0.72 | 0.36 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130870086 | 2013-03-27 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.5 | . | ug/L | 0.802 | 0.401 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20111890007 | 2011-07-07 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.619 | . | ug/L | 0.71082 | 0.44 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.619 | E | ug/L | 0.47819 | 0.296 | Estimated Values | 4433 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.619 | . | ug/L | 0.93861 | 0.581 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.62275 | . | ug/L | 0.99879 | 0.622 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.623 | . | ug/L | 1.0465 | 0.652 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.623 | . | ug/L | 0.96148 | 0.599 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.62544 | . | ug/L | 0.87459 | 0.547 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20111390173 | 2011-05-19 08:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.98449 | . | ug/L | 0.77299 | 0.761 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.9904 | . | ug/L | 0.81583 | 0.808 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.9904 | . | ug/L | 0.73809 | 0.731 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 0.9968 | . | ug/L | 0.94101 | 0.938 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl
20122720049 | 2012-09-27 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 1 | . | ug/L | 0.72 | 0.72 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 1 | . | ug/L | 0.71 | 0.71 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20130250062 | 2013-01-24 06:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 1 | . | ug/L | 0.658 | 0.658 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 1 | . | ug/L | 0.724 | 0.724 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20123140092 | 2012-11-08 07:30 | 4-CUMYLPHENOL | 62808GCM99 | 0.04 | 2 | . | ug/L | 0.755 | 1.51 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl