## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2016-09-21 07:30 | 20162660006 | 1.6 | 4.0192 | E | 0.93 | ug/L | 0.23139 | B | sgs | mnc | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2016-12-07 07:30 | 20163420127 | 1.6 | 8.0384 | E | 2.35 | ug/L | 0.29235 | B | sgs | mc | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2016-08-24 07:15 | 20162380005 | 1.6 | 10.048 | E | 2.7 | ug/L | 0.26871 | B | sgs | mc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2016-10-19 06:30 | 20162930160 | 1.6 | 8.0384 | E | 1.89 | ug/L | 0.23512 | B | sgs | mc | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2013-01-10 07:00 | 20130100068 | 1.6 | 8 | E | 2 | ug/L | 0.25 | B | sgs | vmc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2013-11-21 07:00 | 20133260003 | 1.6 | 3 | E | 0.98 | ug/L | 0.32667 | B | sgs | mnc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2014-03-27 07:00 | 20140860103 | 1.6 | 3 | E | 0.84 | ug/L | 0.28 | B | sgs | mnc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2013-07-25 07:30 | 20132070037 | 1.6 | 15 | E | 2.54 | ug/L | 0.16933 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2015-09-24 09:00 | 20152670134 | 1.6 | 9.6 | E | 0.57 | ug/L | 0.059375 |  | sgs | mtc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2012-08-07 07:00 | 20122210008 | 1.6 | 2 | E | 0.51 | ug/L | 0.255 | R | jiv | mtc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2012-10-30 08:00 | 20123040158 | 1.6 | 2 | E | 0.78 | ug/L | 0.39 | B | sgs | mtc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2012-06-21 07:00 | 20121730124 | 1.6 | 4 | E | 1.49 | ug/L | 0.3725 | R | jiv | mnc | 2012-07-29 | Crescent 05BB045: 40 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2011-03-10 07:30 | 20110690080 | 1.6 | 4.9734 | E | 2.22 | ug/L | 0.44637 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2011-06-23 08:30 | 20111750002 | 1.6 | 4.96 | E | 1.26 | ug/L | 0.25403 | B | sgs | mnc | 2011-07-07 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2011-08-04 09:30 | 20112170170 | 1.6 | 19.84 | E | 6.21 | ug/L | 0.313 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2011-09-01 09:00 | 20112450021 | 1.6 | 4.96 | E | 1.16 | ug/L | 0.23387 | R | jiv | mnc | 2011-11-22 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2011-11-03 07:30 | 20113080004 | 1.6 | 19.84 | E | 5.66 | ug/L | 0.28528 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2012-01-19 08:00 | 20120200071 | 1.6 | 12.4 | E | 3.68 | ug/L | 0.29677 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2012-02-16 09:00 | 20120470077 | 1.6 | 4.96 | E | 1.57 | ug/L | 0.31653 | B | sgs | mnc | 2012-03-07 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2012-03-08 07:30 | 20120690028 | 1.6 | 12.4 | E | 4.11 | ug/L | 0.33145 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2012-05-17 07:30 | 20121390007 | 1.6 | 19.84 | E | 5.59 | ug/L | 0.28175 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2013-10-17 07:30 | 20132910006 | 1.6 | 3 | E | 0.73 | ug/L | 0.24333 | B | sgs | mtc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2014-02-06 07:30 | 20140370076 | 1.6 | 3 | E | 0.69 | ug/L | 0.23 | B | sgs | mtc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2013-03-27 07:00 | 20130870086 | 1.6 | 2 | E | 0.65 | ug/L | 0.325 | B | sgs | mtc | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2011-05-05 08:30 | 20111260151 | 1.6 | 3.2232 | E | 3.67 | ug/L | 1.1386 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2011-08-25 11:10 | 20112380056 | 1.6 | 5.12 | E | 5.26 | ug/L | 1.0273 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2016-10-12 07:30 | 20162860080 | 1.6 | 4.0192 | E | 0.69 | ug/L | 0.17168 | B | sgs | vmt | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2016-12-21 07:00 | 20163560020 | 1.6 | 10.048 | E | 2.91 | ug/L | 0.28961 | B | sgs | mc | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2014-01-02 06:15 | 20140030013 | 1.6 | 7.5 | E | 1.92 | ug/L | 0.256 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2016-09-14 06:30 | 20162580142 | 1.6 | 8.0384 | E | 2.03 | ug/L | 0.25254 | B | sgs | mc | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2016-11-02 07:00 | 20163070096 | 1.6 | 4.0192 | E | 0.9 | ug/L | 0.22393 | B | sgs | vmn | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | 4-NONYLPHENOL DIETHOXYLATE, TOTAL (NPEO2) | 61703GCM99 | 2016-11-30 07:00 | 20163370002 | 1.6 | 4.0192 | E | 1.03 | ug/L | 0.25627 | B | sgs | vmn | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl