## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-11-21 07:00 | 20133260003 | 1.6 | 2.76 | E | 3.02 | ug/L | 1.0942 | B | sgs | mc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2014-03-27 07:00 | 20140860103 | 1.6 | 2.76 | E | 2.66 | ug/L | 0.96377 | B | sgs | mc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-07-25 07:30 | 20132070037 | 1.6 | 13.8 | E | 11.8 | ug/L | 0.85507 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2015-12-03 08:30 | 20153370177 | 1.6 | 4.72 | E | 4.78 | ug/L | 1.0127 |  | sgs | mc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-03-10 07:30 | 20110690080 | 1.6 | 2.3062 | E | 4.39 | ug/L | 1.9035 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-06-23 08:30 | 20111750002 | 1.6 | 2.3 | E | 3.23 | ug/L | 1.4043 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-08-04 09:30 | 20112170170 | 1.6 | 9.2 | E | 15.1 | ug/L | 1.6413 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-09-01 09:00 | 20112450021 | 1.6 | 2.3 | E | 3.41 | ug/L | 1.4826 | R | jiv | mc | 2011-11-22 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-11-03 07:30 | 20113080004 | 1.6 | 9.2 | E | 13.7 | ug/L | 1.4891 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-01-19 08:00 | 20120200071 | 1.6 | 5.75 | E | 8.38 | ug/L | 1.4574 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-02-16 09:00 | 20120470077 | 1.6 | 2.3 | E | 3.73 | ug/L | 1.6217 | B | sgs | mc | 2012-03-07 | Crescent 06MM136: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-03-08 07:30 | 20120690028 | 1.6 | 5.75 | E | 7.81 | ug/L | 1.3583 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2012-05-17 07:30 | 20121390007 | 1.6 | 9.2 | E | 13.9 | ug/L | 1.5109 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2013-10-17 07:30 | 20132910006 | 1.6 | 2.76 | E | 2.43 | ug/L | 0.88043 | B | sgs | mc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2014-02-06 07:30 | 20140370076 | 1.6 | 2.76 | E | 2.38 | ug/L | 0.86232 | B | sgs | mc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-05-05 08:30 | 20111260151 | 1.6 | 1.6116 | E | 2.14 | ug/L | 1.3279 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2011-08-25 11:10 | 20112380056 | 1.6 | 2.56 | E | 2.92 | ug/L | 1.1406 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2014-01-02 06:15 | 20140030013 | 1.6 | 6.9 | E | 7.94 | ug/L | 1.1507 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
4433 | 4-NONYLPHENOL MONOETHOXYLATE, TOTAL (NPEO1) | 61704GCM99 | 2015-05-21 06:30 | 20151410210 | 1.6 | 2.36 | E | 2.5 | ug/L | 1.0593 | B | sgs | mc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl