## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2015-08-13 09:00 | 20152250271 | 0.2 | 0.596 | E | 0.65 | ug/L | 1.0906 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2015-10-29 08:30 | 20153030067 | 0.2 | 0.298 | E | 0.49 | ug/L | 1.6443 |  | sgs | mc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-09-21 07:30 | 20162660006 | 0.2 | 0.5 | E | 0.12 | ug/L | 0.24 | B | sgs | mnc | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-12-07 07:30 | 20163420127 | 0.2 | 1 | E | 0.27 | ug/L | 0.27 | B | sgs | mc | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-08-24 07:15 | 20162380005 | 0.2 | 1.25 | E | 1.38 | ug/L | 1.104 | B | sgs | mc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-10-19 06:30 | 20162930160 | 0.2 | 1 | E | 1 | ug/L | 1 | B | sgs | mc | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2013-01-10 07:00 | 20130100068 | 0.2 | 1.2 | E | 0.22 | ug/L | 0.18333 | B | sgs | mc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-07-27 06:30 | 20162100008 | 0.2 | 1 | E | 0.25 | ug/L | 0.25 | B | sgs | vmc | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-11-09 07:30 | 20163150005 | 0.2 | 0.5 | E | 0.52 | ug/L | 1.04 | B | sgs | mc | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-11-21 08:00 | 20163280007 | 0.2 | 1 | E | 0.17 | ug/L | 0.17 | B | sgs | vmn | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2013-11-21 07:00 | 20133260003 | 0.2 | 0.4 | E | 0.09 | ug/L | 0.225 | B | sgs | mtc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2014-03-27 07:00 | 20140860103 | 0.2 | 0.4 | E | 0.09 | ug/L | 0.225 | B | sgs | mtc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2013-07-25 07:30 | 20132070037 | 0.2 | 2 | E | 0.3 | ug/L | 0.15 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2015-09-24 09:00 | 20152670134 | 0.2 | 1.192 | E | 1.67 | ug/L | 1.401 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-03-24 08:00 | 20160840086 | 0.2 | 0.298 | E | 0.36 | ug/L | 1.2081 | V | rcr | vmc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2012-08-07 07:00 | 20122210008 | 0.2 | 0.3 | E | 0.05 | ug/L | 0.16667 | R | jiv | mtc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2012-10-30 08:00 | 20123040158 | 0.2 | 0.3 | E | 0.09 | ug/L | 0.3 | B | sgs | mtc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2012-06-21 07:00 | 20121730124 | 0.2 | 0.6 | E | 0.2 | ug/L | 0.33333 | R | jiv | mnc | 2012-07-29 | Crescent 05BB045: 40 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2011-03-10 07:30 | 20110690080 | 0.2 | 0.79414 | E | 0.27 | ug/L | 0.33999 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2011-06-23 08:30 | 20111750002 | 0.2 | 0.792 | E | 0.17 | ug/L | 0.21465 | B | sgs | mnc | 2011-07-07 | Crescent 06MM136: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2011-08-04 09:30 | 20112170170 | 0.2 | 3.168 | E | 0.89 | ug/L | 0.28093 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2011-09-01 09:00 | 20112450021 | 0.2 | 0.792 | E | 0.16 | ug/L | 0.20202 | R | jiv | mnc | 2011-11-22 | Crescent 06MM136: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2011-11-03 07:30 | 20113080004 | 0.2 | 3.168 | E | 0.96 | ug/L | 0.30303 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2012-01-19 08:00 | 20120200071 | 0.2 | 1.98 | E | 0.34 | ug/L | 0.17172 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2012-02-16 09:00 | 20120470077 | 0.2 | 0.792 | E | 0.13 | ug/L | 0.16414 | B | sgs | mnc | 2012-03-07 | Crescent 06MM136: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2012-05-17 07:30 | 20121390007 | 0.2 | 3.168 | E | 0.7 | ug/L | 0.22096 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2015-07-30 09:00 | 20152110199 | 0.2 | 0.596 | E | 0.69 | ug/L | 1.1577 |  | sgs | mc | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2015-11-10 08:30 | 20153160002 | 0.2 | 1.192 | E | 1.21 | ug/L | 1.0151 |  | sgs | mc | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2015-09-10 09:00 | 20152530087 | 0.2 | 0.298 | E | 0.28 | ug/L | 0.9396 |  | sgs | mc | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-02-18 08:30 | 20160490032 | 0.2 | 0.298 | E | 0.56 | ug/L | 1.8792 |  | rcr | vmc | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-08-31 07:00 | 20162440114 | 0.2 | 0.5 | E | 0.52 | ug/L | 1.04 | B | sgs | mc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-12-14 08:00 | 20163500003 | 0.2 | 0.5 | E | 0.47 | ug/L | 0.94 | B | sgs | mc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-07-06 07:00 | 20161880110 | 0.2 | 0.5 | E | 0.59 | ug/L | 1.18 | B | sgs | vmc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2016-10-25 07:00 | 20162990149 | 0.2 | 1 | E | 0.96 | ug/L | 0.96 | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2014-02-06 07:30 | 20140370076 | 0.2 | 0.4 | E | 0.08 | ug/L | 0.2 | B | sgs | mtc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | 4-TERT-OCTYLPHENOL DIETHOXYLATES, TOTAL (OPEO2) | 62486GCM99 | 2014-01-02 06:15 | 20140030013 | 0.2 | 1 | E | 0.21 | ug/L | 0.21 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl