## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20153030067 | 2015-10-29 08:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.48 | < | ug/L |  |  | False Negative | 4433 |  | sgs | mc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160840086 | 2016-03-24 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.48 | < | ug/L |  |  | False Negative | 4433 | V | rcr | mc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20160980150 | 2016-04-07 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.482 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20140860103 | 2014-03-27 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.572 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.572 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20132210039 | 2013-08-08 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.5816 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20140300033 | 2014-01-30 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.5816 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140930054 | 2014-04-03 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.5816 | U | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20150850162 | 2015-03-26 06:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.6417 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20162660006 | 2016-09-21 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.802 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20162860080 | 2016-10-12 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.802 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.802 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20161820002 | 2016-06-29 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.804 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163150005 | 2016-11-09 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.804 | U | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20152250271 | 2015-08-13 09:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.96 | < | ug/L |  |  | False Negative | 4433 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20122210008 | 2012-08-07 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1 | < | ug/L |  |  | False Negative | 4433 | R | jiv | mc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20163560020 | 2016-12-21 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.005 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20152530087 | 2015-09-10 09:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.48 | E | ug/L | 0.50417 | 0.242 | Estimated Values | 4433 |  | sgs | mnc | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20160490032 | 2016-02-18 08:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.48 | E | ug/L | 0.15417 | 0.074 | Estimated Values | 4433 |  | rcr | bmt | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20151210038 | 2015-04-30 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.482 | E | ug/L | 0.44813 | 0.216 | Estimated Values | 4433 | B | sgs | mnc | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.482 | E | ug/L | 0.32573 | 0.157 | Estimated Values | 4433 | B | sgs | mtc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.482 | E | ug/L | 0.70332 | 0.339 | Estimated Values | 4433 |  | sgs | mc | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20160280053 | 2016-01-28 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.482 | E | ug/L | 0.35685 | 0.172 | Estimated Values | 4433 |  | rcr | mnc | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20132910006 | 2013-10-17 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.572 | E | ug/L | 0.65559 | 0.375 | Estimated Values | 4433 | B | sgs | mc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20133260003 | 2013-11-21 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.572 | E | ug/L | 0.31643 | 0.181 | Estimated Values | 4433 | B | sgs | mnc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20132690008 | 2013-09-25 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.5816 | E | ug/L | 0.59835 | 0.348 | Estimated Values | 4433 | B | sgs | mc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20142130131 | 2014-07-31 06:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.63 | E | ug/L | 0.4 | 0.252 | Estimated Values | 4433 | B | sgs | mnc | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142270002 | 2014-08-14 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.63 | E | ug/L | 0.48413 | 0.305 | Estimated Values | 4433 | B | sgs | mnc | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20143520107 | 2014-12-18 06:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.63 | E | ug/L | 0.41111 | 0.259 | Estimated Values | 4433 | B | sgs | mnc | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150990066 | 2015-04-09 06:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.63 | E | ug/L | 0.59365 | 0.374 | Estimated Values | 4433 | B | sgs | mc | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20141290007 | 2014-05-08 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.6417 | E | ug/L | 0.34751 | 0.223 | Estimated Values | 4433 | B | sgs | mnc | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.6417 | E | ug/L | 0.55945 | 0.359 | Estimated Values | 4433 | B | sgs | mc | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.6417 | E | ug/L | 0.38647 | 0.248 | Estimated Values | 4433 | B | sgs | mnc | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20150570009 | 2015-02-26 06:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.6417 | E | ug/L | 0.39894 | 0.256 | Estimated Values | 4433 | B | sgs | mnc | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20151140152 | 2015-04-23 06:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.6417 | E | ug/L | 0.36466 | 0.234 | Estimated Values | 4433 | B | sgs | mnc | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20163070096 | 2016-11-02 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.802 | E | ug/L | 0.4015 | 0.322 | Estimated Values | 4433 | B | sgs | mc | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20161400194 | 2016-05-18 06:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.804 | E | ug/L | 0.42413 | 0.341 | Estimated Values | 4433 | B | sgs | mc | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.804 | E | ug/L | 0.95274 | 0.766 | Estimated Values | 4433 | B | sgs | mc | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20152110199 | 2015-07-30 09:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.96 | E | ug/L | 0.73958 | 0.71 | Estimated Values | 4433 |  | sgs | mc | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153370177 | 2015-12-03 08:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.964 | E | ug/L | 0.19087 | 0.184 | Estimated Values | 4433 |  | sgs | mnc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153510110 | 2015-12-17 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 0.964 | E | ug/L | 0.049793 | 0.048 | Estimated Values | 4433 |  | sgs | bmt | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20121600155 | 2012-06-07 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1 | E | ug/L | 0.493 | 0.493 | Estimated Values | 4433 | R | jiv | mc | 2012-07-28 | Supelco LB92782: 20 µl
20122370103 | 2012-08-23 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1 | E | ug/L | 0.685 | 0.685 | Estimated Values | 4433 | R | jiv | mc | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20123040158 | 2012-10-30 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1 | E | ug/L | 0.736 | 0.736 | Estimated Values | 4433 | B | sgs | mc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20130870086 | 2013-03-27 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1 | E | ug/L | 0.644 | 0.644 | Estimated Values | 4433 | B | sgs | mc | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20141360095 | 2014-05-16 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.26 | E | ug/L | 0.12778 | 0.161 | Estimated Values | 4433 | B | sgs | mnc | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141490201 | 2014-05-29 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.26 | E | ug/L | 0.43016 | 0.542 | Estimated Values | 4433 | B | sgs | mc | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142470040 | 2014-09-03 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.26 | E | ug/L | 0.4619 | 0.582 | Estimated Values | 4433 | B | sgs | mc | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.26 | E | ug/L | 0.20635 | 0.26 | Estimated Values | 4433 | B | sgs | mnc | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20142960087 | 2014-10-23 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.26 | E | ug/L | 0.84921 | 1.07 | Estimated Values | 4433 | B | sgs | mc | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20141910242 | 2014-07-10 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.2834 | E | ug/L | 0.39115 | 0.502 | Estimated Values | 4433 | B | sgs | mc | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142480001 | 2014-09-04 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.2834 | E | ug/L | 0.40362 | 0.518 | Estimated Values | 4433 | B | sgs | mc | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143300047 | 2014-11-26 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.2834 | E | ug/L | 0.24622 | 0.316 | Estimated Values | 4433 | B | sgs | mnc | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20140030013 | 2014-01-02 06:15 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.43 | E | ug/L | 0.39021 | 0.558 | Estimated Values | 4433 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20131440104 | 2013-05-23 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.454 | E | ug/L | 0.45805 | 0.666 | Estimated Values | 4433 | B | sgs | mc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20162580142 | 2016-09-14 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.604 | E | ug/L | 0.43392 | 0.696 | Estimated Values | 4433 | B | sgs | mc | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20162930160 | 2016-10-19 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.604 | E | ug/L | 0.37843 | 0.607 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20163420127 | 2016-12-07 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.604 | E | ug/L | 0.17456 | 0.28 | Estimated Values | 4433 | B | sgs | mnc | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20162100008 | 2016-07-27 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.608 | E | ug/L | 0.6903 | 1.11 | Estimated Values | 4433 | B | sgs | mc | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20162230167 | 2016-08-10 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.608 | E | ug/L | 0.77736 | 1.25 | Estimated Values | 4433 | B | sgs | mc | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20111260151 | 2011-05-05 08:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.6116 | E | ug/L | 0.51626 | 0.832 | Estimated Values | 4433 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20152670134 | 2015-09-24 09:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.92 | E | ug/L | 0.39062 | 0.75 | Estimated Values | 4433 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20153160002 | 2015-11-10 08:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.92 | E | ug/L | 0.076562 | 0.147 | Estimated Values | 4433 |  | sgs | mtc | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20152810121 | 2015-10-08 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 1.928 | E | ug/L | 0.7417 | 1.43 | Estimated Values | 4433 |  | sgs | mc | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20121730124 | 2012-06-21 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2 | E | ug/L | 0.83 | 1.66 | Estimated Values | 4433 | R | jiv | mc | 2012-07-29 | Crescent 05BB045: 40 µl
20130250062 | 2013-01-24 06:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2 | E | ug/L | 0.47 | 0.94 | Estimated Values | 4433 | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20162380005 | 2016-08-24 07:15 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.005 | E | ug/L | 0.49726 | 0.997 | Estimated Values | 4433 | B | sgs | mc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20161960001 | 2016-07-13 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.01 | E | ug/L | 0.62189 | 1.25 | Estimated Values | 4433 | B | sgs | mc | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20111750002 | 2011-06-23 08:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.12 | E | ug/L | 0.46132 | 0.978 | Estimated Values | 4433 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.12 | E | ug/L | 0.49057 | 1.04 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.12 | E | ug/L | 0.40849 | 0.866 | Estimated Values | 4433 | B | sgs | mc | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.1257 | E | ug/L | 0.89851 | 1.91 | Estimated Values | 4433 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.1574 | E | ug/L | 0.73238 | 1.58 | Estimated Values | 4433 | R | jiv | mc | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.158 | E | ug/L | 0.5607 | 1.21 | Estimated Values | 4433 | B | sgs | mc | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.158 | E | ug/L | 0.50973 | 1.1 | Estimated Values | 4433 | B | sgs | mc | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.158 | E | ug/L | 0.80167 | 1.73 | Estimated Values | 4433 | Y | awh | mc | 2012-07-26 | Supelco LB77171: 20 µl
20112380056 | 2011-08-25 11:10 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 2.56 | E | ug/L | 0.51562 | 1.32 | Estimated Values | 4433 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20123140092 | 2012-11-08 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 4 | E | ug/L | 0.09825 | 0.393 | Estimated Values | 4433 | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20130100068 | 2013-01-10 07:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 4 | E | ug/L | 0.4675 | 1.87 | Estimated Values | 4433 | B | sgs | mc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20130590064 | 2013-02-28 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 4 | E | ug/L | 0.37 | 1.48 | Estimated Values | 4433 | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20120200071 | 2012-01-19 08:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 5.3 | E | ug/L | 0.71698 | 3.8 | Estimated Values | 4433 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 5.3 | E | ug/L | 0.81509 | 4.32 | Estimated Values | 4433 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 5.395 | E | ug/L | 0.443 | 2.39 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
20132070037 | 2013-07-25 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 5.768 | E | ug/L | 0.24445 | 1.41 | Estimated Values | 4433 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl
20112170170 | 2011-08-04 09:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 8.48 | E | ug/L | 0.76651 | 6.5 | Estimated Values | 4433 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 8.48 | E | ug/L | 0.86085 | 7.3 | Estimated Values | 4433 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 8.48 | E | ug/L | 0.84788 | 7.19 | Estimated Values | 4433 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
20111540005 | 2011-06-02 09:00 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 8.5635 | E | ug/L | 0.64226 | 5.5 | Estimated Values | 4433 | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | 5-METHYL-1H-BENZOTRIAZOLE | 61944GCM99 | 0.32 | 8.632 | E | ug/L | 0.9905 | 8.55 | Estimated Values | 4433 | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl