## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820002 | 2016-06-29 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20132210039 | 2013-08-08 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.552 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20111260151 | 2011-05-05 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.4029 | . | ug/L | 1.2211 | 0.492 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20132910006 | 2013-10-17 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.548 | . | ug/L | 0.82664 | 0.453 | Recoverable Result | 4433 | B | sgs | v | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20133260003 | 2013-11-21 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.548 | . | ug/L | 0.99088 | 0.543 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.548 | . | ug/L | 0.90146 | 0.494 | Recoverable Result | 4433 | B | sgs | v | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.548 | . | ug/L | 0.84124 | 0.461 | Recoverable Result | 4433 | B | sgs | v | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20132690008 | 2013-09-25 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.552 | . | ug/L | 0.83152 | 0.459 | Recoverable Result | 4433 | B | sgs | v | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140300033 | 2014-01-30 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.552 | . | ug/L | 0.91123 | 0.503 | Recoverable Result | 4433 | B | sgs | v | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140930054 | 2014-04-03 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.552 | . | ug/L | 0.81703 | 0.451 | Recoverable Result | 4433 | B | sgs | v | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20111750002 | 2011-06-23 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.568 | . | ug/L | 0.75352 | 0.428 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.568 | . | ug/L | 0.97887 | 0.556 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.568 | . | ug/L | 1.0634 | 0.604 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.56954 | . | ug/L | 1.136 | 0.647 | Recoverable Result | 4433 | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.57063 | . | ug/L | 0.99364 | 0.567 | Recoverable Result | 4433 | R | jiv |  | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.5708 | . | ug/L | 0.92677 | 0.529 | Recoverable Result | 4433 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.5708 | . | ug/L | 1.0039 | 0.573 | Recoverable Result | 4433 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.5708 | . | ug/L | 1.0827 | 0.618 | Recoverable Result | 4433 | Y | awh | v | 2012-07-26 | Supelco LB77171: 20 µl
20151410210 | 2015-05-21 06:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.598 | E | ug/L | 0.99498 | 0.595 | Estimated Values | 4433 | B | sgs | v | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20152390223 | 2015-08-27 09:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.598 | . | ug/L | 1.0284 | 0.615 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20152950079 | 2015-10-22 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.598 | . | ug/L | 1.0635 | 0.636 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.598 | E | ug/L | 1.0167 | 0.608 | Estimated Values | 4433 |  | rcr | v | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160840086 | 2016-03-24 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.598 | E | ug/L | 0.97157 | 0.581 | Estimated Values | 4433 | V | rcr | v | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20151210038 | 2015-04-30 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.6 | . | ug/L | 1.145 | 0.687 | Recoverable Result | 4433 | B | sgs | v | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151970168 | 2015-07-16 06:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.6 | . | ug/L | 1.0933 | 0.656 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20153030067 | 2015-10-29 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.6 | . | ug/L | 0.995 | 0.597 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160280053 | 2016-01-28 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.6 | E | ug/L | 0.99667 | 0.598 | Estimated Values | 4433 |  | rcr | v | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20112380056 | 2011-08-25 11:10 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.64 | . | ug/L | 1.0422 | 0.667 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20141010007 | 2014-04-10 06:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.8004 | E | ug/L | 0.75087 | 0.601 | Estimated Values | 4433 | B | sgs |  | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.8004 | . | ug/L | 0.72839 | 0.583 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.8004 | . | ug/L | 0.81584 | 0.653 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20150850162 | 2015-03-26 06:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.8004 | . | ug/L | 1.0795 | 0.864 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.807 | . | ug/L | 0.80917 | 0.653 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20141990081 | 2014-07-17 06:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.807 | . | ug/L | 1.0124 | 0.817 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142130131 | 2014-07-31 06:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.807 | . | ug/L | 0.99257 | 0.801 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142340162 | 2014-08-18 06:45 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.807 | . | ug/L | 0.9653 | 0.779 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20142720001 | 2014-09-25 06:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.807 | . | ug/L | 1.0161 | 0.82 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20150990066 | 2015-04-09 06:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.807 | . | ug/L | 1.0917 | 0.881 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20161600088 | 2016-06-08 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.996 | . | ug/L | 1.1847 | 1.18 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.996 | . | ug/L | 1.1044 | 1.1 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162150212 | 2016-08-02 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.996 | . | ug/L | 1.0141 | 1.01 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.996 | . | ug/L | 0.91165 | 0.908 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20162860080 | 2016-10-12 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.996 | E | ug/L | 0.69277 | 0.69 | Estimated Values | 4433 | B | sgs | v | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163500003 | 2016-12-14 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 0.996 | E | ug/L | 0.92671 | 0.923 | Estimated Values | 4433 | B | sgs | v | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20121600155 | 2012-06-07 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1 | . | ug/L | 0.941 | 0.941 | Recoverable Result | 4433 | R | jiv |  | 2012-07-28 | Supelco LB92782: 20 µl
20122210008 | 2012-08-07 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1 | . | ug/L | 0.769 | 0.769 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20122370103 | 2012-08-23 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 1 | . | ug/L | 0.944 | 0.944 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20123040158 | 2012-10-30 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1 | . | ug/L | 0.868 | 0.868 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20130870086 | 2013-03-27 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1 | . | ug/L | 0.839 | 0.839 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20161880110 | 2016-07-06 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.004 | . | ug/L | 1.0558 | 1.06 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20163070096 | 2016-11-02 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.004 | E | ug/L | 0.93327 | 0.937 | Estimated Values | 4433 | B | sgs | v | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.004 | E | ug/L | 0.90438 | 0.908 | Estimated Values | 4433 | B | sgs | v | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20153370177 | 2015-12-03 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.196 | . | ug/L | 0.9699 | 1.16 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20161190076 | 2016-04-28 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.196 | . | ug/L | 0.95318 | 1.14 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20151620180 | 2015-06-11 06:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.2 | . | ug/L | 1.0083 | 1.21 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20152250271 | 2015-08-13 09:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.2 | . | ug/L | 1.05 | 1.26 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153280156 | 2015-11-24 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.2 | . | ug/L | 0.96667 | 1.16 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.2 | . | ug/L | 0.98333 | 1.18 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20140030013 | 2014-01-02 06:15 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.37 | . | ug/L | 0.88321 | 1.21 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20131440104 | 2013-05-23 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.38 | . | ug/L | 0.88406 | 1.22 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20120200071 | 2012-01-19 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.42 | . | ug/L | 0.95775 | 1.36 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.42 | . | ug/L | 0.92254 | 1.31 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.427 | . | ug/L | 0.92502 | 1.32 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
20141360095 | 2014-05-16 06:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.6008 | E | ug/L | 0.66217 | 1.06 | Estimated Values | 4433 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141710103 | 2014-06-19 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.6008 | . | ug/L | 0.84333 | 1.35 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20142760025 | 2014-10-02 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.6008 | . | ug/L | 0.84333 | 1.35 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20143180046 | 2014-11-13 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.6008 | . | ug/L | 0.96202 | 1.54 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20142470040 | 2014-09-03 06:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.614 | . | ug/L | 1.0719 | 1.73 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20143300047 | 2014-11-26 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.614 | . | ug/L | 0.97274 | 1.57 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20150290077 | 2015-01-29 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.614 | . | ug/L | 0.91078 | 1.47 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20162230167 | 2016-08-10 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 1.992 | . | ug/L | 0.92871 | 1.85 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20121730124 | 2012-06-21 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 2 | . | ug/L | 0.89 | 1.78 | Recoverable Result | 4433 | R | jiv |  | 2012-07-29 | Crescent 05BB045: 40 µl
20130250062 | 2013-01-24 06:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 2 | . | ug/L | 0.79 | 1.58 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20162580142 | 2016-09-14 06:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.008 | . | ug/L | 0.9761 | 1.96 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20163280007 | 2016-11-21 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.008 | . | ug/L | 0.98108 | 1.97 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20162990149 | 2016-10-25 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.008 | . | ug/L | 0.95618 | 1.92 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20111540005 | 2011-06-02 09:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.2651 | . | ug/L | 0.91829 | 2.08 | Recoverable Result | 4433 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
20112170170 | 2011-08-04 09:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.272 | . | ug/L | 0.9463 | 2.15 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.272 | . | ug/L | 1.0211 | 2.32 | Recoverable Result | 4433 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.272 | . | ug/L | 0.9507 | 2.16 | Recoverable Result | 4433 | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
20111960036 | 2011-07-14 09:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.2832 | . | ug/L | 0.8672 | 1.98 | Recoverable Result | 4433 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl
20152670134 | 2015-09-24 09:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.392 | . | ug/L | 0.97826 | 2.34 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20160140040 | 2016-01-14 08:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.392 | . | ug/L | 0.92391 | 2.21 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20163560020 | 2016-12-21 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.49 | . | ug/L | 1.0843 | 2.7 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20161960001 | 2016-07-13 08:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 2.51 | . | ug/L | 1.0677 | 2.68 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20123140092 | 2012-11-08 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 4 | . | ug/L | 0.79 | 3.16 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20130100068 | 2013-01-10 07:00 | ACETOPHENONE | 62811GCM99 | 0.4 | 4 | . | ug/L | 0.76 | 3.04 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20130590064 | 2013-02-28 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 4 | . | ug/L | 0.7475 | 2.99 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20132070037 | 2013-07-25 07:30 | ACETOPHENONE | 62811GCM99 | 0.4 | 5.5 | E | ug/L | 0.63818 | 3.51 | Estimated Values | 4433 | B | sgs |  | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl