## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-09-21 07:30 | 20162660006 | 0.04 | 0.1 | . | 0.076 | ug/L | 0.76 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-12-07 07:30 | 20163420127 | 0.04 | 0.2 | . | 0.205 | ug/L | 1.025 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-08-24 07:15 | 20162380005 | 0.04 | 0.25 | . | 0.188 | ug/L | 0.752 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-10-19 06:30 | 20162930160 | 0.04 | 0.2 | . | 0.147 | ug/L | 0.735 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2011-03-24 07:30 | 20110840109 | 0.04 | 1.0581 | . | 0.917 | ug/L | 0.86667 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2011-04-14 08:30 | 20111050151 | 0.04 | 0.41587 | . | 0.313 | ug/L | 0.75263 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2011-06-16 09:30 | 20111680036 | 0.04 | 1.0626 | . | 0.902 | ug/L | 0.84883 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2011-07-28 08:30 | 20112100004 | 0.04 | 0.4234 | . | 0.357 | ug/L | 0.84317 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2011-09-08 09:30 | 20112520211 | 0.04 | 1.6936 | . | 1.43 | ug/L | 0.84436 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2011-10-20 07:30 | 20112930084 | 0.04 | 0.4234 | . | 0.292 | ug/L | 0.68966 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2012-01-26 08:00 | 20120260060 | 0.04 | 1.0585 | . | 0.93 | ug/L | 0.8786 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2012-03-01 08:30 | 20120620013 | 0.04 | 0.4234 | . | 0.372 | ug/L | 0.8786 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2012-04-05 06:30 | 20120960124 | 0.04 | 1.0585 | . | 0.827 | ug/L | 0.78129 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-05-08 07:30 | 20141290007 | 0.04 | 0.0798 | . | 0.065 | ug/L | 0.81454 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-09-04 07:00 | 20142480001 | 0.04 | 0.1596 | . | 0.141 | ug/L | 0.88346 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-04-23 06:00 | 20151140152 | 0.04 | 0.0798 | . | 0.088 | ug/L | 1.1028 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-07-10 06:30 | 20141910242 | 0.04 | 0.1596 | . | 0.156 | ug/L | 0.97744 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-02-26 06:00 | 20150570009 | 0.04 | 0.0798 | . | 0.066 | ug/L | 0.82707 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-07-16 06:30 | 20151970168 | 0.04 | 0.0608 | . | 0.068 | ug/L | 1.1184 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-11-24 08:00 | 20153280156 | 0.04 | 0.1216 | . | 0.122 | ug/L | 1.0033 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-03-10 08:30 | 20160710218 | 0.04 | 0.1216 | . | 0.11 | ug/L | 0.90461 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-08-27 09:00 | 20152390223 | 0.04 | 0.0608 | E | 0.071 | ug/L | 1.1678 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-04-28 07:00 | 20161190076 | 0.04 | 0.1216 | . | 0.109 | ug/L | 0.89638 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2013-01-10 07:00 | 20130100068 | 0.04 | 0.8 | . | 0.619 | ug/L | 0.77375 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2013-04-11 07:00 | 20131020082 | 0.04 | 0.3984 | . | 0.33 | ug/L | 0.82831 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-05-18 06:00 | 20161400194 | 0.04 | 0.1 | . | 0.09 | ug/L | 0.9 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-07-27 06:30 | 20162100008 | 0.04 | 0.2 | . | 0.192 | ug/L | 0.96 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-11-09 07:30 | 20163150005 | 0.04 | 0.1 | . | 0.078 | ug/L | 0.78 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-08-02 07:30 | 20162150212 | 0.04 | 0.1 | . | 0.087 | ug/L | 0.87 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-11-21 08:00 | 20163280007 | 0.04 | 0.2 | . | 0.179 | ug/L | 0.895 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2012-08-07 07:00 | 20122210008 | 0.04 | 0.2 | . | 0.139 | ug/L | 0.695 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2012-10-30 08:00 | 20123040158 | 0.04 | 0.2 | . | 0.176 | ug/L | 0.88 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2012-06-21 07:00 | 20121730124 | 0.04 | 0.4 | . | 0.391 | ug/L | 0.9775 | R | jiv |  | 2012-07-29 | Crescent 05BB045: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-06-26 06:30 | 20141770150 | 0.04 | 0.0798 | . | 0.072 | ug/L | 0.90226 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-11-26 07:00 | 20143300047 | 0.04 | 0.1596 | . | 0.152 | ug/L | 0.95238 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-07-31 06:00 | 20142130131 | 0.04 | 0.081 | . | 0.079 | ug/L | 0.97531 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-09-03 06:30 | 20142470040 | 0.04 | 0.162 | . | 0.141 | ug/L | 0.87037 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-04-09 06:00 | 20150990066 | 0.04 | 0.081 | . | 0.077 | ug/L | 0.95062 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-07-30 09:00 | 20152110199 | 0.04 | 0.1216 | . | 0.129 | ug/L | 1.0609 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-11-10 08:30 | 20153160002 | 0.04 | 0.2432 | . | 0.233 | ug/L | 0.95806 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-09-10 09:00 | 20152530087 | 0.04 | 0.06 | . | 0.057 | ug/L | 0.95 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-02-18 08:30 | 20160490032 | 0.04 | 0.06 | . | 0.079 | ug/L | 1.3167 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-08-31 07:00 | 20162440114 | 0.04 | 0.1 | . | 0.072 | ug/L | 0.72 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-12-14 08:00 | 20163500003 | 0.04 | 0.1 | . | 0.077 | ug/L | 0.77 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-07-06 07:00 | 20161880110 | 0.04 | 0.1 | . | 0.082 | ug/L | 0.82 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-10-25 07:00 | 20162990149 | 0.04 | 0.2 | . | 0.136 | ug/L | 0.68 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2013-03-27 07:00 | 20130870086 | 0.04 | 0.2 | . | 0.16 | ug/L | 0.8 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2011-05-05 08:30 | 20111260151 | 0.04 | 0.20145 | . | 0.246 | ug/L | 1.2211 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2011-08-25 11:10 | 20112380056 | 0.04 | 0.32 | . | 0.364 | ug/L | 1.1375 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-06-08 08:00 | 20161600088 | 0.04 | 0.1 | . | 0.089 | ug/L | 0.89 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-05-29 06:30 | 20141490201 | 0.04 | 0.162 | . | 0.105 | ug/L | 0.64815 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-08-14 06:30 | 20142270002 | 0.04 | 0.081 | . | 0.082 | ug/L | 1.0123 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-10-23 06:30 | 20142960087 | 0.04 | 0.162 | . | 0.146 | ug/L | 0.90123 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-12-18 06:00 | 20143520107 | 0.04 | 0.081 | . | 0.074 | ug/L | 0.91358 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-06-11 06:00 | 20151620180 | 0.04 | 0.12 | . | 0.11 | ug/L | 0.91667 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-10-22 08:30 | 20152950079 | 0.04 | 0.06 | . | 0.07 | ug/L | 1.1667 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-12-30 08:30 | 20153640095 | 0.04 | 0.06 | . | 0.068 | ug/L | 1.1333 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-01-14 08:30 | 20160140040 | 0.04 | 0.24 | . | 0.233 | ug/L | 0.97083 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2012-07-12 08:00 | 20121950066 | 0.04 | 0.1992 | . | 0.217 | ug/L | 1.0894 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2013-02-14 08:00 | 20130460007 | 0.04 | 0.1992 | . | 0.147 | ug/L | 0.73795 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2012-11-08 07:30 | 20123140092 | 0.04 | 0.7968 | . | 0.563 | ug/L | 0.70658 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2013-01-24 06:30 | 20130250062 | 0.04 | 0.3984 | . | 0.287 | ug/L | 0.72038 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2013-07-11 07:00 | 20131920148 | 0.04 | 0.3 | . | 0.164 | ug/L | 0.54667 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-03-06 08:00 | 20140650080 | 0.04 | 0.06 | . | 0.045 | ug/L | 0.75 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2013-11-07 07:30 | 20133110109 | 0.04 | 0.06 | . | 0.058 | ug/L | 0.96667 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-01-02 06:15 | 20140030013 | 0.04 | 0.15 | . | 0.129 | ug/L | 0.86 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-04-03 08:00 | 20140930054 | 0.04 | 0.06 | . | 0.046 | ug/L | 0.76667 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-06-12 06:30 | 20141640077 | 0.04 | 0.0798 | . | 0.061 | ug/L | 0.76441 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-03-26 06:00 | 20150850162 | 0.04 | 0.0798 | . | 0.079 | ug/L | 0.98997 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-05-16 06:30 | 20141360095 | 0.04 | 0.162 | E | 0.09 | ug/L | 0.55556 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2014-10-02 07:00 | 20142760025 | 0.04 | 0.162 | . | 0.122 | ug/L | 0.75309 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-10-08 08:00 | 20152810121 | 0.04 | 0.2432 | . | 0.268 | ug/L | 1.102 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2016-04-07 06:30 | 20160980150 | 0.04 | 0.0608 | . | 0.057 | ug/L | 0.9375 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-06-25 06:30 | 20151760207 | 0.04 | 0.06 | . | 0.063 | ug/L | 1.05 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
4433 | ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 62812GCM99 | 2015-12-17 08:00 | 20153510110 | 0.04 | 0.12 | . | 0.133 | ug/L | 1.1083 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl