## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20153510110 | 2015-12-17 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 |  | E | ug/L |  | 0.012 | False Positive | 4433 |  | sgs | bmt | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20161820002 | 2016-06-29 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20132210039 | 2013-08-08 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.2 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20151410210 | 2015-05-21 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.058 | E | ug/L | 0.89655 | 0.052 | Estimated Values | 4433 | B | sgs | mc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20152390223 | 2015-08-27 09:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.058 | E | ug/L | 1.3621 | 0.079 | Estimated Values | 4433 |  | sgs | mc | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20152950079 | 2015-10-22 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.058 | E | ug/L | 1.1897 | 0.069 | Estimated Values | 4433 |  | sgs | mc | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.058 | E | ug/L | 1.3621 | 0.079 | Estimated Values | 4433 |  | rcr | mc | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160840086 | 2016-03-24 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.058 | E | ug/L | 0.82759 | 0.048 | Estimated Values | 4433 | V | rcr | mc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20151210038 | 2015-04-30 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.06 | E | ug/L | 1.5333 | 0.092 | Estimated Values | 4433 | B | sgs | mc | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151970168 | 2015-07-16 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.06 | E | ug/L | 1.1833 | 0.071 | Estimated Values | 4433 |  | sgs | mc | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20153030067 | 2015-10-29 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.06 | E | ug/L | 1.3167 | 0.079 | Estimated Values | 4433 |  | sgs | mc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160280053 | 2016-01-28 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.06 | E | ug/L | 1.2 | 0.072 | Estimated Values | 4433 |  | rcr | mc | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20141010007 | 2014-04-10 06:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0783 | E | ug/L | 0.84291 | 0.066 | Estimated Values | 4433 | B | sgs | mc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0783 | E | ug/L | 1.06 | 0.083 | Estimated Values | 4433 | B | sgs | mc | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0783 | E | ug/L | 1.0473 | 0.082 | Estimated Values | 4433 | B | sgs | mc | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0783 | E | ug/L | 0.99617 | 0.078 | Estimated Values | 4433 | B | sgs | mc | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0804 | E | ug/L | 0.84577 | 0.068 | Estimated Values | 4433 | B | sgs | mc | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0804 | E | ug/L | 0.88308 | 0.071 | Estimated Values | 4433 | B | sgs | mc | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0804 | E | ug/L | 0.78358 | 0.063 | Estimated Values | 4433 | B | sgs | mc | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0804 | E | ug/L | 0.87065 | 0.07 | Estimated Values | 4433 | B | sgs | mc | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0804 | E | ug/L | 1.0075 | 0.081 | Estimated Values | 4433 | B | sgs | mc | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0804 | E | ug/L | 1.1443 | 0.092 | Estimated Values | 4433 | B | sgs | mc | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20161400194 | 2016-05-18 06:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0976 | E | ug/L | 1.127 | 0.11 | Estimated Values | 4433 | B | sgs | mc | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161600088 | 2016-06-08 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0976 | E | ug/L | 1.0758 | 0.105 | Estimated Values | 4433 | B | sgs | mc | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20162150212 | 2016-08-02 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0976 | E | ug/L | 0.91189 | 0.089 | Estimated Values | 4433 | B | sgs | @mc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162660006 | 2016-09-21 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.0976 | E | ug/L | 0.97336 | 0.095 | Estimated Values | 4433 | B | sgs | mc | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20161880110 | 2016-07-06 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1 | E | ug/L | 0.39 | 0.039 | Estimated Values | 4433 | B | sgs | mnc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162440114 | 2016-08-31 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1 | E | ug/L | 0.33 | 0.033 | Estimated Values | 4433 | B | sgs | mnc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163150005 | 2016-11-09 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1 | E | ug/L | 0.38 | 0.038 | Estimated Values | 4433 | B | sgs | mnc | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163500003 | 2016-12-14 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1 | E | ug/L | 0.44 | 0.044 | Estimated Values | 4433 | B | sgs | mc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20153370177 | 2015-12-03 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.116 | E | ug/L | 1.3448 | 0.156 | Estimated Values | 4433 |  | sgs | mc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20161190076 | 2016-04-28 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.116 | E | ug/L | 1.1034 | 0.128 | Estimated Values | 4433 | B | sgs | mc | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20151620180 | 2015-06-11 06:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.12 | E | ug/L | 0.925 | 0.111 | Estimated Values | 4433 | B | sgs | mc | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20152250271 | 2015-08-13 09:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.12 | E | ug/L | 0.9 | 0.108 | Estimated Values | 4433 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153280156 | 2015-11-24 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.12 | E | ug/L | 1.1083 | 0.133 | Estimated Values | 4433 |  | sgs | mc | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.12 | E | ug/L | 0.93333 | 0.112 | Estimated Values | 4433 | V | rcr | mc | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20141710103 | 2014-06-19 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1566 | E | ug/L | 0.83014 | 0.13 | Estimated Values | 4433 | B | sgs | mc | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1566 | E | ug/L | 1.0153 | 0.159 | Estimated Values | 4433 | B | sgs | mc | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1566 | E | ug/L | 1.2835 | 0.201 | Estimated Values | 4433 | B | sgs | mc | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1566 | E | ug/L | 1.1239 | 0.176 | Estimated Values | 4433 | B | sgs | mc | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1608 | E | ug/L | 0.67164 | 0.108 | Estimated Values | 4433 | B | sgs | mc | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1608 | E | ug/L | 1.0323 | 0.166 | Estimated Values | 4433 | B | sgs | mc | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1608 | E | ug/L | 0.99502 | 0.16 | Estimated Values | 4433 | B | sgs | mc | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20162100008 | 2016-07-27 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1952 | E | ug/L | 1.0195 | 0.199 | Estimated Values | 4433 | B | sgs | mc | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20163280007 | 2016-11-21 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1952 | E | ug/L | 0.96311 | 0.188 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20163420127 | 2016-12-07 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.1952 | E | ug/L | 1.0707 | 0.209 | Estimated Values | 4433 | B | sgs | mc | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20132560002 | 2013-09-12 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.2 | E | ug/L | 0.85 | 0.17 | Estimated Values | 4433 | B | sgs | mc | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133110109 | 2013-11-07 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.2 | E | ug/L | 0.79 | 0.158 | Estimated Values | 4433 | B | sgs | mc | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20132910006 | 2013-10-17 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.2 | E | ug/L | 0.685 | 0.137 | Estimated Values | 4433 | B | sgs | mc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140160088 | 2014-01-16 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.2 | E | ug/L | 0.715 | 0.143 | Estimated Values | 4433 | B | sgs | mc | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.2 | E | ug/L | 0.69 | 0.138 | Estimated Values | 4433 | B | sgs | mc | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.2 | E | ug/L | 0.645 | 0.129 | Estimated Values | 4433 | B | sgs | mc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140930054 | 2014-04-03 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.2 | E | ug/L | 0.555 | 0.111 | Estimated Values | 4433 | B | sgs | mc | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20162990149 | 2016-10-25 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.2 | E | ug/L | 0.355 | 0.071 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162930160 | 2016-10-19 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.2 | E | ug/L | 0.385 | 0.077 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20111260151 | 2011-05-05 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.20145 | E | ug/L | 1.2311 | 0.248 | Estimated Values | 4433 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20152670134 | 2015-09-24 09:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.232 | E | ug/L | 1.1509 | 0.267 | Estimated Values | 4433 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20160140040 | 2016-01-14 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.232 | E | ug/L | 1.0603 | 0.246 | Estimated Values | 4433 |  | rcr | mc | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20122370103 | 2012-08-23 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.248 | E | ug/L | 0.92339 | 0.229 | Estimated Values | 4433 | R | jiv | mc | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130870086 | 2013-03-27 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.248 | E | ug/L | 0.82258 | 0.204 | Estimated Values | 4433 | B | sgs | mc | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20121950066 | 2012-07-12 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.25 | E | ug/L | 0.788 | 0.197 | Estimated Values | 4433 | R | jiv | mc | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.25 | E | ug/L | 0.508 | 0.127 | Estimated Values | 4433 | B | sgs | mc | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20162380005 | 2016-08-24 07:15 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.25 | E | ug/L | 0.364 | 0.091 | Estimated Values | 4433 | B | sgs | mc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20110340009 | 2011-02-02 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.31344 | E | ug/L | 1.0082 | 0.316 | Estimated Values | 4433 | B | sgs | mc | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.3149 | E | ug/L | 0.76532 | 0.241 | Estimated Values | 4433 | R | jiv | mc | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.3198 | E | ug/L | 0.78174 | 0.25 | Estimated Values | 4433 | R | jiv | mc | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.3198 | E | ug/L | 0.90369 | 0.289 | Estimated Values | 4433 | B | sgs | mc | 2012-03-07 | ChemService 448-12A: 20 µl
20112380056 | 2011-08-25 11:10 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.32 | E | ug/L | 0.975 | 0.312 | Estimated Values | 4433 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20112100004 | 2011-07-28 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.3206 | E | ug/L | 0.78291 | 0.251 | Estimated Values | 4433 | R | jiv | mc | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.3206 | E | ug/L | 0.97318 | 0.312 | Estimated Values | 4433 | E | cli | mc | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.3206 | E | ug/L | 0.90767 | 0.291 | Estimated Values | 4433 | B | fww | mc | 2012-04-10 | Abs 090910WW: 20 µl
20122720049 | 2012-09-27 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.496 | E | ug/L | 0.80645 | 0.4 | Estimated Values | 4433 | B | sgs | mc | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.496 | E | ug/L | 0.68548 | 0.34 | Estimated Values | 4433 | B | sgs | mc | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20130250062 | 2013-01-24 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.5 | E | ug/L | 0.572 | 0.286 | Estimated Values | 4433 | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.5 | E | ug/L | 0.792 | 0.396 | Estimated Values | 4433 | B | sgs | mc | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20131290118 | 2013-05-09 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.5 | E | ug/L | 0.822 | 0.411 | Estimated Values | 4433 | B | sgs | mc | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.5 | E | ug/L | 0.792 | 0.396 | Estimated Values | 4433 | B | sgs | mc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20140030013 | 2014-01-02 06:15 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.5 | E | ug/L | 0.878 | 0.439 | Estimated Values | 4433 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20111890007 | 2011-07-07 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.7995 | E | ug/L | 0.80926 | 0.647 | Estimated Values | 4433 | E | jiv | mc | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.7995 | E | ug/L | 0.4778 | 0.382 | Estimated Values | 4433 | R | jiv | mc | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.7995 | E | ug/L | 0.93183 | 0.745 | Estimated Values | 4433 | Y | awh | mc | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.80118 | E | ug/L | 1.0597 | 0.849 | Estimated Values | 4433 | R | jiv | mc | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.8015 | E | ug/L | 0.95072 | 0.762 | Estimated Values | 4433 | B | sgs | mc | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.8015 | E | ug/L | 0.86837 | 0.696 | Estimated Values | 4433 | Y | awh | mc | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 0.80464 | E | ug/L | 0.86001 | 0.692 | Estimated Values | 4433 | B | sgs | mc | 2011-07-07 | Abs 090910WW: 50 µl
20123140092 | 2012-11-08 07:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 1 | E | ug/L | 0.625 | 0.625 | Estimated Values | 4433 | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20131920148 | 2013-07-11 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 1 | E | ug/L | 0.718 | 0.718 | Estimated Values | 4433 | B | sgs | mc | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20111390173 | 2011-05-19 08:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 1.2716 | E | ug/L | 0.78328 | 0.996 | Estimated Values | 4433 | R | jiv | mc | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 1.2792 | E | ug/L | 0.7575 | 0.969 | Estimated Values | 4433 | B | sgs | mc | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 1.2792 | E | ug/L | 0.78956 | 1.01 | Estimated Values | 4433 | E | cli | mc | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | ANTHRAQUINONE | 62813GCM99 | 0.04 | 1.2824 | E | ug/L | 0.95134 | 1.22 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Abs 090910WW: 80 µl