## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20141360095 | 2014-05-16 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 |  | E | ug/L |  | 1.3 | False Positive | 4433 | B | sgs | mtc | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141640077 | 2014-06-12 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 |  | E | ug/L |  | 1.36 | False Positive | 4433 | B | sgs | mtc | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 |  | E | ug/L |  | 0.91 | False Positive | 4433 | B | sgs | mtc | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20142470040 | 2014-09-03 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 |  | E | ug/L |  | 1.9 | False Positive | 4433 | B | sgs | mtc | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 |  | E | ug/L |  | 4.13 | False Positive | 4433 | B | sgs | mnc | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20143300047 | 2014-11-26 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 |  | E | ug/L |  | 2.5 | False Positive | 4433 | B | sgs | mnc | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20150850162 | 2015-03-26 06:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 |  | E | ug/L |  | 1.5 | False Positive | 4433 | B | sgs | mtc | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20150990066 | 2015-04-09 06:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 |  | E | ug/L |  | 1.65 | False Positive | 4433 | B | sgs | mtc | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20153640095 | 2015-12-30 08:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 |  | E | ug/L |  | 0.56 | False Positive | 4433 |  | rcr | mtc | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20132210039 | 2013-08-08 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 6.212 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20160980150 | 2016-04-07 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 7.204 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20160840086 | 2016-03-24 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 7.24 | < | ug/L |  |  | False Negative | 4433 | V | rcr | mc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20161820002 | 2016-06-29 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.924 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20111260151 | 2011-05-05 08:30 | BETA-SITOSTEROL | 62815GCM99 | 1.6 | 3.8678 | E | ug/L | 0.50674 | 1.96 | Estimated Values | 4433 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20111750002 | 2011-06-23 08:30 | BETA-SITOSTEROL | 62815GCM99 | 1.6 | 4.88 | E | ug/L | 0.75 | 3.66 | Estimated Values | 4433 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 4.88 | E | ug/L | 0.57992 | 2.83 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 4.88 | E | ug/L | 0.39344 | 1.92 | Estimated Values | 4433 | B | sgs | mtc | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | BETA-SITOSTEROL | 62815GCM99 | 1.6 | 4.8932 | E | ug/L | 0.99934 | 4.89 | Estimated Values | 4433 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | BETA-SITOSTEROL | 62815GCM99 | 1.6 | 4.9485 | E | ug/L | 0.61028 | 3.02 | Estimated Values | 4433 | R | jiv | mc | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 4.95 | E | ug/L | 0.3596 | 1.78 | Estimated Values | 4433 | B | sgs | mc | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 4.95 | E | ug/L | 0.5697 | 2.82 | Estimated Values | 4433 | B | sgs | mnc | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 4.95 | E | ug/L | 0.56566 | 2.8 | Estimated Values | 4433 | Y | awh | mnc | 2012-07-26 | Supelco LB77171: 20 µl
20122210008 | 2012-08-07 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 5.92 | E | ug/L | 0.52872 | 3.13 | Estimated Values | 4433 | R | jiv | mnc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 5.92 | E | ug/L | 1.0101 | 5.98 | Estimated Values | 4433 | B | sgs | mc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20130870086 | 2013-03-27 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 5.92 | E | ug/L | 0.39189 | 2.32 | Estimated Values | 4433 | B | sgs | mtc | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20121600155 | 2012-06-07 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 5.992 | E | ug/L | 0.51235 | 3.07 | Estimated Values | 4433 | R | jiv | mnc | 2012-07-28 | Supelco LB92782: 20 µl
20122370103 | 2012-08-23 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 5.992 | E | ug/L | 0.77437 | 4.64 | Estimated Values | 4433 | R | jiv | mnc | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20132910006 | 2013-10-17 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 6.12 | E | ug/L | 0.46732 | 2.86 | Estimated Values | 4433 | B | sgs | mnc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20133260003 | 2013-11-21 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 6.12 | E | ug/L | 0.43137 | 2.64 | Estimated Values | 4433 | B | sgs | mnc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 6.12 | E | ug/L | 0.70588 | 4.32 | Estimated Values | 4433 | B | sgs | mnc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 6.12 | E | ug/L | 0.34314 | 2.1 | Estimated Values | 4433 | B | sgs | mtc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20112380056 | 2011-08-25 11:10 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 6.144 | E | ug/L | 0.61686 | 3.79 | Estimated Values | 4433 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20132690008 | 2013-09-25 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 6.212 | E | ug/L | 0.46845 | 2.91 | Estimated Values | 4433 | B | sgs | mnc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140300033 | 2014-01-30 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 6.212 | E | ug/L | 0.50547 | 3.14 | Estimated Values | 4433 | B | sgs | mnc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140930054 | 2014-04-03 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 6.212 | E | ug/L | 0.60045 | 3.73 | Estimated Values | 4433 | B | sgs | mnc | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20151210038 | 2015-04-30 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 7.204 | E | ug/L | 0.78845 | 5.68 | Estimated Values | 4433 | B | sgs | mc | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 7.204 | E | ug/L | 0.5608 | 4.04 | Estimated Values | 4433 | B | sgs | mnc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 7.204 | E | ug/L | 0.28456 | 2.05 | Estimated Values | 4433 |  | sgs | mtc | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20160280053 | 2016-01-28 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 7.204 | E | ug/L | 0.29567 | 2.13 | Estimated Values | 4433 |  | rcr | mtc | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20152530087 | 2015-09-10 09:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 7.24 | E | ug/L | 0.57735 | 4.18 | Estimated Values | 4433 |  | sgs | mnc | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20153030067 | 2015-10-29 08:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 7.24 | E | ug/L | 0.65746 | 4.76 | Estimated Values | 4433 |  | sgs | mnc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160490032 | 2016-02-18 08:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 7.24 | E | ug/L | 0.28453 | 2.06 | Estimated Values | 4433 |  | rcr | mtc | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20141010007 | 2014-04-10 06:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 9.465 | E | ug/L | 0.19651 | 1.86 | Estimated Values | 4433 | B | sgs | mtc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 9.465 | E | ug/L | 0.54622 | 5.17 | Estimated Values | 4433 | B | sgs | mc | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 9.465 | E | ug/L | 0.67089 | 6.35 | Estimated Values | 4433 | B | sgs | mc | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 9.465 | E | ug/L | 0.74062 | 7.01 | Estimated Values | 4433 | B | sgs | mc | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 9.6102 | E | ug/L | 0.27679 | 2.66 | Estimated Values | 4433 | B | sgs | mnc | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 9.6102 | E | ug/L | 0.83453 | 8.02 | Estimated Values | 4433 | B | sgs | mc | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 9.6102 | E | ug/L | 0.28407 | 2.73 | Estimated Values | 4433 | B | sgs | mnc | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 9.6102 | E | ug/L | 0.55358 | 5.32 | Estimated Values | 4433 | B | sgs | mc | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 9.6102 | E | ug/L | 0.39125 | 3.76 | Estimated Values | 4433 | B | sgs | mnc | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 9.6102 | E | ug/L | 1.1134 | 10.7 | Estimated Values | 4433 | B | sgs | mc | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20121730124 | 2012-06-21 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.84 | E | ug/L | 0.7103 | 8.41 | Estimated Values | 4433 | R | jiv | mc | 2012-07-29 | Crescent 05BB045: 40 µl
20161400194 | 2016-05-18 06:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.84 | E | ug/L | 0.26182 | 3.1 | Estimated Values | 4433 | B | sgs | mnc | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161600088 | 2016-06-08 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.84 | E | ug/L | 0.1951 | 2.31 | Estimated Values | 4433 | B | sgs | mtc | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20162150212 | 2016-08-02 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.84 | E | ug/L | 0.70777 | 8.38 | Estimated Values | 4433 | B | sgs | @mc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162660006 | 2016-09-21 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.84 | E | ug/L | 0.36993 | 4.38 | Estimated Values | 4433 | B | sgs | mnc | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20161880110 | 2016-07-06 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.924 | E | ug/L | 0.5468 | 6.52 | Estimated Values | 4433 | B | sgs | mc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162440114 | 2016-08-31 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.924 | E | ug/L | 0.31869 | 3.8 | Estimated Values | 4433 | B | sgs | mnc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163150005 | 2016-11-09 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.924 | E | ug/L | 0.42184 | 5.03 | Estimated Values | 4433 | B | sgs | mc | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163500003 | 2016-12-14 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.924 | E | ug/L | 0.31617 | 3.77 | Estimated Values | 4433 | B | sgs | mnc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20130250062 | 2013-01-24 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 11.984 | E | ug/L | 0.51652 | 6.19 | Estimated Values | 4433 | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20120200071 | 2012-01-19 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 12.2 | E | ug/L | 0.74098 | 9.04 | Estimated Values | 4433 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 12.2 | E | ug/L | 0.82787 | 10.1 | Estimated Values | 4433 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 12.375 | E | ug/L | 0.26182 | 3.24 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
20153370177 | 2015-12-03 08:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 14.408 | E | ug/L | 0.4435 | 6.39 | Estimated Values | 4433 |  | sgs | mc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153510110 | 2015-12-17 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 14.408 | E | ug/L | 0.21655 | 3.12 | Estimated Values | 4433 |  | sgs | mnc | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 14.48 | E | ug/L | 0.60566 | 8.77 | Estimated Values | 4433 |  | sgs | mc | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20152250271 | 2015-08-13 09:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 14.48 | E | ug/L | 0.38122 | 5.52 | Estimated Values | 4433 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20140030013 | 2014-01-02 06:15 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 15.3 | E | ug/L | 0.66667 | 10.2 | Estimated Values | 4433 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20131440104 | 2013-05-23 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 15.53 | E | ug/L | 1.0238 | 15.9 | Estimated Values | 4433 | B | sgs | mc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20141710103 | 2014-06-19 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 18.93 | E | ug/L | 0.39725 | 7.52 | Estimated Values | 4433 | B | sgs | mc | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 18.93 | E | ug/L | 0.79768 | 15.1 | Estimated Values | 4433 | B | sgs | mc | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 18.93 | E | ug/L | 1.3365 | 25.3 | Estimated Values | 4433 | B | sgs | mc | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 18.93 | E | ug/L | 0.57052 | 10.8 | Estimated Values | 4433 | B | sgs | mc | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 19.2204 | E | ug/L | 0.57231 | 11 | Estimated Values | 4433 | B | sgs | mc | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 19.2204 | E | ug/L | 0.51872 | 9.97 | Estimated Values | 4433 | B | sgs | mc | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 19.2204 | E | ug/L | 0.84285 | 16.2 | Estimated Values | 4433 | B | sgs | mc | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20112170170 | 2011-08-04 09:30 | BETA-SITOSTEROL | 62815GCM99 | 1.6 | 19.52 | E | ug/L | 0.68648 | 13.4 | Estimated Values | 4433 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 19.52 | E | ug/L | 0.31711 | 6.19 | Estimated Values | 4433 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 19.52 | E | ug/L | 0.56352 | 11 | Estimated Values | 4433 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
20111540005 | 2011-06-02 09:00 | BETA-SITOSTEROL | 62815GCM99 | 1.6 | 19.6429 | E | ug/L | 0.81964 | 16.1 | Estimated Values | 4433 | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | BETA-SITOSTEROL | 62815GCM99 | 1.6 | 19.8 | E | ug/L | 0.5404 | 10.7 | Estimated Values | 4433 | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl
20130100068 | 2013-01-10 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 23.68 | E | ug/L | 0.7348 | 17.4 | Estimated Values | 4433 | B | sgs | mc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20162100008 | 2016-07-27 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 23.68 | E | ug/L | 0.6799 | 16.1 | Estimated Values | 4433 | B | sgs | mc | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20163280007 | 2016-11-21 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 23.68 | E | ug/L | 0.55321 | 13.1 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20163420127 | 2016-12-07 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 23.68 | E | ug/L | 0.48564 | 11.5 | Estimated Values | 4433 | B | sgs | mc | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20162990149 | 2016-10-25 07:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 23.848 | E | ug/L | 0.30443 | 7.26 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162930160 | 2016-10-19 06:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 23.848 | E | ug/L | 0.4361 | 10.4 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20123140092 | 2012-11-08 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 23.968 | E | ug/L | 0.56742 | 13.6 | Estimated Values | 4433 | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20130590064 | 2013-02-28 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 23.968 | E | ug/L | 0.34045 | 8.16 | Estimated Values | 4433 | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20152810121 | 2015-10-08 08:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 28.816 | E | ug/L | 0.56566 | 16.3 | Estimated Values | 4433 |  | sgs | mc | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20152670134 | 2015-09-24 09:00 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 28.96 | E | ug/L | 0.62155 | 18 | Estimated Values | 4433 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20153160002 | 2015-11-10 08:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 28.96 | E | ug/L | 0.63536 | 18.4 | Estimated Values | 4433 |  | sgs | mc | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20162380005 | 2016-08-24 07:15 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 29.81 | E | ug/L | 0.20161 | 6.01 | Estimated Values | 4433 | B | sgs | mc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20132070037 | 2013-07-25 07:30 | BETA-SITOSTEROL | 62815GCM99 | 4.8 | 61.66 | E | ug/L | 0.38437 | 23.7 | Estimated Values | 4433 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl