## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20142720001 | 2014-09-25 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 |  | E | ug/L |  | 0.53 | False Positive | 4433 | B | sgs | mtc | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20150290077 | 2015-01-29 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 |  | E | ug/L |  | 0.93 | False Positive | 4433 | B | sgs | mtc | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20152110199 | 2015-07-30 09:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 |  | E | ug/L |  | 1.98 | False Positive | 4433 |  | sgs | mnc | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153160002 | 2015-11-10 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 |  | E | ug/L |  | 3.84 | False Positive | 4433 |  | sgs | mc | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20160490032 | 2016-02-18 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 |  | E | ug/L |  | 0.47 | False Positive | 4433 |  | rcr | mtc | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20132210039 | 2013-08-08 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.984 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 8.48 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20111260151 | 2011-05-05 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 1.6 | 1.0073 | E | ug/L | 0.22834 | 0.23 | Estimated Values | 4433 | B | sgs | mtc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20112380056 | 2011-08-25 11:10 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 1.6 | E | ug/L | 0.4 | 0.64 | Estimated Values | 4433 | E | jiv | mtc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20112450021 | 2011-09-01 09:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 3.12 | E | ug/L | 0.51282 | 1.6 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 3.12 | E | ug/L | 0.36859 | 1.15 | Estimated Values | 4433 | B | sgs | mtc | 2012-03-07 | Crescent 06MM136: 20 µl
20111750002 | 2011-06-23 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 1.6 | 3.12 | E | ug/L | 0.52564 | 1.64 | Estimated Values | 4433 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 1.6 | 3.1284 | E | ug/L | 1.0165 | 3.18 | Estimated Values | 4433 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 1.6 | 3.437 | E | ug/L | 0.59646 | 2.05 | Estimated Values | 4433 | R | jiv | mc | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 3.438 | E | ug/L | 0.2356 | 0.81 | Estimated Values | 4433 | B | sgs | mnc | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 3.438 | E | ug/L | 0.50029 | 1.72 | Estimated Values | 4433 | B | sgs | mnc | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 3.438 | E | ug/L | 0.44793 | 1.54 | Estimated Values | 4433 | Y | awh | mtc | 2012-07-26 | Supelco LB77171: 20 µl
20122210008 | 2012-08-07 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5 | E | ug/L | 0.438 | 2.19 | Estimated Values | 4433 | R | jiv | mnc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5 | E | ug/L | 0.63 | 3.15 | Estimated Values | 4433 | B | sgs | mnc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20130870086 | 2013-03-27 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5 | E | ug/L | 0.328 | 1.64 | Estimated Values | 4433 | B | sgs | mtc | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20151410210 | 2015-05-21 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5 | E | ug/L | 0.468 | 2.34 | Estimated Values | 4433 | B | sgs | mnc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20152390223 | 2015-08-27 09:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5 | E | ug/L | 0.26 | 1.3 | Estimated Values | 4433 |  | sgs | mtc | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20152950079 | 2015-10-22 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5 | E | ug/L | 0.15 | 0.75 | Estimated Values | 4433 |  | sgs | mtc | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5 | E | ug/L | 0.504 | 2.52 | Estimated Values | 4433 |  | rcr | mnc | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160840086 | 2016-03-24 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5 | E | ug/L | 0.49 | 2.45 | Estimated Values | 4433 | V | rcr | mnc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20121600155 | 2012-06-07 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.012 | E | ug/L | 0.43496 | 2.18 | Estimated Values | 4433 | R | jiv | mnc | 2012-07-28 | Supelco LB92782: 20 µl
20122370103 | 2012-08-23 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.012 | E | ug/L | 0.70032 | 3.51 | Estimated Values | 4433 | R | jiv | mc | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20151210038 | 2015-04-30 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.108 | E | ug/L | 0.83007 | 4.24 | Estimated Values | 4433 | B | sgs | mc | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151970168 | 2015-07-16 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.108 | E | ug/L | 0.67541 | 3.45 | Estimated Values | 4433 |  | sgs | mc | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20153030067 | 2015-10-29 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.108 | E | ug/L | 0.70282 | 3.59 | Estimated Values | 4433 |  | sgs | mc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160280053 | 2016-01-28 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.108 | E | ug/L | 0.30736 | 1.57 | Estimated Values | 4433 |  | rcr | mtc | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20132910006 | 2013-10-17 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.82 | E | ug/L | 0.47938 | 2.79 | Estimated Values | 4433 | B | sgs | mnc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20133260003 | 2013-11-21 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.82 | E | ug/L | 0.33333 | 1.94 | Estimated Values | 4433 | B | sgs | mnc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.82 | E | ug/L | 0.52405 | 3.05 | Estimated Values | 4433 | B | sgs | mnc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.82 | E | ug/L | 0.24914 | 1.45 | Estimated Values | 4433 | B | sgs | mtc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20132690008 | 2013-09-25 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.984 | E | ug/L | 0.36598 | 2.19 | Estimated Values | 4433 | B | sgs | mnc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140300033 | 2014-01-30 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.984 | E | ug/L | 0.31584 | 1.89 | Estimated Values | 4433 | B | sgs | mnc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140930054 | 2014-04-03 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 5.984 | E | ug/L | 0.39773 | 2.38 | Estimated Values | 4433 | B | sgs | mnc | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20141290007 | 2014-05-08 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 6.8388 | E | ug/L | 0.58197 | 3.98 | Estimated Values | 4433 | B | sgs | mc | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 6.8388 | E | ug/L | 0.46646 | 3.19 | Estimated Values | 4433 | B | sgs | mnc | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 6.8388 | E | ug/L | 0.43136 | 2.95 | Estimated Values | 4433 | B | sgs | mnc | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20150570009 | 2015-02-26 06:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 6.8388 | E | ug/L | 0.58928 | 4.03 | Estimated Values | 4433 | B | sgs | mc | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20150850162 | 2015-03-26 06:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 6.8388 | E | ug/L | 0.77791 | 5.32 | Estimated Values | 4433 | B | sgs | mc | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20151140152 | 2015-04-23 06:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 6.8388 | E | ug/L | 0.9914 | 6.78 | Estimated Values | 4433 | B | sgs | mc | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20142130131 | 2014-07-31 06:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 6.9 | E | ug/L | 0.22319 | 1.54 | Estimated Values | 4433 | B | sgs | mtc | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142270002 | 2014-08-14 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 6.9 | E | ug/L | 0.38406 | 2.65 | Estimated Values | 4433 | B | sgs | mnc | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20143520107 | 2014-12-18 06:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 6.9 | E | ug/L | 0.54928 | 3.79 | Estimated Values | 4433 | B | sgs | mc | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150990066 | 2015-04-09 06:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 6.9 | E | ug/L | 0.75942 | 5.24 | Estimated Values | 4433 | B | sgs | mc | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20120200071 | 2012-01-19 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 7.8 | E | ug/L | 0.68462 | 5.34 | Estimated Values | 4433 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 7.8 | E | ug/L | 0.76154 | 5.94 | Estimated Values | 4433 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
20161400194 | 2016-05-18 06:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 8.12 | E | ug/L | 0.26355 | 2.14 | Estimated Values | 4433 | B | sgs | mnc | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161600088 | 2016-06-08 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 8.12 | E | ug/L | 0.2032 | 1.65 | Estimated Values | 4433 | B | sgs | mtc | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20162150212 | 2016-08-02 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 8.12 | E | ug/L | 0.76601 | 6.22 | Estimated Values | 4433 | B | sgs | @mc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162660006 | 2016-09-21 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 8.12 | E | ug/L | 0.42857 | 3.48 | Estimated Values | 4433 | B | sgs | mc | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20161880110 | 2016-07-06 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 8.48 | E | ug/L | 0.22877 | 1.94 | Estimated Values | 4433 | B | sgs | mnc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162440114 | 2016-08-31 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 8.48 | E | ug/L | 0.1533 | 1.3 | Estimated Values | 4433 | B | sgs | mtc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163150005 | 2016-11-09 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 8.48 | E | ug/L | 0.16863 | 1.43 | Estimated Values | 4433 | B | sgs | mtc | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163500003 | 2016-12-14 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 8.48 | E | ug/L | 0.19811 | 1.68 | Estimated Values | 4433 | B | sgs | mtc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20112590002 | 2011-09-15 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 8.595 | E | ug/L | 0.24084 | 2.07 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
20121730124 | 2012-06-21 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 10 | E | ug/L | 0.609 | 6.09 | Estimated Values | 4433 | R | jiv | mc | 2012-07-29 | Crescent 05BB045: 40 µl
20153370177 | 2015-12-03 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 10 | E | ug/L | 0.442 | 4.42 | Estimated Values | 4433 |  | sgs | mc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20161190076 | 2016-04-28 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 10 | E | ug/L | 0.599 | 5.99 | Estimated Values | 4433 | B | sgs | mc | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20130250062 | 2013-01-24 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 10.024 | E | ug/L | 0.42398 | 4.25 | Estimated Values | 4433 | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20151620180 | 2015-06-11 06:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 10.216 | E | ug/L | 0.50607 | 5.17 | Estimated Values | 4433 | B | sgs | mc | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20152250271 | 2015-08-13 09:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 10.216 | E | ug/L | 0.42776 | 4.37 | Estimated Values | 4433 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153280156 | 2015-11-24 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 10.216 | E | ug/L | 0.55893 | 5.71 | Estimated Values | 4433 |  | sgs | mc | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 10.216 | E | ug/L | 0.53543 | 5.47 | Estimated Values | 4433 | V | rcr | mc | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20112170170 | 2011-08-04 09:30 | BETA-STIGMASTANOL | 61948GCM99 | 1.6 | 12.48 | E | ug/L | 0.66186 | 8.26 | Estimated Values | 4433 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 12.48 | E | ug/L | 0.26763 | 3.34 | Estimated Values | 4433 | E | cli | mnc | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 12.48 | E | ug/L | 0.50561 | 6.31 | Estimated Values | 4433 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
20111540005 | 2011-06-02 09:00 | BETA-STIGMASTANOL | 61948GCM99 | 1.6 | 13.6429 | E | ug/L | 0.79162 | 10.8 | Estimated Values | 4433 | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
20141910242 | 2014-07-10 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 13.6776 | E | ug/L | 0.7282 | 9.96 | Estimated Values | 4433 | B | sgs | mc | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142480001 | 2014-09-04 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 13.6776 | E | ug/L | 0.65655 | 8.98 | Estimated Values | 4433 | B | sgs | mc | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143300047 | 2014-11-26 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 13.6776 | E | ug/L | 0.81886 | 11.2 | Estimated Values | 4433 | B | sgs | mc | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20111960036 | 2011-07-14 09:30 | BETA-STIGMASTANOL | 61948GCM99 | 1.6 | 13.752 | E | ug/L | 0.67481 | 9.28 | Estimated Values | 4433 | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl
20141360095 | 2014-05-16 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 13.8 | E | ug/L | 0.34783 | 4.8 | Estimated Values | 4433 | B | sgs | mc | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141490201 | 2014-05-29 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 13.8 | E | ug/L | 0.4471 | 6.17 | Estimated Values | 4433 | B | sgs | mc | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142470040 | 2014-09-03 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 13.8 | E | ug/L | 0.49058 | 6.77 | Estimated Values | 4433 | B | sgs | mc | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 13.8 | E | ug/L | 0.75362 | 10.4 | Estimated Values | 4433 | B | sgs | mc | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20142960087 | 2014-10-23 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 13.8 | E | ug/L | 0.78986 | 10.9 | Estimated Values | 4433 | B | sgs | mc | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20140030013 | 2014-01-02 06:15 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 14.55 | E | ug/L | 0.7354 | 10.7 | Estimated Values | 4433 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20131440104 | 2013-05-23 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 14.96 | E | ug/L | 0.74198 | 11.1 | Estimated Values | 4433 | B | sgs | mc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20162100008 | 2016-07-27 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 16.24 | E | ug/L | 0.71429 | 11.6 | Estimated Values | 4433 | B | sgs | mc | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20163280007 | 2016-11-21 08:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 16.24 | E | ug/L | 0.57635 | 9.36 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20163420127 | 2016-12-07 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 16.24 | E | ug/L | 0.72044 | 11.7 | Estimated Values | 4433 | B | sgs | mc | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20162990149 | 2016-10-25 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 16.96 | E | ug/L | 0.11675 | 1.98 | Estimated Values | 4433 | B | sgs | mnc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162930160 | 2016-10-19 06:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 16.96 | E | ug/L | 0.17276 | 2.93 | Estimated Values | 4433 | B | sgs | mnc | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20130100068 | 2013-01-10 07:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 20 | E | ug/L | 0.685 | 13.7 | Estimated Values | 4433 | B | sgs | mc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20152670134 | 2015-09-24 09:00 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 20 | E | ug/L | 0.78 | 15.6 | Estimated Values | 4433 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20160140040 | 2016-01-14 08:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 20 | E | ug/L | 0.53 | 10.6 | Estimated Values | 4433 |  | rcr | mc | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20123140092 | 2012-11-08 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 20.048 | E | ug/L | 0.39755 | 7.97 | Estimated Values | 4433 | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20130590064 | 2013-02-28 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 20.048 | E | ug/L | 0.30527 | 6.12 | Estimated Values | 4433 | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20162380005 | 2016-08-24 07:15 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 21.2 | E | ug/L | 0.10377 | 2.2 | Estimated Values | 4433 | B | sgs | mnc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20132070037 | 2013-07-25 07:30 | BETA-STIGMASTANOL | 61948GCM99 | 3.4 | 59.02 | E | ug/L | 0.26601 | 15.7 | Estimated Values | 4433 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl