## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2014-07-17 06:00 | 20141990081 | 2 | 3.99 | . | 2.16 | ug/L | 0.54135 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2014-11-13 07:00 | 20143180046 | 2 | 7.998 | E | 7.91 | ug/L | 0.989 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-08-13 09:00 | 20152250271 | 2 | 6 | E | 3 | ug/L | 0.5 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-01-28 08:00 | 20160280053 | 2 | 3.004 | E | 1.42 | ug/L | 0.4727 |  | rcr | vn | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-09-21 07:30 | 20162660006 | 2 | 5.0092 | . | 3.32 | ug/L | 0.66278 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-12-07 07:30 | 20163420127 | 2 | 10.0184 | E | 9.69 | ug/L | 0.96722 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-08-24 07:15 | 20162380005 | 2 | 12.523 | . | 6.23 | ug/L | 0.49748 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-10-19 06:30 | 20162930160 | 2 | 10.0184 | . | 6.98 | ug/L | 0.69672 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2013-09-25 07:30 | 20132690008 | 2 | 4.016 | . | 1.99 | ug/L | 0.49552 | B | sgs | vn | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2013-01-10 07:00 | 20130100068 | 2 | 15.92 | . | 11.8 | ug/L | 0.74121 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-05-18 06:00 | 20161400194 | 2 | 4.992 | E | 2.26 | ug/L | 0.45272 | B | sgs | v | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-07-27 06:30 | 20162100008 | 2 | 9.984 | . | 7.23 | ug/L | 0.72416 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-11-09 07:30 | 20163150005 | 2 | 4.992 | . | 3.63 | ug/L | 0.72716 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2013-11-21 07:00 | 20133260003 | 2 | 3.98 | . | 1.88 | ug/L | 0.47236 | B | sgs | n | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2013-07-25 07:30 | 20132070037 | 2 | 39.98 | E | 10.9 | ug/L | 0.27264 | B | sgs |  | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-09-24 09:00 | 20152670134 | 2 | 12 | E | 35.8 | ug/L | 2 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-03-24 08:00 | 20160840086 | 2 | 3 | E | 1.72 | ug/L | 0.57333 | V | rcr | vn | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-12-03 08:30 | 20153370177 | 2 | 6.008 | . | 3.1 | ug/L | 0.51598 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2012-08-07 07:00 | 20122210008 | 2 | 3.98 | . | 1.87 | ug/L | 0.46985 | R | jiv | vn | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2012-10-30 08:00 | 20123040158 | 2 | 3.98 | E | 2.36 | ug/L | 0.59296 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2012-06-21 07:00 | 20121730124 | 2 | 7.96 | . | 4.56 | ug/L | 0.57286 | R | jiv |  | 2012-07-29 | Crescent 05BB045: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2011-03-10 07:30 | 20110690080 | 2 | 4.2515 | . | 2.89 | ug/L | 0.67976 | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2011-06-23 08:30 | 20111750002 | 2 | 4.24 | . | 2.38 | ug/L | 0.56132 | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2011-08-04 09:30 | 20112170170 | 2 | 16.96 | E | 10.7 | ug/L | 0.6309 | R | jiv | c | 2011-08-17 | Crescent 06MM136: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2011-09-01 09:00 | 20112450021 | 2 | 4.24 | . | 2.52 | ug/L | 0.59434 | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2011-11-03 07:30 | 20113080004 | 2 | 16.96 | . | 6.68 | ug/L | 0.39387 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2012-01-19 08:00 | 20120200071 | 2 | 10.6 | . | 6.26 | ug/L | 0.59057 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2012-02-16 09:00 | 20120470077 | 2 | 4.24 | . | 2 | ug/L | 0.4717 | B | sgs |  | 2012-03-07 | Crescent 06MM136: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2012-03-08 07:30 | 20120690028 | 2 | 10.6 | . | 6.48 | ug/L | 0.61132 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2012-05-17 07:30 | 20121390007 | 2 | 16.96 | . | 9.46 | ug/L | 0.55778 | Y | awh | av | 2012-07-27 | Crescent 06MM136: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2014-07-31 06:00 | 20142130131 | 2 | 3.99 | . | 1.99 | ug/L | 0.49875 | B | sgs | n | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2014-09-03 06:30 | 20142470040 | 2 | 7.98 | . | 5.09 | ug/L | 0.63784 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-04-09 06:00 | 20150990066 | 2 | 3.99 | . | 4.41 | ug/L | 1.1053 | B | sgs | v | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-07-30 09:00 | 20152110199 | 2 | 6 | E | 4.65 | ug/L | 0.775 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-11-10 08:30 | 20153160002 | 2 | 12 | . | 8.11 | ug/L | 0.67583 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-09-10 09:00 | 20152530087 | 2 | 3 | . | 2.25 | ug/L | 0.75 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-02-18 08:30 | 20160490032 | 2 | 3 | E | 1.26 | ug/L | 0.42 |  | rcr | vn | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2013-10-17 07:30 | 20132910006 | 2 | 3.98 | . | 2.24 | ug/L | 0.56281 | B | sgs | v | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2013-05-23 07:30 | 20131440104 | 2 | 10.04 | E | 7.61 | ug/L | 0.75797 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2013-03-27 07:00 | 20130870086 | 2 | 3.98 | . | 1.92 | ug/L | 0.48241 | B | sgs | vn | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2012-08-23 07:30 | 20122370103 | 2 | 4.008 | . | 2.48 | ug/L | 0.61876 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-10-12 07:30 | 20162860080 | 2 | 5.0092 | E | 1.15 | ug/L | 0.22958 | B | sgs | nc | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-12-21 07:00 | 20163560020 | 2 | 12.523 | E | 8.63 | ug/L | 0.68913 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-06-15 08:00 | 20161680360 | 2 | 4.992 | . | 4.05 | ug/L | 0.8113 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-08-10 07:00 | 20162230167 | 2 | 9.984 | . | 7.4 | ug/L | 0.74119 | B | sgs |  | 2016-08-23 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2012-11-08 07:30 | 20123140092 | 2 | 16.032 | E | 7.21 | ug/L | 0.44973 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2013-01-24 06:30 | 20130250062 | 2 | 8.016 | . | 4.74 | ug/L | 0.59132 | B | sgs | v | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2013-02-28 07:30 | 20130590064 | 2 | 16.032 | . | 5.59 | ug/L | 0.34868 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2014-05-01 06:30 | 20141220026 | 2 | 3.999 | . | 1.39 | ug/L | 0.34759 | B | sgs | n | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2014-05-16 06:30 | 20141360095 | 2 | 7.998 | E | 3.12 | ug/L | 0.3901 | B | sgs | v | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2014-10-02 07:00 | 20142760025 | 2 | 7.998 | . | 6.61 | ug/L | 0.82646 | B | sgs | v | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-10-08 08:00 | 20152810121 | 2 | 12.016 | E | 8.02 | ug/L | 0.66744 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-04-07 06:30 | 20160980150 | 2 | 3.004 | E | 1.41 | ug/L | 0.46937 | B | sgs | vn | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-05-21 06:30 | 20151410210 | 2 | 3.004 | E | 1.87 | ug/L | 0.6225 | B | sgs | vn | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-06-25 06:30 | 20151760207 | 2 | 3.004 | . | 1.78 | ug/L | 0.59254 |  | sgs | n | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2015-12-17 08:00 | 20153510110 | 2 | 6.008 | . | 2.77 | ug/L | 0.46105 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-09-14 06:30 | 20162580142 | 2 | 10.0184 | . | 8.49 | ug/L | 0.84744 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-11-02 07:00 | 20163070096 | 2 | 5.0092 | . | 2.18 | ug/L | 0.4352 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-11-30 07:00 | 20163370002 | 2 | 5.0092 | . | 3.42 | ug/L | 0.68274 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2016-07-13 08:00 | 20161960001 | 2 | 12.48 | . | 5.71 | ug/L | 0.45753 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2011-06-02 09:00 | 20111540005 | 2 | 16.8889 | E | 9.22 | ug/L | 0.54592 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2011-07-14 09:30 | 20111960036 | 2 | 17.024 | E | 10.7 | ug/L | 0.62852 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2011-08-18 08:50 | 20112310029 | 2 | 4.256 | . | 4.64 | ug/L | 1.0902 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2011-09-15 08:30 | 20112590002 | 2 | 10.64 | . | 3.37 | ug/L | 0.31673 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2011-12-15 08:30 | 20113500022 | 2 | 4.256 | . | 2.88 | ug/L | 0.67669 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
4433 | BIS(2-ETHYLHEXYL) PHTHALATE | 39100GCM99 | 2012-06-07 08:00 | 20121600155 | 2 | 4.008 | . | 2.24 | ug/L | 0.55888 | R | jiv | v | 2012-07-28 | Supelco LB92782: 20 µl