## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | BROMACIL | 30234GCM99 | 0.16 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20160980150 | 2016-04-07 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.2406 | < | ug/L |  | 0.241 | SACRALT | 4433 | B | sgs | v | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20161820002 | 2016-06-29 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151760207 | 2015-06-25 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.24 | . | ug/L | 1.2167 | 0.292 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20152530087 | 2015-09-10 09:00 | BROMACIL | 30234GCM99 | 0.16 | 0.24 | . | ug/L | 0.90833 | 0.218 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20152950079 | 2015-10-22 08:30 | BROMACIL | 30234GCM99 | 0.16 | 0.24 | . | ug/L | 1.05 | 0.252 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | BROMACIL | 30234GCM99 | 0.16 | 0.24 | . | ug/L | 1.5792 | 0.379 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160490032 | 2016-02-18 08:30 | BROMACIL | 30234GCM99 | 0.16 | 0.24 | . | ug/L | 1.6 | 0.384 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20151970168 | 2015-07-16 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.2406 | . | ug/L | 1.3134 | 0.316 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | BROMACIL | 30234GCM99 | 0.16 | 0.2406 | . | ug/L | 0.94763 | 0.228 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20141010007 | 2014-04-10 06:00 | BROMACIL | 30234GCM99 | 0.16 | 0.3201 | E | ug/L | 0.7154 | 0.229 | Estimated Values | 4433 | B | sgs |  | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.3201 | . | ug/L | 0.75914 | 0.243 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.3201 | . | ug/L | 0.81537 | 0.261 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20150850162 | 2015-03-26 06:00 | BROMACIL | 30234GCM99 | 0.16 | 0.3201 | . | ug/L | 1.2996 | 0.416 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.321 | . | ug/L | 0.67913 | 0.218 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20141990081 | 2014-07-17 06:00 | BROMACIL | 30234GCM99 | 0.16 | 0.321 | . | ug/L | 0.77882 | 0.25 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142130131 | 2014-07-31 06:00 | BROMACIL | 30234GCM99 | 0.16 | 0.321 | . | ug/L | 0.96262 | 0.309 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142340162 | 2014-08-18 06:45 | BROMACIL | 30234GCM99 | 0.16 | 0.321 | . | ug/L | 0.98131 | 0.315 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20142720001 | 2014-09-25 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.321 | . | ug/L | 0.82555 | 0.265 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20150990066 | 2015-04-09 06:00 | BROMACIL | 30234GCM99 | 0.16 | 0.321 | . | ug/L | 0.88785 | 0.285 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20161400194 | 2016-05-18 06:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4 | . | ug/L | 1.295 | 0.518 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4 | . | ug/L | 1.305 | 0.522 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20163150005 | 2016-11-09 07:30 | BROMACIL | 30234GCM99 | 0.16 | 0.4 | . | ug/L | 1.0725 | 0.429 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20162660006 | 2016-09-21 07:30 | BROMACIL | 30234GCM99 | 0.16 | 0.4004 | . | ug/L | 1.0764 | 0.431 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20162860080 | 2016-10-12 07:30 | BROMACIL | 30234GCM99 | 0.16 | 0.4004 | E | ug/L | 0.5045 | 0.202 | Estimated Values | 4433 | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163070096 | 2016-11-02 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4004 | . | ug/L | 0.87912 | 0.352 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4004 | . | ug/L | 1.0889 | 0.436 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20151620180 | 2015-06-11 06:00 | BROMACIL | 30234GCM99 | 0.16 | 0.48 | . | ug/L | 1.0688 | 0.513 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153510110 | 2015-12-17 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.48 | . | ug/L | 1.0125 | 0.486 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4812 | . | ug/L | 1.1596 | 0.558 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153280156 | 2015-11-24 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4812 | . | ug/L | 0.94971 | 0.457 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | BROMACIL | 30234GCM99 | 0.16 | 0.4812 | . | ug/L | 1.0827 | 0.521 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4812 | . | ug/L | 1.1264 | 0.542 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20132690008 | 2013-09-25 07:30 | BROMACIL | 30234GCM99 | 0.16 | 0.49 | . | ug/L | 0.71633 | 0.351 | Recoverable Result | 4433 | B | sgs |  | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20133110109 | 2013-11-07 07:30 | BROMACIL | 30234GCM99 | 0.16 | 0.49 | . | ug/L | 0.82041 | 0.402 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140160088 | 2014-01-16 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.49 | . | ug/L | 0.70816 | 0.347 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140300033 | 2014-01-30 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.49 | . | ug/L | 0.73469 | 0.36 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20132560002 | 2013-09-12 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4908 | . | ug/L | 0.89242 | 0.438 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133260003 | 2013-11-21 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4908 | . | ug/L | 0.95355 | 0.468 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140650080 | 2014-03-06 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4908 | . | ug/L | 0.75998 | 0.373 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.4908 | . | ug/L | 0.83741 | 0.411 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20122210008 | 2012-08-07 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.5 | . | ug/L | 0.896 | 0.448 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.5 | . | ug/L | 1.022 | 0.511 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20121950066 | 2012-07-12 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.5024 | . | ug/L | 0.98726 | 0.496 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.5024 | . | ug/L | 0.65884 | 0.331 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20141360095 | 2014-05-16 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.6402 | E | ug/L | 0.47329 | 0.303 | Estimated Values | 4433 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141710103 | 2014-06-19 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.6402 | . | ug/L | 0.78569 | 0.503 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20142760025 | 2014-10-02 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.6402 | . | ug/L | 0.80287 | 0.514 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20143180046 | 2014-11-13 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.6402 | . | ug/L | 1.1168 | 0.715 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20142470040 | 2014-09-03 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.642 | . | ug/L | 0.78193 | 0.502 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20143300047 | 2014-11-26 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.642 | . | ug/L | 0.93769 | 0.602 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20150290077 | 2015-01-29 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.642 | . | ug/L | 1.1324 | 0.727 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20162100008 | 2016-07-27 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.8 | . | ug/L | 1.0225 | 0.818 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20162230167 | 2016-08-10 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.8 | . | ug/L | 0.9825 | 0.786 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.8008 | . | ug/L | 1.034 | 0.828 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20162930160 | 2016-10-19 06:30 | BROMACIL | 30234GCM99 | 0.16 | 0.8008 | . | ug/L | 0.9453 | 0.757 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20163420127 | 2016-12-07 07:30 | BROMACIL | 30234GCM99 | 0.16 | 0.8008 | . | ug/L | 1.205 | 0.965 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20111260151 | 2011-05-05 08:30 | BROMACIL | 30234GCM99 | 0.16 | 0.8058 | . | ug/L | 1.1703 | 0.943 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20160140040 | 2016-01-14 08:30 | BROMACIL | 30234GCM99 | 0.16 | 0.96 | . | ug/L | 1.0938 | 1.05 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20152810121 | 2015-10-08 08:00 | BROMACIL | 30234GCM99 | 0.16 | 0.9624 | . | ug/L | 1.0495 | 1.01 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | BROMACIL | 30234GCM99 | 0.16 | 0.9624 | . | ug/L | 0.86035 | 0.828 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20111750002 | 2011-06-23 08:30 | BROMACIL | 30234GCM99 | 0.16 | 0.976 | . | ug/L | 0.79098 | 0.772 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | BROMACIL | 30234GCM99 | 0.16 | 0.976 | . | ug/L | 0.88627 | 0.865 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | BROMACIL | 30234GCM99 | 0.16 | 0.976 | . | ug/L | 1.0451 | 1.02 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | BROMACIL | 30234GCM99 | 0.16 | 0.97864 | . | ug/L | 1.0831 | 1.06 | Recoverable Result | 4433 | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | BROMACIL | 30234GCM99 | 0.16 | 0.9897 | . | ug/L | 0.75982 | 0.752 | Recoverable Result | 4433 | R | jiv |  | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | BROMACIL | 30234GCM99 | 0.16 | 0.99 | . | ug/L | 0.98384 | 0.974 | Recoverable Result | 4433 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | BROMACIL | 30234GCM99 | 0.16 | 0.99 | . | ug/L | 0.81313 | 0.805 | Recoverable Result | 4433 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | BROMACIL | 30234GCM99 | 0.16 | 0.99 | . | ug/L | 0.77172 | 0.764 | Recoverable Result | 4433 | Y | awh |  | 2012-07-26 | Supelco LB77171: 20 µl
20123420075 | 2012-12-06 07:00 | BROMACIL | 30234GCM99 | 0.16 | 1 | . | ug/L | 0.655 | 0.655 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20161960001 | 2016-07-13 08:00 | BROMACIL | 30234GCM99 | 0.16 | 1 | . | ug/L | 0.955 | 0.955 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20162380005 | 2016-08-24 07:15 | BROMACIL | 30234GCM99 | 0.16 | 1.001 | . | ug/L | 0.92907 | 0.93 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20163560020 | 2016-12-21 07:00 | BROMACIL | 30234GCM99 | 0.16 | 1.001 | . | ug/L | 1.1489 | 1.15 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20122720049 | 2012-09-27 06:30 | BROMACIL | 30234GCM99 | 0.16 | 1.0048 | . | ug/L | 0.79021 | 0.794 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20131020082 | 2013-04-11 07:00 | BROMACIL | 30234GCM99 | 0.16 | 1.0048 | . | ug/L | 0.94646 | 0.951 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20131290118 | 2013-05-09 07:30 | BROMACIL | 30234GCM99 | 0.16 | 1.225 | . | ug/L | 0.84898 | 1.04 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20112380056 | 2011-08-25 11:10 | BROMACIL | 30234GCM99 | 0.16 | 1.28 | . | ug/L | 0.96875 | 1.24 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20130590064 | 2013-02-28 07:30 | BROMACIL | 30234GCM99 | 0.16 | 2 | . | ug/L | 0.715 | 1.43 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20130100068 | 2013-01-10 07:00 | BROMACIL | 30234GCM99 | 0.16 | 2.0096 | . | ug/L | 0.7713 | 1.55 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20120200071 | 2012-01-19 08:00 | BROMACIL | 30234GCM99 | 0.16 | 2.44 | . | ug/L | 0.87295 | 2.13 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | BROMACIL | 30234GCM99 | 0.16 | 2.44 | . | ug/L | 0.90164 | 2.2 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
20131650075 | 2013-06-13 07:30 | BROMACIL | 30234GCM99 | 0.16 | 2.452 | . | ug/L | 0.68923 | 1.69 | Recoverable Result | 4433 | B | sgs |  | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20131920148 | 2013-07-11 07:00 | BROMACIL | 30234GCM99 | 0.16 | 2.454 | . | ug/L | 0.49307 | 1.21 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20112590002 | 2011-09-15 08:30 | BROMACIL | 30234GCM99 | 0.16 | 2.475 | . | ug/L | 0.73131 | 1.81 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
20112170170 | 2011-08-04 09:30 | BROMACIL | 30234GCM99 | 0.16 | 3.904 | . | ug/L | 0.94262 | 3.68 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | BROMACIL | 30234GCM99 | 0.16 | 3.904 | . | ug/L | 1.0476 | 4.09 | Recoverable Result | 4433 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | BROMACIL | 30234GCM99 | 0.16 | 3.904 | . | ug/L | 0.97592 | 3.81 | Recoverable Result | 4433 | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
20111540005 | 2011-06-02 09:00 | BROMACIL | 30234GCM99 | 0.16 | 3.9286 | . | ug/L | 0.74582 | 2.93 | Recoverable Result | 4433 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | BROMACIL | 30234GCM99 | 0.16 | 3.96 | . | ug/L | 0.80051 | 3.17 | Recoverable Result | 4433 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl