## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | CAFFEINE | 81436GCM99 | 0.08 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | CAFFEINE | 81436GCM99 | 0.08 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151210038 | 2015-04-30 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1202 | . | ug/L | 1.198 | 0.144 | Recoverable Result | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1202 | E | ug/L | 1.0233 | 0.123 | Estimated Values | 4433 | B | sgs | v | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1202 | . | ug/L | 1.1148 | 0.134 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20160280053 | 2016-01-28 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1202 | . | ug/L | 0.82363 | 0.099 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160980150 | 2016-04-07 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1202 | . | ug/L | 0.84027 | 0.101 | Recoverable Result | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20152530087 | 2015-09-10 09:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1206 | . | ug/L | 1.1443 | 0.138 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20153030067 | 2015-10-29 08:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1206 | . | ug/L | 1.0199 | 0.123 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160490032 | 2016-02-18 08:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1206 | . | ug/L | 0.97844 | 0.118 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20160840086 | 2016-03-24 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1206 | . | ug/L | 0.86235 | 0.104 | Recoverable Result | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20141010007 | 2014-04-10 06:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.159 | E | ug/L | 0.45912 | 0.073 | Estimated Values | 4433 | B | sgs | nc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | CAFFEINE | 81436GCM99 | 0.08 | 0.159 | . | ug/L | 0.84906 | 0.135 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.159 | . | ug/L | 1.0629 | 0.169 | Recoverable Result | 4433 | B | sgs | v | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.159 | . | ug/L | 0.95597 | 0.152 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1599 | . | ug/L | 0.71295 | 0.114 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1599 | . | ug/L | 0.84428 | 0.135 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1599 | . | ug/L | 0.91932 | 0.147 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1599 | . | ug/L | 1.0507 | 0.168 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1599 | . | ug/L | 1.0444 | 0.167 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1599 | . | ug/L | 1.257 | 0.201 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20132690008 | 2013-09-25 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.16 | . | ug/L | 0.8 | 0.128 | Recoverable Result | 4433 | B | sgs |  | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20133110109 | 2013-11-07 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.16 | . | ug/L | 0.95625 | 0.153 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140160088 | 2014-01-16 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.16 | . | ug/L | 0.71875 | 0.115 | Recoverable Result | 4433 | B | sgs | v | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140300033 | 2014-01-30 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.16 | . | ug/L | 0.65625 | 0.105 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20132560002 | 2013-09-12 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1602 | . | ug/L | 0.89263 | 0.143 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133260003 | 2013-11-21 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1602 | . | ug/L | 0.88015 | 0.141 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140650080 | 2014-03-06 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1602 | . | ug/L | 0.68664 | 0.11 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1602 | . | ug/L | 0.86142 | 0.138 | Recoverable Result | 4433 | B | sgs | v | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20161600088 | 2016-06-08 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1996 | . | ug/L | 0.78156 | 0.156 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1996 | . | ug/L | 0.98697 | 0.197 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162150212 | 2016-08-02 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1996 | . | ug/L | 0.92685 | 0.185 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1996 | . | ug/L | 0.91182 | 0.182 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20162860080 | 2016-10-12 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.1996 | E | ug/L | 0.28056 | 0.056 | Estimated Values | 4433 | B | sgs | vnc | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163500003 | 2016-12-14 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.1996 | . | ug/L | 0.92685 | 0.185 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20122210008 | 2012-08-07 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.2 | . | ug/L | 0.73 | 0.146 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.2 | . | ug/L | 0.88 | 0.176 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20161880110 | 2016-07-06 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.2 | E | ug/L | 0.93 | 0.186 | Estimated Values | 4433 | B | sgs | v | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20163070096 | 2016-11-02 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.2 | E | ug/L | 0.57 | 0.114 | Estimated Values | 4433 | B | sgs | v | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.2 | E | ug/L | 0.81 | 0.162 | Estimated Values | 4433 | B | sgs | v | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20121950066 | 2012-07-12 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.2056 | . | ug/L | 0.98249 | 0.202 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.2056 | . | ug/L | 0.60311 | 0.124 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20153370177 | 2015-12-03 08:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.2404 | . | ug/L | 1.0191 | 0.245 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153510110 | 2015-12-17 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.2404 | . | ug/L | 0.90266 | 0.217 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.2412 | . | ug/L | 1.1609 | 0.28 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20152250271 | 2015-08-13 09:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.2412 | . | ug/L | 0.84163 | 0.203 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20141710103 | 2014-06-19 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.318 | . | ug/L | 0.83648 | 0.266 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.318 | . | ug/L | 1.0912 | 0.347 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.318 | . | ug/L | 1.2138 | 0.386 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.318 | . | ug/L | 0.97484 | 0.31 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.3198 | . | ug/L | 0.81926 | 0.262 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.3198 | . | ug/L | 0.79112 | 0.253 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.3198 | . | ug/L | 1.207 | 0.386 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20162230167 | 2016-08-10 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.3992 | . | ug/L | 0.94439 | 0.377 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20123420075 | 2012-12-06 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.4 | . | ug/L | 0.66 | 0.264 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20131290118 | 2013-05-09 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.4 | . | ug/L | 0.82 | 0.328 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20162580142 | 2016-09-14 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.4 | . | ug/L | 0.98 | 0.392 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20163280007 | 2016-11-21 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.4 | . | ug/L | 0.845 | 0.338 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20162990149 | 2016-10-25 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.4 | . | ug/L | 0.6975 | 0.279 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20111260151 | 2011-05-05 08:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.4029 | . | ug/L | 0.95061 | 0.383 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20122720049 | 2012-09-27 06:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.4112 | . | ug/L | 0.74903 | 0.308 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20131020082 | 2013-04-11 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.4112 | . | ug/L | 0.93872 | 0.386 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20152810121 | 2015-10-08 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.4808 | . | ug/L | 0.86938 | 0.418 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20152670134 | 2015-09-24 09:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.4824 | . | ug/L | 0.9432 | 0.455 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20153160002 | 2015-11-10 08:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.4824 | . | ug/L | 0.84992 | 0.41 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20163560020 | 2016-12-21 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.499 | . | ug/L | 0.93387 | 0.466 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20161960001 | 2016-07-13 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.5 | . | ug/L | 0.822 | 0.411 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20112380056 | 2011-08-25 11:10 | CAFFEINE | 81436GCM99 | 0.08 | 0.64 | . | ug/L | 0.87969 | 0.563 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20111750002 | 2011-06-23 08:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.68 | . | ug/L | 0.725 | 0.493 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.68 | . | ug/L | 0.8 | 0.544 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.68 | . | ug/L | 0.84853 | 0.577 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.68184 | . | ug/L | 1.009 | 0.688 | Recoverable Result | 4433 | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.68319 | . | ug/L | 0.9075 | 0.62 | Recoverable Result | 4433 | R | jiv |  | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | CAFFEINE | 81436GCM99 | 0.08 | 0.6834 | . | ug/L | 0.81358 | 0.556 | Recoverable Result | 4433 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.6834 | . | ug/L | 0.87065 | 0.595 | Recoverable Result | 4433 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.6834 | . | ug/L | 0.95698 | 0.654 | Recoverable Result | 4433 | Y | awh |  | 2012-07-26 | Supelco LB77171: 20 µl
20130590064 | 2013-02-28 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.8 | . | ug/L | 0.64375 | 0.515 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20131650075 | 2013-06-13 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 0.8005 | . | ug/L | 0.66958 | 0.536 | Recoverable Result | 4433 | B | sgs |  | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20131920148 | 2013-07-11 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.801 | . | ug/L | 0.38702 | 0.31 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20130100068 | 2013-01-10 07:00 | CAFFEINE | 81436GCM99 | 0.08 | 0.8224 | . | ug/L | 0.82928 | 0.682 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20120200071 | 2012-01-19 08:00 | CAFFEINE | 81436GCM99 | 0.08 | 1.7 | . | ug/L | 0.85882 | 1.46 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 1.7 | . | ug/L | 0.92941 | 1.58 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | CAFFEINE | 81436GCM99 | 0.08 | 1.7085 | . | ug/L | 0.65555 | 1.12 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
20111540005 | 2011-06-02 09:00 | CAFFEINE | 81436GCM99 | 0.08 | 2.7119 | . | ug/L | 0.80018 | 2.17 | Recoverable Result | 4433 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
20112170170 | 2011-08-04 09:30 | CAFFEINE | 81436GCM99 | 0.08 | 2.72 | . | ug/L | 0.90441 | 2.46 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 2.72 | . | ug/L | 0.76103 | 2.07 | Recoverable Result | 4433 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | CAFFEINE | 81436GCM99 | 0.08 | 2.72 | . | ug/L | 0.875 | 2.38 | Recoverable Result | 4433 | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
20111960036 | 2011-07-14 09:30 | CAFFEINE | 81436GCM99 | 0.08 | 2.7336 | . | ug/L | 0.76456 | 2.09 | Recoverable Result | 4433 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl