## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20121110020 | 2012-04-19 07:00 | CARBAZOLE | 77571GCM99 | 0.02 |  | . | ug/L |  | 0.021 | False Positive | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20161820002 | 2016-06-29 08:00 | CARBAZOLE | 77571GCM99 | 0.02 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20132210039 | 2013-08-08 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.032 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20151210038 | 2015-04-30 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.03 | . | ug/L | 1.3333 | 0.04 | Recoverable Result | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.03 | . | ug/L | 1.0667 | 0.032 | Recoverable Result | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151970168 | 2015-07-16 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.03 | . | ug/L | 1.2 | 0.036 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.03 | . | ug/L | 1.0667 | 0.032 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20153030067 | 2015-10-29 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.03 | . | ug/L | 0.96667 | 0.029 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20152950079 | 2015-10-22 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.03 | . | ug/L | 1 | 0.03 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.03 | . | ug/L | 0.86667 | 0.026 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160280053 | 2016-01-28 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.03 | . | ug/L | 0.86667 | 0.026 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160840086 | 2016-03-24 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.03 | . | ug/L | 0.9 | 0.027 | Recoverable Result | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20133110109 | 2013-11-07 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.032 | . | ug/L | 0.96875 | 0.031 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.032 | . | ug/L | 0.84375 | 0.027 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140930054 | 2014-04-03 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.032 | . | ug/L | 0.90625 | 0.029 | Recoverable Result | 4433 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20132560002 | 2013-09-12 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.034 | . | ug/L | 0.94118 | 0.032 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20132910006 | 2013-10-17 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.034 | . | ug/L | 0.97059 | 0.033 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140160088 | 2014-01-16 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.034 | . | ug/L | 0.91176 | 0.031 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140370076 | 2014-02-06 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.034 | . | ug/L | 1.0588 | 0.036 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20142130131 | 2014-07-31 06:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.039 | . | ug/L | 1.2564 | 0.049 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142270002 | 2014-08-14 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.039 | . | ug/L | 1.2051 | 0.047 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20143520107 | 2014-12-18 06:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.039 | . | ug/L | 1.1026 | 0.043 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150990066 | 2015-04-09 06:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.039 | . | ug/L | 1.2308 | 0.048 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20141290007 | 2014-05-08 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.0399 | . | ug/L | 0.82707 | 0.033 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.0399 | . | ug/L | 0.90226 | 0.036 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.0399 | . | ug/L | 0.87719 | 0.035 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20150570009 | 2015-02-26 06:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.0399 | . | ug/L | 0.82707 | 0.033 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20150850162 | 2015-03-26 06:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.0399 | . | ug/L | 0.92732 | 0.037 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20151140152 | 2015-04-23 06:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.0399 | . | ug/L | 1.1779 | 0.047 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20161600088 | 2016-06-08 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.05 | . | ug/L | 1 | 0.05 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.05 | . | ug/L | 1.1 | 0.055 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20161880110 | 2016-07-06 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.05 | . | ug/L | 1.08 | 0.054 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162150212 | 2016-08-02 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.05 | . | ug/L | 0.96 | 0.048 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.05 | . | ug/L | 0.92 | 0.046 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20162860080 | 2016-10-12 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.05 | E | ug/L | 0.54 | 0.027 | Estimated Values | 4433 | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163070096 | 2016-11-02 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.05 | . | ug/L | 0.72 | 0.036 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.05 | . | ug/L | 0.9 | 0.045 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163500003 | 2016-12-14 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.05 | . | ug/L | 0.78 | 0.039 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20151620180 | 2015-06-11 06:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.06 | . | ug/L | 1.2667 | 0.076 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20152250271 | 2015-08-13 09:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.06 | . | ug/L | 0.9 | 0.054 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153370177 | 2015-12-03 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.06 | . | ug/L | 1.0333 | 0.062 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153280156 | 2015-11-24 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.06 | . | ug/L | 0.88333 | 0.053 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.06 | . | ug/L | 0.91667 | 0.055 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.06 | . | ug/L | 0.85 | 0.051 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20141360095 | 2014-05-16 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.078 | E | ug/L | 0.57692 | 0.045 | Estimated Values | 4433 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141490201 | 2014-05-29 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.078 | . | ug/L | 0.80769 | 0.063 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142470040 | 2014-09-03 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.078 | . | ug/L | 1.2179 | 0.095 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.078 | . | ug/L | 0.98718 | 0.077 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20142960087 | 2014-10-23 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.078 | . | ug/L | 1.2564 | 0.098 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20141910242 | 2014-07-10 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.0798 | . | ug/L | 1.0902 | 0.087 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142480001 | 2014-09-04 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.0798 | . | ug/L | 1.0526 | 0.084 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143300047 | 2014-11-26 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.0798 | . | ug/L | 1.1278 | 0.09 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20140030013 | 2014-01-02 06:15 | CARBAZOLE | 77571GCM99 | 0.02 | 0.08 | . | ug/L | 0.9375 | 0.075 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20131290118 | 2013-05-09 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.085 | . | ug/L | 0.97647 | 0.083 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.085 | . | ug/L | 1.0471 | 0.089 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20162230167 | 2016-08-10 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.1 | . | ug/L | 0.89 | 0.089 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.1 | . | ug/L | 0.96 | 0.096 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20163280007 | 2016-11-21 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.1 | . | ug/L | 0.98 | 0.098 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20162990149 | 2016-10-25 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.1 | . | ug/L | 0.83 | 0.083 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20111260151 | 2011-05-05 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.10073 | . | ug/L | 1.1814 | 0.119 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20121950066 | 2012-07-12 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.12 | . | ug/L | 1.1083 | 0.133 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20122370103 | 2012-08-23 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.12 | . | ug/L | 1.0417 | 0.125 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130460007 | 2013-02-14 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.12 | . | ug/L | 0.85833 | 0.103 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130870086 | 2013-03-27 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.12 | . | ug/L | 0.975 | 0.117 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20152670134 | 2015-09-24 09:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.12 | . | ug/L | 1.0583 | 0.127 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20160140040 | 2016-01-14 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.12 | . | ug/L | 0.83333 | 0.1 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20161960001 | 2016-07-13 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.125 | . | ug/L | 0.952 | 0.119 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20163560020 | 2016-12-21 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.125 | . | ug/L | 0.992 | 0.124 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20112380056 | 2011-08-25 11:10 | CARBAZOLE | 77571GCM99 | 0.02 | 0.16 | . | ug/L | 1.0688 | 0.171 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20131920148 | 2013-07-11 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.16 | . | ug/L | 0.68125 | 0.109 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20122720049 | 2012-09-27 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.24 | . | ug/L | 0.85833 | 0.206 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.24 | . | ug/L | 0.74167 | 0.178 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20130250062 | 2013-01-24 06:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.24 | . | ug/L | 0.875 | 0.21 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.24 | . | ug/L | 1.025 | 0.246 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20111750002 | 2011-06-23 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.276 | . | ug/L | 0.73188 | 0.202 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.276 | . | ug/L | 0.9058 | 0.25 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.276 | . | ug/L | 0.88768 | 0.245 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.27675 | . | ug/L | 0.97562 | 0.27 | Recoverable Result | 4433 | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.27772 | . | ug/L | 0.83178 | 0.231 | Recoverable Result | 4433 | R | jiv |  | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | CARBAZOLE | 77571GCM99 | 0.02 | 0.2778 | . | ug/L | 0.87833 | 0.244 | Recoverable Result | 4433 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.2778 | . | ug/L | 0.78834 | 0.219 | Recoverable Result | 4433 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.2778 | . | ug/L | 0.90353 | 0.251 | Recoverable Result | 4433 | Y | awh |  | 2012-07-26 | Supelco LB77171: 20 µl
20123140092 | 2012-11-08 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.48 | . | ug/L | 0.88958 | 0.427 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20120200071 | 2012-01-19 08:00 | CARBAZOLE | 77571GCM99 | 0.02 | 0.69 | . | ug/L | 0.8087 | 0.558 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.69 | . | ug/L | 0.91304 | 0.63 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | CARBAZOLE | 77571GCM99 | 0.02 | 0.6945 | . | ug/L | 0.82361 | 0.572 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
20111540005 | 2011-06-02 09:00 | CARBAZOLE | 77571GCM99 | 0.02 | 1.1024 | . | ug/L | 0.8019 | 0.884 | Recoverable Result | 4433 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
20112170170 | 2011-08-04 09:30 | CARBAZOLE | 77571GCM99 | 0.02 | 1.104 | . | ug/L | 0.87228 | 0.963 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 1.104 | . | ug/L | 0.94203 | 1.04 | Recoverable Result | 4433 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | CARBAZOLE | 77571GCM99 | 0.02 | 1.104 | . | ug/L | 0.84873 | 0.937 | Recoverable Result | 4433 | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
20111960036 | 2011-07-14 09:30 | CARBAZOLE | 77571GCM99 | 0.02 | 1.1112 | . | ug/L | 0.72174 | 0.802 | Recoverable Result | 4433 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl