## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.304 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151210038 | 2015-04-30 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.1801 | E | ug/L | 1.4436 | 0.26 | Estimated Values | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.1801 | E | ug/L | 1.2604 | 0.227 | Estimated Values | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.1801 | . | ug/L | 1.3381 | 0.241 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20160280053 | 2016-01-28 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.1801 | E | ug/L | 0.98279 | 0.177 | Estimated Values | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160980150 | 2016-04-07 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.1801 | E | ug/L | 0.97168 | 0.175 | Estimated Values | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20152530087 | 2015-09-10 09:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.1818 | . | ug/L | 1.0836 | 0.197 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20153030067 | 2015-10-29 08:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.1818 | E | ug/L | 0.9516 | 0.173 | Estimated Values | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160490032 | 2016-02-18 08:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.1818 | E | ug/L | 1.0781 | 0.196 | Estimated Values | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20160840086 | 2016-03-24 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.1818 | E | ug/L | 0.81958 | 0.149 | Estimated Values | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20141290007 | 2014-05-08 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.2397 | . | ug/L | 0.85941 | 0.206 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.2397 | . | ug/L | 1.0013 | 0.24 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.2397 | . | ug/L | 0.93033 | 0.223 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20150570009 | 2015-02-26 06:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.2397 | E | ug/L | 1.0513 | 0.252 | Estimated Values | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20150850162 | 2015-03-26 06:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.2397 | E | ug/L | 1.0388 | 0.249 | Estimated Values | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20151140152 | 2015-04-23 06:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.2397 | E | ug/L | 1.3642 | 0.327 | Estimated Values | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20142130131 | 2014-07-31 06:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.24 | . | ug/L | 1.1667 | 0.28 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142270002 | 2014-08-14 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.24 | . | ug/L | 1.225 | 0.294 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20143520107 | 2014-12-18 06:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.24 | E | ug/L | 1.2167 | 0.292 | Estimated Values | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150990066 | 2015-04-09 06:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.24 | E | ug/L | 1.175 | 0.282 | Estimated Values | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20132560002 | 2013-09-12 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.2508 | . | ug/L | 1.0048 | 0.252 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133260003 | 2013-11-21 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.2508 | . | ug/L | 1.0048 | 0.252 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140650080 | 2014-03-06 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.2508 | . | ug/L | 0.83732 | 0.21 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.2508 | . | ug/L | 0.85726 | 0.215 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20132690008 | 2013-09-25 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.252 | . | ug/L | 0.80952 | 0.204 | Recoverable Result | 4433 | B | sgs |  | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20133110109 | 2013-11-07 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.252 | . | ug/L | 0.94048 | 0.237 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140160088 | 2014-01-16 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.252 | . | ug/L | 0.86508 | 0.218 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140300033 | 2014-01-30 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.252 | . | ug/L | 0.9127 | 0.23 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20162660006 | 2016-09-21 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.3004 | . | ug/L | 0.81891 | 0.246 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20162860080 | 2016-10-12 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.3004 | E | ug/L | 0.49268 | 0.148 | Estimated Values | 4433 | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163070096 | 2016-11-02 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.3004 | . | ug/L | 0.73569 | 0.221 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.3004 | . | ug/L | 0.8988 | 0.27 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20161400194 | 2016-05-18 06:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.304 | E | ug/L | 0.875 | 0.266 | Estimated Values | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.304 | . | ug/L | 1.1678 | 0.355 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20163150005 | 2016-11-09 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.304 | . | ug/L | 0.80592 | 0.245 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20153370177 | 2015-12-03 08:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.3602 | E | ug/L | 1.0661 | 0.384 | Estimated Values | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153510110 | 2015-12-17 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.3602 | E | ug/L | 0.91338 | 0.329 | Estimated Values | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.3636 | . | ug/L | 1.1496 | 0.418 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20152250271 | 2015-08-13 09:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.3636 | . | ug/L | 0.75083 | 0.273 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20141910242 | 2014-07-10 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.4794 | . | ug/L | 1.1932 | 0.572 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142480001 | 2014-09-04 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.4794 | . | ug/L | 0.95119 | 0.456 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143300047 | 2014-11-26 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.4794 | . | ug/L | 1.1264 | 0.54 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20141360095 | 2014-05-16 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.48 | E | ug/L | 0.59583 | 0.286 | Estimated Values | 4433 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141490201 | 2014-05-29 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.48 | . | ug/L | 0.9 | 0.432 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142470040 | 2014-09-03 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.48 | . | ug/L | 1.0063 | 0.483 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.48 | . | ug/L | 0.9125 | 0.438 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20142960087 | 2014-10-23 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.48 | . | ug/L | 1.3396 | 0.643 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20110340009 | 2011-02-02 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.32 | 0.5763 | . | ug/L | 0.91098 | 0.525 | Recoverable Result | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | CHLORPYRIFOS | 38932GCM99 | 0.32 | 0.57873 | . | ug/L | 0.87606 | 0.507 | Recoverable Result | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | CHLORPYRIFOS | 38932GCM99 | 0.32 | 0.588 | . | ug/L | 0.96259 | 0.566 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.588 | . | ug/L | 0.92347 | 0.543 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | CHLORPYRIFOS | 38932GCM99 | 0.32 | 0.5892 | . | ug/L | 0.92668 | 0.546 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.5892 | . | ug/L | 0.77902 | 0.459 | Recoverable Result | 4433 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.5892 | . | ug/L | 1.0387 | 0.612 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20162580142 | 2016-09-14 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.6008 | . | ug/L | 0.81225 | 0.488 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20162930160 | 2016-10-19 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.6008 | . | ug/L | 0.90879 | 0.546 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20163420127 | 2016-12-07 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.6008 | . | ug/L | 1.0469 | 0.629 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20162100008 | 2016-07-27 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.608 | . | ug/L | 0.94572 | 0.575 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20162230167 | 2016-08-10 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.608 | . | ug/L | 0.80757 | 0.491 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20131290118 | 2013-05-09 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.63 | . | ug/L | 0.98095 | 0.618 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20152810121 | 2015-10-08 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.7204 | E | ug/L | 1.1882 | 0.856 | Estimated Values | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20152670134 | 2015-09-24 09:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.7272 | . | ug/L | 1.0809 | 0.786 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20153160002 | 2015-11-10 08:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.7272 | E | ug/L | 0.82646 | 0.601 | Estimated Values | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20162380005 | 2016-08-24 07:15 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.751 | . | ug/L | 0.84953 | 0.638 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20163560020 | 2016-12-21 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.751 | . | ug/L | 0.94807 | 0.712 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20161960001 | 2016-07-13 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 0.76 | . | ug/L | 0.86316 | 0.656 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20122210008 | 2012-08-07 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 1 | . | ug/L | 0.833 | 0.833 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 1 | . | ug/L | 1.13 | 1.13 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20121950066 | 2012-07-12 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 1.0024 | . | ug/L | 0.98065 | 0.983 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 1.0024 | . | ug/L | 0.7502 | 0.752 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20131920148 | 2013-07-11 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 1.254 | . | ug/L | 0.71132 | 0.892 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20131650075 | 2013-06-13 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 1.257 | . | ug/L | 0.81941 | 1.03 | Recoverable Result | 4433 | B | sgs |  | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20111890007 | 2011-07-07 08:30 | CHLORPYRIFOS | 38932GCM99 | 0.32 | 1.47 | . | ug/L | 0.73469 | 1.08 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 1.47 | E | ug/L | 0.5449 | 0.801 | Estimated Values | 4433 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 1.47 | . | ug/L | 0.92517 | 1.36 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.32 | 1.4724 | . | ug/L | 0.91686 | 1.35 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 1.473 | . | ug/L | 1.0726 | 1.58 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 1.473 | . | ug/L | 0.8554 | 1.26 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | CHLORPYRIFOS | 38932GCM99 | 0.32 | 1.4788 | . | ug/L | 0.86559 | 1.28 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20111260151 | 2011-05-05 08:30 | CHLORPYRIFOS | 38932GCM99 | 0.32 | 1.6116 | . | ug/L | 0.93075 | 1.5 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20123420075 | 2012-12-06 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 2 | . | ug/L | 0.92 | 1.84 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20122720049 | 2012-09-27 06:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 2.0048 | . | ug/L | 0.88787 | 1.78 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20131020082 | 2013-04-11 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 2.0048 | . | ug/L | 0.87789 | 1.76 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20111390173 | 2011-05-19 08:30 | CHLORPYRIFOS | 38932GCM99 | 0.32 | 2.338 | . | ug/L | 0.864 | 2.02 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 2.352 | . | ug/L | 0.92687 | 2.18 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 2.352 | . | ug/L | 0.74405 | 1.75 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 2.3568 | . | ug/L | 0.85285 | 2.01 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl
20112380056 | 2011-08-25 11:10 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 2.56 | . | ug/L | 0.83984 | 2.15 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20130590064 | 2013-02-28 07:30 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 4 | . | ug/L | 0.715 | 2.86 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20130100068 | 2013-01-10 07:00 | CHLORPYRIFOS | 38932GCM99 | 0.12 | 4.0096 | . | ug/L | 0.93276 | 3.74 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl