## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20121600155 | 2012-06-07 08:00 | COTININE | 61945GCM99 | 0.08 |  | U | ug/L |  |  | Deleted Values | 4433 | R | jiv | mc | 2012-07-28 | Supelco LB92782: 20 µl
20132210039 | 2013-08-08 08:00 | COTININE | 61945GCM99 | 0.08 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20142130131 | 2014-07-31 06:00 | COTININE | 61945GCM99 | 0.08 |  | U | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142760025 | 2014-10-02 07:00 | COTININE | 61945GCM99 | 0.08 |  | E | ug/L |  | 0.029 | False Positive | 4433 | B | sgs | bmt | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20161820002 | 2016-06-29 08:00 | COTININE | 61945GCM99 | 0.08 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20162380005 | 2016-08-24 07:15 | COTININE | 61945GCM99 | 0.08 |  | U | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20163150005 | 2016-11-09 07:30 | COTININE | 61945GCM99 | 0.08 |  | U | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20152950079 | 2015-10-22 08:30 | COTININE | 61945GCM99 | 0.08 | 0.118 | < | ug/L |  |  | False Negative | 4433 |  | sgs | mc | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160840086 | 2016-03-24 08:00 | COTININE | 61945GCM99 | 0.08 | 0.118 | < | ug/L |  |  | False Negative | 4433 | V | rcr | mc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20160280053 | 2016-01-28 08:00 | COTININE | 61945GCM99 | 0.08 | 0.12 | < | ug/L |  |  | False Negative | 4433 |  | rcr | mc | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20141010007 | 2014-04-10 06:00 | COTININE | 61945GCM99 | 0.08 | 0.1596 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | COTININE | 61945GCM99 | 0.08 | 0.1599 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | COTININE | 61945GCM99 | 0.08 | 0.1599 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20163370002 | 2016-11-30 07:00 | COTININE | 61945GCM99 | 0.08 | 0.2 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20162860080 | 2016-10-12 07:30 | COTININE | 61945GCM99 | 0.08 | 0.2028 | U | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163500003 | 2016-12-14 08:00 | COTININE | 61945GCM99 | 0.08 | 0.2028 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20152250271 | 2015-08-13 09:00 | COTININE | 61945GCM99 | 0.08 | 0.24 | < | ug/L |  |  | False Negative | 4433 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20122210008 | 2012-08-07 07:00 | COTININE | 61945GCM99 | 0.08 | 0.3 | < | ug/L |  |  | False Negative | 4433 | R | jiv | mc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20140860103 | 2014-03-27 07:00 | COTININE | 61945GCM99 | 0.08 | 0.342 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140300033 | 2014-01-30 08:00 | COTININE | 61945GCM99 | 0.08 | 0.342 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20162580142 | 2016-09-14 06:30 | COTININE | 61945GCM99 | 0.08 | 0.4 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20163280007 | 2016-11-21 08:00 | COTININE | 61945GCM99 | 0.08 | 0.4 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20163560020 | 2016-12-21 07:00 | COTININE | 61945GCM99 | 0.08 | 0.507 | < | ug/L |  |  | False Negative | 4433 | B | sgs | mc | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20151410210 | 2015-05-21 06:30 | COTININE | 61945GCM99 | 0.08 | 0.118 | E | ug/L | 0.62712 | 0.074 | Estimated Values | 4433 | B | sgs | mnc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20152390223 | 2015-08-27 09:00 | COTININE | 61945GCM99 | 0.08 | 0.118 | E | ug/L | 0.28814 | 0.034 | Estimated Values | 4433 |  | sgs | mtc | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | COTININE | 61945GCM99 | 0.08 | 0.118 | E | ug/L | 0.74576 | 0.088 | Estimated Values | 4433 |  | rcr | mc | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20151210038 | 2015-04-30 07:30 | COTININE | 61945GCM99 | 0.08 | 0.12 | E | ug/L | 0.80833 | 0.097 | Estimated Values | 4433 | B | sgs | mc | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151970168 | 2015-07-16 06:30 | COTININE | 61945GCM99 | 0.08 | 0.12 | E | ug/L | 0.78333 | 0.094 | Estimated Values | 4433 |  | sgs | mc | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20153030067 | 2015-10-29 08:30 | COTININE | 61945GCM99 | 0.08 | 0.12 | E | ug/L | 0.475 | 0.057 | Estimated Values | 4433 |  | sgs | mnc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20142340162 | 2014-08-18 06:45 | COTININE | 61945GCM99 | 0.08 | 0.1596 | E | ug/L | 0.49499 | 0.079 | Estimated Values | 4433 | B | sgs | mnc | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | COTININE | 61945GCM99 | 0.08 | 0.1596 | E | ug/L | 0.401 | 0.064 | Estimated Values | 4433 | B | sgs | mnc | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | COTININE | 61945GCM99 | 0.08 | 0.1596 | E | ug/L | 0.11905 | 0.019 | Estimated Values | 4433 | B | sgs | bmt | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141990081 | 2014-07-17 06:00 | COTININE | 61945GCM99 | 0.08 | 0.1599 | E | ug/L | 0.40025 | 0.064 | Estimated Values | 4433 | B | sgs | mnc | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | COTININE | 61945GCM99 | 0.08 | 0.1599 | E | ug/L | 0.53784 | 0.086 | Estimated Values | 4433 | B | sgs | mc | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | COTININE | 61945GCM99 | 0.08 | 0.1599 | E | ug/L | 0.28143 | 0.045 | Estimated Values | 4433 | B | sgs | mnc | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | COTININE | 61945GCM99 | 0.08 | 0.1599 | E | ug/L | 0.58787 | 0.094 | Estimated Values | 4433 | B | sgs | mc | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20161880110 | 2016-07-06 07:00 | COTININE | 61945GCM99 | 0.08 | 0.2 | E | ug/L | 0.345 | 0.069 | Estimated Values | 4433 | B | sgs | mnc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20163070096 | 2016-11-02 07:00 | COTININE | 61945GCM99 | 0.08 | 0.2 | E | ug/L | 0.135 | 0.027 | Estimated Values | 4433 | B | sgs | bmt | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20161600088 | 2016-06-08 08:00 | COTININE | 61945GCM99 | 0.08 | 0.2028 | E | ug/L | 0.2071 | 0.042 | Estimated Values | 4433 | B | sgs | mnc | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | COTININE | 61945GCM99 | 0.08 | 0.2028 | E | ug/L | 0.45858 | 0.093 | Estimated Values | 4433 | B | sgs | mc | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162150212 | 2016-08-02 07:30 | COTININE | 61945GCM99 | 0.08 | 0.2028 | E | ug/L | 0.286 | 0.058 | Estimated Values | 4433 | B | sgs | @mn | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | COTININE | 61945GCM99 | 0.08 | 0.2028 | E | ug/L | 0.21203 | 0.043 | Estimated Values | 4433 | B | sgs | mnc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20153370177 | 2015-12-03 08:30 | COTININE | 61945GCM99 | 0.08 | 0.236 | E | ug/L | 0.25847 | 0.061 | Estimated Values | 4433 |  | sgs | mnc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20161190076 | 2016-04-28 07:00 | COTININE | 61945GCM99 | 0.08 | 0.236 | E | ug/L | 0.71186 | 0.168 | Estimated Values | 4433 | B | sgs | mc | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20151620180 | 2015-06-11 06:00 | COTININE | 61945GCM99 | 0.08 | 0.24 | E | ug/L | 0.55 | 0.132 | Estimated Values | 4433 | B | sgs | mc | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153280156 | 2015-11-24 08:00 | COTININE | 61945GCM99 | 0.08 | 0.24 | E | ug/L | 0.50417 | 0.121 | Estimated Values | 4433 |  | sgs | mc | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | COTININE | 61945GCM99 | 0.08 | 0.24 | E | ug/L | 0.43333 | 0.104 | Estimated Values | 4433 | V | rcr | mc | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20123040158 | 2012-10-30 08:00 | COTININE | 61945GCM99 | 0.08 | 0.3 | E | ug/L | 0.39333 | 0.118 | Estimated Values | 4433 | B | sgs | mc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20121950066 | 2012-07-12 08:00 | COTININE | 61945GCM99 | 0.08 | 0.3112 | E | ug/L | 0.56234 | 0.175 | Estimated Values | 4433 | R | jiv | mc | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | COTININE | 61945GCM99 | 0.08 | 0.3112 | E | ug/L | 0.22494 | 0.07 | Estimated Values | 4433 | B | sgs | mnc | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20141710103 | 2014-06-19 07:00 | COTININE | 61945GCM99 | 0.08 | 0.3192 | E | ug/L | 0.30702 | 0.098 | Estimated Values | 4433 | B | sgs | mc | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | COTININE | 61945GCM99 | 0.08 | 0.3192 | E | ug/L | 0.13158 | 0.042 | Estimated Values | 4433 | B | sgs | mnc | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | COTININE | 61945GCM99 | 0.08 | 0.3192 | E | ug/L | 0.6485 | 0.207 | Estimated Values | 4433 | B | sgs | mc | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | COTININE | 61945GCM99 | 0.08 | 0.3192 | E | ug/L | 0.45426 | 0.145 | Estimated Values | 4433 | B | sgs | mc | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | COTININE | 61945GCM99 | 0.08 | 0.3198 | E | ug/L | 0.5566 | 0.178 | Estimated Values | 4433 | B | sgs | mc | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | COTININE | 61945GCM99 | 0.08 | 0.3198 | E | ug/L | 0.30019 | 0.096 | Estimated Values | 4433 | B | sgs | mc | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | COTININE | 61945GCM99 | 0.08 | 0.3198 | E | ug/L | 0.74109 | 0.237 | Estimated Values | 4433 | B | sgs | mc | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20132560002 | 2013-09-12 08:00 | COTININE | 61945GCM99 | 0.08 | 0.342 | E | ug/L | 0.61404 | 0.21 | Estimated Values | 4433 | B | sgs | mc | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20132690008 | 2013-09-25 07:30 | COTININE | 61945GCM99 | 0.08 | 0.342 | E | ug/L | 0.34503 | 0.118 | Estimated Values | 4433 | B | sgs | mc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20133110109 | 2013-11-07 07:30 | COTININE | 61945GCM99 | 0.08 | 0.342 | E | ug/L | 0.50585 | 0.173 | Estimated Values | 4433 | B | sgs | mc | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20133260003 | 2013-11-21 07:00 | COTININE | 61945GCM99 | 0.08 | 0.342 | E | ug/L | 0.47076 | 0.161 | Estimated Values | 4433 | B | sgs | mc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140160088 | 2014-01-16 08:00 | COTININE | 61945GCM99 | 0.08 | 0.342 | E | ug/L | 0.17251 | 0.059 | Estimated Values | 4433 | B | sgs | mnc | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | COTININE | 61945GCM99 | 0.08 | 0.342 | E | ug/L | 0.18421 | 0.063 | Estimated Values | 4433 | B | sgs | mnc | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20111260151 | 2011-05-05 08:30 | COTININE | 61945GCM99 | 0.08 | 0.34247 | E | ug/L | 0.47888 | 0.164 | Estimated Values | 4433 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20162990149 | 2016-10-25 07:00 | COTININE | 61945GCM99 | 0.08 | 0.4 | E | ug/L | 0.3625 | 0.145 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162230167 | 2016-08-10 07:00 | COTININE | 61945GCM99 | 0.08 | 0.4056 | E | ug/L | 0.34517 | 0.14 | Estimated Values | 4433 | B | sgs | mc | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20152670134 | 2015-09-24 09:00 | COTININE | 61945GCM99 | 0.08 | 0.472 | E | ug/L | 0.45763 | 0.216 | Estimated Values | 4433 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20160140040 | 2016-01-14 08:30 | COTININE | 61945GCM99 | 0.08 | 0.472 | E | ug/L | 0.53178 | 0.251 | Estimated Values | 4433 |  | rcr | mc | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20161960001 | 2016-07-13 08:00 | COTININE | 61945GCM99 | 0.08 | 0.5 | E | ug/L | 0.314 | 0.157 | Estimated Values | 4433 | B | sgs | mc | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20112380056 | 2011-08-25 11:10 | COTININE | 61945GCM99 | 0.08 | 0.544 | E | ug/L | 0.52757 | 0.287 | Estimated Values | 4433 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20123420075 | 2012-12-06 07:00 | COTININE | 61945GCM99 | 0.08 | 0.6 | E | ug/L | 0.23667 | 0.142 | Estimated Values | 4433 | B | sgs | mc | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20122720049 | 2012-09-27 06:30 | COTININE | 61945GCM99 | 0.08 | 0.6224 | E | ug/L | 0.12371 | 0.077 | Estimated Values | 4433 | B | sgs | mnc | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20131020082 | 2013-04-11 07:00 | COTININE | 61945GCM99 | 0.08 | 0.6224 | E | ug/L | 0.56234 | 0.35 | Estimated Values | 4433 | B | sgs | mc | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20131290118 | 2013-05-09 07:30 | COTININE | 61945GCM99 | 0.08 | 0.855 | E | ug/L | 0.29825 | 0.255 | Estimated Values | 4433 | B | sgs | mc | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20130590064 | 2013-02-28 07:30 | COTININE | 61945GCM99 | 0.08 | 1.2 | E | ug/L | 0.28917 | 0.347 | Estimated Values | 4433 | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20130100068 | 2013-01-10 07:00 | COTININE | 61945GCM99 | 0.08 | 1.2448 | E | ug/L | 0.3117 | 0.388 | Estimated Values | 4433 | B | sgs | mc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20111750002 | 2011-06-23 08:30 | COTININE | 61945GCM99 | 0.08 | 1.464 | E | ug/L | 0.43169 | 0.632 | Estimated Values | 4433 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | COTININE | 61945GCM99 | 0.08 | 1.464 | E | ug/L | 0.31011 | 0.454 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | COTININE | 61945GCM99 | 0.08 | 1.464 | E | ug/L | 0.42077 | 0.616 | Estimated Values | 4433 | B | sgs | mc | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | COTININE | 61945GCM99 | 0.08 | 1.468 | E | ug/L | 0.72209 | 1.06 | Estimated Values | 4433 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | COTININE | 61945GCM99 | 0.08 | 1.4846 | E | ug/L | 0.5564 | 0.826 | Estimated Values | 4433 | R | jiv | mc | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | COTININE | 61945GCM99 | 0.08 | 1.485 | E | ug/L | 0.43973 | 0.653 | Estimated Values | 4433 | B | sgs | mc | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | COTININE | 61945GCM99 | 0.08 | 1.485 | E | ug/L | 0.54276 | 0.806 | Estimated Values | 4433 | B | sgs | mc | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | COTININE | 61945GCM99 | 0.08 | 1.485 | E | ug/L | 0.58451 | 0.868 | Estimated Values | 4433 | Y | awh | mc | 2012-07-26 | Supelco LB77171: 20 µl
20131920148 | 2013-07-11 07:00 | COTININE | 61945GCM99 | 0.08 | 1.71 | E | ug/L | 0.1152 | 0.197 | Estimated Values | 4433 | B | sgs | mc | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20131650075 | 2013-06-13 07:30 | COTININE | 61945GCM99 | 0.08 | 1.71 | E | ug/L | 0.22047 | 0.377 | Estimated Values | 4433 | B | sgs | mc | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20120200071 | 2012-01-19 08:00 | COTININE | 61945GCM99 | 0.08 | 3.66 | E | ug/L | 0.47814 | 1.75 | Estimated Values | 4433 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | COTININE | 61945GCM99 | 0.08 | 3.66 | E | ug/L | 0.5929 | 2.17 | Estimated Values | 4433 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | COTININE | 61945GCM99 | 0.08 | 3.7125 | E | ug/L | 0.14599 | 0.542 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
20112170170 | 2011-08-04 09:30 | COTININE | 61945GCM99 | 0.08 | 5.856 | E | ug/L | 0.45594 | 2.67 | Estimated Values | 4433 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | COTININE | 61945GCM99 | 0.08 | 5.856 | E | ug/L | 0.35348 | 2.07 | Estimated Values | 4433 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | COTININE | 61945GCM99 | 0.08 | 5.856 | E | ug/L | 0.514 | 3.01 | Estimated Values | 4433 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
20111540005 | 2011-06-02 09:00 | COTININE | 61945GCM99 | 0.08 | 5.8929 | E | ug/L | 0.49721 | 2.93 | Estimated Values | 4433 | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | COTININE | 61945GCM99 | 0.08 | 5.94 | E | ug/L | 0.55556 | 3.3 | Estimated Values | 4433 | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl