## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20142130131 | 2014-07-31 06:00 | INDOLE | 62824GCM99 | 0.04 |  | U | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20132210039 | 2013-08-08 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.054 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.1 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20162860080 | 2016-10-12 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.1004 | < | ug/L |  |  | False Negative | 4433 | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20152250271 | 2015-08-13 09:00 | INDOLE | 62824GCM99 | 0.04 | 0.12 | < | ug/L |  |  | False Negative | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20132560002 | 2013-09-12 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.054 | . | ug/L | 0.81481 | 0.044 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133110109 | 2013-11-07 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.054 | . | ug/L | 0.98148 | 0.053 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20132910006 | 2013-10-17 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.054 | . | ug/L | 0.61111 | 0.033 | Recoverable Result | 4433 | B | sgs | n | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140160088 | 2014-01-16 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.054 | . | ug/L | 0.7963 | 0.043 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.054 | . | ug/L | 0.7963 | 0.043 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.054 | . | ug/L | 0.81481 | 0.044 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140930054 | 2014-04-03 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.054 | . | ug/L | 0.77778 | 0.042 | Recoverable Result | 4433 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20151210038 | 2015-04-30 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.06 | . | ug/L | 1.0167 | 0.061 | Recoverable Result | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.06 | . | ug/L | 0.85 | 0.051 | Recoverable Result | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151970168 | 2015-07-16 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.06 | . | ug/L | 1.1333 | 0.068 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | INDOLE | 62824GCM99 | 0.04 | 0.06 | . | ug/L | 0.91667 | 0.055 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20153030067 | 2015-10-29 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.06 | . | ug/L | 0.9 | 0.054 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20152950079 | 2015-10-22 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.06 | . | ug/L | 0.86667 | 0.052 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.06 | . | ug/L | 0.85 | 0.051 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160280053 | 2016-01-28 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.06 | . | ug/L | 0.91667 | 0.055 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160840086 | 2016-03-24 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.06 | . | ug/L | 0.83333 | 0.05 | Recoverable Result | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20141010007 | 2014-04-10 06:00 | INDOLE | 62824GCM99 | 0.04 | 0.0798 | E | ug/L | 0.6391 | 0.051 | Estimated Values | 4433 | B | sgs |  | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | INDOLE | 62824GCM99 | 0.04 | 0.0798 | . | ug/L | 0.82707 | 0.066 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | INDOLE | 62824GCM99 | 0.04 | 0.0798 | . | ug/L | 0.86466 | 0.069 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | INDOLE | 62824GCM99 | 0.04 | 0.0798 | . | ug/L | 0.51378 | 0.041 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.0801 | . | ug/L | 0.76155 | 0.061 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.0801 | . | ug/L | 0.78652 | 0.063 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | INDOLE | 62824GCM99 | 0.04 | 0.0801 | . | ug/L | 0.9613 | 0.077 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.0801 | . | ug/L | 1.0487 | 0.084 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.0801 | . | ug/L | 0.98627 | 0.079 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | INDOLE | 62824GCM99 | 0.04 | 0.0801 | . | ug/L | 0.89888 | 0.072 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20161400194 | 2016-05-18 06:00 | INDOLE | 62824GCM99 | 0.04 | 0.1 | . | ug/L | 0.88 | 0.088 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.1 | E | ug/L | 1.3 | 0.13 | Estimated Values | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20163150005 | 2016-11-09 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.1 | . | ug/L | 1.13 | 0.113 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20162660006 | 2016-09-21 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.1004 | . | ug/L | 1.1056 | 0.111 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20163070096 | 2016-11-02 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.1004 | . | ug/L | 0.87649 | 0.088 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.1004 | . | ug/L | 0.64741 | 0.065 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20151620180 | 2015-06-11 06:00 | INDOLE | 62824GCM99 | 0.04 | 0.12 | . | ug/L | 1.0083 | 0.121 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153370177 | 2015-12-03 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.12 | . | ug/L | 0.56667 | 0.068 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153280156 | 2015-11-24 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.12 | . | ug/L | 0.99167 | 0.119 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.12 | . | ug/L | 0.95 | 0.114 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.12 | . | ug/L | 1.0167 | 0.122 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20111260151 | 2011-05-05 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.12087 | . | ug/L | 0.19029 | 0.023 | Recoverable Result | 4433 | B | sgs | n | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20131290118 | 2013-05-09 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.135 | . | ug/L | 0.82222 | 0.111 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.135 | . | ug/L | 0.80741 | 0.109 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20140030013 | 2014-01-02 06:15 | INDOLE | 62824GCM99 | 0.04 | 0.135 | . | ug/L | 0.85926 | 0.116 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20141710103 | 2014-06-19 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.1596 | . | ug/L | 0.8208 | 0.131 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.1596 | . | ug/L | 0.33835 | 0.054 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.1596 | . | ug/L | 0.8396 | 0.134 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.1596 | . | ug/L | 0.80201 | 0.128 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.1602 | . | ug/L | 0.83021 | 0.133 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.1602 | . | ug/L | 0.9176 | 0.147 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.1602 | . | ug/L | 0.98002 | 0.157 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20112380056 | 2011-08-25 11:10 | INDOLE | 62824GCM99 | 0.04 | 0.192 | . | ug/L | 0.13021 | 0.025 | Recoverable Result | 4433 | E | jiv | n | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20162100008 | 2016-07-27 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.2 | . | ug/L | 1.02 | 0.204 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20162230167 | 2016-08-10 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.2 | . | ug/L | 0.565 | 0.113 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.2008 | . | ug/L | 0.26394 | 0.053 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20162930160 | 2016-10-19 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.2008 | . | ug/L | 0.91135 | 0.183 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20163420127 | 2016-12-07 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.2008 | . | ug/L | 0.74203 | 0.149 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20110340009 | 2011-02-02 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.22327 | . | ug/L | 0.92714 | 0.207 | Recoverable Result | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.22454 | . | ug/L | 0.90409 | 0.203 | Recoverable Result | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | INDOLE | 62824GCM99 | 0.04 | 0.2278 | . | ug/L | 0.88235 | 0.201 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.2278 | . | ug/L | 0.8604 | 0.196 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.2286 | . | ug/L | 0.85302 | 0.195 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.2286 | . | ug/L | 0.62992 | 0.144 | Recoverable Result | 4433 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.2286 | . | ug/L | 1.0542 | 0.241 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20152670134 | 2015-09-24 09:00 | INDOLE | 62824GCM99 | 0.04 | 0.24 | . | ug/L | 0.9375 | 0.225 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20160140040 | 2016-01-14 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.24 | . | ug/L | 0.89167 | 0.214 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20161960001 | 2016-07-13 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.25 | . | ug/L | 0.984 | 0.246 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20162380005 | 2016-08-24 07:15 | INDOLE | 62824GCM99 | 0.04 | 0.251 | . | ug/L | 0.69323 | 0.174 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20163560020 | 2016-12-21 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.251 | . | ug/L | 0.41434 | 0.104 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20131920148 | 2013-07-11 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.27 | . | ug/L | 0.72963 | 0.197 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20111890007 | 2011-07-07 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.5695 | . | ug/L | 0.74451 | 0.424 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.5695 | E | ug/L | 0.54785 | 0.312 | Estimated Values | 4433 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.5695 | . | ug/L | 0.88674 | 0.505 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | INDOLE | 62824GCM99 | 0.04 | 0.57127 | . | ug/L | 1.0293 | 0.588 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.5715 | . | ug/L | 0.7804 | 0.446 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | INDOLE | 62824GCM99 | 0.04 | 0.5715 | . | ug/L | 0.8399 | 0.48 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | INDOLE | 62824GCM99 | 0.04 | 0.57374 | . | ug/L | 0.89588 | 0.514 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20111390173 | 2011-05-19 08:30 | INDOLE | 62824GCM99 | 0.04 | 0.90577 | . | ug/L | 0.87109 | 0.789 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | INDOLE | 62824GCM99 | 0.04 | 0.9112 | . | ug/L | 0.89004 | 0.811 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | INDOLE | 62824GCM99 | 0.04 | 0.9112 | . | ug/L | 0.88674 | 0.808 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | INDOLE | 62824GCM99 | 0.04 | 0.9144 | . | ug/L | 0.96675 | 0.884 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl
20121950066 | 2012-07-12 08:00 | INDOLE | 62824GCM99 | 0.04 | 1 | . | ug/L | 1 | 1 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20122370103 | 2012-08-23 07:30 | INDOLE | 62824GCM99 | 0.04 | 1 | . | ug/L | 0.871 | 0.871 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130460007 | 2013-02-14 08:00 | INDOLE | 62824GCM99 | 0.04 | 1 | . | ug/L | 0.645 | 0.645 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130870086 | 2013-03-27 07:00 | INDOLE | 62824GCM99 | 0.04 | 1 | . | ug/L | 0.92 | 0.92 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20122720049 | 2012-09-27 06:30 | INDOLE | 62824GCM99 | 0.04 | 2 | . | ug/L | 0.795 | 1.59 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | INDOLE | 62824GCM99 | 0.04 | 2 | . | ug/L | 0.71 | 1.42 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20130250062 | 2013-01-24 06:30 | INDOLE | 62824GCM99 | 0.04 | 2 | . | ug/L | 0.605 | 1.21 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | INDOLE | 62824GCM99 | 0.04 | 2 | . | ug/L | 0.9 | 1.8 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20123140092 | 2012-11-08 07:30 | INDOLE | 62824GCM99 | 0.04 | 4 | . | ug/L | 0.8775 | 3.51 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl