## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20143180046 | 2014-11-13 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.36012 | < | ug/L |  |  | False Negative | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20131650075 | 2013-06-13 07:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.993 | < | ug/L |  |  | False Negative | 4433 | B | sgs |  | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20151970168 | 2015-07-16 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.1354 | . | ug/L | 1.1004 | 0.149 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.1354 | . | ug/L | 1.0931 | 0.148 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20160980150 | 2016-04-07 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.1354 | . | ug/L | 0.89365 | 0.121 | Recoverable Result | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20151760207 | 2015-06-25 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.136 | . | ug/L | 0.99265 | 0.135 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20152530087 | 2015-09-10 09:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.136 | . | ug/L | 1.0588 | 0.144 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20152950079 | 2015-10-22 08:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.136 | . | ug/L | 1.1838 | 0.161 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.136 | . | ug/L | 0.95588 | 0.13 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160490032 | 2016-02-18 08:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.136 | . | ug/L | 1.1765 | 0.16 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20141010007 | 2014-04-10 06:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.18006 | E | ug/L | 0.65534 | 0.118 | Estimated Values | 4433 | B | sgs |  | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.18006 | . | ug/L | 0.79418 | 0.143 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.18006 | . | ug/L | 0.81084 | 0.146 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20150850162 | 2015-03-26 06:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.18006 | . | ug/L | 0.96079 | 0.173 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.1836 | . | ug/L | 0.86601 | 0.159 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20141990081 | 2014-07-17 06:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.1836 | . | ug/L | 0.94771 | 0.174 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142130131 | 2014-07-31 06:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.1836 | . | ug/L | 0.94227 | 0.173 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142340162 | 2014-08-18 06:45 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.1836 | . | ug/L | 1.1438 | 0.21 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20142720001 | 2014-09-25 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.1836 | E | ug/L | 1.0022 | 0.184 | Estimated Values | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20150990066 | 2015-04-09 06:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.1836 | . | ug/L | 0.90414 | 0.166 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20132690008 | 2013-09-25 07:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.196 | . | ug/L | 0.78571 | 0.154 | Recoverable Result | 4433 | B | sgs |  | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20133110109 | 2013-11-07 07:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.196 | . | ug/L | 0.93878 | 0.184 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140160088 | 2014-01-16 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.196 | . | ug/L | 0.80612 | 0.158 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140300033 | 2014-01-30 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.196 | . | ug/L | 0.86735 | 0.17 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20132560002 | 2013-09-12 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2012 | . | ug/L | 1.0388 | 0.209 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133260003 | 2013-11-21 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2012 | . | ug/L | 1.0437 | 0.21 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140650080 | 2014-03-06 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2012 | . | ug/L | 0.78529 | 0.158 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2012 | . | ug/L | 0.92445 | 0.186 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20161600088 | 2016-06-08 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2264 | . | ug/L | 0.99382 | 0.225 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2264 | . | ug/L | 1.1882 | 0.269 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162150212 | 2016-08-02 07:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2264 | . | ug/L | 0.90989 | 0.206 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2264 | . | ug/L | 0.96731 | 0.219 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20162860080 | 2016-10-12 07:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2264 | E | ug/L | 0.63604 | 0.144 | Estimated Values | 4433 | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163500003 | 2016-12-14 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2264 | . | ug/L | 0.75088 | 0.17 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20161880110 | 2016-07-06 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.232 | . | ug/L | 0.93534 | 0.217 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20163070096 | 2016-11-02 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.232 | . | ug/L | 0.95259 | 0.221 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.232 | . | ug/L | 0.8319 | 0.193 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20152110199 | 2015-07-30 09:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2708 | . | ug/L | 1.0007 | 0.271 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153280156 | 2015-11-24 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2708 | . | ug/L | 1.0746 | 0.291 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2708 | . | ug/L | 0.88626 | 0.24 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.2708 | . | ug/L | 0.96012 | 0.26 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20151620180 | 2015-06-11 06:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.272 | . | ug/L | 0.98897 | 0.269 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153510110 | 2015-12-17 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.272 | . | ug/L | 1.1544 | 0.314 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20111750002 | 2011-06-23 08:30 | ISOBORNEOL | 62825GCM99 | 0.08 | 0.294 | . | ug/L | 0.7551 | 0.222 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.294 | . | ug/L | 0.90136 | 0.265 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.294 | E | ug/L | 0.96599 | 0.284 | Estimated Values | 4433 | B | sgs |  | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | ISOBORNEOL | 62825GCM99 | 0.08 | 0.2948 | . | ug/L | 0.99052 | 0.292 | Recoverable Result | 4433 | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | ISOBORNEOL | 62825GCM99 | 0.08 | 0.3185 | . | ug/L | 0.73468 | 0.234 | Recoverable Result | 4433 | R | jiv |  | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.3186 | . | ug/L | 1.1676 | 0.372 | Recoverable Result | 4433 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.3186 | E | ug/L | 0.99498 | 0.317 | Estimated Values | 4433 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.3186 | . | ug/L | 0.65599 | 0.209 | Recoverable Result | 4433 | Y | awh |  | 2012-07-26 | Supelco LB77171: 20 µl
20141360095 | 2014-05-16 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.36012 | E | ug/L | 0.68311 | 0.246 | Estimated Values | 4433 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141710103 | 2014-06-19 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.36012 | . | ug/L | 0.88859 | 0.32 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20142760025 | 2014-10-02 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.36012 | E | ug/L | 0.99411 | 0.358 | Estimated Values | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20142470040 | 2014-09-03 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.3672 | E | ug/L | 1.043 | 0.383 | Estimated Values | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20143300047 | 2014-11-26 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.3672 | . | ug/L | 1.1193 | 0.411 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20150290077 | 2015-01-29 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.3672 | . | ug/L | 0.80065 | 0.294 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20111260151 | 2011-05-05 08:30 | ISOBORNEOL | 62825GCM99 | 0.08 | 0.4029 | . | ug/L | 1.1616 | 0.468 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20162230167 | 2016-08-10 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.4528 | . | ug/L | 0.92756 | 0.42 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.464 | . | ug/L | 0.84052 | 0.39 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20163280007 | 2016-11-21 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.464 | . | ug/L | 0.92241 | 0.428 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20162990149 | 2016-10-25 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.464 | . | ug/L | 0.81466 | 0.378 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20131290118 | 2013-05-09 07:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.49 | . | ug/L | 1.1041 | 0.541 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20122210008 | 2012-08-07 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.5 | . | ug/L | 0.732 | 0.366 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.5 | . | ug/L | 0.952 | 0.476 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20121950066 | 2012-07-12 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.5232 | . | ug/L | 0.96713 | 0.506 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.5232 | . | ug/L | 0.71292 | 0.373 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20152810121 | 2015-10-08 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.5416 | . | ug/L | 1.0266 | 0.556 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.5416 | . | ug/L | 0.9712 | 0.526 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20160140040 | 2016-01-14 08:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.544 | . | ug/L | 1.0092 | 0.549 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20163560020 | 2016-12-21 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.566 | . | ug/L | 0.83922 | 0.475 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20161960001 | 2016-07-13 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.58 | . | ug/L | 1.0034 | 0.582 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20112380056 | 2011-08-25 11:10 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.64 | . | ug/L | 0.83594 | 0.535 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20120200071 | 2012-01-19 08:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.735 | E | ug/L | 0.78095 | 0.574 | Estimated Values | 4433 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.735 | E | ug/L | 1.5102 | 1.11 | Estimated Values | 4433 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 0.7965 | . | ug/L | 0.81858 | 0.652 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
20123420075 | 2012-12-06 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 1 | . | ug/L | 0.827 | 0.827 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20131920148 | 2013-07-11 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 1.006 | . | ug/L | 0.77336 | 0.778 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20122720049 | 2012-09-27 06:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 1.0464 | . | ug/L | 0.81518 | 0.853 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20131020082 | 2013-04-11 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 1.0464 | . | ug/L | 1.0321 | 1.08 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20112170170 | 2011-08-04 09:30 | ISOBORNEOL | 62825GCM99 | 0.08 | 1.176 | . | ug/L | 1.0034 | 1.18 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 1.176 | . | ug/L | 0.82993 | 0.976 | Recoverable Result | 4433 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 1.176 | . | ug/L | 0.95238 | 1.12 | Recoverable Result | 4433 | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
20111540005 | 2011-06-02 09:00 | ISOBORNEOL | 62825GCM99 | 0.08 | 1.2643 | . | ug/L | 0.8226 | 1.04 | Recoverable Result | 4433 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | ISOBORNEOL | 62825GCM99 | 0.08 | 1.2744 | . | ug/L | 0.871 | 1.11 | Recoverable Result | 4433 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl
20130590064 | 2013-02-28 07:30 | ISOBORNEOL | 62825GCM99 | 0.09 | 2 | . | ug/L | 0.71 | 1.42 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20130100068 | 2013-01-10 07:00 | ISOBORNEOL | 62825GCM99 | 0.09 | 2.0928 | . | ug/L | 0.68807 | 1.44 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl