## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20111890007 | 2011-07-07 08:30 | ISOQUINOLINE | 62826GCM99 | 0.04 |  | . | ug/L |  | 0.053 | False Positive | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20132210039 | 2013-08-08 08:00 | ISOQUINOLINE | 62826GCM99 | 0.04 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20151410210 | 2015-05-21 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 |  | U | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20161820002 | 2016-06-29 08:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20140160088 | 2014-01-16 08:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.062 | . | ug/L | 0.64516 | 0.04 | Recoverable Result | 4433 | B | sgs | vt | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140370076 | 2014-02-06 07:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.062 | . | ug/L | 0.64516 | 0.04 | Recoverable Result | 4433 | B | sgs | t | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20141770150 | 2014-06-26 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.0792 | . | ug/L | 0.50505 | 0.04 | Recoverable Result | 4433 | B | sgs | t | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20141990081 | 2014-07-17 06:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.0792 | . | ug/L | 0.88384 | 0.07 | Recoverable Result | 4433 | B | sgs | t | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142130131 | 2014-07-31 06:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.0792 | . | ug/L | 0.63131 | 0.05 | Recoverable Result | 4433 | B | sgs | t | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142340162 | 2014-08-18 06:45 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.0792 | . | ug/L | 0.63131 | 0.05 | Recoverable Result | 4433 | B | sgs | t | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20142720001 | 2014-09-25 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.0792 | . | ug/L | 0.63131 | 0.05 | Recoverable Result | 4433 | B | sgs | t | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20150990066 | 2015-04-09 06:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.0792 | . | ug/L | 0.88384 | 0.07 | Recoverable Result | 4433 | B | sgs | t | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20141010007 | 2014-04-10 06:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.0804 | E | ug/L | 0.62189 | 0.05 | Estimated Values | 4433 | B | sgs | tc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.0804 | . | ug/L | 0.49751 | 0.04 | Recoverable Result | 4433 | B | sgs | t | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.0804 | . | ug/L | 0.62189 | 0.05 | Recoverable Result | 4433 | B | sgs | t | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20150850162 | 2015-03-26 06:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.0804 | . | ug/L | 0.62189 | 0.05 | Recoverable Result | 4433 | B | sgs | t | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20142470040 | 2014-09-03 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.1584 | . | ug/L | 0.63131 | 0.1 | Recoverable Result | 4433 | B | sgs | t | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20143300047 | 2014-11-26 07:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.1584 | . | ug/L | 0.63131 | 0.1 | Recoverable Result | 4433 | B | sgs | t | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20150290077 | 2015-01-29 07:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.1584 | . | ug/L | 0.63131 | 0.1 | Recoverable Result | 4433 | B | sgs | t | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141360095 | 2014-05-16 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.1608 | E | ug/L | 0.49751 | 0.08 | Estimated Values | 4433 | B | sgs | tc | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141710103 | 2014-06-19 07:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.1608 | . | ug/L | 0.62189 | 0.1 | Recoverable Result | 4433 | B | sgs | t | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20142760025 | 2014-10-02 07:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.1608 | . | ug/L | 0.62189 | 0.1 | Recoverable Result | 4433 | B | sgs | t | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20143180046 | 2014-11-13 07:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 0.1608 | . | ug/L | 0.62189 | 0.1 | Recoverable Result | 4433 | B | sgs | t | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20132560002 | 2013-09-12 08:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.062 | . | ug/L | 1.0806 | 0.067 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20132910006 | 2013-10-17 07:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.062 | . | ug/L | 1 | 0.062 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20131290118 | 2013-05-09 07:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.155 | . | ug/L | 0.8 | 0.124 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.155 | . | ug/L | 0.64516 | 0.1 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20121950066 | 2012-07-12 08:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.25 | . | ug/L | 0.908 | 0.227 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20122370103 | 2012-08-23 07:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.25 | . | ug/L | 0.824 | 0.206 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130460007 | 2013-02-14 08:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.25 | . | ug/L | 0.688 | 0.172 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130870086 | 2013-03-27 07:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.25 | . | ug/L | 0.736 | 0.184 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20111750002 | 2011-06-23 08:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.492 | . | ug/L | 0.69512 | 0.342 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.492 | . | ug/L | 0.80894 | 0.398 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.492 | . | ug/L | 0.85366 | 0.42 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.49333 | . | ug/L | 0.87568 | 0.432 | Recoverable Result | 4433 | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
20122720049 | 2012-09-27 06:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.5 | . | ug/L | 0.576 | 0.288 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.5 | . | ug/L | 0.646 | 0.323 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20130250062 | 2013-01-24 06:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.5 | . | ug/L | 0.736 | 0.368 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.5 | . | ug/L | 0.916 | 0.458 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20110910083 | 2011-03-31 08:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.50925 | . | ug/L | 0.91311 | 0.465 | Recoverable Result | 4433 | R | jiv |  | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.5094 | . | ug/L | 0.86769 | 0.442 | Recoverable Result | 4433 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.5094 | . | ug/L | 0.70082 | 0.357 | Recoverable Result | 4433 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 0.5094 | . | ug/L | 1.1288 | 0.575 | Recoverable Result | 4433 | Y | awh |  | 2012-07-26 | Supelco LB77171: 20 µl
20123140092 | 2012-11-08 07:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 1 | . | ug/L | 0.543 | 0.543 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20151760207 | 2015-06-25 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 1.2 | . | ug/L | 0.91667 | 1.1 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20152530087 | 2015-09-10 09:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 1.2 | . | ug/L | 0.83333 | 1 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20152950079 | 2015-10-22 08:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 1.2 | . | ug/L | 0.75 | 0.9 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 1.2 | . | ug/L | 0.83333 | 1 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160490032 | 2016-02-18 08:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 1.2 | . | ug/L | 0.66667 | 0.8 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20151970168 | 2015-07-16 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 1.2062 | . | ug/L | 0.99486 | 1.2 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 1.2062 | . | ug/L | 0.74614 | 0.9 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20160980150 | 2016-04-07 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 1.2062 | . | ug/L | 0.58033 | 0.7 | Recoverable Result | 4433 | B | sgs | n | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20120200071 | 2012-01-19 08:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 1.23 | . | ug/L | 0.82927 | 1.02 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 1.23 | . | ug/L | 1.0325 | 1.27 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 1.2735 | . | ug/L | 0.60777 | 0.774 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
20112170170 | 2011-08-04 09:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 1.968 | . | ug/L | 0.95528 | 1.88 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 1.968 | E | ug/L | 0.63008 | 1.24 | Estimated Values | 4433 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 1.968 | . | ug/L | 0.9248 | 1.82 | Recoverable Result | 4433 | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
20161880110 | 2016-07-06 07:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2 | . | ug/L | 0.85 | 1.7 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162440114 | 2016-08-31 07:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2 | . | ug/L | 0.75 | 1.5 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163150005 | 2016-11-09 07:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2 | . | ug/L | 1.05 | 2.1 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163500003 | 2016-12-14 08:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2 | . | ug/L | 0.7 | 1.4 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20161400194 | 2016-05-18 06:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2.0012 | . | ug/L | 0.79952 | 1.6 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161600088 | 2016-06-08 08:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2.0012 | . | ug/L | 0.74955 | 1.5 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20162150212 | 2016-08-02 07:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2.0012 | . | ug/L | 0.89946 | 1.8 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162660006 | 2016-09-21 07:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2.0012 | E | ug/L | 0.94943 | 1.9 | Estimated Values | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20111540005 | 2011-06-02 09:00 | ISOQUINOLINE | 62826GCM99 | 0.04 | 2.0214 | . | ug/L | 0.90035 | 1.82 | Recoverable Result | 4433 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | ISOQUINOLINE | 62826GCM99 | 0.04 | 2.0376 | . | ug/L | 0.8245 | 1.68 | Recoverable Result | 4433 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl
20151620180 | 2015-06-11 06:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2.4 | E | ug/L | 0.875 | 2.1 | Estimated Values | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153510110 | 2015-12-17 08:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2.4 | . | ug/L | 0.625 | 1.5 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2.4124 | . | ug/L | 0.95341 | 2.3 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153280156 | 2015-11-24 08:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2.4124 | . | ug/L | 0.74614 | 1.8 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2.4124 | . | ug/L | 0.82905 | 2 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 2.4124 | . | ug/L | 0.95341 | 2.3 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20162990149 | 2016-10-25 07:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 4 | E | ug/L | 1.075 | 4.3 | Estimated Values | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162930160 | 2016-10-19 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 4 | . | ug/L | 0.825 | 3.3 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20162100008 | 2016-07-27 06:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 4.0024 | . | ug/L | 0.94943 | 3.8 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20163280007 | 2016-11-21 08:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 4.0024 | E | ug/L | 0.9994 | 4 | Estimated Values | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20163420127 | 2016-12-07 07:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 4.0024 | . | ug/L | 0.82451 | 3.3 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20160140040 | 2016-01-14 08:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 4.8 | E | ug/L | 0.875 | 4.2 | Estimated Values | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20152810121 | 2015-10-08 08:00 | ISOQUINOLINE | 62826GCM99 | 0.8 | 4.8248 | E | ug/L | 0.8705 | 4.2 | Estimated Values | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | ISOQUINOLINE | 62826GCM99 | 0.8 | 4.8248 | . | ug/L | 0.72542 | 3.5 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20162380005 | 2016-08-24 07:15 | ISOQUINOLINE | 62826GCM99 | 0.8 | 5 | . | ug/L | 0.68 | 3.4 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl