## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820002 | 2016-06-29 08:00 | MENTHOL | 62827GCM99 | 0.32 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20132210039 | 2013-08-08 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.7304 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20111750002 | 2011-06-23 08:30 | MENTHOL | 62827GCM99 | 0.32 | 0.248 | . | ug/L | 0.77823 | 0.193 | Recoverable Result | 4433 | B | sgs | n | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | MENTHOL | 62827GCM99 | 0.32 | 0.248 | . | ug/L | 1.004 | 0.249 | Recoverable Result | 4433 | R | jiv | n | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | MENTHOL | 62827GCM99 | 0.32 | 0.248 | E | ug/L | 1.004 | 0.249 | Estimated Values | 4433 | B | sgs | nc | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.24867 | . | ug/L | 1.0616 | 0.264 | Recoverable Result | 4433 | R | jiv | n | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | MENTHOL | 62827GCM99 | 0.32 | 0.25112 | . | ug/L | 0.77651 | 0.195 | Recoverable Result | 4433 | R | jiv | n | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | MENTHOL | 62827GCM99 | 0.32 | 0.2512 | . | ug/L | 1.4013 | 0.352 | Recoverable Result | 4433 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | MENTHOL | 62827GCM99 | 0.32 | 0.2512 | E | ug/L | 2.5 | 0.628 | Estimated Values | 4433 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | MENTHOL | 62827GCM99 | 0.32 | 0.2512 | . | ug/L | 0.5215 | 0.131 | Recoverable Result | 4433 | Y | awh | t | 2012-07-26 | Supelco LB77171: 20 µl
20152530087 | 2015-09-10 09:00 | MENTHOL | 62827GCM99 | 0.32 | 0.478 | . | ug/L | 0.91841 | 0.439 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20153030067 | 2015-10-29 08:30 | MENTHOL | 62827GCM99 | 0.32 | 0.478 | . | ug/L | 1.0586 | 0.506 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160490032 | 2016-02-18 08:30 | MENTHOL | 62827GCM99 | 0.32 | 0.478 | . | ug/L | 1.1046 | 0.528 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20160840086 | 2016-03-24 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.478 | . | ug/L | 0.83891 | 0.401 | Recoverable Result | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20151210038 | 2015-04-30 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.482 | . | ug/L | 1.3506 | 0.651 | Recoverable Result | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | MENTHOL | 62827GCM99 | 0.32 | 0.482 | . | ug/L | 1.0228 | 0.493 | Recoverable Result | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | MENTHOL | 62827GCM99 | 0.32 | 0.482 | . | ug/L | 1.1763 | 0.567 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20160280053 | 2016-01-28 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.482 | . | ug/L | 1.0041 | 0.484 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160980150 | 2016-04-07 06:30 | MENTHOL | 62827GCM99 | 0.32 | 0.482 | . | ug/L | 0.86722 | 0.418 | Recoverable Result | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20121600155 | 2012-06-07 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.5 | . | ug/L | 0.866 | 0.433 | Recoverable Result | 4433 | R | jiv |  | 2012-07-28 | Supelco LB92782: 20 µl
20122210008 | 2012-08-07 07:00 | MENTHOL | 62827GCM99 | 0.32 | 0.5 | . | ug/L | 0.964 | 0.482 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20122370103 | 2012-08-23 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.5 | . | ug/L | 1.09 | 0.545 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20123040158 | 2012-10-30 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.5 | . | ug/L | 1.146 | 0.573 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20130870086 | 2013-03-27 07:00 | MENTHOL | 62827GCM99 | 0.32 | 0.5 | . | ug/L | 1.268 | 0.634 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20120200071 | 2012-01-19 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.62 | E | ug/L | 0.88387 | 0.548 | Estimated Values | 4433 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.62 | E | ug/L | 1.2887 | 0.799 | Estimated Values | 4433 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | MENTHOL | 62827GCM99 | 0.32 | 0.628 | . | ug/L | 0.91879 | 0.577 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
20141010007 | 2014-04-10 06:00 | MENTHOL | 62827GCM99 | 0.32 | 0.6366 | E | ug/L | 0.68803 | 0.438 | Estimated Values | 4433 | B | sgs |  | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | MENTHOL | 62827GCM99 | 0.32 | 0.6366 | . | ug/L | 1.098 | 0.699 | Recoverable Result | 4433 | B | sgs | v | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | MENTHOL | 62827GCM99 | 0.32 | 0.6366 | . | ug/L | 0.93779 | 0.597 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | MENTHOL | 62827GCM99 | 0.32 | 0.6366 | . | ug/L | 1.0258 | 0.653 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | MENTHOL | 62827GCM99 | 0.32 | 0.6402 | . | ug/L | 0.82006 | 0.525 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.6402 | . | ug/L | 0.94658 | 0.606 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | MENTHOL | 62827GCM99 | 0.32 | 0.6402 | . | ug/L | 0.97313 | 0.623 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | MENTHOL | 62827GCM99 | 0.32 | 0.6402 | . | ug/L | 0.99656 | 0.638 | Recoverable Result | 4433 | B | sgs | v | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | MENTHOL | 62827GCM99 | 0.32 | 0.6402 | . | ug/L | 1.5511 | 0.993 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | MENTHOL | 62827GCM99 | 0.32 | 0.6402 | . | ug/L | 1.1481 | 0.735 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20132910006 | 2013-10-17 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.726 | . | ug/L | 0.75069 | 0.545 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20133260003 | 2013-11-21 07:00 | MENTHOL | 62827GCM99 | 0.32 | 0.726 | . | ug/L | 1.0565 | 0.767 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | MENTHOL | 62827GCM99 | 0.32 | 0.726 | . | ug/L | 0.89532 | 0.65 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.726 | . | ug/L | 0.79477 | 0.577 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20132690008 | 2013-09-25 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.7304 | . | ug/L | 0.84611 | 0.618 | Recoverable Result | 4433 | B | sgs |  | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140300033 | 2014-01-30 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.7304 | . | ug/L | 0.89129 | 0.651 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140930054 | 2014-04-03 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.7304 | . | ug/L | 0.7845 | 0.573 | Recoverable Result | 4433 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161600088 | 2016-06-08 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.804 | . | ug/L | 1.0896 | 0.876 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.804 | . | ug/L | 1.0734 | 0.863 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162150212 | 2016-08-02 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.804 | . | ug/L | 0.98507 | 0.792 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | MENTHOL | 62827GCM99 | 0.32 | 0.804 | . | ug/L | 0.99378 | 0.799 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20162860080 | 2016-10-12 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.804 | E | ug/L | 0.56468 | 0.454 | Estimated Values | 4433 | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163500003 | 2016-12-14 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.804 | . | ug/L | 0.78109 | 0.628 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20152110199 | 2015-07-30 09:00 | MENTHOL | 62827GCM99 | 0.32 | 0.956 | . | ug/L | 0.98536 | 0.942 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20152250271 | 2015-08-13 09:00 | MENTHOL | 62827GCM99 | 0.32 | 0.956 | . | ug/L | 0.8954 | 0.856 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153370177 | 2015-12-03 08:30 | MENTHOL | 62827GCM99 | 0.32 | 0.964 | . | ug/L | 1.0581 | 1.02 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153510110 | 2015-12-17 08:00 | MENTHOL | 62827GCM99 | 0.32 | 0.964 | . | ug/L | 1.0373 | 1 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20112170170 | 2011-08-04 09:30 | MENTHOL | 62827GCM99 | 0.32 | 0.992 | . | ug/L | 1.0282 | 1.02 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.992 | . | ug/L | 0.61996 | 0.615 | Recoverable Result | 4433 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | MENTHOL | 62827GCM99 | 0.32 | 0.992 | . | ug/L | 1.002 | 0.994 | Recoverable Result | 4433 | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
20111540005 | 2011-06-02 09:00 | MENTHOL | 62827GCM99 | 0.32 | 0.99683 | . | ug/L | 0.96105 | 0.958 | Recoverable Result | 4433 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
20121730124 | 2012-06-21 07:00 | MENTHOL | 62827GCM99 | 0.32 | 1 | . | ug/L | 1.12 | 1.12 | Recoverable Result | 4433 | R | jiv |  | 2012-07-29 | Crescent 05BB045: 40 µl
20130250062 | 2013-01-24 06:30 | MENTHOL | 62827GCM99 | 0.32 | 1 | . | ug/L | 1.06 | 1.06 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20111960036 | 2011-07-14 09:30 | MENTHOL | 62827GCM99 | 0.32 | 1.0048 | . | ug/L | 0.92655 | 0.931 | Recoverable Result | 4433 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl
20141710103 | 2014-06-19 07:00 | MENTHOL | 62827GCM99 | 0.32 | 1.2732 | . | ug/L | 0.91894 | 1.17 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | MENTHOL | 62827GCM99 | 0.32 | 1.2732 | . | ug/L | 1.0368 | 1.32 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | MENTHOL | 62827GCM99 | 0.32 | 1.2732 | . | ug/L | 1.076 | 1.37 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | MENTHOL | 62827GCM99 | 0.32 | 1.2732 | . | ug/L | 0.84826 | 1.08 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | MENTHOL | 62827GCM99 | 0.32 | 1.2804 | . | ug/L | 0.83568 | 1.07 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | MENTHOL | 62827GCM99 | 0.32 | 1.2804 | . | ug/L | 1.07 | 1.37 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | MENTHOL | 62827GCM99 | 0.32 | 1.2804 | . | ug/L | 1.0778 | 1.38 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20162230167 | 2016-08-10 07:00 | MENTHOL | 62827GCM99 | 0.32 | 1.608 | . | ug/L | 0.90174 | 1.45 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20111260151 | 2011-05-05 08:30 | MENTHOL | 62827GCM99 | 0.32 | 1.6116 | . | ug/L | 0.96798 | 1.56 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20140030013 | 2014-01-02 06:15 | MENTHOL | 62827GCM99 | 0.32 | 1.815 | . | ug/L | 0.82094 | 1.49 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20131440104 | 2013-05-23 07:30 | MENTHOL | 62827GCM99 | 0.32 | 1.826 | . | ug/L | 1.1446 | 2.09 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20152670134 | 2015-09-24 09:00 | MENTHOL | 62827GCM99 | 0.32 | 1.912 | . | ug/L | 0.97803 | 1.87 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20153160002 | 2015-11-10 08:30 | MENTHOL | 62827GCM99 | 0.32 | 1.912 | . | ug/L | 0.94665 | 1.81 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20152810121 | 2015-10-08 08:00 | MENTHOL | 62827GCM99 | 0.32 | 1.928 | . | ug/L | 1.0944 | 2.11 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20123140092 | 2012-11-08 07:30 | MENTHOL | 62827GCM99 | 0.32 | 2 | . | ug/L | 0.935 | 1.87 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20130100068 | 2013-01-10 07:00 | MENTHOL | 62827GCM99 | 0.32 | 2 | E | ug/L | 0.4555 | 0.911 | Estimated Values | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20130590064 | 2013-02-28 07:30 | MENTHOL | 62827GCM99 | 0.32 | 2 | . | ug/L | 0.845 | 1.69 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20163560020 | 2016-12-21 07:00 | MENTHOL | 62827GCM99 | 0.32 | 2.01 | . | ug/L | 0.95025 | 1.91 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20112380056 | 2011-08-25 11:10 | MENTHOL | 62827GCM99 | 0.32 | 2.56 | . | ug/L | 0.78516 | 2.01 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20132070037 | 2013-07-25 07:30 | MENTHOL | 62827GCM99 | 0.32 | 7.282 | E | ug/L | 0.61796 | 4.5 | Estimated Values | 4433 | B | sgs |  | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl