## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.2704 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.4 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151760207 | 2015-06-25 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.24 | . | ug/L | 1.2958 | 0.311 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20152530087 | 2015-09-10 09:00 | METALAXYL | 04254GCM99 | 0.16 | 0.24 | . | ug/L | 1.0875 | 0.261 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20152950079 | 2015-10-22 08:30 | METALAXYL | 04254GCM99 | 0.16 | 0.24 | . | ug/L | 1.1083 | 0.266 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | METALAXYL | 04254GCM99 | 0.16 | 0.24 | . | ug/L | 1.15 | 0.276 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160490032 | 2016-02-18 08:30 | METALAXYL | 04254GCM99 | 0.16 | 0.24 | . | ug/L | 1.2792 | 0.307 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20151970168 | 2015-07-16 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.2408 | . | ug/L | 1.2998 | 0.313 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | METALAXYL | 04254GCM99 | 0.16 | 0.2408 | . | ug/L | 1.2417 | 0.299 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20160980150 | 2016-04-07 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.2408 | . | ug/L | 0.8804 | 0.212 | Recoverable Result | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20132910006 | 2013-10-17 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.268 | . | ug/L | 0.76119 | 0.204 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140370076 | 2014-02-06 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.268 | . | ug/L | 0.69776 | 0.187 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20133110109 | 2013-11-07 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.27 | . | ug/L | 0.90741 | 0.245 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140160088 | 2014-01-16 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.27 | . | ug/L | 0.77407 | 0.209 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140930054 | 2014-04-03 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.2704 | . | ug/L | 0.69527 | 0.188 | Recoverable Result | 4433 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20132560002 | 2013-09-12 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.2714 | . | ug/L | 1.0059 | 0.273 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20140650080 | 2014-03-06 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.2714 | . | ug/L | 0.68165 | 0.185 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20141010007 | 2014-04-10 06:00 | METALAXYL | 04254GCM99 | 0.16 | 0.3186 | E | ug/L | 0.59008 | 0.188 | Estimated Values | 4433 | B | sgs |  | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | METALAXYL | 04254GCM99 | 0.16 | 0.3186 | . | ug/L | 1.0546 | 0.336 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | METALAXYL | 04254GCM99 | 0.16 | 0.3186 | . | ug/L | 1.0609 | 0.338 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | METALAXYL | 04254GCM99 | 0.16 | 0.3186 | . | ug/L | 0.82549 | 0.263 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.3207 | . | ug/L | 0.71406 | 0.229 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.3207 | . | ug/L | 0.7889 | 0.253 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | METALAXYL | 04254GCM99 | 0.16 | 0.3207 | . | ug/L | 0.92922 | 0.298 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.3207 | . | ug/L | 0.98846 | 0.317 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.3207 | . | ug/L | 1.107 | 0.355 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | METALAXYL | 04254GCM99 | 0.16 | 0.3207 | . | ug/L | 1.2629 | 0.405 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20161400194 | 2016-05-18 06:00 | METALAXYL | 04254GCM99 | 0.16 | 0.398 | . | ug/L | 1.0276 | 0.409 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161600088 | 2016-06-08 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.398 | . | ug/L | 0.96985 | 0.386 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20162150212 | 2016-08-02 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.398 | . | ug/L | 0.9397 | 0.374 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162660006 | 2016-09-21 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.398 | . | ug/L | 0.88191 | 0.351 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20161880110 | 2016-07-06 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.4 | . | ug/L | 0.6775 | 0.271 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162440114 | 2016-08-31 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.4 | . | ug/L | 0.665 | 0.266 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163150005 | 2016-11-09 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.4 | . | ug/L | 0.645 | 0.258 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163500003 | 2016-12-14 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.4 | . | ug/L | 0.715 | 0.286 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20110340009 | 2011-02-02 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.46673 | . | ug/L | 0.79918 | 0.373 | Recoverable Result | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | METALAXYL | 04254GCM99 | 0.16 | 0.46852 | . | ug/L | 1.0373 | 0.486 | Recoverable Result | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | METALAXYL | 04254GCM99 | 0.16 | 0.4762 | . | ug/L | 1.0773 | 0.513 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.4762 | . | ug/L | 0.99958 | 0.476 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | METALAXYL | 04254GCM99 | 0.16 | 0.477 | . | ug/L | 1.0273 | 0.49 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.477 | . | ug/L | 0.84277 | 0.402 | Recoverable Result | 4433 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | METALAXYL | 04254GCM99 | 0.16 | 0.477 | . | ug/L | 1.1635 | 0.555 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20151620180 | 2015-06-11 06:00 | METALAXYL | 04254GCM99 | 0.16 | 0.48 | . | ug/L | 1.1417 | 0.548 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153510110 | 2015-12-17 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.48 | . | ug/L | 1.0625 | 0.51 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | METALAXYL | 04254GCM99 | 0.16 | 0.4816 | . | ug/L | 1.2375 | 0.596 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153280156 | 2015-11-24 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.4816 | . | ug/L | 0.96138 | 0.463 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | METALAXYL | 04254GCM99 | 0.16 | 0.4816 | . | ug/L | 1.005 | 0.484 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.4816 | . | ug/L | 0.951 | 0.458 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20122210008 | 2012-08-07 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.5 | . | ug/L | 0.878 | 0.439 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.5 | . | ug/L | 0.976 | 0.488 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20121950066 | 2012-07-12 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.5064 | . | ug/L | 1.013 | 0.513 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.5064 | . | ug/L | 0.66548 | 0.337 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20133260003 | 2013-11-21 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.5394 | . | ug/L | 0.88617 | 0.478 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.5394 | . | ug/L | 0.7323 | 0.395 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20132690008 | 2013-09-25 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.5404 | . | ug/L | 0.70318 | 0.38 | Recoverable Result | 4433 | B | sgs |  | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140300033 | 2014-01-30 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.5404 | . | ug/L | 0.68468 | 0.37 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20141710103 | 2014-06-19 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.6372 | . | ug/L | 0.78625 | 0.501 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.6372 | . | ug/L | 1.0248 | 0.653 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.6372 | . | ug/L | 1.0609 | 0.676 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.6372 | . | ug/L | 0.86158 | 0.549 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.6414 | . | ug/L | 0.66729 | 0.428 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.6414 | . | ug/L | 1.0695 | 0.686 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.6414 | . | ug/L | 1.1085 | 0.711 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20140030013 | 2014-01-02 06:15 | METALAXYL | 04254GCM99 | 0.16 | 0.67 | . | ug/L | 0.88358 | 0.592 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20131290118 | 2013-05-09 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.675 | . | ug/L | 0.8237 | 0.556 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.676 | . | ug/L | 0.82988 | 0.561 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20162100008 | 2016-07-27 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.796 | . | ug/L | 1.0339 | 0.823 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20163280007 | 2016-11-21 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.796 | . | ug/L | 0.89699 | 0.714 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20163420127 | 2016-12-07 07:30 | METALAXYL | 04254GCM99 | 0.16 | 0.796 | . | ug/L | 1.1256 | 0.896 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20162990149 | 2016-10-25 07:00 | METALAXYL | 04254GCM99 | 0.16 | 0.8 | . | ug/L | 0.575 | 0.46 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162930160 | 2016-10-19 06:30 | METALAXYL | 04254GCM99 | 0.16 | 0.8 | . | ug/L | 0.68875 | 0.551 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20111260151 | 2011-05-05 08:30 | METALAXYL | 04254GCM99 | 0.16 | 0.8058 | . | ug/L | 1.1417 | 0.92 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20160140040 | 2016-01-14 08:30 | METALAXYL | 04254GCM99 | 0.16 | 0.96 | . | ug/L | 0.95208 | 0.914 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20152810121 | 2015-10-08 08:00 | METALAXYL | 04254GCM99 | 0.16 | 0.9632 | . | ug/L | 1.1628 | 1.12 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | METALAXYL | 04254GCM99 | 0.16 | 0.9632 | . | ug/L | 0.95826 | 0.923 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20123420075 | 2012-12-06 07:00 | METALAXYL | 04254GCM99 | 0.16 | 1 | . | ug/L | 0.872 | 0.872 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20162380005 | 2016-08-24 07:15 | METALAXYL | 04254GCM99 | 0.16 | 1 | . | ug/L | 0.73 | 0.73 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20122720049 | 2012-09-27 06:30 | METALAXYL | 04254GCM99 | 0.16 | 1.0128 | . | ug/L | 0.91133 | 0.923 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20131020082 | 2013-04-11 07:00 | METALAXYL | 04254GCM99 | 0.16 | 1.0128 | . | ug/L | 0.82642 | 0.837 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20111890007 | 2011-07-07 08:30 | METALAXYL | 04254GCM99 | 0.16 | 1.1905 | . | ug/L | 0.81394 | 0.969 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | METALAXYL | 04254GCM99 | 0.16 | 1.1905 | E | ug/L | 0.44099 | 0.525 | Estimated Values | 4433 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | METALAXYL | 04254GCM99 | 0.16 | 1.1905 | . | ug/L | 0.99118 | 1.18 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | METALAXYL | 04254GCM99 | 0.16 | 1.192 | . | ug/L | 1.1241 | 1.34 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | METALAXYL | 04254GCM99 | 0.16 | 1.1925 | . | ug/L | 1.0985 | 1.31 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | METALAXYL | 04254GCM99 | 0.16 | 1.1925 | . | ug/L | 0.98952 | 1.18 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | METALAXYL | 04254GCM99 | 0.16 | 1.1972 | . | ug/L | 0.88542 | 1.06 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20112380056 | 2011-08-25 11:10 | METALAXYL | 04254GCM99 | 0.16 | 1.28 | . | ug/L | 0.96094 | 1.23 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20131650075 | 2013-06-13 07:30 | METALAXYL | 04254GCM99 | 0.16 | 1.3535 | . | ug/L | 0.73513 | 0.995 | Recoverable Result | 4433 | B | sgs |  | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20131920148 | 2013-07-11 07:00 | METALAXYL | 04254GCM99 | 0.16 | 1.357 | . | ug/L | 0.66765 | 0.906 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20111390173 | 2011-05-19 08:30 | METALAXYL | 04254GCM99 | 0.16 | 1.8934 | . | ug/L | 0.91368 | 1.73 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | METALAXYL | 04254GCM99 | 0.16 | 1.9048 | . | ug/L | 0.88723 | 1.69 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | METALAXYL | 04254GCM99 | 0.16 | 1.9048 | . | ug/L | 0.79798 | 1.52 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | METALAXYL | 04254GCM99 | 0.16 | 1.908 | . | ug/L | 0.95912 | 1.83 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl
20130590064 | 2013-02-28 07:30 | METALAXYL | 04254GCM99 | 0.16 | 2 | . | ug/L | 0.71 | 1.42 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20130100068 | 2013-01-10 07:00 | METALAXYL | 04254GCM99 | 0.16 | 2.0256 | . | ug/L | 0.91331 | 1.85 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20132070037 | 2013-07-25 07:30 | METALAXYL | 04254GCM99 | 0.16 | 2.692 | E | ug/L | 0.61293 | 1.65 | Estimated Values | 4433 | B | sgs |  | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl