## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20121110020 | 2012-04-19 07:00 | METOLACHLOR | 82612GCM99 | 0.04 |  | . | ug/L |  | 0.034 | False Positive | 4433 | E | cli | n | 2012-05-22 | ChemService 448-12A: 80 µl
20132210039 | 2013-08-08 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.07 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151410210 | 2015-05-21 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.058 | . | ug/L | 1.1379 | 0.066 | Recoverable Result | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20152390223 | 2015-08-27 09:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.058 | . | ug/L | 1.1552 | 0.067 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20152950079 | 2015-10-22 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.058 | . | ug/L | 1.0517 | 0.061 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.058 | . | ug/L | 1.0517 | 0.061 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160840086 | 2016-03-24 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.058 | . | ug/L | 0.96552 | 0.056 | Recoverable Result | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20151210038 | 2015-04-30 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.06 | . | ug/L | 1.3833 | 0.083 | Recoverable Result | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151970168 | 2015-07-16 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.06 | . | ug/L | 1.1667 | 0.07 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20153030067 | 2015-10-29 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.06 | . | ug/L | 1.0333 | 0.062 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160280053 | 2016-01-28 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.06 | . | ug/L | 1 | 0.06 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20132560002 | 2013-09-12 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.07 | . | ug/L | 0.92857 | 0.065 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133110109 | 2013-11-07 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.07 | . | ug/L | 0.78571 | 0.055 | Recoverable Result | 4433 | B | sgs | c | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20132910006 | 2013-10-17 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.07 | . | ug/L | 0.78571 | 0.055 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140160088 | 2014-01-16 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.07 | . | ug/L | 0.74286 | 0.052 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.07 | . | ug/L | 0.62857 | 0.044 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.07 | . | ug/L | 0.77143 | 0.054 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140930054 | 2014-04-03 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.07 | . | ug/L | 0.58571 | 0.041 | Recoverable Result | 4433 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20141010007 | 2014-04-10 06:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.0789 | E | ug/L | 0.54499 | 0.043 | Estimated Values | 4433 | B | sgs |  | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | METOLACHLOR | 82612GCM99 | 0.04 | 0.0789 | . | ug/L | 1.1534 | 0.091 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.0789 | . | ug/L | 1.0773 | 0.085 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.0789 | . | ug/L | 0.8872 | 0.07 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.0804 | . | ug/L | 0.67164 | 0.054 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.0804 | . | ug/L | 0.79602 | 0.064 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.0804 | . | ug/L | 0.9204 | 0.074 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.0804 | . | ug/L | 1.0945 | 0.088 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.0804 | . | ug/L | 0.99502 | 0.08 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.0804 | . | ug/L | 1.1692 | 0.094 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20161400194 | 2016-05-18 06:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1 | . | ug/L | 0.98 | 0.098 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1 | . | ug/L | 1.06 | 0.106 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20163150005 | 2016-11-09 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1 | . | ug/L | 0.84 | 0.084 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20162660006 | 2016-09-21 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1004 | . | ug/L | 0.77689 | 0.078 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20162860080 | 2016-10-12 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1004 | E | ug/L | 0.51793 | 0.052 | Estimated Values | 4433 | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163070096 | 2016-11-02 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1004 | . | ug/L | 0.76693 | 0.077 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1004 | . | ug/L | 0.98606 | 0.099 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20153370177 | 2015-12-03 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.116 | . | ug/L | 1.1379 | 0.132 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20161190076 | 2016-04-28 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.116 | . | ug/L | 0.93103 | 0.108 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20151620180 | 2015-06-11 06:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.12 | . | ug/L | 1.025 | 0.123 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20152250271 | 2015-08-13 09:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.12 | . | ug/L | 0.95833 | 0.115 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153280156 | 2015-11-24 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.12 | . | ug/L | 0.86667 | 0.104 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.12 | . | ug/L | 0.99167 | 0.119 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20141710103 | 2014-06-19 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1578 | . | ug/L | 0.8365 | 0.132 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1578 | . | ug/L | 1.052 | 0.166 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1578 | . | ug/L | 1.0139 | 0.16 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1578 | . | ug/L | 0.8365 | 0.132 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1608 | . | ug/L | 0.70896 | 0.114 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1608 | . | ug/L | 0.95771 | 0.154 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.1608 | . | ug/L | 1.0323 | 0.166 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20131290118 | 2013-05-09 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.175 | . | ug/L | 0.94857 | 0.166 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.175 | . | ug/L | 0.93714 | 0.164 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20140030013 | 2014-01-02 06:15 | METOLACHLOR | 82612GCM99 | 0.04 | 0.175 | . | ug/L | 0.84571 | 0.148 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20162100008 | 2016-07-27 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.2 | . | ug/L | 0.92 | 0.184 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20162230167 | 2016-08-10 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.2 | . | ug/L | 0.745 | 0.149 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.2008 | . | ug/L | 0.82171 | 0.165 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20162930160 | 2016-10-19 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.2008 | . | ug/L | 0.92131 | 0.185 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20163420127 | 2016-12-07 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.2008 | . | ug/L | 1.0707 | 0.215 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20111260151 | 2011-05-05 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.20145 | . | ug/L | 1.1516 | 0.232 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20152670134 | 2015-09-24 09:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.232 | . | ug/L | 1.069 | 0.248 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20160140040 | 2016-01-14 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.232 | . | ug/L | 0.85776 | 0.199 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20161960001 | 2016-07-13 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.25 | . | ug/L | 0.864 | 0.216 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20162380005 | 2016-08-24 07:15 | METOLACHLOR | 82612GCM99 | 0.04 | 0.251 | . | ug/L | 0.9004 | 0.226 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20163560020 | 2016-12-21 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.251 | . | ug/L | 1.0359 | 0.26 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20121950066 | 2012-07-12 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.3 | . | ug/L | 0.85 | 0.255 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20122370103 | 2012-08-23 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.3 | . | ug/L | 0.84 | 0.252 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130460007 | 2013-02-14 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.3 | . | ug/L | 0.66667 | 0.2 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130870086 | 2013-03-27 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.3 | . | ug/L | 0.75333 | 0.226 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20112380056 | 2011-08-25 11:10 | METOLACHLOR | 82612GCM99 | 0.04 | 0.32 | . | ug/L | 1.0219 | 0.327 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20131920148 | 2013-07-11 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.35 | . | ug/L | 0.54286 | 0.19 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20122720049 | 2012-09-27 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.6 | . | ug/L | 0.72667 | 0.436 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.6 | . | ug/L | 0.675 | 0.405 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20130250062 | 2013-01-24 06:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.6 | . | ug/L | 0.59833 | 0.359 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.6 | . | ug/L | 0.715 | 0.429 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20111750002 | 2011-06-23 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.63 | . | ug/L | 0.7127 | 0.449 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.63 | . | ug/L | 0.83016 | 0.523 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.63 | . | ug/L | 0.86508 | 0.545 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.63171 | . | ug/L | 0.92765 | 0.586 | Recoverable Result | 4433 | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.63301 | . | ug/L | 0.67613 | 0.428 | Recoverable Result | 4433 | R | jiv |  | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | METOLACHLOR | 82612GCM99 | 0.04 | 0.6332 | . | ug/L | 0.80543 | 0.51 | Recoverable Result | 4433 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 0.6332 | . | ug/L | 0.78332 | 0.496 | Recoverable Result | 4433 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | METOLACHLOR | 82612GCM99 | 0.04 | 0.6332 | . | ug/L | 0.73121 | 0.463 | Recoverable Result | 4433 | Y | awh |  | 2012-07-26 | Supelco LB77171: 20 µl
20123140092 | 2012-11-08 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 1.2 | . | ug/L | 0.70417 | 0.845 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20120200071 | 2012-01-19 08:00 | METOLACHLOR | 82612GCM99 | 0.04 | 1.575 | . | ug/L | 0.73651 | 1.16 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 1.575 | . | ug/L | 0.8254 | 1.3 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | METOLACHLOR | 82612GCM99 | 0.04 | 1.583 | . | ug/L | 0.65698 | 1.04 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
20111540005 | 2011-06-02 09:00 | METOLACHLOR | 82612GCM99 | 0.04 | 2.5127 | . | ug/L | 0.64075 | 1.61 | Recoverable Result | 4433 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
20112170170 | 2011-08-04 09:30 | METOLACHLOR | 82612GCM99 | 0.04 | 2.52 | . | ug/L | 0.76984 | 1.94 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 2.52 | E | ug/L | 0.78571 | 1.98 | Estimated Values | 4433 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | METOLACHLOR | 82612GCM99 | 0.04 | 2.52 | . | ug/L | 0.81746 | 2.06 | Recoverable Result | 4433 | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
20111960036 | 2011-07-14 09:30 | METOLACHLOR | 82612GCM99 | 0.04 | 2.5328 | . | ug/L | 0.67909 | 1.72 | Recoverable Result | 4433 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl