## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.04 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.052 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151210038 | 2015-04-30 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.03 | . | ug/L | 1.0667 | 0.032 | Recoverable Result | 4433 | B | sgs | v | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.03 | E | ug/L | 1.0333 | 0.031 | Estimated Values | 4433 | B | sgs | v | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.03 | . | ug/L | 1.0333 | 0.031 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20160280053 | 2016-01-28 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.03 | E | ug/L | 0.93333 | 0.028 | Estimated Values | 4433 |  | rcr | v | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160980150 | 2016-04-07 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.03 | E | ug/L | 0.96667 | 0.029 | Estimated Values | 4433 | B | sgs | v | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20152530087 | 2015-09-10 09:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0304 | . | ug/L | 1.1184 | 0.034 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20153030067 | 2015-10-29 08:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0304 | . | ug/L | 0.95395 | 0.029 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160490032 | 2016-02-18 08:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0304 | E | ug/L | 1.1184 | 0.034 | Estimated Values | 4433 |  | rcr | v | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20160840086 | 2016-03-24 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0304 | E | ug/L | 1.0197 | 0.031 | Estimated Values | 4433 | V | rcr | v | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20141010007 | 2014-04-10 06:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0396 | E | ug/L | 0.68182 | 0.027 | Estimated Values | 4433 | B | sgs | v | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0396 | . | ug/L | 0.98485 | 0.039 | Recoverable Result | 4433 | B | sgs | v | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0396 | . | ug/L | 0.90909 | 0.036 | Recoverable Result | 4433 | B | sgs | v | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0396 | . | ug/L | 0.80808 | 0.032 | Recoverable Result | 4433 | B | sgs | v | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20132560002 | 2013-09-12 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.04 | . | ug/L | 1 | 0.04 | Recoverable Result | 4433 | B | sgs | v | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133110109 | 2013-11-07 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.04 | . | ug/L | 1.05 | 0.042 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20132910006 | 2013-10-17 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.04 | . | ug/L | 0.975 | 0.039 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140160088 | 2014-01-16 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.04 | . | ug/L | 0.875 | 0.035 | Recoverable Result | 4433 | B | sgs | v | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.04 | . | ug/L | 0.775 | 0.031 | Recoverable Result | 4433 | B | sgs | v | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.04 | . | ug/L | 1 | 0.04 | Recoverable Result | 4433 | B | sgs | v | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140930054 | 2014-04-03 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.04 | . | ug/L | 0.85 | 0.034 | Recoverable Result | 4433 | B | sgs | v | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20141220026 | 2014-05-01 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0402 | . | ug/L | 0.8209 | 0.033 | Recoverable Result | 4433 | B | sgs | v | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0402 | . | ug/L | 0.9204 | 0.037 | Recoverable Result | 4433 | B | sgs | v | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0402 | . | ug/L | 1.0697 | 0.043 | Recoverable Result | 4433 | B | sgs | v | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0402 | . | ug/L | 1.1194 | 0.045 | Recoverable Result | 4433 | B | sgs | v | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0402 | . | ug/L | 1.1194 | 0.045 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0402 | . | ug/L | 1.0945 | 0.044 | Recoverable Result | 4433 | B | sgs | v | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20161400194 | 2016-05-18 06:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0496 | E | ug/L | 0.96774 | 0.048 | Estimated Values | 4433 | B | sgs | v | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161600088 | 2016-06-08 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0496 | E | ug/L | 1.0282 | 0.051 | Estimated Values | 4433 | B | sgs | v | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20162150212 | 2016-08-02 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0496 | E | ug/L | 0.92742 | 0.046 | Estimated Values | 4433 | B | sgs | @vc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162660006 | 2016-09-21 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0496 | E | ug/L | 1.0081 | 0.05 | Estimated Values | 4433 | B | sgs | v | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20161880110 | 2016-07-06 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.052 | E | ug/L | 0.82692 | 0.043 | Estimated Values | 4433 | B | sgs | v | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162440114 | 2016-08-31 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.052 | E | ug/L | 0.82692 | 0.043 | Estimated Values | 4433 | B | sgs | v | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163150005 | 2016-11-09 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.052 | E | ug/L | 0.96154 | 0.05 | Estimated Values | 4433 | B | sgs | v | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163500003 | 2016-12-14 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.052 | E | ug/L | 0.80769 | 0.042 | Estimated Values | 4433 | B | sgs | v | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20153370177 | 2015-12-03 08:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.06 | . | ug/L | 1 | 0.06 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153510110 | 2015-12-17 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.06 | . | ug/L | 0.93333 | 0.056 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0608 | . | ug/L | 1.0362 | 0.063 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20152250271 | 2015-08-13 09:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0608 | . | ug/L | 0.98684 | 0.06 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20141710103 | 2014-06-19 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0792 | . | ug/L | 0.84596 | 0.067 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0792 | . | ug/L | 0.92172 | 0.073 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0792 | . | ug/L | 0.90909 | 0.072 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0792 | . | ug/L | 0.82071 | 0.065 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0804 | . | ug/L | 0.80846 | 0.065 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0804 | . | ug/L | 0.97015 | 0.078 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0804 | . | ug/L | 0.98259 | 0.079 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20162100008 | 2016-07-27 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0992 | . | ug/L | 0.92742 | 0.092 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20163280007 | 2016-11-21 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0992 | . | ug/L | 0.96774 | 0.096 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20163420127 | 2016-12-07 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.0992 | . | ug/L | 0.91734 | 0.091 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20131290118 | 2013-05-09 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.1 | . | ug/L | 0.93 | 0.093 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.1 | . | ug/L | 1.05 | 0.105 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20140030013 | 2014-01-02 06:15 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.1 | . | ug/L | 0.92 | 0.092 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20111260151 | 2011-05-05 08:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.10073 | . | ug/L | 1.0822 | 0.109 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20162990149 | 2016-10-25 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.104 | E | ug/L | 0.72115 | 0.075 | Estimated Values | 4433 | B | sgs | v | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162930160 | 2016-10-19 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.104 | E | ug/L | 0.77885 | 0.081 | Estimated Values | 4433 | B | sgs | v | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20152810121 | 2015-10-08 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.12 | . | ug/L | 0.95833 | 0.115 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20152670134 | 2015-09-24 09:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.1216 | . | ug/L | 1.0197 | 0.124 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20153160002 | 2015-11-10 08:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.1216 | . | ug/L | 0.98684 | 0.12 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20162380005 | 2016-08-24 07:15 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.13 | . | ug/L | 0.72308 | 0.094 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20112380056 | 2011-08-25 11:10 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.16 | . | ug/L | 1.05 | 0.168 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20131920148 | 2013-07-11 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.2 | . | ug/L | 0.825 | 0.165 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20121950066 | 2012-07-12 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.3 | . | ug/L | 1.0533 | 0.316 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20122370103 | 2012-08-23 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.3 | . | ug/L | 0.91667 | 0.275 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130460007 | 2013-02-14 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.3 | . | ug/L | 0.82 | 0.246 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130870086 | 2013-03-27 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.3 | . | ug/L | 0.85 | 0.255 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20110340009 | 2011-02-02 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.34931 | . | ug/L | 0.84452 | 0.295 | Recoverable Result | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.35419 | . | ug/L | 0.82724 | 0.293 | Recoverable Result | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.3564 | . | ug/L | 0.87542 | 0.312 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.3564 | . | ug/L | 0.84736 | 0.302 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.3606 | . | ug/L | 0.81808 | 0.295 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.3606 | . | ug/L | 0.74321 | 0.268 | Recoverable Result | 4433 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.3606 | . | ug/L | 0.96783 | 0.349 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20122720049 | 2012-09-27 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.6 | . | ug/L | 0.8 | 0.48 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.6 | . | ug/L | 0.89333 | 0.536 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20130250062 | 2013-01-24 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.6 | . | ug/L | 0.77333 | 0.464 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.6 | . | ug/L | 0.895 | 0.537 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20111890007 | 2011-07-07 08:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.891 | . | ug/L | 0.69136 | 0.616 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.891 | E | ug/L | 0.54882 | 0.489 | Estimated Values | 4433 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.891 | . | ug/L | 0.85634 | 0.763 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.90114 | . | ug/L | 0.97321 | 0.877 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.9015 | . | ug/L | 0.98835 | 0.891 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.9015 | . | ug/L | 0.83306 | 0.751 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 0.90503 | . | ug/L | 0.86075 | 0.779 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20123140092 | 2012-11-08 07:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 1.2 | . | ug/L | 0.89167 | 1.07 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20111390173 | 2011-05-19 08:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 1.4171 | . | ug/L | 0.86091 | 1.22 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 1.4256 | . | ug/L | 0.9119 | 1.3 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | NAPHTHALENE | 34696GCM99 | 0.02 | 1.4256 | . | ug/L | 0.78563 | 1.12 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | NAPHTHALENE | 34696GCM99 | 0.02 | 1.4424 | . | ug/L | 0.93594 | 1.35 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl