## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | P-CRESOL | 77146GCM99 | 0.08 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20152530087 | 2015-09-10 09:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.12 | < | ug/L |  |  | False Negative | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20153640095 | 2015-12-30 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.12 | < | ug/L |  |  | False Negative | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160490032 | 2016-02-18 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.12 | < | ug/L |  |  | False Negative | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20161820002 | 2016-06-29 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.2 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20160710218 | 2016-03-10 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.2476 | < | ug/L |  |  | False Negative | 4433 | V | rcr | v | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20141360095 | 2014-05-16 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.3186 | < | ug/L |  |  | False Negative | 4433 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20160140040 | 2016-01-14 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.48 | < | ug/L |  |  | False Negative | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20151760207 | 2015-06-25 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.12 | . | ug/L | 1.0083 | 0.121 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20152950079 | 2015-10-22 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.12 | . | ug/L | 0.79167 | 0.095 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20151970168 | 2015-07-16 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.1238 | . | ug/L | 1.1228 | 0.139 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1238 | . | ug/L | 0.59774 | 0.074 | Recoverable Result | 4433 |  | sgs | n | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20160980150 | 2016-04-07 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.1238 | E | ug/L | 0.6462 | 0.08 | Estimated Values | 4433 | B | sgs | v | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20132560002 | 2013-09-12 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1404 | . | ug/L | 0.95442 | 0.134 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133260003 | 2013-11-21 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1404 | . | ug/L | 1.0328 | 0.145 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140650080 | 2014-03-06 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1404 | . | ug/L | 0.81909 | 0.115 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1404 | . | ug/L | 0.56268 | 0.079 | Recoverable Result | 4433 | B | sgs | n | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20132690008 | 2013-09-25 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.142 | . | ug/L | 0.96479 | 0.137 | Recoverable Result | 4433 | B | sgs |  | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20133110109 | 2013-11-07 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.142 | . | ug/L | 0.80282 | 0.114 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140160088 | 2014-01-16 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.142 | . | ug/L | 0.59155 | 0.084 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140300033 | 2014-01-30 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.142 | . | ug/L | 0.85211 | 0.121 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20142130131 | 2014-07-31 06:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1593 | . | ug/L | 0.33271 | 0.053 | Recoverable Result | 4433 | B | sgs | vn | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142270002 | 2014-08-14 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.1593 | . | ug/L | 0.87257 | 0.139 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20143520107 | 2014-12-18 06:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1593 | . | ug/L | 0.94162 | 0.15 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150990066 | 2015-04-09 06:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1593 | . | ug/L | 1.0986 | 0.175 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20141290007 | 2014-05-08 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.1623 | . | ug/L | 0.79482 | 0.129 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.1623 | . | ug/L | 0.86876 | 0.141 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.1623 | . | ug/L | 0.66543 | 0.108 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20150570009 | 2015-02-26 06:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1623 | . | ug/L | 0.65311 | 0.106 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20150850162 | 2015-03-26 06:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1623 | . | ug/L | 0.57301 | 0.093 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20151140152 | 2015-04-23 06:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.1623 | . | ug/L | 0.89957 | 0.146 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20161400194 | 2016-05-18 06:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.2 | . | ug/L | 0.8 | 0.16 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.2 | . | ug/L | 1.205 | 0.241 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20163150005 | 2016-11-09 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.2 | . | ug/L | 1.13 | 0.226 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20162660006 | 2016-09-21 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.2004 | . | ug/L | 1.0729 | 0.215 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20162860080 | 2016-10-12 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.2004 | . | ug/L | 0.31936 | 0.064 | Recoverable Result | 4433 | B | sgs | n | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163070096 | 2016-11-02 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.2004 | . | ug/L | 0.998 | 0.2 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.2004 | . | ug/L | 0.84331 | 0.169 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20151620180 | 2015-06-11 06:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.24 | . | ug/L | 1.0417 | 0.25 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153510110 | 2015-12-17 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.24 | . | ug/L | 0.34167 | 0.082 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.2476 | . | ug/L | 1.046 | 0.259 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153280156 | 2015-11-24 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.2476 | . | ug/L | 0.94507 | 0.234 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.2476 | . | ug/L | 0.73506 | 0.182 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20122210008 | 2012-08-07 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.25 | . | ug/L | 0.808 | 0.202 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.25 | . | ug/L | 1.02 | 0.255 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20121950066 | 2012-07-12 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.2536 | . | ug/L | 0.95032 | 0.241 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.2536 | . | ug/L | 0.62303 | 0.158 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20141490201 | 2014-05-29 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.3186 | . | ug/L | 0.78468 | 0.25 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142470040 | 2014-09-03 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.3186 | . | ug/L | 0.91965 | 0.293 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.3186 | . | ug/L | 0.88826 | 0.283 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20142960087 | 2014-10-23 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.3186 | . | ug/L | 0.92906 | 0.296 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20141910242 | 2014-07-10 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.3246 | . | ug/L | 0.84412 | 0.274 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142480001 | 2014-09-04 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.3246 | . | ug/L | 0.82255 | 0.267 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143300047 | 2014-11-26 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.3246 | . | ug/L | 0.31423 | 0.102 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20111750002 | 2011-06-23 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.336 | . | ug/L | 0.6994 | 0.235 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.336 | . | ug/L | 0.84821 | 0.285 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.336 | . | ug/L | 0.84226 | 0.283 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.33691 | . | ug/L | 1.0596 | 0.357 | Recoverable Result | 4433 | R | jiv |  | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.3429 | . | ug/L | 0.89823 | 0.308 | Recoverable Result | 4433 | R | jiv |  | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | P-CRESOL | 77146GCM99 | 0.08 | 0.343 | . | ug/L | 0.83673 | 0.287 | Recoverable Result | 4433 | B | sgs |  | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.343 | . | ug/L | 0.83382 | 0.286 | Recoverable Result | 4433 | B | sgs |  | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.343 | . | ug/L | 1.0175 | 0.349 | Recoverable Result | 4433 | Y | awh |  | 2012-07-26 | Supelco LB77171: 20 µl
20131290118 | 2013-05-09 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.355 | . | ug/L | 0.83662 | 0.297 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20162100008 | 2016-07-27 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.4 | . | ug/L | 1.005 | 0.402 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20162230167 | 2016-08-10 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.4 | . | ug/L | 0.525 | 0.21 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.4008 | . | ug/L | 0.63124 | 0.253 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20162930160 | 2016-10-19 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.4008 | . | ug/L | 1.013 | 0.406 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20163420127 | 2016-12-07 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.4008 | . | ug/L | 0.92565 | 0.371 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20111260151 | 2011-05-05 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.4029 | . | ug/L | 1.1516 | 0.464 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20152810121 | 2015-10-08 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.4952 | . | ug/L | 0.86026 | 0.426 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.4952 | . | ug/L | 0.87641 | 0.434 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20123420075 | 2012-12-06 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.5 | . | ug/L | 0.796 | 0.398 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20161960001 | 2016-07-13 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.5 | . | ug/L | 0.874 | 0.437 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20162380005 | 2016-08-24 07:15 | P-CRESOL | 77146GCM99 | 0.08 | 0.501 | . | ug/L | 0.85629 | 0.429 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20163560020 | 2016-12-21 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.501 | . | ug/L | 0.95609 | 0.479 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20122720049 | 2012-09-27 06:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.5072 | . | ug/L | 0.68021 | 0.345 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20131020082 | 2013-04-11 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.5072 | . | ug/L | 0.89314 | 0.453 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20112380056 | 2011-08-25 11:10 | P-CRESOL | 77146GCM99 | 0.08 | 0.64 | . | ug/L | 0.94531 | 0.605 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20131920148 | 2013-07-11 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.702 | . | ug/L | 0.54558 | 0.383 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20131650075 | 2013-06-13 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.706 | . | ug/L | 0.75496 | 0.533 | Recoverable Result | 4433 | B | sgs |  | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20120200071 | 2012-01-19 08:00 | P-CRESOL | 77146GCM99 | 0.08 | 0.84 | . | ug/L | 0.92619 | 0.778 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.84 | . | ug/L | 0.90238 | 0.758 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Crescent 06MM136: 50 µl
20112590002 | 2011-09-15 08:30 | P-CRESOL | 77146GCM99 | 0.08 | 0.8575 | . | ug/L | 0.7965 | 0.683 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Supelco LB77171: 50 µl
20130590064 | 2013-02-28 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 1 | . | ug/L | 0.73 | 0.73 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20130100068 | 2013-01-10 07:00 | P-CRESOL | 77146GCM99 | 0.08 | 1.0144 | . | ug/L | 0.83005 | 0.842 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20112170170 | 2011-08-04 09:30 | P-CRESOL | 77146GCM99 | 0.08 | 1.344 | . | ug/L | 0.89286 | 1.2 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 1.344 | . | ug/L | 0.95982 | 1.29 | Recoverable Result | 4433 | E | cli |  | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | P-CRESOL | 77146GCM99 | 0.08 | 1.344 | . | ug/L | 0.93006 | 1.25 | Recoverable Result | 4433 | Y | awh |  | 2012-07-27 | Crescent 06MM136: 80 µl
20111540005 | 2011-06-02 09:00 | P-CRESOL | 77146GCM99 | 0.08 | 1.3611 | . | ug/L | 0.88163 | 1.2 | Recoverable Result | 4433 | R | jiv |  | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | P-CRESOL | 77146GCM99 | 0.08 | 1.372 | E | ug/L | 0.8965 | 1.23 | Estimated Values | 4433 | E | jiv |  | 2011-08-07 | Supelco LB77171: 80 µl